## Slide 1
AN INTEGRATED DESIGN FOR A MUNICIPALITY BUILDING WITH ENERGY-PLUS TARGETS
An-Najah National University
Building Engineering Department
Graduation project II presentation
Prepared by:
Mo’men Shalhoub
Shaima’ Amer
Dareen Abadi
Supervised by:
Eng. Fady Fatayer

## Slide 2
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 3
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 4: Introduction
Title
Municipality- Building
Energy- plus
Integrated- redesign

## Slide 5
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 6: Site And Climate Analysis
Location
Site
Layout
Wind
Analysis
S
Sun Path
Analysis
Noise
Analysis

## Slide 7: Site And Climate Analysis
Summery

## Slide 8
Outline
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Quantity surveying

## Slide 9: Architectural Aspect
S
Questionnaire
Old
Plans
Modified
Plans
Standards
Case
studies

## Slide 10: Architectural Aspect
Ground Floor Plans

## Slide 11: Architectural Aspect
Typical Floor Plans
First, Second and Third floors.

## Slide 12: Architectural Aspect
Forth Floor Plans

## Slide 13: Architectural Aspect
Basement Before:

## Slide 14: Architectural Aspect
Basement 1 After:

## Slide 15: Architectural Aspect
Basement 2 After:

## Slide 16: Architectural Aspect
Site After:

## Slide 17
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 18: Environmental Aspect
S
Overshadowing
And solar radiation analysis
CFD analysis and design
Daylight factor
Energy
Plus building
Thermal analysis and comfort

## Slide 19
Environmental analysis and design
Over shadowing
ENVIRONMENTAL ARCHITECTURAL ASPECTS

## Slide 20: Environmental Aspect
Solar Radiation Analysis
North-East Elevation:
South-East Elevation:
South-west elevation:
North-West elevation:
Summer
At 12:00 Pm

## Slide 21: Environmental Aspect
Solar Radiation Analysis
North-East Elevation:
South-East Elevation:
South-west elevation:
North-West elevation:
Winter
At 8:00 Am

## Slide 22
Environmental analysis and design
Environmental case studies
ENVIRONMENTAL ARCHITECTURAL ASPECTS

## Slide 23
Environmental analysis and design
Energy-Plus Building
Energy conservation measures plan
ENVIRONMENTAL ARCHITECTURAL ASPECTS

## Slide 24
Scenario4: Using perforated panels on South-East and North-west facades
Scenario5: Using double skin facade
Environmental analysis and design
Energy-Plus Building
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Scenario6: Using horizontal louvers on South-West façade and vertical louvers on South-West facade
Scenario7: Using skylight and court in building
Scenario8: Coverage above the South-West façade

## Slide 25
Scenario ID | Scenario Description | Consumption (KWh/m2) | % of saving
- | Base model | 223.5 | -
1 | Using double low e glass | 200.57 | 10.26%
2 | Insulated walls only | 192.34 | 13.94%
3 | Insulated roof only | 191.07 | 14.51%
4 | Using perforated panels on South-East and North-west facades | 129.02 | 42.27%
5 | Using double skin facade | 205.82 | 7.91%
6 | Using horizontal louvers on South-West façade and vertical louvers on South-West facade | 163.46 | 26.86%
7 | Using skylight and court in building | 180.55 | 19.22%
8 | Coverage above the South-West façade | 218.54 | 2.22%
9 | All previous scenarios together | 49.62 | 77.80%
Environmental analysis and design
Energy-Plus Building
Summary of the Energy conservation measures scenarios and its saving
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Final total consumption = 131.14 Mwh/year

## Slide 26
Environmental analysis and design
Energy-Plus Building
Summary of the Energy conservation measures scenarios
ENVIRONMENTAL ARCHITECTURAL ASPECTS

## Slide 27
Environmental analysis and design
Energy-Plus Building
Design builder baseline comparison
ENVIRONMENTAL ARCHITECTURAL ASPECTS

## Slide 28
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Total energy produced from the best case= 248.48 Mwh/year
---->Energy plus by 118 Mwh/year
The best case
Environmental analysis and design
Energy-Plus Building
Solar photovoltaic design

## Slide 29
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Environmental analysis and design
Energy-Plus Building
Solar photovoltaic design
Solar collector design

## Slide 30
Environmental analysis and design
Daylight factor
ENVIRONMENTAL ARCHITECTURAL ASPECTS

## Slide 31
Environmental analysis and design
Thermal analysis and comfort
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Element | U-value(W/m2.K)
Palestine insulated wall | 0.454
Curtain wall | 2.552

## Slide 32
Environmental analysis and design
Thermal analysis and comfort
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Element | U-value(W/m2.K)
Internal floor | 3.74
Roof | 0.53

## Slide 33
Environmental analysis and design
Thermal analysis and comfort
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Total Heating load = 204.10 Kw(58.03 Ton)
Total Cooling load = 290.13 Kw(82.50 Ton)
-Predict mean vote
-Discomfort hours
Heating and cooling load

## Slide 34
Environmental analysis and design
Ventilation and CFD analysis and design
Ventilation design
ENVIRONMENTAL ARCHITECTURAL ASPECTS

## Slide 35
Environmental analysis and design
Ventilation and CFD analysis and design
CFD analysis
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Exterior CFD

## Slide 36
Environmental analysis and design
Ventilation and CFD analysis and design
CFD analysis
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Interior CFD

## Slide 37
Environmental analysis and design
Ventilation and CFD analysis and design
CFD analysis
ENVIRONMENTAL ARCHITECTURAL ASPECTS
Interior CFD

## Slide 38
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 39: Structural Aspect
S
Assumptions
Structural details
Structural model
Design
Seismic checks

## Slide 40: Structural Aspect
Assumptions
Assumptions
Codes used in the design
1. (ACI 318-14) for concrete structural design.
2. ASCE 7-16 for structural design loads.
3. UBC code for seismic design.
4. AISC for steel design.
Materials
- Concrete compressive strength(f'c) = 28 MPa for all elements.
-Concrete unit weight = 25 KN/m3.
-Yielding strength of steel (fy) = 420 MPa.
- Density of water = 9.81 KN/m2.
- Density of soil = 18 KN/m2.
-Snow density = 1.05 KN/m2.
- Snow thickness = 0.35 m.

## Slide 41: Structural Aspect
Assumptions
Loads
-Live load =
-Live load = {█("3.90 KN/m2 for offices and corridors." @"0.96 KN/m2 for steel coverage. " @"2.40 KN/m2 for Passenger vehicles. " )┤
-S.I.D =
-S.I.D = {█(3.50 KN/m2𝑓𝑜𝑟 𝑐𝑜𝑛𝑐𝑟𝑒𝑡𝑒 𝑑𝑒𝑠𝑖𝑔𝑛@S.I.D = 0.40 KN/m2" for steel design. " @)┤
-Wind load = -0.77 KN/m2.
Snow load = 1.05 KN/m2
Loads
-Wind load = -0.77 KN/m2.
Snow load = 1.05 KN/m2
Seismic loads
Importance factor = 1.25
R = 5.5
Soil profile: SD
Seismic zone: 2B
Ca = 0.28
Cv = 0.40

## Slide 42: Structural Aspect
Design
Slab system: Two-way and one-way ribbed slab.
Slab weight = 8.44 KN/m2.
Beam’s
Column’s

## Slide 43: Structural Aspect
Design
Expansion joint

## Slide 44: Structural Aspect
ETABS structural model
Block 1
Block 2

## Slide 45: Structural Aspect
Block 1
ETABS model checks
-Compatibility check

## Slide 46: Structural Aspect
ETABS model checks
- Equilibrium check
- Deflection check
- Shear check
Vu<Φ Vc--->Ok
Part | Load type | ETABS(KN) | Manual(KN) | Error %
Block(1) | Dead load | 46942.11 | 46832.25 | 0.23%
 | Live load | 12899.52 | 12899.68 | 0.00%
 | S.I.D load | 13060.25 | 13060.39 | 0.00%
Part | Max. deflection allowed | ETABS deflection
Block(1) | 35.67 mm | 23.75
Service load
Live load
Part | Max. deflection allowed | ETABS deflection
Block(1) | 23.78 | 25 mm

## Slide 47: Structural Aspect
ETABS model checks
- Stress strain check
Column
Beam

## Slide 48
ETABS model checks
Stress-strain check of slab
Direct design method limitations
Structural Aspect
Condition | Compatible
3spans or more in each direction | ❌
Rectangular panels with | ✓
Columns offset ≤10% of spans in offset | ✓
In successive spans, | ✓
Uniform load with | ✓
The loads should be only due to the gravity loads | ❌
For slabs with beams, the beams stiffnesses should not have a big difference, the relative stiffness should be between 2 and 5 | ✓
Condition | Compatible
3spans or more in each direction | ❌
 | ✓
Columns offset ≤10% of spans in offset | ✓
 | ✓
 | ✓
The loads should be only due to the gravity loads | ❌
For slabs with beams, the beams stiffnesses should not have a big difference, the relative stiffness should be between 2 and 5 | ✓

## Slide 49
ETABS model checks
Stress-strain check of slab
Structural Aspect

## Slide 50: Structural Aspect
Seismic checks
- Model participant mass ratio check
-Period check
Block 1
Part | Max Period allowed | Period by ETABS
Block(1) | 1.05 sec | 0.542 sec

## Slide 51: Structural Aspect
Seismic checks
- Base shear check
-Drift check
VRS≥0.85 VES--->Ok

## Slide 52: Structural Aspect
-Column details
Structural details

## Slide 53: Structural Aspect
-Beam details
Structural details

## Slide 54: Structural Aspect
-Beam details
Structural details

## Slide 55: Structural Aspect
Slab details

## Slide 56: Structural Aspect
-Sheet piles details
Structural details

## Slide 57: Structural Aspect
-Mat foundation foundation details
Structural details

## Slide 58: Structural Aspect
-Elevator shaft details
Structural details

## Slide 59: Structural Aspect
-Septic water tank details
Structural details

## Slide 60: Structural Aspect
-Stair details
Structural details

## Slide 61: Structural Aspect
-Ramp details
Structural details

## Slide 62: Structural Aspect
-Shear walls details
Structural details

## Slide 63: Structural Aspect
-Steel bracing member details
Structural details

## Slide 64: Structural Aspect
-Steel coverage details
Structural details

## Slide 65: Structural Aspect
-3d structural details
Structural details

## Slide 66: Structural Aspect
3d structural details
Structural details

## Slide 67
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 68: Electro-Mechanical Aspect
S
Acoustics
Lighting and power
Water supply
HVAC and drainage
Fire fighting

## Slide 69: Electro mechanical aspects 1.Exterior acoustical design -Exterior wall design
Acoustics design

## Slide 70: Electro mechanical aspects 2.Room acoustics design
Finishing materials
Acoustics design

## Slide 71: Electro mechanical aspects Material distribution in spaces
Mayor office
Meeting room
Public service hall
Multi purpose hall
Acoustics design

## Slide 72: Electro mechanical aspects 3.Sound insulation
- Glazed partition
STC = 43 dB(Standard >40dB)
- Hollow block partition
STC = 59 dB (Standard >40dB)
- Double skin facade
STC = 71 dB
OITC = 61 dB
STC = 90 dB
OITC = 74 dB
- Exterior wall

## Slide 73
Electro mechanical aspects 3.Sound insulation
- Ceiling
- Internal floor

## Slide 74: Electro mechanical aspects 3.Electro acoustics design
Public service hall
Fees collecting hall
Corridors
-Ceiling mounted loud speakers

## Slide 75: Electro mechanical aspects 3.Electro acoustics design
-Surface mounted loud speakers
Multipurpose hall

## Slide 76
The system used for HVAC design is Variable refrigerant flow “ VRF system ”
IVP Mobile Unit
Out door Unit
Diffusers
Indoor unit
Electro mechanical aspects
HVAC Design:

## Slide 77
IVP system
This system can be placed inside fixed units such as (fan coil), or as a mobile unit called(travel mobile unit).
Monzer Hourani recognizes the world's need for a new air filtration system that kills COVID-19.
April 2020
Electro mechanical aspects
HVAC Design:

## Slide 78
IVP system operation
Electro mechanical aspects
HVAC Design:

## Slide 79
Electro mechanical aspects
HVAC Design:

## Slide 80
Electro mechanical aspects
HVAC Design:

## Slide 81
Electro mechanical aspects
HVAC Design:

## Slide 82
Electro mechanical aspects
HVAC Design:

## Slide 83
Electro mechanical aspects
HVAC Design:

## Slide 84
Electro mechanical aspects
Drainage Design:

## Slide 85
Electro mechanical aspects
Drainage Design:

## Slide 86
Electro mechanical aspects
Drainage Design:

## Slide 87
The average consumption of water for each person daily in such this building equals 20.00 L/day cold water and 3L/day hot water for each person.
Basement tanks with a pump.
Electro mechanical aspects
Water Supply Design:

## Slide 88
Water Supply Design:
Water demand amount in each floor.
Diameters of the used pipes.
Electro mechanical aspects

## Slide 89
Water Supply Design:
Water distribution system. ( Typical floors)
Electro mechanical aspects

## Slide 90
Water Supply Design:
Water distribution system. ( Second floor)
Electro mechanical aspects

## Slide 91
Water Supply Design:
Water distribution system. ( Fourth floor)
Electro mechanical aspects

## Slide 92: -Evacuation ways:
Zone (1) :
Fire fighting and fire alarm systems:
Electro mechanical aspects

## Slide 93: -Evacuation ways:
Zone (2) :
Fire fighting and fire alarm systems:
Electro mechanical aspects

## Slide 94: -Evacuation ways:
Fire fighting and fire alarm systems:
Electro mechanical aspects

## Slide 95
Elevator design
Electro mechanical aspects

## Slide 96
Fire fighting and fire alarm systems:
Fire alarm systems:
1) Emergency signs:
Electro mechanical aspects

## Slide 97
Fire fighting and fire alarm systems:
Fire alarm systems:
2) Smoke detectors
3) Heat Detectors
Electro mechanical aspects

## Slide 98
Fire fighting and fire alarm systems:
Fire alarm systems:
4) Fire speakers:
5) Fire alarm bell and manual call point. (Break glass unit)
Electro mechanical aspects

## Slide 99
Fire fighting and fire alarm systems:
Fire fighting systems:
1) Fire rated facade
Electro mechanical aspects

## Slide 100
Fire fighting and fire alarm systems:
Fire fighting systems:
2) Fire extinguishers:
Electro mechanical aspects

## Slide 101
Fire fighting and fire alarm systems:
Fire fighting systems:
3) Fire Hose Cabinet:
Class I system:
Class II system:
Electro mechanical aspects

## Slide 102
Fire fighting and fire alarm systems:
Fire fighting systems:
4) Water sprinklers system:
Electro mechanical aspects

## Slide 103
Fire fighting and fire alarm systems:
Basement Design
Electro mechanical aspects

## Slide 104
Fire fighting and fire alarm systems:
Typical Design
Electro mechanical aspects

## Slide 105
Artificial lighting Design:
Visual comfort
Illuminance
Uniformity
Glare
Electro mechanical aspects

## Slide 106
Artificial lighting Design:
Standard values for office buildings lighting
Electro mechanical aspects

## Slide 107
Artificial lighting Design:
Accounting Department artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 108
Artificial lighting Design:
Public Service Hall artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 109
Artificial lighting Design:
Multi purpose Hall artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 110
Artificial lighting Design:
Mayor room artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 111
Artificial lighting Design:
Meeting room artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 112
Artificial lighting Design:
Accounting Department artificial lighting design.
Results.
Electro mechanical aspects

## Slide 113
Artificial lighting Design:
Public Service Hall artificial lighting design.
Results.
Electro mechanical aspects

## Slide 114
Artificial lighting Design:
Multi purpose Hall artificial lighting design.
Results.
Electro mechanical aspects

## Slide 115
Artificial lighting Design:
Mayor room artificial lighting design.
Results.
Electro mechanical aspects

## Slide 116
Artificial lighting Design:
Meeting room artificial lighting design.
Results.
Electro mechanical aspects

## Slide 117
Artificial lighting Design:
Results:
Electro mechanical aspects

## Slide 118
Exterior lighting
Electro mechanical aspects

## Slide 119
Electrical Design:
Electro mechanical aspects

## Slide 120
Electrical Design:
Electro mechanical aspects

## Slide 121
Low voltage(Telephone and internet plan):
Electro mechanical aspects

## Slide 122
Power Design:
SDB-1
Electro mechanical aspects

## Slide 123
Power Design:
SDB-2
Electro mechanical aspects

## Slide 124
Main distribution board
Electro mechanical aspects

## Slide 125
Power Design:
All distribution boards in the municipality building.
Electro mechanical aspects

## Slide 126
Backup power generators:
Electro mechanical aspects

## Slide 127
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 128: Quantity surveying and cost estimation aspect
-Work breakdown structure
-Cost summary

## Slide 129: Quantity surveying and cost estimation aspect
-Life cycle cost analysis for energy

## Slide 130: Quantity surveying and cost estimation aspect
-Life cycle cost analysis for energy
The % of saving = 65.00%

## Slide 131: Quantity surveying and cost estimation aspect
-Life cycle cost and economic performance of the building analysis
Chart: Life cycle cost
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Cost | 16976977.58 | 17396032.76 | 17824639.1393 | 18263026.2461 | 18711429.2542 | 19170089.1235 | 19639252.7432 | 20119173.0798 | 20610109.3273 | 21112327.0626 | 21626098.4038 | 22151702.1725 | 22689424.0609 | 23239556.8022 | 23802400.3459 | 24378262.0368 | 24967456.7992 | 25570307.3251 | 26187144.2677 | 26818306.4388 | 27464141.0123 | 28125003.7315 | 28801259.1231 | 29493280.7149 | 30201451.26 | 30926162.9664 | 31667817.7321 | 32426827.3862 | 33203613.9363 | 33998609.8211 | 34812258.1707 | 35645013.0726 | 36497339.8439 | 37369715.3113 | 38262628.0975 | 39176578.9148 | 40112080.866 | 41069659.7532 | 42049854.3937 | 43053216.944 | 44080313.2324 | 45131723.099 | 46208040.745 | 47309875.0903 | 48437850.1399 | 49592605.3598 | 50774796.0623 | 51985093.8004 | 53224186.7728 | 54492780.2381
-Before treating
-After treating
Chart: Life cycle cost
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Cost | 17637670.75 | 17623640.4118 | 17608324.8831 | 17591682.6899 | 17573671.2278 | 17554246.7329 | 17533364.252 | 17510977.6116 | 17487039.3868 | 17461500.8688 | 17434312.0319 | 17405421.4995 | 17374776.5096 | 17342322.8787 | 17308004.9656 | 17271765.634 | 17233546.2136 | 17193286.4611 | 17150924.5198 | 17106396.878 | 17059638.3267 | 17010581.9159 | 16959158.9102 | 16905298.743 | 16848928.9692 | 16789975.2177 | 16728361.1417 | 16664008.3684 | 16596836.4467 | 16526762.7948 | 16453702.645 | 16377568.9884 | 16298272.5171 | 16215721.5662 | 16129822.053 | 16040477.4154 | 15947588.5491 | 15851053.7422 | 15750768.609 | 15646626.0218 | 15538516.0409 | 15426325.8432 | 15309939.6487 | 15189238.645 | 15064100.9103 | 14934401.3343 | 14800011.537 | 14660799.7855 | 14516630.9089 | 14367366.2107
Initial cost before = 16,557,992.40 ILS
Initial cost after = 17,699,921.37 ILS

## Slide 132: Integration between systems -Below false ceiling

## Slide 133
Integration between systems -Above false ceiling

## Slide 134
Integration between systems -Lumion renders
- Exterior render

## Slide 135
Integration between systems -Twinmotion render
- Interior render

## Slide 136
Thank you for listening
Please watch the following video