## Slide 1: pH Neutralization Control System
By: Firas I.Dweekat, Hafiz K.Irshaid.
Supervised by: Dr. Raed Alqadi, Dr. Ashraf Armoush.
Notes: firas

## Slide 2: Outlines
Abstract
pH Problem
Fuzzy control
Methodology
  System Architecture
  Tank controller
  Master controller
  Controller communication (DLL)
  MATLAB GUI
Result
Notes: f

## Slide 3: Abstract
Controlling pH degree
Fuzzy logic
MATLAB
Notes: h

## Slide 4
Notes: h

## Slide 5
Notes: h

## Slide 6: pH Problem
pH= - log[H+]
Notes: f

## Slide 7: Fuzzy control
Notes: h

## Slide 8: Methodology

## Slide 9: System Architecture
Notes: f

## Slide 10: Tank controller
PiC18f6420
eTap continues level sensor.
Water pump.
Notes: f

## Slide 11: Etap continuous level sensor
Sensor output: 1500 empty, 150 per inch 20%
Notes: f

## Slide 12: Master controller
Controlling tank microcontrollers.
Arduino UNO.
pH Meter with analog output.
Level sensor.
Notes: f

## Slide 13: I2C Protocol
Packet Types | Description
TYPE_HANDSHAKE_TANKS | To handshake between master and slave
TYPE_DISCONNECT_PC | if the PC is disconnected, shut down the program
TYPE_ACK | Acknowledgment
TYPE_REQUEST_FLOW | To request the flow sensor
TYPE_REQUEST_LEVEL | To request the level sensor
TYPE_BAD_PACKET | If the check sun is incorrect
TYPE_REQUEST_ALL_SENSORS | To request all sensors
TYPE_SET_PUMP_SPEED | To set the pump speed
TYPE_NACK | Negative acknowledgment
Notes: f

## Slide 14: Handshake sequence diagram
Notes: f

## Slide 15: Getting sensors sequence diagram
Notes: f

## Slide 16: Controller communication (DLL)
Packet Type | Description
TYPE_PACKET_HANDSHAKE_PC | To handshake with PC
TYPE_HANDSHAKE_TANKS | To handshake with tanks
TYPE_DISCONNECT_PC | To tell the microcontroller that the program wants to disconnect
TYPE_ACK | Acknowledgement
TYPE_NACK | Negative Acknowledgement
TYPE_REQUEST_FLOW | To request flow sensor
TYPE_REQUEST_LEVEL | To request level sensor
TYPE_REQUEST_GAS | To request Gas Sensor
TYPE_REQUEST_pH | To request pH sensor
TYPE_REQUEST_TEMP | To request Temp
TYPE_BAD_PACKET | If the check sum is incorrect
TYPE_REQUEST_ALL_SENSORS | To request all sensors from all microcontrollers
TYPE_SET_PUMP_SPEED | To set pump speed to one of the controllers
TYPE_REQUEST_SCAN_I2C | To scan I2C bus
Notes: h

## Slide 17: MATLAB GUI
Why we used MATLAB ?
Easy to change the controller
Can be used by non expert in microcontroller
Notes: h

## Slide 18: MATLAB GUI

## Slide 19: Fuzzy Controller
Notes: h

## Slide 20: Fuzzy inputs
pH Error
Notes: h

## Slide 21: Fuzzy Outputs
Acid and base pump speed
Notes: h

## Slide 22: Fuzzy Rules
Notes: h

## Slide 23: Results and conclustion
Notes: h

## Slide 24: Future work
More accurate sensors
Powerful microcontrollers
Adding more sensors
  Flow
  pH sensor for each tank
Notes: f

## Slide 25: Big Thanks
Notes: f