## Slide 1
An-Najah National University Faculty of Engineering and information technology
Graduation Project Report II Design of Wastewater Collection Networks for An-Nassariya Village
By: Majde Surakje Reg: 11344389
Qutaiba Adham Deek Reg: 11344554
Under Supervision of: Dr. Abdhaleem khader
Submitted in partial fulfillment of the requirements for bachelor’s degree in civil engineering Spring 2021
جامعة النجاح الوطنية كلية الهندسة وتكنولوجيا المعلومات

## Slide 2
Introduction
Study Area
Existing Problems
Significance of the Project
Methodology
Introduction

## Slide 4
Existing Problems
There is no wastewater network.
The people using septic tank for draining their sewage .
The farmer using this wastewater for irrigation

## Slide 5
Significance of the Project
Design wastewater collection network for the village.
Avoid ground water pollutions.
Avoid health issues.
End the wrong thinking and habit of using the wastewater for irrigating crops.

## Slide 6
Introduction
Description of the study area
Design the WWCN by SewerCad
Principal of design
Cost Estimation
conclusions and recommendations

## Slide 7
DESCRIPTION OF THE STUDY AREA
Spatial information
Demographic information
Counting Period

## Slide 8
Spatial information
Collect contour lines and
Approved Urban Master
Using GIS (Geographic information system and)
Geomolg for contour maps and aerial photography.

## Slide 9
Demographic information
Project period.
future population.
consumption of water

## Slide 10
Design period | population | 
- | 1345 | 2007
10 | 1873 | 2017
25 | 4641 | 2046
Chart: 
| 2011 | 2020
water consumption | 108 | 164
سلسلة 2
سلسلة 3
Repair the water network and decreasing the loss in the network to be 10%.
Build a new tank with 500m3 volume.

## Slide 11
PRINCIPLES OF DESIGN
Type of Network
Hydraulic Calculations
Layout the Network
Manholes and Conduit

## Slide 12
Type of Network
There are three types of Network :
Sewer network:
Storm water network network:
Combined network:

## Slide 13
Layout the Network

## Slide 14
Design the WWCN by SewerCad
Constraint
Velocity Results
Diameters Results
Slop and Cover Result

## Slide 15
constraint
Velocity
Cover
Slope

## Slide 16
Horizontal Alignment
Velocity Results
Chart: Velocity(m/s)

## Slide 17
Horizontal Alignment
Diameters Results
Chart: Diameters(mm)

## Slide 18
Horizontal Alignment
Slop and Cover Result
Chart: Slopes
Chart: Cover Depth (m)
5.01m
0.8m

## Slide 19
Hydraulic Calculations
Mathematical relations used in calculating diameter and velocity

## Slide 20
Manholes
Manholes & Conduit
Conduit

## Slide 21
CONCLUSION AND RECOMMENDATIONS
Cost Estimation
Conclusion
Recommendations

## Slide 22
Cost Estimation
Item | Cost $
Excavation | 389,090.4$
Sewer | 148,636.5
Manholes | 68,547
Asphalt | 146,291.04
Total Cost | 752564.94

## Slide 23
Conclusion
Design result | Design Criteria | Result | Accpetable | Note
Velocity | In dry weather, not less than 0. 4m/s In rainy weather, it shall not be less than 0.6 m / s | 0.6 | yes | It accepteal espcailly at the begning of the netwrok
 | Max 3m/s | 2.86 | yes | 
Slope | Minimum 0.5% | 0.5% | yes | 
 | Maximum 15% | 12% | yes | 
Cover | Crumbled rock soil from 5-4m. Wet earth rocks from 6-5m. Cohesive rocks from 8-7m. | 5.01m | yes | The nature of the-Nassarius village wet rock and crumbled rock soil too because located on plain
 | Minmumm (0.8-1)m | 0.8m | yes | 
Diameters | Minmumm 200mm | 200mm | yes | 
 | Maximum 900mm | 200mm | yes | 

## Slide 24
Recommendations
The main recommendations are:
1- Build a wastewater treatment planet
2- Raising environmental awareness about the dangers of using sewage water to irrigate crops