## Slide 1
Oxyilator
Oxygen Ventilation System
Yousef Hanbali
Raoof Fares
Supervised by:
Dr.Raed Qadi

## Slide 2
History of ventilators
1960
1971
1980s
1990s
2000s
Mechanical
PEEP Ventilation
Servo
Ventilatiors
Pressure Controlled Ventilation
Lung Protective
Ventilators
Non-invasive Ventilation

## Slide 3
Problem Statement
"Problem is the lack of ventilation devices during the pandemic, and even though after the pandemic, the ventilation devices are too expensive and necessary for some patients that can’t get to the hospital."

## Slide 4
COVID-19 Inspired
Can't Access
39%
Other
27%
Can't Pay
23%
Fear
11%
According to PCBS, 4% of families in Palestine couldn't access medical care during COVID-19 Pandemic, which reasons were:

## Slide 5
Easy to use
and
affordable
Can be used at
home
Reliable remote medical care
Oxyilator
So now, what do we want?

## Slide 6
Our solution
"Oxylator is a system that integrates SpO2 with a mechanical ventilation system. It can be controlled through a touch screen or a mobile app for all new ventilation variables like BPM and Air Volume. With its user-friendly interface and IoT connectivity, it enables convenient and variable ventilation for patients in a home setting."

## Slide 7
Oxyilator Main Features
Mechanical Ventilation System
Control
System
for users
Mobile
application
integration
Patient
Monitoring
System

## Slide 8
 | Oxyilator | Mechanical (PEEP) | Modern (NIV)
Affordable |  |  | 
Cases Severity | Medium-Low | Low | High-medium-low
Technology | IoT, Automation | No technologies | Diagrams, Automation
Can be used at home? |  |  | 
Oxyilator vs Other Ventilators

## Slide 9
Oxyilator's bottom line

## Slide 10
Oxyilator's bottom line
NEMA 17 Stepper motor

## Slide 11
Oxyilator's bottom line
Nextion Resistive Screen

## Slide 12
Oxyilator's bottom line
MAX30100 Oximeter

## Slide 13
How Oxyilator work!

## Slide 14
How Oxyilator work!

## Slide 15
Oxyilator from the future
  Air Filteration & Moistening System
  Develop a stand-alone app, with stand-alone server
built on MQTT Protcol
  Add artificial intelligence with help from specalists to increase accuracy of auto mode.
  Adding recovery mode for patients, along with required sensors like ECG.

## Slide 16
DEMO Time!

## Slide 17
If you have any questions,
Don't ask me, ask China!
(Especially Wuhan)