## Slide 1
An-Najah National University Facility of Engineering and Information Technology Department of Building Engineering Graduation Project 2
An integrated Redesign for a of Salah Al-Din Mosque in Oreef village.
Supervisor:
Eng. Haitham sawalha
Prepared by:
Abed Al-Rahman Harazne
Manar Shehada
Academic year: 2022-2023

## Slide 2: Contents:
Introduction and site analysis
Architectural design
Environmental design
Structural design
Electrical design
Safty design
Quantity surveying
Mechanical design

## Slide 3: Introduction and site analysis
Our project Salah Al-Din Mosque in Oreef village in Nablus , and it is a forth floors building .
The Salah Al-Din Mosque includes four floors.
Total area of Mosque = 2180 m².

## Slide 4: Architectural Design

## Slide 5
Mosque has three entrances and exit which distributed on floors.
Mosque contains two staircases.
After modification
Site plan
Before modification

## Slide 6
After modification
Before modification
Ground floor
Area = 354.8 m²
Floor height = 6.00 m
m

## Slide 7
After modification
Before modification
First basement floor
Area = 595.40 m²
Floor height = 4.60 m

## Slide 8
After modification
Before modification
Second basement floor
Area = 595.40 m²
Floor height = 4.60 m

## Slide 9
After modification
Before modification
Third basement floor
Area = 595.40 m²
Floor height = 4.60 m

## Slide 10
Sections

## Slide 11
Elevations

## Slide 13: Environmental Aspects.
This part will deal with each daylight analysis, heating, and cooling load analysis, air movement analysis, shade analysis, thermal comfort analysis in the building, and solar gain analysis.

## Slide 14: Environmental aspects:
Human comforts
Thermal comfort
visual comfort
Indoor air quality
Acoustical comfort

## Slide 15: Environmental aspects:
Analysis
Daylight factor
Heating and cooling
Solar radiation
Shadowing and overshadowing

## Slide 16: Daylight factor analysis:
DF% = (E internal/E external) *100%
the sky condition will be overcast with E ext. = 9000 lux and according to the recommendations, the values should range between 2—6 %.

## Slide 17
Daylight factor analysis:
Daylight factor analysis before modifications
Daylight factor analysis after modifications

## Slide 18: Daylight factor analysis before modifications
Figure ‎2‑29: daylight factor analysis for men’s mosque.
The floor contains three zones:
1: lower than standards ( need artificial lighting)
2: Within standards
3: higher than standards.( here the problem of glare is existed and need solutions)

## Slide 19
Figure ‎2‑30: daylight factor analysis for women’s mosque.

## Slide 20
Figure ‎2‑31: daylight factor analysis for Quran memorization center.

## Slide 21
Figure ‎2‑32: daylight factor analysis for diwan.

## Slide 22: The modifications that have been made:
Horizontal lovers were used
The type of glass has been changed

## Slide 23: Daylight factor analysis after modifications
Figure ‎2‑33:daylight factor analysis for men’s mosque.

## Slide 24
Figure ‎2‑34:daylight factor analysis for women’s mosque.

## Slide 25
Figure ‎2‑35:daylight factor analysis for Quran memorization center.

## Slide 26
Figure ‎2‑36:daylight factor analysis for diwan.

## Slide 27: Daylight factor analysis after modifications
Conclusion:
The values were clearly reduced, especially in the areas close to the windows, and thus the glare problem was eliminated.
Most of the regions have become within the standard.
There are areas where the values are less than the standard, and therefore they need artificial lighting.
There are very small areas where the values are still high, and these areas have been neglected because they are often unused areas, and the modification of these areas will negatively affect other areas and make them less than the standard.

## Slide 28
Heating and cooling loads analysis:
Heating and cooling loads analysis before modifications:
Heating and cooling loads analysis after modifications:

## Slide 29: Heating and cooling loads analysis before modifications:
Figure ‎2‑37: heating design before modification.
From this figure, we can notice that:
1- there is a big difference between air temp. and radiant temp.
2- there is a high contribution in heat loss by walls and roof
From this, we realize the importance of thermal insulation in the building.

## Slide 30: Heating and cooling loads analysis before modifications:
Figure ‎2‑38: cooling design before modification.
From this figure, we can notice that:
1- there is a big difference between air temp. and radiant temp.
2- there is a high contribution in heat gain by solar gain exterior windows.
From this, we realize the importance of making adjustments for windows.

## Slide 31: The modifications that have been made:
Thermal insulation of the building
Horizontal lovers were used
The type of glass has been changed

## Slide 32: Heating and cooling loads analysis after modifications:
Figure ‎2‑45:heating design after modifications.
From this figure, we can notice that:
1- there is a small difference between air temp. and radiant temp. This provides a thermally comfortable environment
2- there is a small contribution to heat loss by walls and roof.
From this, we can note the positive effect of thermal insulation.
Thermal insulation leads to low heat loss
and thus the size of the heating system is less.

## Slide 33
Design capacity(w/m^2) in all spaces < 80 which means the building is considered energy efficient.
Table ‎2‑14:heating load for each space

## Slide 34
Figure ‎2‑46:cooling design after modifications.
From this figure, we can notice that:
1- there is a small difference between air temp. and radiant temp.
2- there is a small contribution in heat gain by solar gain exterior windows.
From this, we realize that the modifications made to the windows were effective.

## Slide 35
Table ‎2‑15:cooling load for each space
Design capacity(w/m^2) in all spaces < 80 which means the building is considered energy efficient.

## Slide 36: The site and source of energy:
Table ‎2‑16:site and source energy.
Based on the values given in Table ‎2‑16, the general condition can be assessed in general as acceptable, but a comparison must be made with another similar building to accurately assess and reach the best possible condition.

## Slide 37: Comparison with baseline:
When the comparison was made with the baseline building, a percentage of savings in energy consumption was obtained = 74%
Figure ‎2‑47:comparison between the proposed and baseline building.

## Slide 38: Thermal comfort:
Figure ‎2‑48: PMV index for users in building
From Figure ‎2‑48 we have noticed that the values were acceptable throughout the year, and this means that people feel thermal comfort well while they are inside the building, except for short periods, which are when there are high climatic fluctuations, which occur when switching from one season to another.

## Slide 39: Shadowing and overshadowing analysis In summer (21/06/2022):
at 8:00 am.
at 4:00 pm.
at 12:00 pm.

## Slide 40: Shadowing and overshadowing analysis In winter (21/12/2022):
at 12:00 pm.
at 8:00 am.
at 4:00 pm.

## Slide 41: Solar radiation analysis:
In summer
In winter

## Slide 42: Structural aspects.
In this chapter, all structural elements will be dealt with, as assumptions will be made, and based on them, we will start designing, as all the different elements will be designed with the necessary checks, and in the end, detailed drawings will be prepared.

## Slide 43: Assumptions:
--Materials
Unit weight of concrete = 25 KN/m3.
B350 concrete will be used.
Yielding strength of steel (Fy) = 420MPa.
--Loads:
Live load = 5 Kn/m2(ASCE/SEI 7-10, 2010)
Superimposed dead load = 3.5 Kn/m2(ASCE/SEI 7-10, 2010)

## Slide 44: Assumptions for design:
Slab system
After calculating the suitable thickness based on ACI 318 code, the system will use a flat plate voided slab.
Columns design
The assumed columns section is 400*600mm

## Slide 45: ETABS model:
Figure ‎3‑1: Etabs Model.

## Slide 46: checks:
Compatibility check: ok
Equilibrium check: ok
Deflection Check: ok
Slab shear check: ok
Punching shear check: ok
Stress-strain check: ok
Design Check: ok

## Slide 47: Seismic checks:
Model participant mass ratio check: ok
Period check: ok
Drift check: ok
P-Delta check: ok

## Slide 48: Column Centers

## Slide 49: Detailing: Detailing for slab:
Figure ‎3‑20:steel detailing for B1,B2and B3.
Figure ‎3‑19:flat plate voided slab for B1, B2, and B3.

## Slide 50
Figure ‎3‑22:steel detailing for G.F.
Figure ‎3‑21:flat plate voided slab for G.F.

## Slide 51: Column detailing :
Figure ‎3‑23:Column detailing.

## Slide 52: Shear wall detailing:
Figure ‎3‑25:Shear wall detailing.

## Slide 53: Footing detailing :
Figure ‎3‑27:Footing detailing.
Figure ‎3‑28:Footing detailing.

## Slide 54: Stairs detailing :
Figure ‎3‑29:Stairs detailing.

## Slide 55: Dome detailing:
Figure ‎3‑30:Dome detailing.

## Slide 56
Figure ‎3‑31:Dome detailing.

## Slide 57: Chapter 4: electro mechanical aspects.
This chapter will discuss various design aspects such as artificial lighting, HVAC, power, water supply, drainage, firefighting, acoustical, rainwater, and green stormwater harvesting.

## Slide 58: Artificial lighting design:
Figure ‎4‑1: lighting quality features.

## Slide 59: lighting design process and considerations:
space, function & users
specifications & recommendations
lighting types and strategies (techniques)
Luminaire selection and properties.
Evaluation & Sustainability

## Slide 60: Prayer hall as a sample: types of luminaires were used

## Slide 61
Figure ‎4‑17:3D modeling for the prayer hall.

## Slide 62: Prayer hall as a sample
Figure ‎4‑16: lux level contour for the prayer hall

## Slide 63: Electro-Mechanical design
Power Socket distribution GF :

## Slide 64: Acoustical System
The absorption coefficient for finished material
Acoustics is a science of high importance. So that the acoustic features in the interior spaces are no less important than the public places.

## Slide 65: Acoustical System
Chart: Men praying area
| 125 | 250 | 500 | 1000 | 2000 | 4000
RT60 | 0.7 | 0.59 | 0.8 | 0.58 | 0.62 | 0.59
The reverberation time for Men praying area
is recommended to be (0.55- 0.8)sec It has been identified between two levels of speech and soft music, and this is what we need in the mosque , and its ok after treated

## Slide 66: Acoustical System Insul out put to external & internal walls:

## Slide 67: Acoustical System Loud speaker
loud speakers in the man & women praying area

## Slide 68
System used is VRF
Out door unit
HVAC system
Indoor unit
Fan coil split unit diffuser

## Slide 69: HVAC system
The cooling capacity was designed because the cooling capacity is greater than the heating capacity.
Heating load | 229.5 KW
cooling load | 306.8 KW

## Slide 70: HVAC system

## Slide 71
Water Supply System
Types of pipes:
Steel for Vertical pipes
PVC for horizontal and branch pipes

## Slide 72
Pipes Diameters
 | B3 | B2 | B1
Main vertical | 1.5” | 1.5” | 1.5”
Main horizontal | 1” | 1” | 1”

## Slide 73
Drainage System
2" diameter: The branch diameter connects the lavatory to the floor drain.
4" diameter: the main stacks line's.
4" diameter: water closet (WC) to the main stack.
6" diameter: between manholes.

## Slide 74: Drainage System
Manholes plan

## Slide 75
The diameters that would be used in the Mosque for vent, stack, drainage, and sewer are seen in the table below.

## Slide 76
Total Fixture unit in floors:
Total dfu B1=121
Total dfu B2=78
Total dfu B3=65

## Slide 77
B2 floor water drainage:

## Slide 78
Safety Design

## Slide 79
Fire protection system
The most common systems used in Mosque is:
Fire extinguisher
Hose
sprinkle

## Slide 80
Fire Protection System in GF & B1 :

## Slide 81
Egress Route
B3 Floor

## Slide 82: Quantity surveying

## Slide 83
Thank You