## Slide 1
An-Najah National University
Faculty of Engineering and Information Technology
جامعة النجاح الوطنية
كلية الهندسة و تكنولوجيا المعلومات
II Graduation Project
Assessment and Process Recommendations of Anza WWTP
By
Helal Mansour – Reg. No:11610008
Alaa’ al-shaikh – Reg. No:11440780
Under supervision of: Dr. Sameer Shadeed

## Slide 2
Study area
Location: Anza is a Palestinian village which is located in Jenin Governorate.
Topography and land use : The village lies on two hills its lands are agricultural and residential, like most of the Palestinian lands, it’s covered with olive orchards.
Assessment and Process Recommendations of Anza WWTP

## Slide 3
Significance of the Work
Ensure the efficiency of the wastewater treatment process
propose considerable recommendations in future similar projects
Assessment and Process Recommendations of Anza WWTP

## Slide 4
Anza Wastewater Treatment Method
Activated sludge system

## Slide 5
Anza Wastewater Flow Characteristics
Assessment and Process Recommendations of Anza WWTP
Strong domestic wastewater

## Slide 6
design period
20 years
Water consumption
87 l/c.day
Growth rate
1.8%
K: return fraction
(0.6 - 0.9)
population
2002 capita
01
03
05
04
02
Wastewater Generation
Assessment and Process Recommendations of Anza WWTP
Peak flow = (35 - 52) m3 / Hr. Peak flow = (35) m3 / Hr.

## Slide 7
Flow meter
Flow from the pretreatment units is recorded by Endress and Hauser flow meter.
Flow = (80 – 100) m3
Assessment and Process Recommendations of Anza WWTP

## Slide 8
Protect the pumps from large debris
The bar screen has capacity equal to design peak hour flows (35 m3/hr) with < 10 mm openings
Screening and Pumping
Assessment and Process Recommendations of Anza WWTP
To provide hydraulic head
Two submersible pumps (one standby)

## Slide 9
Grit and Grease Removal
vortex flow grit chambers
Assessment and Process Recommendations of Anza WWTP

## Slide 10
Activated Sludge Tank
Aeration zone: 80%
Anoxic zone: 20%
Assessment and Process Recommendations of Anza WWTP

## Slide 11
Secondary clarifier
To settle the suspended solid
RAS: 75%
WAS: 25%

## Slide 12
chlorine disinfection method was used in the WWTP in order to kill the infective bacteria in the water
Disinfection

## Slide 13
Filtration
Sand filter was used in order to remove the sand and small particles from the water

## Slide 14
Water Discharge
Storage tank: 500 m3
Winter: wadi discharge
Design of Anza Treated Wastewater and Its Agricultural Water Distribution Network

## Slide 15
Sludge management
Sludge thickening and dewatering
Sludge disposing
Design of Anza Treated Wastewater and Its Agricultural Water Distribution Network

## Slide 16
أضف عنوان
هنا
Sludge Thickening and Dewatering
Sludge drying bed (SDB)
Assessment and Process Recommendations of Anza WWTP

## Slide 17
Sludge disposing
After the sludge is dewatered, it is charged and dumped in Zahret al Finjan

## Slide 18
أضف عنوان
هنا
The model is starting with the secondary treatment stage.
Some influent characteristics are assumed as default values of strong domestic wastewater.
COD value equals two times the BOD5 value in the influent characteristics.
Anoxic tank is assumed to be as a separate unit to represent the anoxic zones in the activated sludge tank.
Assumption:
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 19
449.8 m3/d which is the max monthly average and was suggested to the biological design flow rate.
346 m3/day which is the annual average flow rate.
100 m3/day which is the current average inflow rate.
Flow rate simulation values:
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 20
in order to acknowledge the values of BOD, TSS and TKN concentration values, some calculations were needed based on the following values that are linked to the design flow value (449.8 m3/h)
Biological-design flow characteristics
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 21
Biological-design flow characteristics
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 22
أضف عنوان
هنا
GPS-X Modelling
Model layout
Assessment and Process Recommendations of Anza WWTP

## Slide 23
Volume: 50 m3
Anoxic Tank
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 24
Volume: 200 m3
Two reactors: each = 100 m3
Aerobic Tank
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 25
Volume: 120 m3
(RAS = 75%)
(WAS = 25%).
Secondary (final) Sedimentation Tank
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 26
surface area: 144 m2
Thickeners
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 27
efficiency: 97%
Dewatering
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 28
Volume: 50 m3
Chemical Disinfection
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 29
Effluent desired characteristics
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 30
Simulation for 449.8 m3/day inflow.
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 31
Simulation for 346 m3/day inflow.
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 32
Simulation for 100 m3/day inflow.
GPS-X Modelling
Assessment and Process Recommendations of Anza WWTP

## Slide 33
CONCLUSION
Assessment and Process Recommendations of Anza WWTP
449.8 m3/d
346 m3/day
100 m3/day

## Slide 34
Recommendations
Assessment and Process Recommendations of Anza WWTP
Enlarge activated sludge tank
Sludge reuse
No industrial wastewater

## Slide 35
شكرا لكم