## Slide 1: Smart infrastructure ( scada system)
Amjad helo
Karam hattab
Kazem kamal
Basshar muafi
Dr- raed jaber

## Slide 2: Pump station
Water desalination plant
MV/LV SUBSTATION
Introduction

## Slide 3: sCADA system is a collection of both software and hardware components that allow supervision and control of plants, both locally and remotely

## Slide 4: methodology of view
Plant
Process of plant operation + Hardware
Identify object on SCADA screen
Video of simulation

## Slide 5: Water desalination plant – process of operation
Step1 - Boost up the water from the ocean using water pump.
Step 2 - Water filtration using filter and differential pressure sensor

## Slide 6: Water desalination plant – process of operation
Step 3 – boiling the water at desired temperature

## Slide 7: Water desalination plant – process of operation
Step 4 - Cooling and condensing the steam
We Write a code contain a PID equation that make the plc control VFD that control the speed of compressor to maintain the cooling temperature respect to cooling setpoint

## Slide 8: Water desalination plant – process of operation
Step 5 – add mineral salt to pure water
The recipe:
3 L mineral salt / 30 cubic meter pure water
12 L mineral salt / 120 cubic meter pure water

## Slide 9
OB35 – execute every
1 second
OB1 – execute every scan cycle

## Slide 11: Video of simulation

## Slide 12: Pump station
The main goal in pump station is to maintain constant pressure in the water network at any demand

## Slide 13: How pump station work?

## Slide 15: Video of simulation

## Slide 16: MV/LV SUBSTATION
The goal of SCADA system in substation is to monitor and control the:
Real time measurement for power.
Daily load curve of power over time
Control the medium voltage feeder by switching on / off using contactor
Monitor the status of power transformer using temperature sensor
Fault detection by sending alarm from overload

## Slide 17: MV/LV SUBSTATION
Average temperature monitoring inside power transformer 4 RTD sensor (PT100)
Power transformer temperature control

## Slide 18: MV/LV SUBSTATION – power measurement
Voltage = 66kv
Pf= 0.92
P=sqrt(3)*v*i*pf

## Slide 19: MV/LV SUBSTATION – daily load curve
Daily load curve of power consumption over time
* Archive power measurement in SCADA between start to end time then transfer the data to excel to make advance analysis ( minimum - maximum – average )

## Slide 21: Video of simulation

## Slide 22: PID CONTROLLER ZIEGLER-NICHOLS METHOD
PID controller is presented as a dynamic system controller. Here Ziegler-Nichols process reaction method is clarified to designate self-tuning, and advantages of self-tuning are also explained in detail. simulation results of self-tuning PID controller using Ziegler-Nichols are acquired from programmable logic controller (PLC).

## Slide 23: PID CONTROLLER ZIEGLER-NICHOLS METHOD
How to determine the process gain, time constant and dead time using process reaction curve
How the proportional, integral, derivative or PID control equation is constructed.
How to calculate PID tuning parameters using Ziegler-Nichols method.

## Slide 24: Here we have closed loop control system that controlling the amount of steam flow into proportional valve.to maintain temperature constant at desire set point. SP: set point. PV: process variable (temperature sensor) MV: manipulated variable (Output)

## Slide 25: Process reaction curve Change mv (output) and watch the change in pv (input). 1- Process gain (Kp)= pv/mv it’s a ratio that describe the change in process variable when output mv is changed.

## Slide 26: 2- Dead time (THETA): the time between the start in change mv to start change in Pv.

## Slide 27: 3-Time constant (T): that time start from the end of dead time to reach 63.2 from the new steady state.

## Slide 28: Auto tune of PID parameters in plc software