## Slide 1: An-Najah National University Faculty of Engineering and Information Technology
Graduation Project Report II
Design Water Network for Qaryut Village and Cost Estimation
Prepared By:
Yousef Naser Braik- Reg. No: 11642545
Tasnim Jamal Odeh - Reg. No: 11541793
Leena Othman Ziadeh - Reg. No: 11612228
Mahmoud NaserBraik - Reg. No: 11642358
جامعة النجاح الوطنية كلية الهندسة
و تكنولوجيا المعلومات
Under Supervision of:
Dr. Hamees Tubeileh

## Slide 2: Contents
Introduction
Study Area
design of the water distribution network
cost estimate of the water distribution network
Discussion and Conclusion

## Slide 3: Introduction
Water is one of the most important factors for life. Water covers about 70% of earth’s surface and the fresh water available is about 1.7% as surface and ground water sources.
One of civil engineering purpose is to transfer pure water from its resources to citizens .

## Slide 4: Objective
Design Water Distribution Network (WDN) .
Quantity surveying and cost estimation .

## Slide 5: Study Area
Location :
Qaryut village is located to the southeast of Nablus, 26 km to the northeast of the city of Ramallah and is surrounded by the villages of Talfit, Jaloud, Al-Sawiyah, Al-Laban Al-Sharqiya and Tirmus' Aya, in the middle of the West Bank .

## Slide 6
Population
Total number of population in year 2017 is 2538
Water resources
Qaryat has two springs and private wells .

## Slide 7
Climate
The mean annual maximum temperature is 24.4ºC . and mean annual minimum is 9.6ºC .

## Slide 8: WDN Design

## Slide 9: Population calculation

## Slide 10
Population in each year
Population in 2035 = (50.5*18) + 2537
= 3446

## Slide 11
Population during 2017-2035

## Slide 12: Design Parameters
The design period is 15 years until 2035
Maximum daily factor = 1.8
Minimum daily factor =0.27
Average daily Consumption =100L/C. d
Steel pipe with Hazen –Williams coefficient =140

## Slide 13: Design constrains
Velocity = 0.3-3 m/s
Pressure = 20-100 m.H2O
Minimum pipe diameter = 1 inch

## Slide 14: Demand calculation
Demand = Consumption / (1-losses%)
Demand = 100/(1-0.15) = 117.64 L/C.d
Total demand = population * demand capita/day * daily factor *The period between each water infusion
3446 * 117.64 * 3 * 1.8 = 2190600 L/3day
= 2200 m3/3 day

## Slide 15: Network layout

## Slide 16: RESULTS

## Slide 17: EPS Case Layout

## Slide 18: EPS ( 2 :00 AM )

## Slide 19: EPS ( 6:00 PM )

## Slide 20: Steady Case Layout

## Slide 21: STEADY STATE

## Slide 22: COST ESTIMATION

## Slide 23
CUT
FILL
PIPES
RESERVOIR
TOTAL COST OF PROJECT

## Slide 24: PRICES

## Slide 25: EPS

## Slide 26: EPS CALCULATION

## Slide 27: STEADY

## Slide 28: STEADY CALCULATION

## Slide 29: RESERVOIR
Reservoir is filled with water every two days and then emptied in the third day .
Demand in day 1 and 2 is Zero and the third day is 2300m3.

## Slide 30
The maximum difference between demand and supply is 1531.6 m3 and this is the Reservoir size .
Reservoir Cost according to its size about 800000$

## Slide 31: Discussion and Conclusion

## Slide 32
We designed the water distribution network in two cases , steady and EPS, where the number of junction is 97 and the number of pipes 126 .
The total cost of project after designing the network :