## Slide 1
Under the supervision of :Dr. Luay Dwaikat
Prepared By: worood Alhawah, Mohammad Daragmh& Rahaf Ali
Al-Najah National University Faculty of Engineering
Building engineering department Graduation project 2 DESIGN Assessment and REDESIGN OF A BANK BUILDING .

## Slide 2
Introduction:
This project represents an integrated design for an administration building in Nablus. Its strategic location to serve all categories of the city's population and its accessibility and improve the level was administrative, architectural, and urban planning of the country. The main design criteria is to follow the environmental design concepts.
The total area of the building is 10150 m2 .
It has 7 stories and 2 basements.

## Slide 3: Architectural- Environmental aspect:

## Slide 4
Site location
Architectural plans
Architectural

## Slide 5
Site location

## Slide 6
Architectural plans
Basement 1
Before modification
After modification

## Slide 7
Basement 2
Before modification
After modification

## Slide 8
Ground floor
Before modification
After modification

## Slide 9
First floor
Before modification
After modification

## Slide 10
Second floor
Before modification
After modification

## Slide 11
Third floor
Before modification
After modification

## Slide 12
Fourth floor
Before modification
After modification

## Slide 13
Fifth floor
Before modification
After modification

## Slide 14
Sixth floor
Before modification
After modification

## Slide 15
Proposals
Environmental Analysis
Thermal
Analysis
Energy conservation
Environmental

## Slide 16
Environmental design program:
Type glass(Double glass 12 mm) with 60% lighting,26% solar, good insulation.
Put insulation in roof.
Put inside shutters.
Photovoltaics.
Note:The working hours in the building are from 8:00 am-3:00pm.

## Slide 17
Overshadowing and shading:

## Slide 18
Overshadowing and shading:

## Slide 19
Solar radiation in summer for elevation:
south elevation
East elevation
west elevation
North elevation
Solar radiation

## Slide 20
Solar radiation in winter for elevation:
south elevation
East elevation
west elevation
North elevation

## Slide 21
Heating load: (total load =266.35 Kw) (76.361 Ton)
Cooling load: (total load = 267.88 Kw)(76.800 Ton)
Heating and cooling load

## Slide 22
• Baseline energy building analysis:

## Slide 23
Thermal analysis:
U=0.453 (w/m^2.k).
External Wall
U=1.289 (w/m^2.k)
Roof

## Slide 24
First floor (before)
Daylight factor:
Ground (before)
Ground (after)
First floor (after)

## Slide 25
Daylight factor:
second floor (before)
third floor (before)
second floor (after)
third floor (after)

## Slide 26
Daylight factor:
fourth floor (before)
fourth floor (after)

## Slide 27
Daylight factor:
fifrth floor (before)
fifth floor (after)
sixth floor (before)
sixth floor (after)

## Slide 28
Thermal comfort:
High PMV between (-0.7 to 0.7)
Number the of hours of discomfort is equivalent to 807.83

## Slide 29: Structure aspects

## Slide 30
Assumption
Structure system
Details
Martials Properties
ETABS check
Manual calculation
Seismic checks
Structure

## Slide 31
Assumption:
loads:
Live load =4.79 Kn/m2
Superimposed load =2 Kn/m2
Wall load =18 Kn/m2
Seismic load:
seismic zone 2B(Z=0.2),
Soil profile: Sc
Ca=0.24
Cv=0.32
Important factor =1.00
Vv=(0.175*Dead load)
R=5.5
Wall load =3 Kn/m2
Live load of parking =6 Kn/m2
Capacity load =220 Kn/m2

## Slide 32
Materials characteristics:
Manual calculation:
Fy=420 MPa
F⸍c=28 Mpa
Fcu=35 Mpa
Tow way ribbid thickness =350mm
Dead load =7.54 Kn/m2
Solid slab thickness =300mm

## Slide 33
Structure System:

## Slide 34
ETABS check
Compatibility check
Equilibrium check

## Slide 35
Stress-strain check:
Columns:

## Slide 36
Frame and beams :
Two-way slab:(Beam1):

## Slide 37
Use ultimate load 1.2dead and 1.6 Live load: shown in the
Moment of slab with the beam for the frame area

## Slide 38
Shear check:
Max shear from ETABS=73Kn/m
ØVc = .75/6 𝒙 √(f`c ) 𝒙 bw𝒙 d 𝒙1.1
ØVc = .75/6 𝒙 √(28 ) 𝒙200x320/1000 𝒙1.1 = 46.56 KN/rib → ØVc = 77.6 KN/m

## Slide 39
Seismic checks:
Period check
Drift Check:
All ∆m in X, Y direction less than (∆story), so check is OK

## Slide 40
Vx and Vy from ETABS greater than V manual calculated, so check its ok
modal participation mass ratio
Base shear check
Seismic checks:

## Slide 41
Details
Columns:

## Slide 42
Columns:
A check from Detailing the slanted column taken from the ETABS

## Slide 43
Beam:

## Slide 44
Shear wall:
cros _ section in SW 2
long section in SW 2 A-A

## Slide 45
Slab:

## Slide 46
Foundation
Raft footing

## Slide 47
Sheet pile
Sheet pile

## Slide 48
Stair

## Slide 49
Ramp

## Slide 50
Water tank :

## Slide 51: alucobond

## Slide 52: Electro-mechanical aspects:

## Slide 53
Water supply
Drainage Design
Firefighting system
Artificial lighting
HVAC design
Acoustic
Electrical design
Electro-mechanical aspects

## Slide 54
Acoustical
two component we should to take into consideration :
Architectural side
Electro- acoustic side
Component we was studied:
Reverpration time(RT60)
Sound transmission loss
Sound pressure level
Sound transmission class(STC)
Speech transmission index (STI)
spaces we design by using insul and ease programs:
Meeting room
lobby

## Slide 55
Architectural side:
Reverberation time (RT60):
Lobby meeting room
The result is between 0.5-1
(within the standard so ok).
The result is between 0.4-0.6
(within the standard so ok).

## Slide 56
External wall:
39 dB > 38 dB (standard), so it is ok.

## Slide 57: Impact Insulation Class (IIC):
Internal wall:
45 dB > 38 dB (standard), so it is ok.
IIC (64)>52(standard), so it is ok.

## Slide 58
Electro acoustic side (Load speaker design):
      Sound pressure level (SPL) :
lobby:
Meeting room:

## Slide 59
lobby:
Meeting room:
All the value are more than 70 so its ok.

## Slide 60
lobby:
Meeting room:
in this space the value approximately 0.6 so its status was good
In this space the value approximately 0.75 so its status was excellent

## Slide 61
Water supply

## Slide 62
Diameter design for pipes and calculation loss for each story
Dim | 1.5 | 1.25 | 1 | 0.75 | 0.5
loss/100" | 0.19 | 0.5 | 1.4 | 5.6 | 40
loss/eq. length | 0.057 | 0.15 | 0.42 | 1.68 | 12
Water tank design
60 liter /person needed in building
In building 370 person
There size of tank = 370*60 =22200 liter =22.2 m3
We used tank 2m3 Size.

## Slide 63
Artificial lighting design :
Indoor lighting design:
Limitation:
All lighting element luminaires is LED with step control elements.
The daylight factor should be in between this ringing (1-5) present
Light Levels (Illuminance) for indoor area as levels of offices area standard.
The reflection percentage it’s for floor its 0.2, ceiling its 0.8 and wall its 0.7.

## Slide 64
It debt :
The parameter for design this room is 500 lux min as standard.

## Slide 65
Offices :
Reception
The parameter for design this room is 300 lux min as standard, uniformity =0.4

## Slide 66
tellers
lobby:

## Slide 67
lecture hall

## Slide 68: -Lighting design for the basement

## Slide 69: Firefighting system:
A sprinkler system was used in the lobby's and car parks, in addition to Fire hoses works on each floor and fire extinguishers inside the offices.
Automatic firefighting systems must be Connected with the automatic alarm system these systems work at the same time.

## Slide 70
HVAC design
Outdoor unit:
The system used for HVAC design is (VRF system)
The Air stage company Catalog was used for
VRF .

## Slide 71: Indoor unit :
Split unit:
Air stage company Catalog was used.
Cassette unit:
Air stage company Catalog was used.

## Slide 73
Drainage

## Slide 74: Rain water drainage

## Slide 75: Water conservation
Number of days of storage = 4 days
The volume of water used for 4day= 8400 liter/ 1000 = 8.4 m3
The volume of rainwater collected in the tank = 200 m3

## Slide 76: Electrical design
After designing wire for the worst case for each floor:

## Slide 77: Electrical design

## Slide 78: camera
low current

## Slide 79: Photovoltaic design
Number of modules =189
System size =94500wp
94.5WP = 189708.75 KWH
The annual solar energy on the gross roof area is 189708.75 KWh/year, which mean that the coverage percentage equals 24%

## Slide 80
2. Life cycle cost(discount):

## Slide 81
Quantity surveying & Cost Estimate:
Base Model:

## Slide 82
Lumion render: