## Slide 1: An-Najah National university Faculty of engineering Building engineering departmenet Graduation project || Redesign of Nablus Municipality building.
Prepared By : Arwa Hindi Aya Hamadi Roqaya jayyosi
Supervisor To: Dr. Luay Dwaikat.

## Slide 2
Environmental Design
Electro-mechanical Design
Quantity surveying
Introduction
Site Description
Architectural Design
Structural Design

## Slide 3
Introduction

## Slide 4
Site Location

## Slide 5
Site Plan

## Slide 6
Shadow in July 21 @ 8.00 am
Shadow in July 21 @ 12.00 pm
Shadow in July 21 @ 2.00 pm
Shading

## Slide 7
Shadow in Jan 21 @ 8.00 am
Shadow in Jan 21 @ 11.00 am
Shadow in Jan 21 @ 2.00 pm

## Slide 8
Basement Floor 4

## Slide 9
Basement Floor 3

## Slide 10
Basement Floor 2

## Slide 11
Basement Floor 1

## Slide 12
Ground Floor

## Slide 13
 | The current municipality |  |  | The redesigned municipality |  | 
Space | Existing area (m2) | Number of employees | Exiting Area (m2 / employees) | Existing area (m2) | Number of employees | Exiting Area (m2 / employees)
Reception | 4.7 | 2.0 | 2.4 | 45.0 | 2.0 | 22.5
Secretary’s room | 16.0 | 5.0 | 3.2 | 30.0 | 4.0 | 7.5
General fund | 13.2 | 5.0 | 2.6 | 26.5 | 5.0 | 5.3
levying tax fund | 12.0 | 6.0 | 2.0 | 86.0 | 10.0 | 8.6
Director's fund | 14.2 | 1.0 | 7.1 | 28.0 | 1.0 | 28.0

## Slide 14
First Floor

## Slide 15
 | The current municipality |  |  | The redesigned municipality |  | 
Space | Existing area (m2) | Number of employees | Exiting Area (m2 / employees) | Existing area (m2) | Number of employees | Exiting Area (m2 / employees)
Water department | 40.4 | 22.0 | 1.8 | 230.0 | 13.0 | 9.0
Electrical department | 35.4 | 20.0 | 1.8 | 139.0 | 7.0 | 9.0
Director insurance | 17.0 | 1.0 | 17.0 | 18.0 | 1.0 | 18.0
Director taxes fund | 14.2 | 2.0 | 7.1 | 19.0 | 1.0 | 19.0
Taxes fund department | 41.0 | 15.0 | 2.7 | 144.0 | 13.0 | 9.0
Insurance department | 29.7 | 4.0 | 7.4 | 136.0 | 8.0 | 9.0
Archive | 7.2 | 1.0 | 7.2 | 18.0 | 1.0 | 18.0

## Slide 16
Second Floor

## Slide 17
 | The current municipality |  |  | The redesigned municipality |  | 
Space | Existing area (m2) | Number of employees | Exiting Area (m2 / employees) | Existing area (m2) | Number of employees | Exiting Area (m2 / employees)
Affairs of employees room | 24.0 | 5.0 | 4.8 | 75.0 | 5.0 | 9.0
Council members | 45.0 | 14.0 | 3.2 | 31.0 | 12.0 | 2.6
mayor room | 47.7 | 1.0 | 47.7 | 68.0 | 1.0 | 68.0
Deputy of mayor room | 26.6 | 1.0 | 26.6 | 33.0 | 1.0 | 33.0
consultant | 163.0 | 4.0 | 4.1 | 55.0 | 6.0 | 9.0
Conference Hall | 73.0 | 16.0 | 4.6 | 67.0 | 24.0 | 2.8
kitchen | 24.0 | N/A | N/A | 18.0 | N/A | N/A
Important &export | 27.0 | 5.0 | 5.4 | 45.0 | 4.0 | 9.0
Public relation | 43.2 | 8.0 | 5.4 | 136.0 | 8.0 | 9.0

## Slide 18
Third Floor

## Slide 19
 | The current municipality |  |  | The redesigned municipality |  | 
Space | Existing area (m2) | Number of employees | Exiting Area (m2 / employees) | Existing area (m2) | Number of employees | Exiting Area (m2 / employees)
Accounting department | 15.8 | 4.0 | 3.9 | 56.0 | 3.0 | 9.0
Quantification department | 23.5 | 5.0 | 4.7 | 107.0 | 6.0 | 9.0
road and traffic depart | 16.6 | 4.0 | 4.2 | 101.0 | 6.0 | 9.0
IT department | 96.4 | 38.0 | 2.5 | 19.8 | 1.0 | 19.8
planning department | 72.9 | 17.0 | 4.3 | 261.0 | 14.0 | 9.0
Surveyor department | 33.8 | 7.0 | 4.8 | 136.0 | 8.0 | 9.0

## Slide 20
Fourth Floor

## Slide 21
 | The current municipality |  |  | The redesigned municipality |  | 
Space | Existing area (m2) | Number of employees | Exiting Area (m2 / employees) | Existing area (m2) | Number of employees | Exiting Area (m2 / employees)
Project room | 35.5 | 7.0 | 5.1 | 106.0 | 6.0 | 9.0
work room | 18.8 | 6.0 | 3.1 | 116.0 | 7.0 | 9.0
Municipality engineering room | 26.8 | 1.0 | 26.8 | 53.0 | 1.0 | 53.0
Secretary room | 23.5 | 6.0 | 3.9 | 13.0 | 1.0 | 13.0
Printing room | 8.0 | 1.0 | 8. | 17.0 | 1.0 | 17.0
Designing room | 28.0 | 6.0 | 4.7 | 129.0 | 7.0 | 10.0
Drawer room | 24.4 | 4.0 | 6.1 | 130.0 | 7.0 | 10.0
planning room | 67.0 | 12.0 | 5.6 | 124.0 | 8.0 | 9.0

## Slide 22
North Elevation

## Slide 23
South Elevation

## Slide 24
East Elevation

## Slide 25
West Elevation

## Slide 26
Section B-B

## Slide 27
Section A-A

## Slide 28
3D Views

## Slide 32: Structural Design

## Slide 33
Codes and Standards:
Building Code Requirements for Structural Concrete ACI 318-14(ACI Committee 318 2014).
UBC -97 for earthquake design.
ASCE for loads computations.

## Slide 34
Designing data:
Compressive strength of concrete for slabs and beams fʹc = 28MPa.
Compressive strength of concrete for columns and shear walls fʹc = 32MPa.
Yielding strength of steel fy = 420 MPa.
Bearing capacity of soil at street level = 110 KN/m².
Live loads = 3 KN/m².
Super imposed dead load = 4KN/m².

## Slide 35
Lateral loads:
The seismic zone of Nablus is 2B (Z = 0.20)
The soil profile is type Sd.
The acceleration seismic coefficient Ca=0.28
The velocity seismic coefficient Cv=0.4
The Seismic importance factor is 1.25
The structural design type is building frame R=5.5

## Slide 36
Columns center lines

## Slide 37
Verification of models
Compatibility check
Equilibrium check
Internal force check
Deflection check
Drift check
Period check
Model participating mass ratio check
Base shear check

## Slide 38
Model 1

## Slide 39
Compatibility check

## Slide 40: Equilibrium check
Percentage of difference | FZ by manual (KN) | FZ from ETAB(KN) | Load Case
4.6% | 87‚258 | 91‚506 | Dead
1.8% | 18‚274 | 18‚607 | Live
3.2% | 34‚724 | 33‚650 | SID

## Slide 41: Deflection check

## Slide 42: Period check
T manual= 0.725sec

## Slide 43: Modal mass participation ratio
Sum UZ | Sum UY | Sum UX | UZ | UY | UX | Period | Mode | Case
0 | 0.2727 | 0.5189 | 0 | 0.2727 | 0.5189 | 0.726 | 1 | Modal
0 | 0.7768 | 0.7966 | 0 | 0.5041 | 0.2778 | 0.635 | 2 | Modal
0 | 0.7774 | 0.7968 | 0 | 0.0006 | 0.0001 | 0.391 | 3 | Modal
0 | 0.8092 | 0.8938 | 0 | 0.0318 | 0.0971 | 0.231 | 4 | Modal
0 | 0.9156 | 0.9231 | 0 | 0.1064 | 0.0292 | 0.201 | 5 | Modal
0 | 0.9214 | 0.959 | 0 | 0.0058 | 0.036 | 0.139 | 6 | Modal
0 | 0.9216 | 0.9593 | 0 | 0.0002 | 0.0003 | 0.127 | 7 | Modal
0 | 0.9621 | 0.9649 | 0 | 0.0405 | 0.0057 | 0.117 | 8 | Modal
0 | 0.9635 | 0.977 | 0 | 0.0014 | 0.0121 | 0.102 | 9 | Modal
0 | 0.9773 | 0.9779 | 0 | 0.0137 | 0.0009 | 0.084 | 10 | Modal
0 | 0.9775 | 0.9858 | 0 | 0.0003 | 0.0079 | 0.082 | 11 | Modal
0 | 0.9783 | 0.9859 | 0 | 0.0008 | 0.0001 | 0.079 | 12 | Modal

## Slide 44: Base shear check
V manual = 16143 KN.
FZ (KN) | FY (KN) | FX (KN) | Load Case/Combo
93288.5325 | 8.43E-07 | -3.02E-06 | Dead
18607.8832 | 0 | -7.67E-07 | Live
33650.152 | 8.20E-07 | -3.32E-06 | SID
0.0001 | 6449.1187 | 16144.6579 | Eqx Max
3.91E-05 | 16154.2421 | 8765.3461 | Eqy Max

## Slide 45: Drift
delta limit (mm) | Drift y (mm) | Drift x (mm) | Delta my (mm) | Delta mx (mm) | Dis– y (mm) | Dis- x (mm) | height (m) | Story
84 | 57.7 | 30.8 | 500.5 | 200.2 | 130 | 52 | 4.2 | 9
84 | 46.2 | 23.1 | 442.8 | 169.4 | 115 | 44 | 4.2 | 8
84 | 34.7 | 23.1 | 396.6 | 146.3 | 103 | 38 | 4.2 | 7
84 | 46.2 | 38.5 | 361.9 | 123.2 | 94 | 32 | 4.2 | 6
90 | 77.0 | 19.25 | 315.7 | 84.7 | 82 | 22 | 4.5 | 5
95 | 92.4 | 23.1 | 238.7 | 65.45 | 62 | 17 | 4.75 | 4
70 | 61.6 | 19.25 | 146.3 | 42.35 | 38 | 11 | 3.5 | 3
70 | 52.0 | 15.4 | 84.7 | 23.1 | 22 | 6 | 3.5 | 2
70 | 32.7 | 7.7 | 32.7 | 7.7 | 8.5 | 2 | 3.5 | 1

## Slide 46
Slab reinforcement and details

## Slide 47
Beams reinforcement and details

## Slide 48: Columns reinforcement and details

## Slide 49: Shear walls reinforcement and Details

## Slide 50
Model 2

## Slide 51: Compatibility check

## Slide 52: Equilibrium check
Percentage of difference | FZ by manual (KN) | FZ from ETAB(KN) | Load Case
4.89% | 84,546 | 88,902 | Dead
0.35% | 16‚920 | 169,71.5 | Live
1.92% | 29,714 | 29,154 | SID

## Slide 53: Deflection check
Deflection from ETABS = 35 mm.
Max allowable deflection = 83mm.

## Slide 54: Period check
T manual=0.725sec

## Slide 55: Modal mass participation ratio
Sum UZ | Sum UY | Sum UX | UZ | UY | UX | Period | Mode | Case
0 | 0.1151 | 0.5778 | 0 | 0.1151 | 0.5778 | 0.744 | 1 | Modal
0 | 0.5308 | 0.6054 | 0 | 0.4157 | 0.0276 | 0.441 | 2 | Modal
0 | 0.7289 | 0.693 | 0 | 0.1981 | 0.0875 | 0.336 | 3 | Modal
0 | 0.7551 | 0.8321 | 0 | 0.0262 | 0.1391 | 0.217 | 4 | Modal
0 | 0.864 | 0.8571 | 0 | 0.1088 | 0.025 | 0.152 | 5 | Modal
0 | 0.8692 | 0.913 | 0 | 0.0052 | 0.0559 | 0.124 | 6 | Modal
0 | 0.9259 | 0.9153 | 0 | 0.0567 | 0.0023 | 0.121 | 7 | Modal
0 | 0.9327 | 0.9378 | 0 | 0.0068 | 0.0224 | 0.104 | 8 | Modal
0 | 0.9337 | 0.9379 | 0 | 0.001 | 0.0002 | 0.096 | 9 | Modal
0 | 0.9537 | 0.9449 | 0 | 0.02 | 0.0069 | 0.095 | 10 | Modal
0 | 0.9584 | 0.9563 | 0 | 0.0047 | 0.0114 | 0.085 | 11 | Modal
0 | 0.9584 | 0.9563 | 0 | 2.58E-06 | 1.15E-06 | 0.077 | 12 | Modal

## Slide 56: Base shear check
V manual = 152,09 KN.
FZ (KN) | FY (KN) | FX (KN) | Load Case/Combo
88901.9505 | -4.31E-05 | -15.3543 | Dead
16971.4729 | -1.30E-05 | -4.9621 | Live
29154.4192 | -2.07E-05 | -7.1742 | SID
0.0005 | 15178.9345 | 15167.6567 | Eqx Max
0.0006 | 16827.8634 | 14657.0483 | Eqy Max

## Slide 57: Drift
delta limit (mm) | Drift y (mm) | Drift x (mm) | Delta my (mm) | Delta mx (mm) | Dis– y (mm) | Dis- x (mm) | height (m) | Story
84 | 30.8 | 42.4 | 223.3 | 423.5 | 58 | 110 | 4.2 | 9
84 | 23.1 | 53.9 | 192.5 | 381.15 | 50 | 99 | 4.2 | 8
84 | 34.7 | 50.1 | 169.4 | 327.25 | 44 | 85 | 4.2 | 7
84 | 34.7 | 69.3 | 134.8 | 277.2 | 35 | 72 | 4.2 | 6
90 | 15.4 | 50.1 | 100.1 | 207.9 | 26 | 54 | 4.5 | 5
95 | 38.5 | 59.7 | 84.7 | 157.85 | `22 | 41 | 4.75 | 4
70 | 19.3 | 44.3 | 46.2 | 98.175 | 12 | 25.5 | 3.5 | 3
70 | 11.6 | 30.8 | 27.0 | 53.9 | 7 | 14 | 3.5 | 2
70 | 15.4 | 23.1 | 15.4 | 23.1 | 4 | 6 | 3.5 | 1

## Slide 58
Slab reinforcement and details

## Slide 59: Beams reinforcement and details

## Slide 60: Columns Reinforcement and Details

## Slide 61: Shear walls reinforcement and Details

## Slide 62: Foundations
Settlement check.
Max deflection in piles cap is less than 10mm.
2. Punching check.
punching ratio in piles that is less than one.
3. Wide beam shear.
Shear force in pile cap is less than Shear capacity.

## Slide 63: Piles cap reinforcement and details

## Slide 64
Cap piles reinforcement and details

## Slide 65
Mat Footing Reinforcement and Details

## Slide 66
Section in mat foundation

## Slide 67
Piles
Allowable bearing capacity (Qall) = 1000KN.
Length of piles (L) = 15m.
Diameter of piles (d) = 60cm.

## Slide 68: Stair reinforcement and details

## Slide 69: Excavation shoring
Diameter of piles = 80cm.
There is no distance between piles.
Length of piles = 22.5 m.
Max shear of piles = 315KN/m.
Max moment of piles = 1396.8 KN.m/m.
Sheet piles properties from Spw911 software program .

## Slide 70: Cost analysis
Two way ribbed slab |  |  |  |  | U-boot slab |  |  |  |  | Waffle slab |  |  |  | 
Material | Units | Material unit cost | Quantity (per m²) | Cost (NIS/m²) | Material | Units | Material 96t cost | Quantity (per m²) | Cost (NIS/m²) | Material | Units | Material unit cost | Quantity (per m²) | Cost (NIS/m²)
Concrete | m³ | 320 | 0.3 | 96 | Concrete | m³ | 320 | 0.18 | 58 | Concrete | m³ | 320 | 0.17 | 55
Steel | Ton | 2800 | 0.033 | 92 | Steel | Ton | 2800 | 0.003 | 84 | Steel | Ton | 2800 | 27 | 76
Ribs | Number | 2.5 | 6.4 | 16 | U-boot | Number | 12.5 | 4.5 | 56 | waffle | Number | 2 | 1.3 | 2.6
Total cost | 200 |  |  |  | Total cost | 198 |  |  |  | total cost | 133.6 |  |  | 

## Slide 71: Environmental Design

## Slide 72: Original building wall Redesigned building wall

## Slide 73: Original building floor Redesigned building floor

## Slide 74: Original building internal wall Redesigned building internal wall

## Slide 75: Redesigned building Curtain wall Solar chimney

## Slide 76: Thermal Performance
 | Original building | New building
Total heating load (KW/yr) | 271.45 | 193.64
Heating load (W/m²/yr) | 99.15 | 38.72
Total cooling load (KW/yr) | 292.22 | 261.37
Cooling load (W/m² /yr) | 106.73 | 52.27
Energy consumption (KWh/m2 /yr) | 164.65 | 58.87
Cost of annual energy consumption (NIS ) | 338‚084.25 | 214‚044.67

## Slide 77: Natural lighting
Ground floor
DF% = 0.44
Fail

## Slide 78
DF% = 0.52
Fail
Floor | Average DF% | Minimum DF% | Maximum DF%
Ground floor | 0.44 | 0 | 4.84
First floor | 0.52 | 0 | 9.20
Seconf floor | 0.59 | 0 | 9.18
Third floor | 0.59 | 0 | 9.30
Four floor | 0.52 | 0 | 8.84

## Slide 79: Acoustical Design
For meeting room
Reverberation time (RT60) by Sabine method.
Recommended value (0.6 – 1.2sec).
Frequency | 50% | Full
63Hz | 1.68 | 1.64
125Hz | 1.61 | 1.57
250Hz | 1.20 | 1.14
500Hz | 1.07 | 1.02
1kHz | 0.97 | 0.94
2kHz | 0.94 | 0.91
4kHz | 0.83 | 0.82
8kHz | 0.54 | 0.54
16kHz | 0.52 | 0.53

## Slide 80: Sound transmission class (STC) The STC value within recommended .
Meeting room |  |  |  | 
Boundary | Office | Exterior | Exterior | Shaft
STC | 43dB | 40 dB | 40 dB | 43 dB
STC standard | 43dB | 38dB | 38dB | 40dB
Noise reduction (NR)
Recommended value (< 35dB).
Noise level in site =67dB.
STC composed (external wall)=40dB.
Remaining passing noise =22.9dB.
The NR value within recommended.

## Slide 81: Solar PVs design
Energy produced(KWh/yr) | 292000 KWh/yr.
Energy produced(KWh/m2 /yr) | 58.40
Performance ratio | 0.79
The module type is Poly 320Wp72cells

## Slide 82: Electrical design
Lighting design
Socket
Control panel

## Slide 83: Simulation process
Standard aspect
Design
Areas | Recommended illuminance (lux) | Glare | Uniformity
Waiting area | 200 | 22 | ≥ 0.6
Meeting room | 500 | 19 | ≥ 0.6
Administration | 500 | 19 | ≥ 0.6
Areas | Illuminance (lux) | Glare | Uniformity
Waiting area | 275 | 17.7 | 0.63
Meeting room | 644 | 18.80 | 0.86
Administration | 523 | 18.80 | 0.68

## Slide 84
Meeting room
Administration
Public hall

## Slide 85: Lighting distribution

## Slide 86: Sockets distribution

## Slide 87: Control panel

## Slide 88: Mechanical design
Drainage system
Water supply
Safety system
HVAC system
Mechanical design

## Slide 89: Water supply system

## Slide 90
Volume of water tank =220
.
Volume of rain water tank =600
Rain water tank feeds 7% of the amount of daily water consumption.

## Slide 91: Drainage system

## Slide 93: Drainage of rain water The percentage of storage rain water equal 75%.

## Slide 94: HVAC system

## Slide 95: Safety system

## Slide 96: Escape plan

## Slide 97
Item | Total cost (NIS) | Unit cost (NIS/m2)
Architectural work | 8,861,856 | 715.24
Structural work | 11‚111‚525 | 896.8
Mechanical work | 1,769,364 | 142.80
Electrical work | 485‚800 | 39.2
Total cost of building | 22‚061‚510 | 1794.1
Quantity surveying