## Slide 1: Graduation Project (2) Multi purpose building
Prepared by :
Ahmad Fuqha
Mohammad Abu Alwafa
Yazan Tahaineh
Sewar Ahmad
Supervisor: Dr. Alaa M. Shaheen

## Slide 2: Outline
Introduction
Site analysis
Architectural design
Environmental design
Structural design
Electrical design
Mechanical design
Safety
Quantity Survey

## Slide 3: Introduction

## Slide 4: SITE ANALYSIS
The proposed land was chosen to be in Al-Basateen area, which west Nablus

## Slide 5: Site plane

## Slide 6: Architectural Design
All stories has a similar area 1682 m2
Two basement floors is parking

## Slide 7: Architectural Design
Ground , first , second and third floor contains Shops

## Slide 8: Architectural Design
Fourth , 5th & 6th floor which contains offices

## Slide 9: Architectural Design
Seventh , 8th and 9th floor contains motel

## Slide 10: Architectural Design
Tenths floor is a restaurant:

## Slide 11: Elevations
NORTH ELEVATION

## Slide 12: Elevations
EAST ELEVATION

## Slide 13: Elevations
SOUTH ELEVATION

## Slide 14: Elevations
WEST ELEVATION

## Slide 15: SECTIONS
SEC A-A

## Slide 16: SECTIONS
SEC B-B

## Slide 17: 3D RENDER
3D

## Slide 18: 3D RENDER
ENTEANCE

## Slide 19: 3D RENDER
3D

## Slide 20: 3D RENDER
3D

## Slide 21: Environmental Design
Material used.
Thermal design.
Artificial lighting.
Acoustical design.

## Slide 22: Environmental Design.
Materials.
External wall layers.
(7) cm jamaine lime stone.
(10) cm cast concrete.
(5) xps extruded polystrene.
(10) cm concrete block.
(1.5) cm cement plaster.
U-value= 0.452 W/

## Slide 23: Environmental Design.
Internal floors layers :
(1.5) cm ceramic/porcelain tiles.
(2) cm mortar.
(5) cm loose filling.
(40) cm concrete.
U-value= 0.686 W/

## Slide 24: Environmental Design.
Glass Prosperities.
Double LoE (e2=0.1) clear glass with 6mm/13 mm Air gas.

## Slide 25: Environmental Design.
Heating and cooling loads.
Site energy .
Total site energy. | 118.42 KWh/m2
Heating load: | 465618 KW
Cooling load: | 890306 KW

## Slide 26: Environmental Design.
Simulation.
heating and cooling load analysis.

## Slide 27: Environmental Design.
Natural daylight analysis.
Average daylight factor for 5th floor
465618 KW

## Slide 28
Acoustic Design
Reverberation Time(RT60):
ECOTECT program were used to test and analyze one of the bedrooms of the motel and the dinning room of the restaurant.

## Slide 29
Reverberation time
RT60 for bed room from the graph should be < ( 0.6) sec
RT60 - Empty | RT60 – Half empty | RT60- Full | Freq. (Hz)
0.6 | 0.56 | 0.52 | 63
0.57 | 0.54 | 0.51 | 125
0.53 | 0.45 | 0.38 | 250
0.58 | 0.49 | 0.42 | 500
0.49 | 0.43 | 0.38 | 1K
0.39 | 0.35 | 0.31 | 2K
For Dinning room - Restaurant:

## Slide 30
Reverberation time
For Dinning room - Restaurant:
RT60 for Restaurant should be between ( 0.6 - 1.0) sec
RT60 - Empty | RT60 – Half empty | RT60- Full | Freq. (Hz)
0.62 | 0.61 | 0.6 | 63
0.59 | 0.59 | 0.58 | 125
0.72 | 0.68 | 0.64 | 250
0.79 | 0.75 | 0.71 | 500
1.01 | 0.94 | 0.89 | 1K
0.94 | 0.88 | 0.82 | 2K

## Slide 31: Acoustic Design
STC for Partition of Bedroom:
The STC for partition must =50 dB.

## Slide 32: Acoustic Design
STC for Partition of Dinning room:
The STC for partition must =45 dB.

## Slide 33: Speakers
use 6 speakers of VXC4 Ceiling speaker.
(195 mm H x 225 mm diameter) : coverage angle130° conical.

## Slide 34
Structural Design
The multi-purpose building has 12 floors which made completely of reinforced concrete.

## Slide 35: Structural Design
Codes and Standards:
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations
For the design of the structure and its elements ETABS , Safe and hand calculations were used .

## Slide 36: Structural Design
Design data:
Concrete strength, f’c=28 MPa.
Steel yield strength fy=420 MPa.
Bearing capacity for soil = 250 kN/m2

## Slide 37: Structural Design
Vertical Loads:
Load type | Spaces | 
Live Load (kN/m2 ) | parking | 6
 | Shops | 5
 | Offices | 3.5
 | Motels | 3
 | Resturant | 4
 | Roof | 4
SID (kN/m2 ) |  | 4

## Slide 38: Structural Design
Seismic Design data :
The city of structure is Nablus.
The seismic zone factor. Z=0.2.
The soil profile is type Sd.
The acceleration seismic coefficient Ca=0.28
The velocity seismic coefficient Cv=0.40.
The Seismic importance factor is 1.
The structural design type is intermediate, R=5.5

## Slide 39: Sections Dimensions
Structural Element | Dimensions
Ribbed Slab | 40 cm thickness
Solid Slab | 25 cm thickness
Columns | (70X100) cm, ( 70 X 40 ) cm , ( 1 m diameter)
Beams | ( 70X120) cm , ( 55 X 110 ) cm, ( 40 X 50 ) cm

## Slide 40: Building blocks

## Slide 41: Verification of the model
Compatibility check
Equilibrium check
Internal force check

## Slide 42: Verification of the model
Compatibility check
Deformed Shape >>

## Slide 43: Verification of the model
Equilibrium Check
 | Live load (KN) | SID (kN) | Dead load (kN)
Manual | 22764 | 25288 | 108597
By ETABS | 23363 | 24885 | 109648
% Error | 2.6% < 5% | 1.6% < 5% | 1% < 5%

## Slide 44: Verification of the model
Internal force check
Column Check:
 | Manual | By ETABS | %Error
Column 9 | 2497 kN | 2648 kN | 5.7%
Column 5 | 2865 KN | 2724 KN | 5%
Column 7 | 199 kN | 204 kN | 2.6%

## Slide 45: Verification of the model
Internal force check
Slab Check:
 | Manual | By ETABS | %Error
Slab 1 | 175 kN.m | 135 kN.m | 23.1%
Slab 2 | 289 KN.m | 319 KN.m | 9.4%
Slab 3 | 73 kN.m | 51.64 kN.m | 29.7%

## Slide 46: Verification of the model
Internal force check
Beam Check:
 | Manual | By ETABS | %Error
Beam 2 | 282 kN.m | 223 kN.m | 21%
Beam 5 | 2068 KN.m | 1850 KN.m | 10.5%
Beam 7 | 1983 kN.m | 1440 kN.m | 27.36%

## Slide 47: Design checks
Period Check
1.3 sec < 1.44 sec
Drift
In X-direction=116.3 < 125 mm
In Y-direction=105.22 < 125 mm
Deflection check
22.5 mm < 59.46 mm
Base shear check
4717kN > 1782kN
4239kN > 1887kN
Modal participating mass ratio check
0.91 > 0.90

## Slide 48: Ribbed Slab Reinforcement

## Slide 49: Solid Slab Reinforcement

## Slide 50: Beams Reinforcement

## Slide 51: Beams Reinforcement

## Slide 52: Beams Reinforcement

## Slide 53: Columns Reinforcement

## Slide 54: Stair Reinforcement

## Slide 55: Mat Foundation
Foundation thickness = 1.40 m.

## Slide 56: Model checks
Deflection shape check:
Max. deflection = 8.50 mm >10 mm

## Slide 57: Model checks
Soil failure check:
q all = 250 KN/m2.
Stress under footing = ∑ Fz / Area of building = 358205.812/1680 = 213 KN/m2 ≤ 250 KN/m2, which is OK.

## Slide 58: Model checks
Shear check:
ΦVc = = 860 KN/m.
The ultimate shear in V13 direction is 790.36 KN/m and 586.59 KN/m in V23 direction, so, shear check is OK.

## Slide 59: Model checks
Punching shear check:
ØVc,p = Ø * * * bo * d = * * 6280*1300 = 10800 KN.
Compare this value with maximum axial load on a column as a conservative value.
Pu = 7256 KN < 10800 KN, so, punching shear check is OK.

## Slide 60: Mat foundation design
Design for moment:
H = 1400 mm
D = 1300 mm
bw = 1000 mm
As,min = 0.0018*1000*1300 = 2340 mm2
M = 0.9*As*420 ( 460 - ) *10-6 = 0.9*2340*420 ( 460 - ) *10-6
= 388 KN.m /m.

## Slide 61: Mat foundation reinforcement
Reinforcement details:

## Slide 62: Mat foundation reinforcement
Part 1 details:

## Slide 63: Mat foundation reinforcement
Part 2 details:

## Slide 64: Electrical Design.

## Slide 65: Electrical design.
Recommended illumination.
Reflection factor.

## Slide 66: Electrical design.
Artificial lighting.
Shops.
E(lux) | U | UGR | D.F
177 | 63 | 18.6 | 2.169

## Slide 67: Electrical design.
Shops selected luminaires.

## Slide 68: Electrical design.
Artificial lighting.
Offices (management room).

## Slide 69: Electrical design.
Artificial lighting.
Offices (secretary room).

## Slide 70: Electrical design.
Artificial lighting.
Offices (reception hall).

## Slide 71: Electrical design.
Office rooms selected luminaires.

## Slide 72: Electrical design.
Artificial lighting.
Motels (guest bedroom).

## Slide 73: Electrical design.
Artificial lighting.
Motels (living room).

## Slide 74: Electrical design.
Motels selected luminaires.

## Slide 75: Electrical design.
Artificial lighting.
External lighting.

## Slide 76: Electrical design.
Artificial lighting.
External lighting.

## Slide 77: Electrical design.
Artificial lighting.
External lighting.

## Slide 78: Electrical design.
Lighting arrangement for shops.

## Slide 79: Electrical design.
Lighting arrangement.
Lighting arrangement for offices.

## Slide 80: Electrical design.
Sockets arrangement for shops.

## Slide 81: Electrical design.
Sockets arrangement for offices.

## Slide 82: Electrical design.
Main distribution board.

## Slide 83: Mechanical design.

## Slide 84: Mechanical design
1- Water Supply System
2-Drainage System
3-H-VAC System

## Slide 85
Mechanical design
Water supply design

## Slide 86
Water distribution System
Mechanical design

## Slide 87: Drainage System:
Amount of drainage water in each floor

## Slide 88: Flush water Tank:
The total amount = 15391 Liter/Day.
= 15.391 Cubic meter
= 16 Cubic meter.
The flush water tank dimension:
(2 ×2 × 4) m.

## Slide 89
Amount of flush water in each floor

## Slide 90
Amount of Fresh water in each floor

## Slide 91: Storm Water:
Total amount of fresh water per day = 16.807 m³
= 17 m³
Storm Water = Avg. Rain in the year × Area = 0.6 m ×1300 m2 = 780 m³
The needed amount of fresh water for 7 days = 119 m³ So 120 m³ of rain water will be stored, and others will be drained.
The fresh water tank dimension: ( 5 ×6 × 4 ) m.

## Slide 92
Safety design
Fire resistance system:
Sprinklers system was used:
HI-FOG sprinkler type was used.

## Slide 93
Safety design
Sprinklers water supply connections :

## Slide 94
Fire resistance system:
Safety design

## Slide 95: Mechanical design.
HVAC system.
System used are :
VRF
This building was divided into several zones.
Main components of VRF system are :
Out door unit (for cooling and heating).
Controller.
Fan coil unit.
Ducts.
Diffusers.

## Slide 96: Mechanical design.
Out door unit.

## Slide 97: Mechanical design.
controller.

## Slide 98: Mechanical design.
Fan coil unit.
Diffusers.

## Slide 99: Mechanical design.
Hvac distribution for motels floor :

## Slide 100: Reflecting cieling.

## Slide 101: Quantities and Survey

## Slide 102: Quantities and Survey

## Slide 103: Quantities and Survey

## Slide 104: Quantities and Survey

## Slide 105: Quantities and Survey

## Slide 106: Quantities and Survey
Total cost of the building = 32083690 NIS
Total cost per meter squared of the building (NIS) = 1671 NIS.
Total cost per meter squared of the building ($) = 500 $.