## Slide 1
Graduation Project – II (10611590)
A cultural center in Balata camp
Submitted By:
Amani Utt
Isra’ Abusamen
Reham Sawafta
2020-2021
Supervised name: Dr. Monther Dwaikat.
An-Najah National University Building Engineering Department

## Slide 2
Introduction
Site Analysis
Architectural aspects
Environmental aspects
Structural aspects
Electro-mechanical
Cost estimated.
Contents

## Slide 3
Introduction

## Slide 4
Site Analysis
Location
Orientation
Sun path
Access
Noise
Green area

## Slide 5
Architectural design

## Slide 6
Basement Floor.
Floor area 1725 m2

## Slide 7
Before Modification.(Area 530 m2)
After Modification.(Area 665m2)
Ground Floor.

## Slide 8
First Floor.
Before Modification.(Area 970 m2)
After Modification.(Area 1020 m2)

## Slide 9
Second Floor.
Floor area 665 m2

## Slide 10
Section A-A.
Section B-B.

## Slide 11
North Elevation.
South Elevation.

## Slide 12
West Elevation.
East Elevation.

## Slide 13
3 D VIEW

## Slide 17
Environmental Adjustments
Daylighting
Thermal analysis
Over-shadowing effect on the building
HVAC design
Environmental design

## Slide 18: Environmental Adjustments
Before
After

## Slide 19
Before
After

## Slide 20: Daylighting
Floor | Before | After
Basement Floor |  | 
Ground Floor |  | 
First Floor |  | 
Second Floor |  | 

## Slide 21
Thermal analysis

## Slide 22: Elemental properties of structural and material layers within the element:
External wall
U-value for external wall =.31<.5
Floor
U-value for floor = .46<.85

## Slide 23
Roof
Elemental properties of structural and material layers within the element:
Semi exposed floor
U-value for roof =.35<.39
U-value for semi exposed floor=.605<.85

## Slide 24: Elemental properties of structural and material layers within the element:
Curtain wall (Arcadia OPG3000 STC T / W)
double family glass type (double glazing, common PYR B CLEAR 6mm, with AIR 20 mm and Generic CLEAR (12 mm)

## Slide 25: Thermal analysis
Description | Heating load (KW) | Cooling load (KW) | Area(m2)
Whiteout insolation and Adjustments | 96.46 | 210.128 | 944
White insolation | 91.04 | 135.34 | 1579.5
White insolation and Adjustments | 78.61 | 113 | 1579.5
Results for heating & cooling load analysis:

## Slide 26: Thermal analysis
Results for heating load analysis
Total heating load =78.61KW
Design heating Load Per Floor Area
(W/m2) =47.9 W

## Slide 27: Thermal analysis
Results for cooling load analysis
Total cooling load =113kw
Design Cooling Load Per Floor Area
(W/m2) =66.6 W
Thermal analysis- Total energy consumed per meter square in the building :

## Slide 28: Thermal analysis
comfort results
The number of non-comfort hours in the building:

## Slide 29: Thermal analysis Computational Fluid Dynamics (CFD) analysis
Internal CFD analysis:
Air velocity between (0.08-0.22 m/s)
Temperatures (17.66-18.77°C) Temperature (16.95-20.14°C)

## Slide 30: Over-shadowing effect on the building
Before
At 8 a.m.
At 4 P.m.
At 12 P.m.
In summer
After
At 8 a.m.
At 12 P.m.
At 4 P.m.

## Slide 31: Over-shadowing effect on the build
In winter
Before
After
At 8 a.m.
At 12 P.m.
At 4 P.m.
At 8 a.m.
At 12 P.m.
At 4 P.m.

## Slide 32
From the Design Builder program:
Total Heating Load = 78.61 kW.
Total Cooling Load = 113 kW.
Total Flowrate = 5308.6 L/s.
HVAC System

## Slide 33: HVAC System
Outdoor unit :
2VRF unit with capacity 56&61 KW
VRF units AP2014FT8-E, AP1814FT8-E
Indoor unit:
Cassette unit
Fan coil
Diffuser
AP0074MH-E
AP0152WH
AP0724H-E, AP0274H-E Fan coil
Rectangular diffuser ).3X.3M)
Linear diffuser

## Slide 34: HVAC System
Supply diffusers
Zone | Design cooling Capacity (kW) | Design Flow Rate (m3/s) | No .DEF | Type
Administration | 3.16 | 0.1852 | 2 | R.D.(.3X.3M)
Secretary | 1.36 | 0.071 | 1 | R.D.(.3X.3M)
Kitchen | 0.48 | 0.0282 | 1 | R.D.(.3X.3M)
Multipurpose | 16.65 | 0.9867 | 6 | R.D.(.3X.3M)
Workshop | 7.64 | 0.3649 | 3 | R.D.(.3X.3M)
Reception Waiting Area | 9.58 | 0.4337 | 3 | L.D/R.D(.3X.3M)
Meeting-room | 4.04 | 0.1884 | 2 | R.D.(.3X.3M)
Gallery | 13.32 | 0.4424 | 6 | R.D.(.25X.25M)
Computer Lab | 7.17 | 0.4109 | 6 | R.D.(.25X.25M)
Cafeteria | 10.25 | 0.5364 | 3 | R.D.(.3X.3M)
Kitchen | 2.33 | 0.128 | 2 | R.D.(.25X.25M)
Secretary | 2.21 | 0.1165 | 2 | R.D.(.25X.25M)
Director | 1.67 | 0.0758 | 4 | L.D
Library | 9.23 | 0.5179 | 6 | R.D.(.25X.25M)
lobby | 8.27 | 0.3454 | 4 | L.D
Archive | 0.26 | 0.00699 | 1 | R.D.(.25X.25M)
Painting and drawing | 3.18 | 0.1425 | 2 | R.D.(.25X.25M)
Music | 3.1 | 0.1687 | 2 | R.D.(.25X.25M)
Dressing-Room | 0.13 | 0.003367 | 1 | AP0074MH-E
Theater | 9.25 | 0.3978 | 3 | AP0152WH-E
Lobby | 0.2 | 0.005628 | 1 | AP0074MH-E
Total | 105.24 | 5.3086 |  | 
Zone | Fresh air (m3/s) | Return Flow Rate (m3/s) | NUMB .DEF | Type
Administration | 0.005 | 0.181 | 1 | R.D.(.3X.3M)
Secretary | 0.004 | 0.068 | 1 | R.D.(.3X.3M)
Kitchen | 0.007 | 0.021 | 1 | R.D.(.3X.3M)
Multipurpose | 0.426 | 0.561 | 4 | R.D.(.3X.3M)
Workshop | 0.082 | 0.283 | 2 | R.D.(.3X.3M)
Reception Waiting Area | 0.126 | 0.307 | 2 | L.D/R.D(.3X.3M)
Meeting-room | 0.081 | 0.108 | 1 | R.D.(.3X.3M)
Gallery | 0.263 | 0.179 | 2 | R.D.(.25X.25M)
Computer Lab | 0.096 | 0.315 | 2 | R.D.(.25X.25M)
Cafeteria | 0.329 | 0.207 | 2 | R.D.(.3X.3M)
Kitchen | 0.025 | 0.103 | 1 | R.D.(.25X.25M)
Secretary | 0.006 | 0.111 | 2 | R.D.(.25X.25M)
Director | 0.004 | 0.072 | 2 | L.D
Library | 0.042 | 0.476 | 5 | R.D.(.25X.25M)
lobby | 0.29 | 0.056 | 1 | L.D
Archive | 0.006 | 0.001 | 1 | R.D.(.25X.25M)
Painting and drawing | 0.062 | 0.08 | 2 | R.D.(.25X.25M)
Music | 0.097 | 0.072 | 1 | R.D.(.25X.25M)
Dressing-Room | 0.003 | 0.001 | 1 | AP0074MH-E
Theater | 0.188 | 0.21 | 2 | AP0152WH-E
Lobby | 0.004 | 0.001 | 1 | AP0074MH-E
Total | 2.146 | 3.413 |  | 
Return diffusers

## Slide 35: HVAC System
Basement
Ground Floor

## Slide 36: HVAC System
First Floor

## Slide 37: HVAC System
Second Floor

## Slide 38
Structural Design

## Slide 39: Load material and code Data:
Load :
Materials Data
Construction materials that were used in the building:
For slab and beam use concrete B300 with fʹc =24 MPa.
For column and shear wall & mat foundation use concrete B350 with fʹc =28MPa.
Steel reinforcements with yielding strength fy=420MPa.
Design Codes:
ASCE: American society of civil engineers.
ACI 318-14: American concrete institute 2014.
Jordanian National Building Codes - Loads and Forces Code.
UBC-97 For seismic design
Type of load | Load considered (KN/m2)
Live load | 5 KN/m2
Superimposed dead load | 3.02KN/m2
Partitions dead load /m height | 1.66 KN/m2
Load of externals concert wall / (m height) | 5 KN/m2
Load of externals glass wall / (m height) | .312KN/m2
Snow load | .41KN/m2
Soil lateral pressure | Dependent on z

## Slide 40: The structural system of Slab
-Slab thickness design :
U-boot slab design is using with thickness H = 420mm.
Shear check:
Vu
ᴓVc=˃Vu→ NO need to design for shear.

## Slide 41
Column distribution :
column type |  | length (cm) | width (cm)
rectangular | c1 | 80 | 35
 | c2 | 40 | 75
 | c3 | 50 | 60
cylinder | dimeter (cm) |  | 
 | c4 | 70 | 
Dimensions of Columns

## Slide 42: Dimensions of Beams
Beam | Width | Depth | Effective depth
B1 | 800 | 420 | 390
B2 | 300 | 420 | 390
B3 | 1000 | 700 | 670
B4 | 1000 | 420 | 390

## Slide 43
Checks
Compatibility check
Equilibrium check
Stress σ & Strain ɛ check
Period check
Modal mass participation ratio check
Base shear check
Drift check
Structural analysis

## Slide 44
Compatibility check and Period
Period check.
T =1.4 × Ct (hn) ¾
T =1.4 × 0.0488 (15.65) ¾ =0.537 Sec.
𝑇𝑒𝑡𝑎𝑏𝑠 𝑠ℎ𝑜𝑢𝑙𝑑 𝑏𝑒 ≤ 𝑇𝑚𝑒𝑡ℎ𝑜𝑑𝑎 𝑇𝑥 = 0.497 < 0.537 → 𝑂𝐾. 𝑇𝑦 = 0.423 < 0.537 → 𝑂𝐾.

## Slide 45
Equilibrium check:
Error % Doesn’t exceed 5 %
Deflection check:
Maximum deflection calculate by Etabs from serves =40.5< 45mm .
Load | Etabs | Manual | Error%
Live | 20494.053 | 20081 | 2.06
SID | 27168.822 | 27979.816 | 2.90
Dead | 52580.342 | 135071 | 1.0

## Slide 46
Stress-strain check:
Column internal force:
Beam internal force:
Column type | Manual load (KN) | Etabs load | %Error
Edge column | 681.25 | 681.187 | 0.01
Corner column | 542.825 | 542.79 | 0.01
BEAM | M manual (KN) | M etabs (KN) | % Error
AB | 39.11 | 38.67 | 1.125
BC | 35.32 | 36.9 | 2.64
CD | 43.056 | 43.06 | 0.0

## Slide 47
Slab internal force:
-internal stress check for frame ABCD in Y-axis:
-internal stress check for frame ABCD in X-axis:
Frame | M manual | M Etabs | % Error
 | (KN.m) | (KN.m) | 
AB | 345.47 | 344.79 | 0.2
BC | 290.96 | 283.385 | 2.6
CD | 290.45 | 286 | 1.5
Frame | M manual | M Etabs (KN.m) | % Error
 | (kN.m) |  | 
AB | 224.35 | 222.05 | 1.02
BC | 353.06 | 344.66 | 2.37
CD | 413.05 | 406 | 1.70

## Slide 48
    Seismic design criteria
Important parameters seismic analysis |  |  | 
•Mass source: | 100% * Dead & 25%*Live |  | 
•Seismic zone : | 2B |  | 0.20
•Soil profile: | Stiff soil profile |  | SD
• Force Reduction Factor (Building Frame System - shear wall) _ R | HBuilding | 2.5 | 5.5
•Importance Factor _ I |  |  | 1
•Acceleration-Dependent Seismic Coefficient (Ca) |  |  | 0.28
•Velocity-Dependent Seismic Coefficient (Cv) |  |  | 0.40

## Slide 49
Modal mass participation ratio check
Sum UX= 0.9557
Sum UY= 0.9605
Sum of UX and UY ≥ 0.9 check is ok
Case | Mode | Period | UX | UY | UZ | Sum UX | Sum UY
 |  | sec |  |  |  |  | 
Modal | 49 | 0.025 | 0.0019 | 0.0003 | 0 | 0.5897 | 0.5784
Modal | 50 | 0.025 | 0.0049 | 0.0012 | 0 | 0.5945 | 0.5795
Modal | 51 | 0.025 | 0.0277 | 0.0058 | 0 | 0.6222 | 0.5854
Modal | 52 | 0.024 | 0.2081 | 0.0589 | 0 | 0.8303 | 0.6443
Modal | 53 | 0.024 | 0.0049 | 0.001 | 0 | 0.8352 | 0.6453
Modal | 54 | 0.024 | 0 | 0.0001 | 0 | 0.8352 | 0.6454
Modal | 55 | 0.024 | 0.0204 | 0.0389 | 0 | 0.8557 | 0.6843
Modal | 56 | 0.023 | 3.55E-05 | 0 | 0 | 0.8557 | 0.6843
Modal | 57 | 0.023 | 0.0011 | 0.0006 | 0 | 0.8567 | 0.6849
Modal | 58 | 0.023 | 0.0001 | 4.15E-06 | 0 | 0.8568 | 0.6849
Modal | 59 | 0.023 | 0.0136 | 0.0879 | 0 | 0.8704 | 0.7728
Modal | 60 | 0.023 | 0.0852 | 0.1877 | 0 | 0.9557 | 0.9605

## Slide 50
BASE SHEAR CHECK | 
Soil profile | SD
I | 1
Ca | 0.28
Cv | 0.4
R | 5.5
Ω | 2.8
Ct | 0.0488
hn | 15.65
T | 0.537
Tetabs | 0.497
w | 8.4873E+04
Vmain | 1.1882E+04
Vsecondry | 3.5647E+03
Base shear check
EQx Max= 11889.136
EQy Max= 11888.827
EQ ≥ V its ok.

## Slide 51
Story | Height | Dis X | Dis Y | Drift X | Drift Y | Delta X | Delta Y | Delta Limits
0 | _ | 0 | 0 | _ |  |  |  | 
Base | 3150 | 0.06 | 0.06 | 0.06 | 0.06 | 0.24 | 0.25 | 78.75
GF | 4500 | 3.61 | 3.59 | 3.55 | 3.53 | 13.66 | 13.58 | 112.5
FF | 4000 | 8.04 | 7.79 | 4.43 | 4.20 | 17.05 | 16.17 | 100
SF | 4000 | 13.20 | 12.52 | 5.16 | 4.73 | 19.85 | 18.20 | 100
Drift check
T ˂ 0.7, Δ M =2.5% * H, H: story height.
T ≥ 0.7, Δ M =2.0% * H, H: story height.

## Slide 52
Detailing requirements:
Diaphragm details:

## Slide 53
Circular columns details:
Rectangular columns details:
Columns details details:

## Slide 54
Beams details:

## Slide 55
Mat foundation Layout

## Slide 56
Mat foundation Details
3D Mat foundation details

## Slide 57
Shear check
For toe and heal :
ØVC = ( 0.75/6 )×√28 × 380 × 1000 ×10-3
= 251.3 KN/m
Toe maximum shear is:
98.45KN/m , less than ØVC → ok
Heel maximum shear is :
154.48KN/m , less than ØVC
Retaining wall dimension and details

## Slide 58
Staircase details

## Slide 59
Water tank details

## Slide 60
Lighting units and switches /Electrical design

## Slide 61
Lighting unit layout plan for basement.

## Slide 62
Lighting Unit layout
plan for ground floor.

## Slide 63
Lighting Unit layout
plan for first floor.

## Slide 64
Lighting Unit layout
plan for second floor.

## Slide 65
Computer Lab DIALUX results.
Luminaire layout plan for Computer lab
UGR Check.

## Slide 67
Electrical power

## Slide 68
Switch distribution
of basement floor

## Slide 69
Switch distribution
of ground floor

## Slide 70
Switch distribution
of first floor

## Slide 71
Switch distribution
of second floor

## Slide 72
Distribution Board
Main Distribution Board for bulding

## Slide 73
Mechanical system

## Slide 74
Vertical | Horizontal | Branch | Sub-Branch
3 '' | 2'' | 1 ½'' | 1"
Diameter Of Pipes
Ground floor

## Slide 75
First floor

## Slide 76
Second floor

## Slide 78
Drainage of rainwater from the roof
Drainage of rainwater from outside area.

## Slide 79
FIREFIGHTING SYSTEM

## Slide 82
Acoustical- design.

## Slide 83
RT60 before treatment
RT60 after modification
Standard of RT60= (1.3-1.9) Sec
absorption coefficient value of wood

## Slide 84
  ROOF PHOTOVLTAIC SYSTEM DESIGN

## Slide 85
Selection of module

## Slide 86
Tilted landscape
Horizontal landscape
Tilted portrait
Horizontal portrait

## Slide 87
Benefit to cost ratio (BCR)
Tilted landscape
Total initial cost | 123,225$
Benefit | 730,000$
BCR | 5.92
Horizontal landscape
Total initial cost | 181,552$
Benefit | 1,100,000$
BCR | 6.05
Tilted portrait
Total initial cost | 98,580$
Benefit | 580,000$
BCR | 5.88
Horizontal portrait
Total initial cost | 190,588$
Benefit | 1,150,000$
BCR | 6.03

## Slide 88
cumulative cash flows graph

## Slide 89
Quantity surveying and cost estimate

## Slide 90
Work | Budget Cost (NIS)
Sub-Structure | 2714438.16
Super Structure | 1455057.05
Non- Structure | 1886985.95
Finishing | 911983.83
Mechanical Work | 1160453
Electrical Work | 37875
safety work | 110140
External work | 31611.6
PV system | 490190
Total cost that estimated for cultural center = 7,947,412 NIS.→2,445,360$
Cost for project building per m2= 7947412/2350=3,381.87 NIS →1,040$.

## Slide 91
Thank you for listening 
Any questions