## Slide 1: An-Najah National University Faculty of Engineering and Information Technology Building Engineering Department
Commercial building that embodies an integrative approach to design and community
Graduation project II presentation
Prepared By:
Nasser Maqboul
Waleed Al Shaikh Ibrahim
Mohammad Owaisi
Jameel shashtari
Supervised by: Dr . Nermeen barq

## Slide 2
CONTENTS
Introduction
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 3
CONTENTS
Introduction
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 4
Location : Askar - Nablus – Palestine
Land area : 1059 m^2
Budling total area : 5599 m^2
Contains : 7 floors + 2 basement
Name of Story | Area (m2)
Basement 2 | 708.5
Basement 1 | 879.0
Ground floor | 487.0
Attic | 312.0
1st floor | 525.0
2nd floor | 525.0
3rd floor | 525.0
4th floor | 525.0
5th floor | 525.0
6th floor | 525.0
Introduction:

## Slide 5
CONTENTS
Introduction
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 6
Site Analyze
Architectural plans
Architectural

## Slide 7
Site Analyze
- Land topography
- Site location

## Slide 8
Site Analyze
Noise Analysis
Sun Path diagram

## Slide 9
Site Analyze
Temperature
Solar radiation
Wind speed
Humidity
Climate
Rainfall

## Slide 10
Architectural plans

## Slide 11
Before & after modifications
Adding Basement (B2)

## Slide 12
Before & after modifications
First Basement (B1)
Before
After

## Slide 13
Before & after modifications
Ground floor (GF )
Before
After

## Slide 14
Before & after modifications
Adding ATTIC

## Slide 15
Before & after modifications
First floor (1st)
Before
After

## Slide 16
Before & after modifications
Second floor (2nd)
Before
After

## Slide 17
Before & after modifications
Adding third floor (3rd)
Adding forth floor (4th)

## Slide 18
Before & after modifications
Adding fifth floor (5th)
Adding Six floor (6th)

## Slide 19
East Elevation after modification
North Elevation after modification

## Slide 20
West Elevation after modification
South Elevation after modification

## Slide 21
Sections in the building

## Slide 22
Lumion

## Slide 23
Environmental Aspects

## Slide 24
CONTENTS
Shading and solar radiation analysis.
CFD analyze
daylight factor
Heating and cooling loads.
Thermal comfort

## Slide 25
CONTENTS
Shading and solar radiation analysis.
CFD analyze
daylight factor
Heating and cooling loads.
Thermal comfort

## Slide 26
Shading analysis – Summer case
Before
After
8:00 am

## Slide 27
Shading analysis – Summer case
Before
After
12:00 pm

## Slide 28
Shading analysis – Summer case
Before
After
3:00 pm

## Slide 29
Shading analysis – Winter case
Before
After
8:00 am

## Slide 30
Shading analysis – Winter case
Before
After
12:00 pm

## Slide 31
Shading analysis – Winter case
Before
After
3:00 pm

## Slide 32
Solar Radiation analysis
at 21-jan at 8 AM

## Slide 33
Solar Radiation analysis
at 21-jan at 12 PM

## Slide 34
Solar Radiation analysis
at 21-jan at 3 pm

## Slide 35
Solar Radiation analysis
At 21-July At 8 Am

## Slide 36
Solar Radiation analysis
At 21-July at 12pm

## Slide 37
Solar Radiation analysis
At 21-july at 3 pm

## Slide 38
CONTENTS
Shading and solar radiation analysis.
CFD analyze
daylight factor
Heating and cooling loads.
Thermal comfort

## Slide 39
Daylight factor
First floor modification
Before
After
Second floor modification

## Slide 40
Daylight factor
Third floor modification
Before
After
Fourth floor modification

## Slide 41
Daylight factor
Fifth floor modification
Before
After
Sixth floor modification

## Slide 42
Daylight factor improvement strategy
Glazed facades and glazed partitions
Louvers

## Slide 43
CONTENTS
Shading and solar radiation analysis.
CFD analyze
daylight factor
Heating and cooling loads.
Thermal comfort

## Slide 44
Heating and cooling loads.
Summary of heating and cooling load
Category | Before Treatments | After Treatments | % Saving
Heating Load | 309.3 | 143.88 | 53.48%
Cooling Load | 344.19 | 212.86 | 38.16%
Results before treatments:
Total heating load = 309.3 KW.0 -
Total Cooling load = 344.19 KW.
Results after treatment :
Total heating load = 143.88 KW
Total cooling load = 221.86 kw

## Slide 45
Material used before and after treatment
Walls Layers
Internal floor layers
Before
After
U-value = 0.96w/m2-k
U-value = 2.33w/m2-k
U-value = 0.457w/m2-k
U-value = 0.96w/m2-k

## Slide 46
Material used before and after treatment
Roof Layers
Window layers
Before
After
U-value = 2.25w/m2-k
U-value = 2.54w/m2-k
U-value = 0.522w/m2-k
U-value = 1.451w/m2-k

## Slide 47
CONTENTS
Shading and solar radiation analysis.
CFD analyze
Daylight factor
Heating and cooling loads.
Thermal comfort

## Slide 48
Thermal comfort
PMV
Before
After
The PMV values are high in the most days of the year which is not ok.
The PMV values are from -0.7 to 0.7 in the most days of the year which is ok.

## Slide 49
Thermal comfort
Consumption
Before
After
Consumption before = 170.69 KWH/m2
Consumption After = 82.86 KWH/m2
%saving = 51.4 %

## Slide 50
CONTENTS
Shading and solar radiation analysis.
CFD analyze
Daylight factor
Heating and cooling loads.
Thermal comfort

## Slide 51
CFD analyze -
Exterior CFD
Average wind speed used in software = 5m/s.
The number of iterations made = 1000 iterations.
The wind currents flow to all buildings without any prevention, which is ok.

## Slide 52
CFD analyze -
Interior CFD
The air movement is from bottom to top which is ok.

## Slide 53
Baseline
The saving percentage =53.86%

## Slide 54
CONTENTS
Introduction
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 55: Structural Aspect
S
Assumptions
Structural details
Structural model
Design
Seismic checks

## Slide 56: Structural Aspect
Assumptions
Assumptions
Codes used in the design
1. (ACI 318-19) for concrete structural design.
2. ASCE 7-22 for structural design loads.
3. UBC-97 code for seismic design.
Materials
- Concrete compressive strength(f'c) = 24 MPa for slaps and beams.
-Concrete compressive strength(f'c) = 28 MPa for columns and shear wall.
-Concrete unit weight = 25 KN/m3.
-Yielding strength of steel (fy) = 420 MPa.
-

## Slide 57: Structural Aspect
Assumptions
Loads
-Live load =
-Live load = {█("2.5 KN/m2 for offices ." @"3.5 KN/m2 for attic. " @"5 KN/m2 for parking and ground floor" @15" KN/m2 for floor font of ground floor. " )┤
- S.I.D = 4.5
- Wall load = 18
- S.I.D = 4.5" KN/m2"
- Wall load = 18 "KN/m. "
Loads
Importance factor = 1
R = 5.5
Z = 0.2
Soil profile: SD
Seismic zone: 2B
Seismic loads
Ca = 0.28
Cv = 0.40

## Slide 58
Design
Slab system: One - way ribbed slab and solid slab.
Column’s
Structural Aspect

## Slide 59: Structural Aspect
Design
Beam’s

## Slide 60: Structural Aspect
ETABS structural model

## Slide 61: Structural Aspect
ETABS model checks
-Compatibility check

## Slide 62: Structural Aspect
ETABS model checks
- Equilibrium check
- Deflection check

## Slide 63: Structural Aspect
ETABS model checks
- Stress strain check
Column
Beam

## Slide 64: Structural Aspect
Seismic checks
-Period check
- Base shear check

## Slide 65: Structural Aspect
Seismic checks
-Drift check

## Slide 66: Structural Aspect
-Column details
Structural details

## Slide 67: Structural Aspect
-Beam details
Structural details

## Slide 68: Structural Aspect
-Beam details
Structural details

## Slide 69: Structural Aspect
-Beam details
Structural details

## Slide 70: Structural Aspect
-Beam details
Structural details

## Slide 71: Structural Aspect
-Beam details
Structural details

## Slide 72: Structural Aspect
-Beam details
Structural details

## Slide 73: Structural Aspect
Slab details
One – way ribbed slab (38cm)

## Slide 74: Structural Aspect
Slab details
One – way ribbed slab (32cm)

## Slide 75: Structural Aspect
Slab details
Solid slab

## Slide 76: Structural Aspect
-Mat foundation details
Structural details

## Slide 77: Structural Aspect
-Mat foundation details
Structural details

## Slide 78: Structural Aspect
-Stair details
Structural details

## Slide 79: Structural Aspect
-Stair details
Structural details

## Slide 80: Structural Aspect
-Ramp details
Structural details

## Slide 81: Structural Aspect
-Shear walls details
Structural details

## Slide 82
CONTENTS
Introduction
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 83
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 84
Artificial lighting Design:
Visual comfort
Illuminance
Uniformity
Glare
Electro mechanical aspects

## Slide 85
Artificial lighting Design:
Standard values for office buildings lighting
Electro mechanical aspects

## Slide 86
Artificial lighting Design:
Offices room & corridor &Meeting room & Kitchen artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 87
Artificial lighting Design:
Toilet artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 88
Artificial lighting Design:
Store artificial lighting design.
The used luminaires.
Electro mechanical aspects

## Slide 89
Artificial lighting Design:
Results:
Electro mechanical aspects
Offices &Meeting room artificial lighting design.

## Slide 90
Artificial lighting Design:
Results:
Electro mechanical aspects
Corridor & Reception artificial lighting design.

## Slide 91
Artificial lighting Design:
Results:
Electro mechanical aspects
Toilet artificial lighting design.

## Slide 92
Results:
Electro mechanical aspects
Store artificial lighting design.
Artificial lighting Design:

## Slide 93
Artificial lighting Design:
Results:
Electro mechanical aspects
Offices room
For Toilet
Meeting room

## Slide 94
Artificial lighting Design:
Results:
Electro mechanical aspects
Corridor:
Store:

## Slide 95
Electrical Design:
Electro mechanical aspects
B2
B1

## Slide 96
Electrical Design:
Electro mechanical aspects
G floor
Attic floor

## Slide 97
Electrical Design:
Electro mechanical aspects
1st floor
2nd floor

## Slide 98
Electrical Design:
Electro mechanical aspects
3rd floor
4th floor

## Slide 99
Electrical Design:
Electro mechanical aspects
5th floor
6th floor

## Slide 100
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 101
HVAC Design
The system used for HVAC design is Variable refrigerant flow “ VRF system ”
Out door Unit
Fan coli
Diffusers
Split unit
VRF component
Total heating load after treatment = 143.88 KW
Total cooling load after treatment= 212.86 KW

## Slide 102
HVAC Design
Ground floor
First floor

## Slide 103
HVAC Design
Second floor
Third floor

## Slide 104
HVAC Design
Forth floor
Fifth floor

## Slide 105
HVAC Design
Six floor
Out door unit

## Slide 106
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 107
Acoustics design
1-Meeting room:
By using EASE software:
Material used :
3.Terrazzo in the floor
2.Plaster in the wall.
1.Paint in the ceiling.

## Slide 108
2-Offices:
By using EASE software:
Acoustics design

## Slide 109
3- Between offices (Internal partition):
By using INSUL software to find STC:
The recommendation STC is 35.
The STC for partition wall is 44 >>>> 35, its ok.
Acoustics design

## Slide 110
4- Internal glazing walls:
By using INSUL software to find STC:
The STC for partition wall is 44 >>>> 35, its ok.
Acoustics design

## Slide 111
5-External walls:
By using INSUL software to find STC:
The recommendation STC is 38.
The STC for partition wall is 90 > 38, its ok.
Acoustics design

## Slide 112
6-Floor:
By using INSUL software to find STC:
Recommended IIC between (34-55) db.
IIC = 60 >>>>55 ITS ok.
Acoustics design

## Slide 113
6-Roof:
By using INSUL software to find STC:
LIA =21 dB that’s ok in the rang (15-20).
Acoustics design
Drainage
Drainage

## Slide 114
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 115: Evacuation ways
Fire fighting and fire alarm systems
Ground floor
First floor
Second floor

## Slide 116: Evacuation ways
Fire fighting and fire alarm systems
Third floor
Forth floor
Fifth & Sixth floor

## Slide 117
Fire fighting and fire alarm systems
1) Emergency signs:

## Slide 118
2) Smoke detectors
3) Heat Detectors
Fire fighting and fire alarm systems
Fire alarm systems:

## Slide 119
Fire fighting and fire alarm systems
Fire alarm systems:
4) Fire speakers:
5) Fire alarm bell and manual call point. (Break glass unit)

## Slide 120
Fire fighting and fire alarm systems
5) Fire rated facade
6) Fire extinguishers:
Class A

## Slide 121
7) Fire Hose Cabinet:
Class I system:
Fire fighting and fire alarm systems
8) Water sprinklers system:

## Slide 122
Fire fighting and fire alarm systems
Basement 2
Basement 1

## Slide 123
Fire fighting and fire alarm systems
Ground floor
Attic

## Slide 124
Fire fighting and fire alarm systems
First floor
Second floor

## Slide 125
Fire fighting and fire alarm systems
Third floor
Forth floor

## Slide 126
Fire fighting and fire alarm systems
Fifth floor and sixth floor (typical)
Roof tank with pump

## Slide 127
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 128
First basement
Ground floor
Water Supply Design

## Slide 129
Attic
First floor
Water Supply Design

## Slide 130
Second floor
Third floor
Water Supply Design

## Slide 131
Forth floor
Fifth floor
Water Supply Design

## Slide 132
Sixth floor
Roof Tanks
Water Supply Design

## Slide 133
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 134
Drainage Design
Ground Floor
Attic

## Slide 135
First floor
Second floor
Drainage Design

## Slide 136
Third floor
Forth floor
Drainage Design

## Slide 137
Fifth and sixth floor
Rood drain slop
Drainage Design

## Slide 138
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 139
Elevator design
Elevator design

## Slide 140
CONTENTS
Artificial lighting Design
Hvac design
Acoustics Design
Fire system
Vertical transportation(elevators)
Water supply
Drainage
Power

## Slide 141
Power design
Sample for third floor
Item | total power | Cable dimension
Lighting | 2393.6 w | 3*25 mm^2
Normal socket | 5500 w | 
Special | 4000 w | 
Total | 11893.6 w | 

## Slide 142
Power design
The MDB distribution

## Slide 143
Power design
Lighting and power layout sample for third floor
Power
lighting

## Slide 144
Power design
Backup power generators:

## Slide 145
Outline
Introduction
Site Analysis and
Quantity surveying
Environmental Aspect
Architectural Aspect
Structural Aspect
Electro-Mechanical
Aspect

## Slide 146
Quantity surveying and cost estimation aspect
Work breakdown structure

## Slide 147
Quantity surveying and cost estimation aspect
Cost summary
Cost type | Total cost | Unit cost (/m2)
Building cost | ILS 9,003,750.18 | ILS/m2 1607.81
Earth work cost | ILS 236,000.00 | ILS/m2 42.14
Sub-structural work cost | ILS 1,006,635.47 | ILS/m2 179.76
Suber-structural work cost | ILS 6,513,605.61 | ILS/m2 1163.14
Electrical cost | ILS 157,715.00 | ILS/m2 28.16
Mechanical cost | ILS 81,794.00 | ILS/m2 14.61
Hvac cost | ILS 1,008,000.00 | ILS/m2 180.00

## Slide 148: Thanks!
Any questions?