## Slide 1: Graduation Project Water Works for Al-Marj Neighborhood
By :-
Ateid A. Afaneh
Qassam R. Mara’bi
Issam K. Arabas
An-Najah National University
Faculty of Engineering Civil Engineering Department
Supervisor : Dr. Abdel-Fattah Al-Mallah

## Slide 2: Outline
Introduction
Problem Description
Study area
Objective
Methodology
Design
Results
BOQ

## Slide 3: Introduction
The issue of water is considered to be the basic element needed to assure the actual independence in socio-economical development.
The main two recourses of water are surface water and ground water.
As other cities in Palestine, Qalqilya depends on renewable ground water as a primary water supply for different needs.
An applicable and practical WDN will be a primary requirement to meet this needs.

## Slide 4: Qalqilya
According to PCBS, It has a population of 50,586 (2015)
It is located above the western basin .

## Slide 5: Problem description
The problem begins by Oslo Accord which leads to reduce the area of Palestine.
This allowed to divide the land into A,B and C zones.
Due to scarcity of municipal building areas, people changed their trend of expansion to agriculture lands which is in C zone.
Al-Marj neighborhood in Qalqilya is an example of this situation.

## Slide 6: Israeli Restricts (2006)

## Slide 7: Study Area – Location-Area-population
The area about 0.62 Km2 in C zone.
It has population of 500 inhabitance is rapidly increasing.
50586 7.3 Km2
X 0.62 Km2
X = 4300 inhabitants
P2045 = 500 (1+ 2.5%)30=1050
The final estimation = 4300+1050
= 5350 inhabitants

## Slide 8: Study Area – Water Resources
  It is fed with water from Al-Montazah Tank through a random and scattered steel water network.

## Slide 9: Objective
Find a practical solution which includes a design of WDN for Al-Marj area considering water needs for the next 30 years.
The work will use different softwares such as WaterCAD software.

## Slide 10: Methodology

## Slide 11: Design - Hazen William

## Slide 12: Shapefiles in WaterCAD

## Slide 13: Elevation And Demand
Total demand = 175/1000 * 5350 = 936.25 m3/d
Elevation of the reservoir = 123 + 20 = 143 m.

## Slide 14: Nodes & Thiessen Polygons

## Slide 15: Pipes In The WDN

## Slide 16: Running The Model

## Slide 17: Checking the PEAK case
Assume peak daily factor = 2 Total demand = 950 *2
= 1900 m3/d

## Slide 18: Checking the PEAK case
Pressure < 20 mH2O

## Slide 19: Pump Definition

## Slide 20: Pump Data

## Slide 21: Checking the PEAK case

## Slide 22: Constraints
Velocity : acceptable limits ( 0.3 – 3 ) m/s
Pressure : acceptable limits ( 20 – 80 ) mH2O
Material : HDPE
Pipes Diameters : ( 0.5, 0.75, 1, 1.25, 1.5, 2, 2.5, 3, 4, 6, 8 and 10 )inches

## Slide 23: Results – Steady-state

## Slide 24: Results – Steady-state
Min pressure value is 28 mH2O
Max pressure value is 65 mH2O

## Slide 25: Results – Steady-state

## Slide 26: Results – Steady-state
Min velocity value is 0.22 m/s
Max velocity value is 1.63 m/s

## Slide 27: Results – Steady-state
The total length of the pipe equals 6827 m.
The largest percent of pipe diameter is 3 inches
Use HDPE pipes.

## Slide 28: Results – Peak

## Slide 29: Results – Peak

## Slide 30: Recommendations
Periodic test for the water quality.
Putting an operation and maintenance plan for this WDN by the municipality.
This area suffers from sewage problems, so waste water network must be designed.

## Slide 31: Thank You