## Slide 1
Integrated Design of a Restaurant
Students’ Name:
Supervisor: Eng. Nermeen AL-Barq
Bushra Ebseesih
Dana Hnini
Doa’a Haneish
Nareman Yaseen

## Slide 2: outline
Site analysis
Architectural design
Quantity surveying
structural design
Environmental design
Mechanical design
Electrical design

## Slide 3: Site analysis
-located in Nablus city
-land area=5583
-building area=6235
-surrounding
Area and Surrounding of the site.

## Slide 4: Shading
Overshadowing in January.21 at 12:00 PM.
Overshadowing in January.21 at 9:00 AM
Overshadowing in January.21 at 3:00 PM.

## Slide 5
Shading
Overshadowing in July.21 at 12:00 PM.
Overshadowing in July.21 at 9:00 AM.
Overshadowing in July.21 at 3:00 PM.

## Slide 6: Architectural design
-Basement floor plan
Basement floor plan.

## Slide 7: -Ground floor plan
.
ground floor plan
Architectural design

## Slide 8: -First floor plan
First floor plan
Architectural design

## Slide 9: Movement

## Slide 10: SOUTH Elevation
Architectural design

## Slide 11
west Elevation
Architectural design

## Slide 12
north Elevation
Architectural design
east Elevation

## Slide 13
Architectural design
Section1-1

## Slide 14
Architectural design
Section2-2

## Slide 15: Structural Design
Reinforced Concrete Structure
Codes:
Building Code Requirements for Structural Concrete ACI 318-14(ACI Committee 318 2014).
UBC -97 for earthquake design.
ASCE for loads computations.

## Slide 16
Block B
Block A
Structural Design
fʹc = 24 MPa for slabs and beams
fʹc = 28 MPa for columns, shear walls and foundation.
fy = 420 MPa.
Floor Height = 4m for B.F
5m for G.F and F.F
3m for R.F
Maximum span length = 9.5m

## Slide 17
Structural Design
Gravity Loads :
SID = 5.52 KN/m².
Live = 4.8 KN/m².
Load from external walls = 25KN/m.
Seismic load:
Soil profiles Sc with a bearing capacity 250 KN/m2
Z = 0.20
I = 1.25
Ca = 0.24
Cv = 0.32
R= 5.5

## Slide 18
Structural Design
Manual Checks
Compatibility check
Equilibrium check
Internal force check
Modal participation mass ratio
Time period check
Base shear check
Drift check
Deflection checks

## Slide 19
Structural Design
Two way Ribbed Slab
Thickness = 40cm.
Shear Check :
No shear → 1Φ8 per 20 cm in rib

## Slide 20
Structural Design
Moment design
As = 2Φ12
As shrinkage = 3Φ8/m

## Slide 21
Structural Design
Columns groups and Reinforcement

## Slide 22
Structural Design
Columns Sections

## Slide 23
Structural Design
Beams Design
Beam | Section (cm)
B1 | 40*80
B2 | 50*90

## Slide 24
Structural Design
Shear wall design
Block A
Wall thickness | vertical direction | horizontal direction
20 cm | 1φ 18 mm / 75 mm | 1φ 10mm / 250 mm
30 cm | 1φ 18 mm / 50 mm | 1φ 10mm / 250 mm
Block B
Wall thickness | vertical direction | horizontal direction
20 cm | 1φ 18 mm / 90 mm | 1φ 10mm / 250 mm
30 cm | 1φ 18 mm /250 mm | 1φ 10mm / 250 mm

## Slide 25
Structural Design
Shear wall design

## Slide 26
Structural Design
Footing Design
Matt foundation
Thickness = 1.5 m
Checks :
Compatibility check
Settlement (deflection check)
Bearing capacity check
Wide beam shear

## Slide 27
Structural Design

## Slide 28
Structural Design
Stair reinforcement and details

## Slide 29
Structural Design
Stair reinforcement and details

## Slide 30
Structural Design
WATER TANK
Dimension = 4.8×4.8×5.4
Water capacity = 72

## Slide 31
thermal
daylighting
acoustical
Environmental Design

## Slide 32
Environmental Design
Layers of the envelope of the building
Layers of external walls and their thermal properties.
Layers of roof and their thermal properties.
Layers of internal walls and their thermal properties.

## Slide 33
Environmental Design
Thermal Performance Analysis
Temperature
Air temperature = 21 C
Radiant temperature = 18 C
Operative temperature = 19 C
A.R.H = 46%

## Slide 34
Environmental Design
Comfort curves
Temperature
RH
Fanger PMV
The number of uncomfortable hours in the building = 989 hrs.

## Slide 35
Environmental Design
System loads
Total heating load = 198.5 KW.
Total cooling load = 269.11 kW
Energy consumption = 472.22 KWh/

## Slide 36
Environmental Design
Daylighting
Daylight analysis diagram for the F.F Dining area.
Daylight analysis diagram for the G.F Dining area.
Average Daylight Factor = 5.42%
Average Daylight Factor = 3.39%

## Slide 37
Acoustical design:-
:
Ecotect model for dinning .
Ecotect model for office .

## Slide 38
sound absorption coefficient.

## Slide 39
sound absorption coefficient.
sound absorption coefficient for ceiling
Figure 125: sound absorption coefficient for glass

## Slide 40
 | TOTAL | EMPTY | 50% | FULL
FREQ. | ABSPT. | RT(60) | RT(60) | RT(60)
63Hz: | 274.046 | 1.46 | 1.43 | 1.39
125Hz: | 423.892 | 0.95 | 0.94 | 0.93
250Hz: | 506.589 | 0.79 | 0.76 | 0.73
500Hz: | 528.981 | 0.74 | 0.72 | 0.70
1kHz: | 473.227 | 0.82 | 0.80 | 0.77
2kHz: | 450.161 | 0.85 | 0.82 | 0.79
4kHz: | 424.378 | 0.87 | 0.86 | 0.84
8kHz: | 487.671 | 0.75 | 0.74 | 0.73
16kHz: | 507.719 | 0.72 | 0.71 | 0.70
Reverberation time at different occupancy state for dinning.
-Optimum RT (500Hz - Speech): 0.93 s.
-Optimum RT (500Hz - Music): 1.17 s.
-The range of Reverberation time is suitable for dining room in restaurant which is between the standard limits (0.6-1.2)s.

## Slide 41
 | TOTAL | SABINE
FREQ. | ABSPT. | RT(60)
------- | ------- | -------
63Hz: | 8.782 | 0.96
125Hz: | 9.840 | 0.85
250Hz: | 7.723 | 0.90
500Hz: | 5.197 | 1.13
1kHz: | 5.612 | 0.80
2kHz: | 5.502 | 0.72
4kHz: | 5.413 | 0.51
8kHz: | 4.777 | 0.13
16kHz: | 7.092 | 0.16
 | TOTAL | SABINE
Reverberation time for office
-Optimum RT (500Hz - Speech): 0.72 s
-Optimum RT (500Hz - Music): 0.81 s -The range of Reverberation time is
suitable for office which is
between the standard limits (0.6-0.8)s.

## Slide 42
STC level for partition Adjacent to Corridor.
STC level for partition adjacent to office.
Sound Transmission Class (STC)

## Slide 43
The recommended sound transmission class (STC) for offices:
The construction we used satisfies the standards.

## Slide 44
STC for External Wall of Dining Hall
STC level for external wall.
STC standard value for external walls must be >50db.

## Slide 45
Impact Insulation Class (IIC)
IIC for ceiling from Insul program equal 84 as shown in Figure 98. This is an acceptable value for ceiling as the standard value >50db.
IIC for Ceiling from Insul program.

## Slide 46
Loudspeaker:-
Ceiling Speaker was used is: VXC4 x 44 (30W (100V))
Density: Minimum Overlap
Basic Pattern: Square
Specification of the speakers

## Slide 47
Ground floor dining hall:
Dining hall was divided into two parts
-Part 1
Speakers layout-part1
Figure 139: Sound pressure level map

## Slide 48
Dinning hall –Part2
Speakers layout

## Slide 49
Speakers distribution

## Slide 50
First floor dining hall:
Speakers layout

## Slide 51
Speakers distribution

## Slide 52
Mechanical design
Water supply
Mechanical system
HVAC
Fire prtection
Drinage system

## Slide 53
Water supply system:
Vertical pipe →4 in, Horizontal pipe→2 in, Branch pipes→0.75 in.
Type | Number | WUFU | Size (Inch)
Kitchen Sink | 17 | 3 | 3/4"
 | 17 | 3 | 3/4"
Water closet | 12 | 5 | 3/4"
Lavatories | 15 | 2 | 3/4"
 | 15 | 2 | 3/4"
Dish washing Machine | 1 | 2 | 3/4"
Type | Number | WUFU | Size (Inch)
Kitchen Sink | 9 | 3 | 3/4"
 | 9 | 3 | 3/4"
Water closet | 9 | 5 | 3/4"
Lavatories | 10 | 2 | 3/4"
 | 10 | 2 | 3/4"
Dish washing Machine | 1 | 2 | 3/4"
first floor
Ground floor

## Slide 54
Water supply system for ground floor

## Slide 55
Water supply system for first floor

## Slide 56
Water tanks
*Water supply tank is located under ground which supply the upper tanks on the roof
11 roof tanks with a capacity of 1.59 m³ will be used therefore the capacity of ground
water tank = 72 with volume equals (4×4×4.5) m³
*Gray water tank is located on the passement
*The rain water tank is used to store water to be used to feeds the tanks that exist on the roof of the building, and it can feed for 8% of the amount of daily water consumption.

## Slide 57
Drainage System
Type | Stack diameter | Horizontal branch diameter | Vent diameter | Pipe type
costumer’s bathroom | 4" | 2" | 4" | pvc
kitchen | 4" | 2" | 4" | pvc
Worker’s Bathroom | 4" | 2" | 4" | pvc
Bathroom(faucet) | 4" | 2" | 4" | pvc
Horizontal Fixtures Branches and Stack suitable diameters

## Slide 58
Drainage system for ground floor

## Slide 59
Drainage system for first floor

## Slide 60
Rainwater harvesting

## Slide 61
HVAC system
Variable refrigerant flow (VRF) system Supply was used
Variable refrigerant flow (VRF) system Supply, install & commissioning Heat pump VRF (variable refrigerant Flow) system from Samsung company.
Variable refrigerant flow outdoor unit, with all scroll compressor with invertors drive, refrigerant R 410 A, including lifting to roof - if needed-, galvanized steel base, vibration absorber and electric connection to Isolator Switch (2 meters max.) .
Outdoor unit from Samsung HVAC Company
Outdoor Unit

## Slide 62
Fan coil units
turbo fan coil unit was used and selected from SAMSUNG HVAC Company.
1-Cooling Capacity 4.5 kw 360 cassette
2-Cooling Capacity 5.6 kw 360 cassette
3-Cooling Capacity 7.1 kw 360 cassette
4-Cooling Capacity 9 kw 360 cassette
5-Cooling Capacity 12.8 kw 360 cassette
6-Cooling Capacity 14 kw 360 cassette
indoor Unit
360 Circular Cassette VRF indoor units with filter, thermostat including on-off, real time clock, schedule timer, fan control, temperature limit operation, and temperature set and display. Indoor design conditions 23C cooling, 50%relative humidity at high speed According to the following capacities:
indoor unit from Samsung HVAC Company.
Fan coil units

## Slide 63
VRF SYSTEM |  |  | 
Item | Description | Unit | Qty.
1 | VRF SYSTEM |  | 
A) | Outdoor Units |  | 
1.1 | Outdoor unit size 22 HP | No. | 1
1.2 | Outdoor unit size 44 HP | No. | 1
1.3 | Outdoor unit size 80 HP | No. | 1
B) | Indoor Units |  | 
1.1 | Indoor Units: 360 Circlar cassette |  | 
1.1.1 | Cooling Capacity 4.5 kw 360 cassette | No. | 7
1.1.2 | Cooling Capacity 5.6 kw 360 cassette | No. | 1
1.1.3 | Cooling Capacity 7.1 kw 360 cassette | No. | 2
1.1.4 | Cooling Capacity 9 kw 360 cassette | No. | 2
1.1.5 | Cooling Capacity 12.8 kw 360 cassette | No. | 24
1.1.6 | Cooling Capacity 14 kw 360 cassette | No. | 9
In door and outdoor units were used in our system

## Slide 64
HVAC system in ground floor

## Slide 65
HVAC system in first floor

## Slide 66
Hoods for kitchen:-

## Slide 67
Sketch for hood

## Slide 68: Fire fighting system
-The fire suppression system is done by using:
1-sprinkler
2-extinguisher
3-hose station
-Fire detecting using:
Flame and foam detector

## Slide 69
Fire fighting system
in ground floor

## Slide 70
Ground floor evacuation layout
Ground floor escape plan

## Slide 71
Escape plan for first floor
first floor excavation layout

## Slide 72
Electrical design
Socket distribution
Artificial lighting
Control panel

## Slide 73
Electrical design
Socket distribution
Ground floor

## Slide 74
Electrical design
Socket distribution
first floor

## Slide 75
Electrical design
Socket distribution
basement floor

## Slide 76: Artificial lighting
Dining hall lighting design
Dextra Pro Tec TC-DE 26w C84
Lamp used: Dextra Pro Tec TC-DE 26w C84
Power: 2*26 watt
Number of units: 42
For interior design: these units are not included in the physical
calculations, it is installed for aesthetic purposes:
1-Chandeliers
2-wall light
3-led linear

## Slide 77: Artificial lighting
The illuminance level and the uniformity valuation in dining hall
Dining hall lighting design

## Slide 78: Artificial lighting
Distribution of luminaires in dinning hall

## Slide 79: Artificial lighting
Lamp used: OSRAM Europlex T26
Power: 2*58 watt
Required lux : 500 lux
Mounting height: 4 m
Kitchen lighting design

## Slide 80: Artificial lighting
The illuminance level and the uniformity valuation in cooking area
The illuminance level and the uniformity valuation in preparation area
The illuminance level and the uniformity valuation in service area
Kitchen lighting design

## Slide 81: Artificial lighting
Manager office lighting design
Lamp used: OSRAM Siteco T16
Power: 4*14 watt
Lighting level : 500 lux
Mounting height: 4m

## Slide 82: Artificial lighting
Manager office lighting design
The illuminance level and the uniformity valuation in office

## Slide 83: Control panel:

## Slide 84: Quantity surveying:
 | Total Cost (NIS)
Excavation works | 476000
Civil works | 2501424
Architectural works | 1714850
Mechanical works | 568890
Electrical works | 166325
Total Cost | 5427489