## Slide 1: Economic Feasibility of an Ergonomically Designed Computerized Classroom at An-Najah National University
Prepared By: Amjad Hajyousef Areen Abu Kishek Julia Thaher Heba Asmar Mohammed Qasrawi
Presented To: Dr. Ayham Jaaron Dr. Saida Affouni Dr. Ahmad Ramahi

## Slide 2: Outline
Objectives of the work
Previous work
Classroom Components
Feasibility study
Recommendations

## Slide 3: Objectives of the work
There are two objectives for this project :
Find the optimal design for the E-Learning Classrooms.
Study the economic feasibility of such transformation.

## Slide 4: Previous Work
Flexible Layout Vs Fixed Layout
Lighting Distribution
Lighting System

## Slide 5: Classroom components - Desks

## Slide 6: Prototype

## Slide 7: Classroom components - Layout
Flexible layout

## Slide 8: Classroom components - Electricity connections
All connections will be inside the tables

## Slide 9: Classroom components - Electricity connections
Built-in Floor electrical box

## Slide 10: Classroom components - Lighting
Both of them are suitable for computerized classrooms, but the first one was chosen since it prevents the glare in two directions
Luminaire type | Photo
florescent lamps with squared micro prism | 
florescent with Rectangular micro prism | 

## Slide 11: Lighting distribution and glare
The following Layout for the lighting Distribution was designed using Dialux Lighting Simulation software

## Slide 12: Classroom components - Air conditioner
The following programmed was used to determine the optimal air conditioner size
10%

## Slide 13: Classroom components - Colors

## Slide 14: Classroom components – Noise Prevention
Flexo F6 Quiet

## Slide 15: Classroom components - Cameras
VD6257 Dome security Camera
VD6257 Dome DVR Device

## Slide 16: Classroom components - Board and Multimedia system
White board Vs Smart board
No projector screen
Speakers

## Slide 17: Feasibility Study
Costs for creating a new computerized classroom
Component | Cost (JD)
Computers | 41 * 315 = 12915
LCD Projector | 500
Flexible Tables | 52*41 = 2080
Chairs | 25 * 41 = 1025
Server Unit | 450
Board | 55
Curtains | 9 * 2.15 * 1 = 19.35
Cameras | 285
Speakers | 250
Noise Preventing Rubber | 6.3 * 2[2.15(2)+1(2)] + [2(2)+1(2)] =117.18
Condition | 635
Network & electricity Wires | 100
Lighting units | 49
Total Costs | 18,016
Expense | Cost (JD)
Total Costs of creating a new classroom | 18016.53
Changing lighting system | 55
Removing tiles for new electricity ports | 370
Total costs | 18,441

## Slide 18: Feasibility Study – Creating New classroom
is calculated for electric components of classroom with expected life of 4 years.
Component | Depreciation/year
Computers | =2562.5
LCD Projector | =112.5
Cameras | =64.1
Speakers | =62.5
Condition | =142.8
Total Depreciation/year | 
Component | Depreciation/year
Computers | 
LCD Projector | 
Cameras | 
Speakers | 
Condition | 
Total Depreciation/year | 
Component | Amount (JD)
Initial cost | 18,016*(A/P,3%,4) = 4847
Depreciation / year | 2908
Maintenance / year | 200
Computers electricity consumption / year | 240
Air conditioner electricity consumption/year | 60
Total costs / year | 8255

## Slide 19: Feasibility Study – Creating New classroom
Total income from 40 students / year = 126,000 JD
Assuming the universities' overhead = 80%
Net profit/year = 126000 * (100 – 80)% = 25200 JD
Benefit/cost ratio = 305 % Payback Period = 1.07 Year = 387 Day.
Now Assuming the universities' overhead = 60% Gives
Net profit/year = 126000 * (100 – 60)% = 50400 JD
Benefit/cost ratio = 611% Payback Period = 0.43 Year=157 Day.

## Slide 20: Feasibility Study Results
 | Initial cost | Running costs/year | B/C % (overhead 60%) | Payback period (Overhead 60%)
Creating a new classroom | 18,016 | 8255 | 611 % | 0.43
Converting an existing classroom to a computerized one | 18,441 | 8370 | 603 % | 0.45

## Slide 21: Recommendation
The main benefit of the project is to have a better education facilities and keeping up with the technological evolution
we cannot determine if the costs of the project is sufficient for the university since we don’t know how bad the university needs to improve the learning system.

## Slide 22
Thanks For Listening
Questions