## Slide 1: Polymer Melt Flow in 3D Printing
Ahmed Qadi
Abdul Hakim Futyan
Supervisor: Dr. Bahaa Shaqour

## Slide 2: What is 3D Printing
3D printing is a process in which a machine creates a three-dimensional object from a digital file. It is also known as additive manufacturing because it builds up the object layer by layer. 3D printing has a wide range of applications, from prototyping and product design to sculpture and jewellery making.

## Slide 3: How Does 3D Printing Work

## Slide 4: Extrusion Process Explanation

## Slide 5: Actuators
Stepper Motor with BMG Extruder

## Slide 6: Actuators
Heater cartridge

## Slide 7: Sensors
100K ohm NTC 3950 Thermistors
20 kg load cell with the interface HX711

## Slide 8: User Interface and Interaction Devices
Keypad
Push buttons
LCD with I2C module

## Slide 9: Electronic Devices
IRFZ44 MOSFET
DC -DC Step Down converter
Resistors
Relay Module
Capacitor
LED

## Slide 10: Other components
E3D V6 Hot end
PTFE Bowden tube
Power Supply
Fan

## Slide 11: Controllers
Arduino Mega
Arduino UNO

## Slide 12: Test setup cad model

## Slide 13
Real Test setup

## Slide 15: Temperature Control
Controller
PWM signal
Drive circuit
Heater
NTC Thermistor
Signal Conditioner
Output temp
Setpoint

## Slide 16: Controller Design
Data Generation and Acquisition

## Slide 17: Data Visualization

## Slide 18: Identify Linear or Non-Linear Model
Using System Identification toolbox to obtain the model for the system.
The analysis of the data indicated that the system exhibited non-linear characteristics.
A Hammerstein model was determined to be a suitable representation of the system and was validated.

## Slide 19: Validate Model

## Slide 20: Linearized the Model

## Slide 21: PID controller

## Slide 22: PID controller

## Slide 23: Data Collection for PLA and TPU Materials
Initial temperature set at 175°C.
Extrusion speeds varied from 40 to 180 mm/min, increased in 20 mm/min increments.
Extrusion conducted for one minute.
Procedure repeated at 200°C and 225°C.
Upper limit of extrusion speed increased to 280 mm/min at 200°C and 360 mm/min at 225°C.
Each temperature-speed setup replicated three times for data consistency.

## Slide 24: Comparison between PLA and TPU materials

## Slide 25: Comparison between PLA and TPU materials

## Slide 26: Comparison between PLA and TPU materials

## Slide 27: Feeding Force in PLA and TPU Extrusion

## Slide 28: Thank you for your attention!