## Slide 1: Graduation Project II 3D Dynamic Analysis And Design of Al-Bathan Tourist Resort
An-Najah National University
Faculty of Engineering
Civil Engineering Department
By:
Ihab Tawfiq To’ma (11107459)
Mohammad Saber Jaradat (11107811)
Taher Nidal Jayyousi (11106466)
Supervisor Name :
Dr. Mounther Diab

## Slide 2: Agenda
Introduction
Dynamic analysis
    Modes and Periods
    Response Spectrum Analysis
Design of Block A

## Slide 3: Introduction
What we did in GP I

## Slide 4: Introduction GP I
Definition of Gravity Loads and Materials
Loads type and Values on slab of Zone A , B
Loads type and Values on slab of Zone C , D

## Slide 5: Introduction GP I
Preliminary Design and Structural system

## Slide 6: Introduction GP I
3-D Analysis using SAP
Zone C
Zone D
Zone A

## Slide 7: Introduction GP I
Problems were Found in The Models

## Slide 8: Dynamic analysis
Modes and Periods
Response Spectrum Analysis

## Slide 9: Dynamic analysis Modes and Periods
Definition of mass source

## Slide 10: Dynamic analysis Modes and Periods
Modal Mass Participation Ratio

## Slide 11: Dynamic analysis Modes and Periods

## Slide 12: Dynamic analysis Modes and Periods
Period in Y-direction
From SAP (mode 1): T=1.119 sec.

## Slide 13: Dynamic analysis Modes and Periods
Period in Y-direction
From manual calculations (Rayleigh method)
floor | mass | force | Deff. | mass*d2 | force*d
 | ton | KN | m |  | 
B4 | 1234.022 | 810 | 0.0261 | 0.840628 | 21.141
B5 | 1234.022 | 810 | 0.0196 | 0.474062 | 15.876
B6 | 1694.115 | 1112 | 0.0085 | 0.1224 | 9.452
SUM | 4162.16 | 2732 |  | 1.43709 | 46.469

## Slide 14: Dynamic analysis Modes and Periods
Period in X-direction
From SAP (mode 2): T=0.7277 sec.

## Slide 15: Dynamic analysis Modes and Periods
Period in X-direction
From manual calculations (Rayleigh method)
floor | mass | force | Deff. | mass*d2 | force*d
 | ton | KN | m |  | 
B4 | 1234.022 | 810 | 0.011 | 0.149317 | 8.91
B5 | 1234.022 | 810 | 0.0074 | 0.067575 | 5.994
B6 | 1694.115 | 1112 | 0.003 | 0.015247 | 3.336
SUM | 4162.16 | 2732 |  | 0.232139 | 18.24

## Slide 16: Dynamic analysis Response Spectrum Analysis IBC 2012/ASCE 7-10 Seismic Loads factors.
Z-factor
The mapped spectral accelerations for a one- second period:
S_1 = 1.25 * Z = 1.25 * 0.2 = 0.25 Israel standard SI 413 -202.1.2-2b
The mapped spectral accelerations for short period:
S_s = 2.5 * Z = 2.5 * 0.2 = 0.5 Israel standard SI 413 -202.1.2-2a

## Slide 17: Dynamic analysis Response Spectrum Analysis IBC 2012/ASCE 7-10 Seismic Loads factors.
1.9

## Slide 18: Dynamic analysis Response Spectrum Analysis IBC 2012/ASCE 7-10 Seismic Loads factors.

## Slide 19: Dynamic analysis Response Spectrum Analysis Response spectrum function definition

## Slide 22: Dynamic analysis Response Spectrum Analysis Base Shear (V) from response spectrum

## Slide 23: Dynamic analysis Response Spectrum Analysis Equivalent Static Calculations:
⟹T=0.0466*120.9=0.44 sec.

## Slide 24: Dynamic analysis Response Spectrum Analysis Equivalent Static Calculations:
The value of Cs shall not be less than:
The value of Cs shall not be more than:

## Slide 25: Dynamic analysis Response Spectrum Analysis Equivalent Static Calculations:

## Slide 26: Dynamic analysis Response Spectrum Analysis Vertical distribution of seismic forces
Fx = Cvx V (Equation 12.8-11, ASCE 7 2010)
(Equation 12.8-12, ASCE 7 2010 )
Floor | Wi | Hi | Wi*Hi | Cvx | Vi
 | KN | m |  |  | KN
B4 | 12105.76 | 12 | 145269.1 | 0.470748 | 1792.259
B5 | 12105.76 | 8 | 96846.08 | 0.313832 | 1194.84
B6 | 16619.27 | 4 | 66477.06 | 0.21542 | 820.1615
SUM | 40830.79 |  | 308592.3 |  | 3807.261

## Slide 27: Dynamic analysis Response Spectrum Analysis Equivalent Static Check by SAP:

## Slide 28: Dynamic analysis Response Spectrum Analysis Equivalent Static Check by SAP:

## Slide 29: Dynamic analysis Response Spectrum Analysis Equivalent Static Calculations:
The scale factor for the X-direction must multiply by:
The scale factor for the Y-direction must multiply by:

## Slide 32: Design of Block A
Load combinations
DESIGN OF SLAB
DESIGN OF BEAMS
DESIGN OF COLUMNS
DESIGN OF FOOTINGS

## Slide 33: Design of Block A Load cases

## Slide 34: Design of Block A Load combinations
• 1.4 D.L
• 1.2 D.L + 1.6 L.
• 1.2 D.L + 1.0 L. + 1.0 R.Spectrum (x)
• 1.2 D.L + 1.0 L. + 1.0 R.Spectrum (y)
• 0.9 D.L + 1.0 R.Spectrum (x)
• 0.9 D.L + 1.0 R.Spectrum (y)

## Slide 35: Design of Block A Load combinations
* Envelope

## Slide 36: Design of Block A DESIGN OF SLAB

## Slide 37: Design of Block A DESIGN OF SLAB

## Slide 38: Design of Block A DESIGN OF SLAB

## Slide 39: Design of Block A DESIGN OF SLAB
And for the other direction (Y-direction) use minimum steel

## Slide 40: Design of Block A DESIGN OF SLAB

## Slide 41: Design of Block A DESIGN OF SLAB

## Slide 42: Design of Block A DESIGN OF BEAMS

## Slide 43: Design of Block A DESIGN OF BEAMS Design of Beam 1

## Slide 44: Design of Block A DESIGN OF BEAMS Design of Beam 1

## Slide 45: Design of Block A DESIGN OF BEAMS Design of Beam 1

## Slide 46: Design of Block A DESIGN OF BEAMS Design of Beam 1

## Slide 47: Design of Block A DESIGN OF BEAMS Design of Beam 1
consistent spacing between stirrups:

## Slide 48: Design of Block A DESIGN OF BEAMS Design of Beam 1

## Slide 49: Design of Block A DESIGN OF BEAMS Design of Beam 1
From the face of support to a distance equal 2h= 1 m, use S1 between stirrups. Else, use S2.

## Slide 50: Design of Block A DESIGN OF BEAMS Design of Beam 1

## Slide 51: Design of Block A DESIGN OF BEAMS Design of Beam 1

## Slide 52: Design of Block A DESIGN OF columns
Select The Certain Column

## Slide 53: Design of Block A DESIGN OF columns
Check Slenderness in Sway(Unbraced) Frames:
The ACI Code Allows Slenderness Effects to Be Ignored If:
=1.6 => k=1.4

## Slide 54: Design of Block A DESIGN OF columns
No Slenderness in The Column, And Can Be Classified as Short column

## Slide 55: Design of Block A DESIGN OF columns
/ 7 = / 7 = 0.52 ksi.
/ 7 = / 7 = 0.753 ksi.

## Slide 56: Design of Block A DESIGN OF columns

## Slide 57: Design of Block A DESIGN OF columns

## Slide 58: Design of Block A DESIGN OF columns

## Slide 59: Design of Block A DESIGN OF columns

## Slide 60: Design of Block A DESIGN OF FOOTINGS
Group | Max. serves load | Max. ultimate load | Dimension
F1 | 1200 KN | 1700 KN | 2m*2m
F2 | 600 KN | 800 KN | 1.5m*1.5m

## Slide 61: Design of Block A DESIGN OF FOOTINGS Design single footing F2

## Slide 62: Design of Block A DESIGN OF FOOTINGS Design single footing F2
in each direction

## Slide 63: Design of Block A DESIGN OF FOOTINGS Design single footing F2

## Slide 64: Discussion & Conclusion