## Slide 1: an-najah national university faculty of engineering & information technology department of building engineering
Energy Efficient Hotel Design
Prepared By:
Aseel Hlayel
Hiba Istaitia
Roula Ghoul
Moutasem Awwad Supervisor: Eng. Fadi Fatayer

## Slide 2: OUTLINE:
Introduction.
Site analysis.
Architectural Design.
Environmental Design.
Structural Design.
Mechanical Design.
Electrical Design.
Quantity Survey.

## Slide 3: INTRODUCTION

## Slide 4: INTRODUCTION
The hotel is a commercial establishment providing guest luxury and services.
The hotel is designed as five stars hotels with row houses around it.
Energy efficient hotel aims to use as minimum energy as possible.

## Slide 5: SITE ANALYSYS

## Slide 6: SITE ANALYSYS
The location is Nablus city, on mount of Gerizim, with an approximate area of 7770 m².

## Slide 7: SITE ANALYSYS
No Surrounding Buildings.
The land slope is low.
Two streets in east and west.
The annual average wind speed (10) km / h.
The overall rate annual Relative humidity up to (60%).

## Slide 8: ARCHITECTURAL DESIGN

## Slide 9: SITE PLAN

## Slide 10: MASTER PLAN

## Slide 11: BASEMENT FLOOR
Area= 2212.1797 m²

## Slide 12: GROUND FLOOR
Area= 2540.4668 m²

## Slide 13: FIRST FLOOR
Area = 2416.0824 m²

## Slide 14: 2nd, 3rd, 4th & 5th FLOOR
Area= 2021.4937 m²

## Slide 15
Facility | Area (m2)
Single Bedroom | 40 m2
King Bedroom | 90 m2
Wedding | 750 m2
Kitchen | 380 m2
Restaurant | 420 m2
Reception | 40 m2
Entrance | 150 m2
Conference | 110 m2
Lobby | 140 m2
Areas for the Facilities

## Slide 16
Row House
Floor area of block = 61.5 m²

## Slide 17: NORTH ELEVATION

## Slide 18: SOUTH ELEVATION

## Slide 19: EAST ELEVATION

## Slide 20: WEST ELEVATION

## Slide 21: 3D – GENERAL VIEW 1

## Slide 22: ENVIRONMENTAL DESIGN

## Slide 23: ENVIRONMENTAL DESIGN
Ext Walls comp.(u-value =0.520W/m2.k).
Notes: EXT WALLS COMP.(U value =0.580

## Slide 24: ENVIRONMENTAL DESIGN
Roof comp.(u-value =1.440W/m2.k)

## Slide 25: ENVIRONMENTAL DESIGN
floor comp.(u-value =0.790W/m2.k).

## Slide 26: ENVIRONMENTAL DESIGN
Daylight factor for restaurant(D.F avg = 4.09% and D.L = 347.37 Lux.)

## Slide 27: ENVIRONMENTAL DESIGN
Daylight factor for Wedding D.F avg = 2.52% and D.L = 214.14 lux.

## Slide 28: ENVIRONMENTAL DESIGN
Total heating load only.
The calculation of the loads done at critical state by using ecotect program , which is when the building is empty and at comfort band 22-26 C.

## Slide 29: ENVIRONMENTAL DESIGN
Total cooling load only.

## Slide 30: ENVIRONMENTAL DESIGN
After calculation for heating load and cooling load by ecotect program the total load for hotel=153.37+68.59=221.9 KWh/m2 which is below the maximum load for hotels=235KWh/m2 (According to Energy Stars Profitable Manager ) ,then the thermal system is good in the hotel.

## Slide 31: ENVIRONMENTAL DESIGN
Acoustical analysis
Reverberation time (RT60) for the restaurant when the occupancy=100%.

## Slide 32: ENVIRONMENTAL DESIGN
Acoustical analysis
STC for external walls
The final STC for the ext wall=55dB> the stander for hotel=52 dB, which is very good.

## Slide 33: ENVIRONMENTAL DESIGN
Acoustical analysis
STC for internal walls
The final STC for the int wall=52dB> the standert for hotel=48 dB, which is very good.

## Slide 34: ENVIRONMENTAL DESIGN
Acoustical analysis
IIC for floor
The final IIC for roof =64dB> the stander for hotel=52 dB, which is very good.

## Slide 35: STRUCTURAL DESIGN

## Slide 36: DESIGN CODES
ACI -318 for reinforced concrete structural design.
UBC -97 for earthquake load computations.

## Slide 37: DESIGN DATA
Concrete f´c= 24 MPa for slabs and beams
Concrete f´c= 28 MPa for columns and footings.
Yielding strength of steel Fy= 420 MPa.
Allowable bearing capacity of soil= 400 KN/m².
Load :
Live Load= 5KN/m2 for Ground Floor. 3KN/m2 for Other Floors.
Super imposed load= 6 KN/m².

## Slide 38: SEISMIC DESIGN DATA
City of the structure is Nablus.
The seismic zone of Nablus is 2B where the factor Z=0.20.
The soil profile type is SB.
Ca= 0.20
Cv= 0.20
Importance factor I=1
The structural type is Intermediate,
R= 5.5.

## Slide 39: STRUCTRURAL MODEL
Total floor area of block “A” = 4772.77 m²

## Slide 40: 3D MODEL

## Slide 41: VERIFICATION OF MODEL
Compatibility Check.
Equilibrium Check.
According to ACI-318; %Error less than 5% which is OK.
Stress-Strain Relationship.
Period Check.
Deflection Check.
Drift Check.
Modal participation mass ratio.

## Slide 42: SLAB DESIGN
Two way ribbed slab is used with thickness of 40 cm.

## Slide 43: BEAM DESIGN
All beams are dropped beams with 90 cm depth and 60 cm width.

## Slide 44: BEAM REINFORCEMENT
BEAM REINFORCEMENT
Beam | Depth (cm) | Width (cm) | Top Edge | Top Middle | Top Edge | Bottom Edge | Stirrups
3B12S1 | 90 | 60 | 5Ø20 | - | 3Ø14 | 3Ø20 | 1Ø10@27.5 cm
3B12S2 | 90 | 60 | 3Ø20 | 5Ø20 | 2Ø14 | 2Ø18 | 1Ø10@40 cm

## Slide 45: COLUMNS REINFORCEMENT

## Slide 46: COLUMNS REINFORCEMENT

## Slide 47: FOOTINGS REINFORCEMENT

## Slide 48: FOOTINGS REINFORCEMENT

## Slide 49: FOOTINGS REINFORCEMENT

## Slide 50: FOOTINGS REINFORCEMENT
Combined Footing:

## Slide 51: STAIRS REINFORCEMENT
As min= 360 mm²→ 4Ø12/m

## Slide 52: row house block design
3D MODEL

## Slide 53: DESIGN DATA
Concrete f´c= 24 MPa for slabs and beams
Concrete f´c= 28 MPa for columns and footings.
Yielding strength of steel Fy= 420 MPa.
Allowable bearing capacity of soil= 400 KN/m².
Load :
Live Load=3.5KN/m2 Super imposed load = 6.21 KN/m².
Ca= 0.20
Cv= 0.20
Importance factor I=1
The structural type is Intermediate,
R= 5.5.

## Slide 54: VERIFICATION OF MODEL
Compatibility Check.
Equilibrium Check.
Stress-Strain Relationship.
Deflection Check.
Period Check.
Drift Check.
Modal participation mass ratio.

## Slide 55: SLAB DESIGN
One way ribbed slab with hidden beams
Thickness of slab 30 cm.

## Slide 56: Beams design

## Slide 57: beams REINFORCEMENT
Beam | Depth (cm) | Width (cm) | Top Edge | Top Middle | Top Edge | Bottom Edge | Stirrups
2CB2 | 30 | 40 | 2Ø20 | 2Ø14 | 2Ø14 | 2Ø18 | 1Ø10@130 cm
2CB9 | 30 | 40 | 2Ø20 | 2Ø14 | 2Ø14 | 3Ø14 | 1Ø10@130 cm
SECTION A-A

## Slide 58: COLUMNS REINFORCEMENT

## Slide 59: Columns and footing layout

## Slide 60: FOOTINGS REINFORCEMENT

## Slide 61: FOOTINGS REINFORCEMENT
SHEAR WALL REINFORCEMENT
Mat footing

## Slide 62: MECHANICAL DESIGN

## Slide 63: General
Mechanical design of a building involves :
1. Water Supply System Design.
2. Drainage System Design.
3. HVAC System Design.

## Slide 64: WATER SUPPLY SYSTEM
We've divided the building into three blocks and compute the sizes of the pipes for main vertical feeder, main horizontal feeder and branches for block A.

## Slide 65: Water supply for BEDROOMS Floor

## Slide 66: Water supply
Diameter for vertical feeder  (2.5 inch)
Diameter for horizontal feeder  (1.5 inch) for basement floor .
Diameter for Branches  ( ¾ inch) for basement floor.
Pipes Diameters for block A:

## Slide 67: Water supply
Large-size Underground water tank :
6*5*3 m³ volume
Capacity =90 cubic meter.
Small 22 (1*1*1) m3
water tanks on the roof.
Pump between the underground tank and the small tanks on the roof

## Slide 68: Water supply Hot Water supply:
ETC-30 Evacuated solar system and boilers for heat water.
Roof area = 1860 m2 expanded to 100 ETC-30 (1.86m*2m)
Mass of heat water = 22040 litter per day
40% of Heat water using ETC- 30 tube
60% of heat water using boilers.

## Slide 69: Drainage System
Drainage fixture units:
WC: 4Dfu`s
Shower: 2Dfu`s
Sink: 2Dfu`s
Kitchen sink: 2Dfu`s

## Slide 70: Drainage and manholes for basement

## Slide 71
Dark water manholes
Grey water manholes

## Slide 72: Drainage for bedroom floors

## Slide 73: HVAC System
For HVAC design, VRF system has been used for bedrooms and VRF with VAV systems has been used for other facilities like restaurant and wedding hall.

## Slide 74: Hvac indoor units
Curved units has been used in restaurant and wedding hall

## Slide 75
Spot units “4 way cassette” has been used in corridors.
and wall mounted units has been used in bedrooms.

## Slide 76
Horizontal fan coil units with different sizes has been used.

## Slide 77: hvac calculation
zone | area(m²) | Q(KW) | number of units
room1 | 65 | 5.12 | 1
room2 | 65 | 5.12 | 1
room3 | 65 | 5.12 | 1
room4 | 86 | 6.52 | 1
room5 | 86 | 6.52 | 1
18 indoor units (capacity of 7.1KW) are used for each bedroom floors.
11 indoor units are used for corridors for the same floor.

## Slide 78: Hvac plan for wedding hall and restaurant

## Slide 79: HVAC plans for bedroom floors

## Slide 80: ELECTRICAL DESIGN

## Slide 81: ELECTRICAL DESIGN
Lamps used in wedding hall.

## Slide 82: ELECTRICAL DESIGN
Uniformity in wedding hall

## Slide 83: ELECTRICAL DESIGN
Uniformity in wedding hall

## Slide 84: ELECTRICAL DESIGN
Views for wedding hall

## Slide 85: ELECTRICAL DESIGN
Views for restaurant

## Slide 86: ELECTRICAL DESIGN
Views for bed room

## Slide 87: ELECTRICAL DESIGN
Wedding hall and restaurant lighting plan

## Slide 88: ELECTRICAL DESIGN
Bed room lighting plan

## Slide 89: ELECTRICAL DESIGN
Wedding hall and restaurant socket plan

## Slide 90: ELECTRICAL DESIGN
Bed room socket plan

## Slide 91: ELECTRICAL DESIGN
Circuit breaker

## Slide 92
SAFETY DESIGN

## Slide 93: Safety Signs used and distributed in the hotel
Exit Signs
Fire Exit Signs On Stairs
Elevators should not use in case of fire or earthquake

## Slide 94: Safety Signs used and distributed in the hotel
First Aid
Fire Proof Door
BMS room
(Building Management
System )

## Slide 95: Fire Protection system
Smoke detectors
Fire hoses
Fire extinguishers
Heat detectors
Sprinklers

## Slide 96: Fire Protection system plan for basement floor

## Slide 97: Evacuation plan for ground floor

## Slide 98: QUANTITY SURVEY

## Slide 99: Cost estimation
Type of work | Cost (NIS)
Earth Work | 1,208,197
Structure Work | 18,374,988
Architecture Work | 10,438,429
Mechanical Work | 4,453,840
total cost | 34,041,977
cost/area | 2,232NIS/m²

## Slide 100: THANK YOU