## Slide 1: Youth Recreation Center
Prepared By Ameed Amer Aya Khalid Lama Dahboor Morad Jararah
Supervisor Dr. Mokarram Abbas

## Slide 2: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location

## Slide 4
10,810 m2
4,125 m2
Total =14,935 m2

## Slide 5: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Circulation and entrances
Parking
Plans
Elevations
Site plan

## Slide 6
Site plan

## Slide 7
Circulation and Entrances

## Slide 8: Parking
No. car parking | zone
22 | Bowling
97 car 4 busses | Sport-hall
Area = 4950 m2

## Slide 9: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Circulation and entrances
Parking
Plans
Elevations
Site plan

## Slide 10
Conceptual plan
final Design

## Slide 11: Basement Floor
Total Area = 1334 m2

## Slide 12: Ground Floor
Total Area = 1678 m2

## Slide 13: First Floor
Total Area = 2010 m2

## Slide 14: Second Floor
Total Area = 277 m2

## Slide 15: East Elevation

## Slide 16: North Elevation
Bowling Entrance

## Slide 17: South Elevation

## Slide 18: West Elevation
Cinema

## Slide 19: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Best orientation
Shading Design
Daylight factor
Thermal analysis and materials
Acoustical design

## Slide 20
Best orientation
Building orientation
112.5 ◦

## Slide 21
Building in ecotect

## Slide 22: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Best orientation
Shading Design
Daylight factor
Thermal analysis and materials
Acoustical design

## Slide 23
vertical Adjustable
Louvers - 40 cm
East
vertical Adjustable
Louvers - 40 cm
Fixed – 100 cm
west
South

## Slide 24
Before shading
After shading in summer
After shading in winter
Cafeteria shading - South

## Slide 25
Daylight Factor
the whole building % daylight is 3.35 % which is good and between (2-6 )% and can have it by 75 .12 % as an average autonomy

## Slide 26
Daylight factor
0.88 %
0.06 %
3.14%
Day light 5.19%
Autonomy 86.44%
Day light 3.5%
Day light 4.35%
Autonomy 88.7%
Autonomy 85.6%

## Slide 27
Thermal Analysis
Bowling
Entrance and management
Sport -hall

## Slide 28
Bowling
120 person – full occupancy – Full air conditioned

## Slide 29
Materials :
External wall of U = 0.41 W/m2.K

## Slide 30
Internal wall of U = 0.64 W/m2.K

## Slide 31
Roof of U = 0.37 W/m2.K

## Slide 32
Floor-ceiling intersection of U = 0.29 W/m2.K

## Slide 33
Ground floor of U = 0.39 W/m2.K

## Slide 34
Glass material :
Glass (a) in bowling and cafeteria and entrance of U = 1.1 W/m2.K
(6mm Stopray Galaxy on Clear vision pos)

## Slide 35
For other windows in the building we used glass (b) of U = 1.5 W/m2.K:
(6MM STOPRAY INDIGO 48 T POS)

## Slide 36
Polycarbonate (Structured Sheets) , 25mm multiwall UV protected polycarbonate ,
UV =1.7W/m2K
LT = 65%
Skylight material :

## Slide 37
Bowling
Breakdown analysis :
Conduction Losses | Internal gains
74% | 95.2%

## Slide 38
Heating/cooling loads (Bowling)
Max Heating: 27218 W at 12:00 on 18th January
Max Cooling: 64271 W at 19:00 on 30th July

## Slide 39: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Best orientation
Shading Design
Daylight factor
Thermal analysis and materials
Acoustical design

## Slide 40: Reverberation Time RT60
The optimum reverberation time for bowling is 1-1.5 ,
Perforated gypsum plaster on ceiling and acoustic plaster on walls is needed to get the required RT60

## Slide 41
Perforated Gypsum Plaster.
acoustic plaster

## Slide 42
RT60 before any improvement
RT60 after applying the improvements

## Slide 43: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Design cods
Design Data
Structural Elements
Etabs Result
Detailing

## Slide 44: Design Codes
The American Concrete Institute code (ACI 318-11).
The seismic design according to UBC-97.
The analysis and design were done using SAP2000, and ETABS 2015 programs.

## Slide 45: Design Data
1. Concrete compressive strength
f’c =32 MPa for slabs and beams.
f’c = 32 MPa for shear walls, columns and footings.
2.Yielding strength of steel
The yield strength of steel Fy= 420MPa
3. Bearing capacity of soil
the bearing capacity of soil = 300 KN/m2

## Slide 46: Structural Systems
One way ribbed slab “Bowling Building”
Thickness :
One way ribbed slab = 32 cm

## Slide 47: Structural Elements
Beams
Columns
Footing
Shear wall
Slabs
Spiral Stairs

## Slide 48: 3D Modeling ETABS 2015

## Slide 49: Checks ETABS 2015
Compatibility & Deflection Check:

## Slide 50: Checks ETABS 2015
Equilibrium Check

## Slide 51: Seismic Design Response Spectrum
W= 32837.18 KN , Include D.L+S.D+0.25LL
UBC-97
I = 1
R= 4.5
Ca= 0.20
Cv= 0.20
T = 0.24 sec

## Slide 52: Slab Reinforcement

## Slide 53: Beams Reinforcement

## Slide 54: Columns Reinforcement

## Slide 55: Footing Reinforcement

## Slide 56: Footing Reinforcement

## Slide 57: Spiral Stairs Reinforcement

## Slide 58: Shear wall Reinforcement

## Slide 59: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Water supply system
Drainage system
HVAC

## Slide 60
Water consumption
Total building of water demand = 7223.4 g/ day

## Slide 61
a water tank of 125 m3

## Slide 62
Total FU’s | Collector
59 | 1
12 | 2
60 | 3
70 | 4
7 | 5
48 | 6
68 | 7
82 | 8
60 | 9
64 | 10
64 | 11
Vertical of 2.00 in
Horizontal of 1.50 in
Branch of 1.00 in
Meter of 2.00 in

## Slide 63: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Water supply system
Drainage system
HVAC

## Slide 64
Drainage system for Bowling-Basement and Ground Floor
26
5

## Slide 65
Drainage system for Bowling-Basement and Ground Floor

## Slide 66
Roof and Storm water Drainage

## Slide 67: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Water supply system
Drainage system
HVAC

## Slide 68
Uc =0.370 W/m2.C
Uw =0.410 W/m2.C
Uadj =0.640 W/m2.C
Design Data for Bowling :
Max Cooling: 64271 W @ 19:00 on 30th of July.

## Slide 69
For bowling space we used air handling unit (AHU-B) and return fan,

## Slide 70
Main Duct sizing :
v=7.1m3/s , vA-B=10m/s ,then (Δ𝑝/𝐸𝐿)=0.9

## Slide 71
Diffuser selection :
23 x23 cm ceiling diffusers
such that the volumetric rate = 175 L/s and its throw 3-7.3m
A fixed carbon
dioxide sensor
Diffusers (return).
Square diffusers (supply).

## Slide 72
Diffusers distribution:

## Slide 73: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Emergency signs
Evacuation maps
Sprinklers distribution

## Slide 74: Emergency Signs

## Slide 75: Fire Sprinklers Distribution
In Cinema

## Slide 76: Fire Sprinklers Distribution
In Cafeteria – Ground Floor

## Slide 77: Evacuation Maps

## Slide 78: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location
Socket distribution
Lighting distribution
Dialux

## Slide 79: Distribution of Sockets

## Slide 80: Distribution of Lighting

## Slide 81: Artificial Lighting Dialux Program

## Slide 82: Artificial Lighting Dialux Program

## Slide 83: Special Lighting Effects -Bowling

## Slide 84: Outline
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
BOQ
Site location

## Slide 85: Bill of Quantities Bowling - Sample Structural
Total cost of structural elements per meter square = 334.56 $
Total Cost of the Bowling center = 391,435 $

## Slide 86
Thank you
No Need for Questions