## Slide 1: Large Area Dynamic Load Cell Supervisor : Dr.Iyad Assaf

## Slide 2: Outline Project
Introduction.
Definition of load cell and main types.
Definition of strain gauge and main types.
Finite Element Analysis of Impact Soccer Ball.
Load Cell design.
Conclusions.

## Slide 3: Introduction

## Slide 4: Load cell
Definition.
Types of load cell.

## Slide 5: Types of load cell
strain gauge load cells.
Pneumatic load cell.
Hydraulic load cell.
Vibrating load cell.
Piezoelectric load cell.

## Slide 6: Strain gauge
Definition.
Types of strain gauge.
Wheatstone bridge.

## Slide 7: Types of strain gauge
Tubular strain gauges.
Mesh strain gauges.
Foil strain gauges.

## Slide 8: Finite Element Analysis of Impact Soccer Ball

## Slide 9: 1-Part modules (plate)

## Slide 10: Part modules (ball)

## Slide 11: 2-Property module
Figure (5.3): The material properties editing box
Figure (5.4): Assigning the material properties to the ball

## Slide 12: 3-Assembly module

## Slide 13: 4-Step module
Figure (5.6b): History output request for the ball deformation
Figure (5.6a):Create step

## Slide 14: 5-Interaction module
Figure (5.7): Interaction between the rigid plate and the deformable ball

## Slide 15: 5-Load and Boundary Conditions module
Figure (5.9): Apply the initial velocity of the soccer ball

## Slide 16: 6-Mesh module
Figure (5.10): Mesh the soccer ball and the rigid plate

## Slide 17: 7-Job module
Figure (5.11): Crate the job module

## Slide 18: 8-Results of job

## Slide 24: Load Cell design
Load cell geometry and specifications
Load cell natural frequency

## Slide 25: 1-Creating the load cell part
Figure (6.1): Create the load cell part

## Slide 26: 2-Define the material property

## Slide 27: 3-Define step analysis

## Slide 28: 4-Load and boundary condition defined

## Slide 29: 5-Meshing the model and running the job

## Slide 30: 6- Results of job

## Slide 32: Natural frequency using theoretical method
Table (6.2): values of coefficient B for different edge conditions of circular plate

## Slide 33: Natural frequency using theoretical method
Frequency f =
Mode shape | 1 | 2 | 3 | 4 | 5
Load cell (Hz) | 277.8 | 578.4 | 578.4 | 951.2 | 953.8
Circular plate (Hz) | 311 | 648.2 | 648.4 | 1064.4 | 1064.4
Table (6.2): Comparison between FE and theoretical the frequency

## Slide 34: Load cell sensitivity
1- Sensitivity calculation for 9.5 KN Load on the center of the circle plate.
Sensitivity =
Emax =4.358 (10-4)
Covert the strain to μe/strain gauges = (Emax)(e6) = (4.358 (10-4))(e6) = 435.8µe/strain gauge
Minimum Number of Strain Gauge Placed on Load Cell = 4
435.8 µe × 4 = 1743.2 µe
Sensitivity = 1743.2µe/9.5 KN = 0.183 µe/N

## Slide 35
Stress contour of the load cell at 9.5kN at the center
Strain contour of the load cell at 9.5kN at the center

## Slide 36
2-Sensitivity Calculation for 9.5 KN load applied at 10cm from the plate center.
Load cell sensitivity
Emax=1.392e-3
Emax × e6 = 1392µe/strain gauge
Minimum Number of Strain Gauge Placed on Load Cell = 4
1392 µe × 4 = 5568 µe
Sensitivity = 5568µe/9.5 KN = 0.58 µe/N
Sensitivity =

## Slide 37: Load cell sensitivity
Stress contour of the load cell at 9.5kN at 10cm from the center
Strain contour of the load cell at 9.5kN at 10cm from the center

## Slide 38: Load cell sensitivity
Force = Pressure * Area of plate
Emax=5.805e-4
Emax × e6 = 580.5µe/strain gauge
Minimum Number of Strain Gauge Placed on Load Cell = 4
580.5 µe × 4 = 2322 µe
Sensitivity = 2322µe/15.32 KN = 0.15 µe/N

## Slide 39
Stress contour of the load cell subjected to 122kPa pressure
Strain contour of the load cell subjected to 122kPa pressure

## Slide 40: CONCLUSIONS

## Slide 41: Thank you