## Slide 1
An-Najah National University
Faculty of Engineering Building Engineering Department
(Graduation Project 2) prepared by
Osaid jaber , amer omar , fadel ayash and bilal salahat
Restaurant Design
Supervisor : Eng. Narmeen Al-Barq

## Slide 2: Contents
Site analysis
Architectural Design
Environmental Design
Structural system Design
Electro-Mechanical system Design
Safety design
Quantity Survey and Cost

## Slide 3: Environmental Design

## Slide 4: Environmental Design solar analysis
In a summer day
21/jun at 8.00 am

## Slide 5: Environmental Design solar analysis
In a summer day
21/jun at 3.00 pm

## Slide 6: Environmental Design solar analysis
In a winter day
21/jan at 8.00 am

## Slide 7: Environmental Design solar analysis
In a winter day
21/jan at 3.00 pm

## Slide 8: Solar Analysis
Daylight factor

## Slide 9: Solar Analysis
Daylight factor :

## Slide 10: Heating and Cooling Load
Total Heating Capacity = 75.610 kW
Total Cooling Capacity = 111.55 kW

## Slide 11: Thermal Comfort
PMV graph

## Slide 12: Environmental Design
Thermal Design
Old U-value for building envelope
u-value w/m2-k | component
2.243 | External wall
1.512 | Partition
3.084 | Floor
1.912 | Roof
2.70 | Windows

## Slide 13: Environmental Design
New U-value for building envelope
u-value w/m2-k | component
0.481 | External wall
1.955 | Partition
0.487 | Floor
0.498 | Roof
1.761 | Windows

## Slide 14: Acoustical analysis (RT60):
- Manager office:
Acceptable range = (0.6-1.3) sec .
RT60 at 500 Hz=0.62 s
empty space
RT60 at 250 Hz=0.67 s
RT60 at 125 Hz=0.7 s

## Slide 15: Acoustical analysis (RT60):
DINING HALL :
Acceptable range = (0.6-1.3) sec .
RT60 at 500 Hz=0.67 s
empty space
RT60 at 250 Hz=0.72 s
RT60 at 125 Hz=0.76 s
RT60 at 63 Hz=0.79 s

## Slide 16: Acoustical analysis (RT60):
DINING HALL 2 :
Acceptable range for Manager office= (0.6-1.3) sec .
RT60 at 500 Hz=0.64 s
empty space
RT60 at 250 Hz=0.94s
RT60 at 125 Hz=1.03 s

## Slide 17: Acoustical analysis (STC):
External wall of DINING HALL 1 :

## Slide 18: Acoustical analysis (STC):
DINING HALL 1 internal partition exposed to waiting

## Slide 19: Acoustical analysis (STC):
MANAGER OFFICE internal partition :

## Slide 20: Electrical design

## Slide 21: Electrical design
Ground Floor socket plan

## Slide 22: Electrical design
First Floor socket plan

## Slide 23: Ground Floor Lighting Plan

## Slide 24: First Floor Lighting Plan

## Slide 25: Luminaires selection :

## Slide 26: Luminaires selection :

## Slide 27: Dialux picture : dining hall

## Slide 28: Dialux picture : manager office

## Slide 29: manager office
Required illuminance 500 lux
Required uniformity (>0.60)
Average Illuminance
535 Lux

## Slide 30: manager office (UGR)
UGR = 17.7

## Slide 31: Structural design

## Slide 32: The structural design was made by using "ETABS" software

## Slide 33: We divided the project to three blocks

## Slide 34: Design codes
1. ACI – 318 for reinforced concrete design.
2. UBC – 97 for seismic design.

## Slide 35: Material properties
- Allowable bearing capacity (qall) = 250 kN/m2
Concrete:
fʹc of slab and beams equal to 24 MPa and for columns and footing equals to 28 MPa.
Steel bars: yielding strength (Fy) = 420 MPa.

## Slide 36: Building Modeling:

## Slide 37: Loads
Super imposed load (SID): 4KN/m²
.
Dead Load: is represented by the own weight of the structure.
Live load: load of the occupancy and furniture of restaurant building. Live load = 5 KN/m².
Seismic load due earthquake

## Slide 38: Slab System:
Two-way ribbed slab was used , the expected thickness of slab according to h = 𝐿max /27 = 11 /27 = 0.4m.

## Slide 39: Beams
The beams used in this building have dimensions of (40*70) cm, (20*45) cm, (60*40) cm,

## Slide 40: Columns
There are two types of square columns with diameter of (75) cm and (65) cm and one type of rectangular columns with dimension of (70 * 30 cm).

## Slide 41: Compatibility check

## Slide 42: Deflection Check
Maximum deflection service load (dead, SID and live) from ETABS = 48 mm
Allowable deflection =
Deflection is within the range.

## Slide 44: Equilibrium Check

## Slide 47: •Period
= 0.53 sec.
The period was checked using ETABS and found to be equal 0.6 sec .
Error percentage * 100 % = 13% < 25%, so that check is OK.

## Slide 48: Modal Participation Mass Ratio
Modal participation mass ratio was greater than 90% of the full mass of the structure in both X and Y directions by 7 models.

## Slide 50: Base shear check

## Slide 51
Vx = EQx = 2326 KN << Vmanual = KN
Vy = EQy = 2417 KN << Vmanual = KN

## Slide 52: Slab design

## Slide 53: Slab design

## Slide 54: Beams Design

## Slide 55: Beams Design

## Slide 56: Beams Design

## Slide 57: Columns Design

## Slide 58: Columns Design

## Slide 59: Columns Design

## Slide 60: Shear walls design

## Slide 61: Footing design

## Slide 62: Footing design

## Slide 63: Staircase design
Thickness = 0.15m.

## Slide 64: Stair details.

## Slide 65: Thank You