## Slide 1: An-Najah National University Faculty Of Engineering Department Of Building Engineering
Graduation Project(2) Redesign Of al-rahma medical clinic Prepared By:
Ala’ honjol Amal kharoub Liana qabaha Supervisor: Eng. Fadi Fatayer

## Slide 2: Contents
Site Analysis
Architectural Design
Environmental Design
Structural Design
Electrical Design
Mechanical Design
Safety Design
Total Cost

## Slide 3: Site Analysis

## Slide 4: Site Analysis
Shadow in 21 July at 4am
Shadow in 21 July at 12pm

## Slide 5: Site Analysis
Shadow in 21 January at 12pm
Shadow in 21 January at 4 am

## Slide 6: Site Analysis
Wind Direction
N

## Slide 7: Architectural Design
N
Site plan after redesign
Site plan before redesign

## Slide 8: Architectural Design
basement Floor Plan Before Redesign

## Slide 9: Architectural Design
basement Floor Plan after Redesign

## Slide 10: Architectural Design
ground Floor Plan before Redesign

## Slide 11: Architectural Design
ground Floor Plan after Redesign

## Slide 12: Architectural Design
first Floor Plan after Redesign(added)

## Slide 13: Architectural Design
Comparison between old Al-Rahma center spaces, New design of medical clinic and standard.
Al-Rahma clinic after redesign |  |  |  | Al-Rahma clinic before redesign |  |  | standard |  | 
room | length(m) | width(m) | area(m^2) | length | width | area | length | width | area
Clinic | _ | _ | 12 | 4 | 3 | 12 | 4 | 3 | 12
Kitchen | _ | _ | 20 | 2.8 | 2.2 | 6.2 | 4.2 | 2.8 | 11.76
Waiting | _ | _ | 152 | _ | _ | 95 | _ | _ | _
Reception+ waiting | _ | _ | 222 | _ | _ | 150 | 19 | 12 | 228
Reception | 10 | 4 | 70 | _ | _ | 55 | _ | _ | _
W.C's | 2.4 | 1.4 | 3.36 | 2 | 2 | 4 | 2.4 | 1.2 | 2.9
Surgery | 6 | 4 | 24 | 4.1 | 3 | 12.3 | _ | _ | _
Pharmacy | 5 | 4 | 20 | 4 | 3 | 12 | _ | _ | 20.0

## Slide 14: Architectural Design

## Slide 15: Architectural Design

## Slide 16: Architectural Design

## Slide 17: Architectural Design

## Slide 18: Architectural Design

## Slide 19: Architectural Design

## Slide 20: Architectural Design

## Slide 21: Architectural Design

## Slide 22: Architectural Design

## Slide 23: Architectural Design

## Slide 24: Architectural Design

## Slide 25: Environmental design
Sun path:

## Slide 26: Environmental design
Shadow: In 21/July at 4:00 pm

## Slide 27: Environmental design
U-value for exterior wall
Before treatment

## Slide 28: Environmental design
U-value for roof
Before treatment

## Slide 29: Environmental design
Total heating and cooling capacity Total heating load = 102.6 KW Cooling load= 67 KW

## Slide 30: Environmental design
Total site energy= 217 KWh/ Standard value = 240 KWh//
Total site energy before treatment = 379 KWh/

## Slide 31: Environmental design
Not comfort hours:
Not comfort hours before treatment:

## Slide 32: Environmental design
Total heating and cooling:

## Slide 33: Environmental design
RT60 value: (0.4_0.7)
RT60 of clinic before treatment

## Slide 34: Environmental design
STC in exterior wall before treatment
STC in exterior wall:

## Slide 35: Environmental design
IIC for roof:
IIC for roof before treatment:

## Slide 36
Design codes.
Loads.
ETABS model and checks.
Structural elements and detailing.
Structural Design

## Slide 37
Design codes :
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake load computations.
ASCE for load computations.
(ACI 350.3-06) for computing loads applied on water tanks under earthquake action.
Structural Design

## Slide 38: Loads Used
Structural Design
Type of load | Load (KN/m2)
Super Imposed | 4 KN/m2
Live Load | 5 KN/m2
External Wall | 21 KN/m2
Bearing Capacity of soil | 200 kN/m²
Concrete with compressive strength of f’c | 28 MPa
Yielding strength of steel Fy | 420 MPa

## Slide 39
Structural Design
ETABS 3D Model for The Block
The analysis and design were done using by ETABS program.

## Slide 40
Structural Design
Compatibility check:

## Slide 41
Structural Design
Equilibrium check
Load type | Manual value (kN) | ETABS value (kN) | % error
Live load | 10562.5 | 10560.0282 | 0.021
SID load | 8450 | 8448.0225 | 0.023
Dead load | 18191.68 | 18570.3306 | 2
Checks for model :

## Slide 42
Structural Design
Checks for model :
Element | Length(m) | Width (m) | Weight (KN) | Manual force(KN) | ETABS value(KN) | Difference % | CHEK
Coulmn | 0.4 | 0.35 | 16.68 | 762.48 | 782.066 | 2.5 | ≤10% → OK
Beam | 6.8 | 0.7 | 41.65 | 602.58 | 612.79 | 1.6 | ≤10% → OK
Slab | 3.3 | _ | _ | 15 | 17 | 0.12 | ≤10% → OK
Internal forces check

## Slide 43
Structural Design
Drift limitation check
STORY | Ux | Uy | ΔSx | ΔSy | Δmx(mm) | Δmy(mm) | Drift limitation (mm) | check
B.F | 0.6 | 0.7 | 0.6 | 0.7 | 2.31 | 2.695 | 10 | OK
G.F | 1.55 | 2.11 | 0.95 | 1.41 | 3.657 | 1.41 | 10 | OK
F.F | 2.5 | 3.7 | 0.95 | 1.59 | 3.657 | 6.1215 | 10 | OK
Checks for model :

## Slide 44
Seismic Design:
The Structural System in Nablus.
The seismic zone factor is 2B which have factor Z = 0.20.
Seismic Importance factor (I) = 1.25
Soil profile: Silt Clay
Seismic velocity Coefficient (Cv)= 0.28
Seismic acceleration Coefficient (Ca)= 0.4
Structural system force reduction Coefficient (R) = 5.5
Structural Design

## Slide 45
Structural Design
Slab reinforcement
T-section Ribbed slab
slab reinforcement cross section.

## Slide 46: Footing reinforcement. Isolated footing:
Structural Design
Footing Reinforcement cross section for edge column.

## Slide 47: Column reinforcement
Structural Design
Column 35*50 cm reinforcement cross section.
Column 30*30 cm reinforcement cross section
Column 35*40 reinforcement cross section.
Group A
Group B
Group C

## Slide 48: Beam reinforcement
Structural Design

## Slide 49: Beam reinforcement
Structural Design

## Slide 50
Structural Design
Shear wall reinforcement

## Slide 51
Structural Design
Staircase Design

## Slide 52
Structural Design
Element | Name | Dimensions (cm)
Tie beams | TB1 | 30*50
Beams | Main Beam | 70*35
 | Secondary Beam | 40*35
 | Dropped Beam | 60*70
Columns | C1 (Corner column) | 30*30
 | C2 (Edge column) | 40*35
 | C3 (Center column) | 50*35
the dimension of elements

## Slide 53: Electrical design
Lamps used for clinic:
The lamps used before treatment : Fluorescent

## Slide 54: Electrical design
DIAlux model for clinic:

## Slide 55: Electrical design
Uniformity for clinic : From the lighting handle book ( 500-700 lux)
Space | Al-Rahma clinic new design | Al-Rahma clinic | Standard (Lux)
Clinic | 535 | 117 | 500-700

## Slide 56: Electrical design
From above uniformity = 0.71 so it is OK. (meep, 2011)

## Slide 57: Electrical design
: UGR
From figure above Max UGR= 10 <19 ok no glare

## Slide 58: Electrical design
Ground floor lighting plan:

## Slide 59: Electrical design
Ground floor socket plan

## Slide 60: Mechanical Design
Floor | No.of water closet | No.of lavatories | No.of kitchen sink | Total DFUs
Basement floor | 2 | 3 | 0 | 11
Ground floor | 6 | 5 | 1 | 31
First floor | 8 | 7 | 1 | 41
total |  |  |  | 83
Calculations

## Slide 61: Mechanical Design
Manhole System for site plan.

## Slide 62: Mechanical Design
Sewer System For wc (first floor)

## Slide 63: Mechanical Design
Water Drainage Plan For basement

## Slide 64: Mechanical Design
Water Drainage Plan For first floor

## Slide 65: Mechanical Design
Water Supply For basement

## Slide 66: Mechanical Design
Water Supply For GF

## Slide 67: Mechanical Design
Water Supply For F.F

## Slide 68: Mechanical Design
Water Tanks Plan

## Slide 69: Mechanical Design
Water Drainage System

## Slide 70: Mechanical Design
H-vac design ( VRF design )
Total heating load
Total cooling load

## Slide 71: Mechanical Design
VRF design
3d h-vac system

## Slide 72: Mechanical Design
h-vac system with duct sizing for ground floor
Number of duct | wedth | depth
1 | 130 | 100
2 | 100 | 75
3 | 300 | 200
4 | 125 | 100
5 | 100 | 75
6 | 100 | 75
7 | 300 | 200
8 | 175 | 125
9 | 125 | 75
10 | 300 | 250
11 | 125 | 75
12 | 200 | 275
13 | 125 | 75
14 | 125 | 100
15 | 125 | 100
16 | 250 | 275
17 | 125 | 100
18 | 300 | 275
19 | 350 | 300
20 | 125 | 100
21 | 300 | 275
22 | 125 | 100
23 | 300 | 275
24 | 125 | 125

## Slide 73: Safety design
Safety fixture:

## Slide 74: Safety design
Fire suppression system:

## Slide 75: Safety design
Fire plan:

## Slide 76: Safety design
Reflected ceiling plan:

## Slide 77: Cost
1. Civil work total cost= 1701937.29 NIS 2. Architectural work total cost = 1137945 NIS 3. Electrical, mechanical and safety work= 761262.5 NIS 4. Total cost= 3,600,000 Nis =2003.33 m2.