## Slide 1
Businessmen forum in Nablus
Prepared By: Supervisor:
Mahmoud Abd-Albaqi
Yazeed Atallah
Osama Dawood Eng.AbdelHakim
ALJawhari .

## Slide 2: Contents:
Architectural Design.
Structural design.
Environmental Design.
Electrical design.
Mechanical design .
Acoustical design

## Slide 3: Architectural Design:
Site plan:
N

## Slide 4: Architectural Design:
Ground Floor:

## Slide 5: Architectural Design:

## Slide 6: Architectural Design:
Second Floor:

## Slide 7: Architectural Design:
Basement 1:

## Slide 8: Architectural Design:
Basement 2:

## Slide 9: Architectural Design:
Elevations:
Southern Elevation.

## Slide 10: Architectural Design:
Elevations:
Eastern Elevation.

## Slide 11: Architectural Design:
Elevations:
Western Elevation.

## Slide 12: Architectural Design:
Elevations:
North Elevation.

## Slide 13: Structural Design:
Codes and Standards:
ACI 318-14 for reinforcement.
UBC-97 for seismic design and its load combinations.

## Slide 14: Structural Design:
Materials :
Concrete strength for columns, andshear wall f′c= 40MPa, and 24MPa for beams , slabs and footing.
Steel yield strength Fy= 420MPa.
Bearing capacity for soil = 300 kN/m2

## Slide 15: Structural Design:
Loads :
Dead load.
Super imposed dead load =4 kN/m2 .
Live load = 5 kN/m2 .

## Slide 16: Structural Design:
Lateral loads:
Nablus City.
Seismic zone is 2B (z=0.2)
Soil profile is Sc
Acceleration seismic coefficients, Ca=0.24
Velocity seismic coefficients, Cv= 0.32
Importance factor, I=1.25
Force reduction factor, R=5.5

## Slide 17: Structural Design:
Model in ETABS program :

## Slide 18: Structural Design:
Checks:
Compatibility check.
Equilibrium check.
Internal forces check.
Deflection check.
Period check.
period from ETABS = 0.59 sec. , period from hand calc.= 0.46sec

## Slide 19: Structural Design:
Sections Dimensions:
Member | width | depth
Slab | 40 cm Thickness | 
Main Beams | 50 cm | 90 cm
Sec. Beams | 50 cm | 90 cm
Column1 | 80cm | 60cm
Shear wall | 25 cm Thickness | 

## Slide 20: Structural Design:
Basement2 beams distributions :

## Slide 21: Structural Design:
Basement1 beams distributions :

## Slide 22: Structural Design:
G.F beams distributions :

## Slide 23: Structural Design:
F.1 beams distributions :

## Slide 24: Structural Design:
F.2 beams distributions :

## Slide 25: Structural Design:
Slab Reinforcements:

## Slide 26: Structural Design:
Beams Reinforcements:

## Slide 27: Structural Design:
Columns Reinforcements:

## Slide 28: Structural Design:
Footing Reinforcements:

## Slide 29: Structural Design:
Shear,and basement wall Reinforcements:

## Slide 30: Structural Design:
Stairs Reinforcements:

## Slide 31: Environmental Design:
Thermal Design
Acoustical Design
Lighting Design

## Slide 32: Thermal Design:
Design Builder program ( 3D Model ):
After re – design
After re – design
After re – design
After re–design
Before re-design

## Slide 33: Thermal Design:
Materials :
External walls Partition
U value = 0.521 W/m2.K. U value = 1.5W\m2.K.

## Slide 34: Thermal Design:
Materials :
Ceiling Ground floor
U value= 1.229 W/m2.K. U value = 0.286 W/m2.K.

## Slide 35: Thermal Design:
Shading:
Shading in winter (21St/January)
At 8:00 AM. At 12:00 PM.

## Slide 36: Thermal Design:
2) Shading in summer (21St/Jun)
At 8:00 AM At 12:00 PM

## Slide 37: Thermal Design:
Natural daylight analysis.
D.F % | Function
2.84 | Meeting room

## Slide 38: Thermal Design:
Heating and cooling Capacities.
59.7KW | Cooling
69.19KW | Heating
The value of heating and cooling in simulation building
.
.

## Slide 39: Thermal Design:
simulation:

## Slide 40: Thermal Design:
Site energy.
The standard max power intensity= 84 kW\m2, in comparison to pre-design values 74 kW\m2 ,the reason is that pre-design was not a fully designed building on the one hand cooling and heating.

## Slide 41: Electrical Design:
Lighting Arrangement.
Sockets Arrangement.

## Slide 42: Electrical Installation Design:
Lighting Arrangement:
1- Parking:

## Slide 43: Electrical Installation Design:
2- Ground Floor:

## Slide 44: Electrical Installation Design:
3- First Floor:

## Slide 45: Electrical Installation Design:
4- second Floor:

## Slide 46: Electrical Installation Design:
Sockets Arrangement:
1- Parking:

## Slide 47: Electrical Installation Design:
2- Ground Floor:

## Slide 48: Electrical Installation Design:
3- First Floor:

## Slide 49: Electrical Installation Design:
4- second Floor:

## Slide 50: Mechanical Design:
HVAC Design:
VAV system was used for all buildings rooms
Main component of VAV system is:
1- Outdoor unit.
2- Controller.
3- Fan coil (indoor units).
4- Ducts.
5- Diffusers.

## Slide 51: Mechanical Design:
VAFVDesign:
Cooling load for building = 59.7 kW
Outdoor unit was selected from Petra Company:

## Slide 52: Mechanical Design:
VAV Design:
Balance pressure drop method was used to find duct sizing.
For library, cooling load = 59.7kW so that ύ =3.4m3/s
The fan coil was selected from Petra Company, DC12 with ύ = 3.4m3/s.
Kvadra diffuser was selected from Systemair Company with volumetric flow rate 0.1m3/s.

## Slide 53: Mechanical Design:
VAV Design:

## Slide 54: Acoustical Design:
Reverberation Time (RT60): Ecotect Software used for calculation of RT60. four zones were taken into consideration:
1 - Office Room: The required RT60 for this zone is between (0.6 – 1.0), we used normal layers in walls, linoleum in the floor and acoustical ceiling panels to meet the requirements value.

## Slide 55: Acoustical Design:
Layers:
RT 60 values when the office is totally empty .

## Slide 56: Acoustical Design:
Reverberation Time when the office is 50% occupied
Reverberation Time when the office is full
The value of RT60 in three cases in the range

## Slide 57: Acoustical Design:
Comparison between acoustical in first project and required acoustical in second project :
It is worth mentioning the RT60 before redesign stage was 0.58 Sabine, while the new value is 0.72 Sabine and both values are in the acceptable range of the offices which is from (0.6- 1 Sabine, so both values are accepted. The reason of this difference due to the change in the dimensions, replacing plaster with paint, adding new window and adding acoustical ceiling

## Slide 58: Acoustical Design:
2- Dining room : The required RT60 for this zone is between (0.6 – 1.0), we used normal layers in walls, linoleum in the floor and acoustical ceiling panels to meet the requirements value.

## Slide 59: Acoustical Design:
Layers:
RT 60 values when the Dining room is totally empty .

## Slide 60: Acoustical Design:
RT 60 values when the dining hall is full :
RT 60 values when the dining hall is 50% full
The value of RT60 in three cases in the range

## Slide 61: Acoustical Design:
3 - Multipurpose Room: : The required RT60 for this zone is between (0.6 – 1.4), we used normal layers in walls, linoleum in the floor and acoustical ceiling panels to meet the requirements value.

## Slide 62
Acoustical Design
Layers:
RT 60 values when the multipurpose hall is empty

## Slide 63: Acoustical Design:
  RT 60 values when the multipurpose hall is semi full
RT 60 values when the multipurpose hall is full
The value of RT60 in three cases in the range

## Slide 64: Acoustical Design:
Comparison :
It is worth mentioning the RT60 before redesign stage was 1.04 Sabine, while the new value is 0.86 Sabine, and these values lies in the acceptable RT60 range which is( 0.6 – 1.4) Sabine, so both values are acceptable. The reason of the change between the two values related to changes of the dimensions, adding tiles, paint and acoustical ceiling.

## Slide 65: Acoustical Design:
3 Meeting Room: The required RT60 for this zone is between (0.6 – 1.4), we used normal layers in walls, linoleum in the floor and acoustical ceiling panels to meet the requirements value.

## Slide 66: Acoustical Design:
Layers:
RT 60 values when the meeting room is empty

## Slide 67: Acoustical Design:
RT 60 values when the meeting room is 50% full
RT 60 values when the meeting room is full
The value of RT60 in three cases in the range

## Slide 68: Acoustical Design:
Sound Transmission Class (STC):
We use Insul Software in order to achieve the required design.
1- External Wall for multipurpose hall : The required STC for the wall is (46-56), and the designed value by using Insul software is 54 dB.

## Slide 69: Acoustical Design:
Comparison :
The recommended value of the STC is 46-56, so this value of STC lies in the range.
When comparing the old value of STC from graduation project 1 which was 37, while the new value of STC is 54, so the new value is better than the old one.
.

## Slide 70: Acoustical Design:
2 - External Wall for office : The required STC for the wall is (46-56), and the designed value by using Insul software is 47 dB.

## Slide 71: Acoustical Design:
Impact Insulation Class (IIC): The components of the slab used in this project as shown in this Figure , resulted IIC for the slab is 52 dB which is good.

## Slide 72: Acoustical Design:
Comparison :
When comparing the old value of IIC from graduation project 1 which was 27, while the new value of IIC is 52, so the new value is better than the old one.

## Slide 73: Acoustical Design:
Loud Speakers:
1- Multipurpose Room : We used PRO-180RPC In-ceiling speakers with 100 coverage angle.

## Slide 74: Elevators

## Slide 75
 | 2500/350 | 2500/400 | 3000/350 | 3000/400 | 3500/350 | 3500/400
Passenger capacity (P) | 13 | 13 | 16 | 16 | 19 | 19
Round trip (RT) | 130 | 124 | 141 | 135 | 152 | 147
Handling capacity (hc)=300*P/RT | 30.00 | 31.45 | 34.04 | 35.56 | 37.50 | 38.78
Number of cars in system(N)=HC/hc | 1.12 | 1.07 | 0.99 | 0.95 | 0.90 | 0.87
N' | 1 | 1 | 1 | 1 | 1 | 1
Check number 1: Percent handling capacities (PHC) = N'*hc/population | 13% | 14% | 15% | 16% | 17% | 17%
Check number 2: I = RT/N' | 28 | 30 | 34.04 | 35.56 | 37.50 | 38.78
suitable elevator could be chosen is 2500/350 and number of elevators is 1.

## Slide 76: Water supply distribution:
Riser 1
 | diameter chosen (in) | losses
meter | 1 | 2.2
Vertical pipe | 2 | 1.6
Horizontal pipe | 1.5 | 0.3
Branch pipe | 0.75 | 0.3
 | Total | 4.4

## Slide 77
Riser 2
 | diameter chosen (in) | losses
meter | 1 | 1.8
Vertical pipe | 2 | 1.4
Horizontal pipe | 1.5 | 0.1
Branch pipe | 0.75 | 0.6
 | Total | 3.9

## Slide 78: Drainage system:

## Slide 79
Side 1: it is connected with second floor and ground floor and extends to the public sewer.
Second floor: contains of 6 W.Cs and 6 wash sinks.
Ground Floor: contains of 6 W.Cs and 6 was sinks.
 | Second floor |  |  | Ground Floor |  |  |  | 
Details | W.C | Wash sink | total | W.C | Wash sink | total | Stack | Table
Drainage fixture unit | 4 | 2 | 36 | 4 | 2 | 36 | 72 | 22.2 (Shown in figure 5.2)
Diameter (in) | 4 | 2 | --- | 4 | 2 | --- | 4 | 22.3 (Shown in figure 5.3)
Slope | 1% |  |  | 1% |  |  | --- | 22.5 (Shown in figure 5.4)

## Slide 80
Side 2: it is connected with Second floor and extends to the public sewer.
First floor: contains of 1 kitchen sink.
 | Second floor |  | 
Details | Kitchen sink | Stack | Table
Drainage fixture unite | 2 | 2 | 22.2 (Shown in figure 5.2)
Diameter (in) | 2 | 4 | 22.3 (Shown in figure 5.3)
Slope | 1% | --- | 22.5 (Shown in figure 5.4)

## Slide 81
Side 3: it is connected with first floor and extends to the public sewer.
Second floor: contains of 4 W.Cs, 4 wash sinks and 1 kitchen sink.
 | Second floor |  |  |  |  | 
Details | W.C | Wash sink | Kitchen sink | total | Stack | Table
Drainage fixture unit | 4 | 2 | 36 | 23 | 23 | 22.2 (Shown in figure 5.2)
Diameter (in) | 4 | 2 | 2 | --- | 4 | 22.3 (Shown in figure 5.3)
Slope | 1% |  |  |  | --- | 22.5 (Shown in figure 5.4)

## Slide 82: Distribution of fire Extinguisher system in ground floor:

## Slide 83: Distribution of fire Extinguisher system in first floor: