## Slide 1
An-Najah National University
Faculty of Engineering & Information Technology
Electrical Engineering Department
Enhancing Grid Stability under Dynamic Loads
Using a Grid-Tied Inverter with Volt/Var Controller
Supervisor Name:
Eng. Omar Tamimi
Presented by:
Ghena Farouq, Tariq Dumaide, Mohammad Qasem, Mohammad Tubileh
January
2025/2026

## Slide 2
Simulation using LTspice

## Slide 3
Open Loop Grid Tied Inverter

## Slide 4
Grid Voltage = 230V RMS
Reference voltage = 230V RMS In Phase
Grid current = 1A RMS
Open Loop GTI – IDEAL Operating Condition

## Slide 5
Grid Voltage = 245V RMS Out of Phase
Reference Voltage = 230V RMS Distorted current
Grid Current = Undefined RMS
Open Loop GTI – Real Operating Condition

## Slide 6
Closed Loop GTI with Current Control Circuit

## Slide 7
Grid Voltage = 230V RMS
Grid Voltage = 245V RMS

## Slide 9
Closed Loop GTI with Current Control Circuit
Grid Current Sensor
Grid Current Reference

## Slide 10
Grid Current Sensor
Grid Current Reference
Compensator Output Voltage

## Slide 11
Triangular Voltage (Wave form)
Compensator Output Voltage (Sinusoidal)

## Slide 12
Triangular Voltage (Wave form)
Compensator Output Voltage (Sinusoidal)
PWM
High PWM Sinusoidal Triangular
LOW PWM Sinusoidal Triangular

## Slide 13
PWM (Wave form)

## Slide 14
1st Mosfet Gate Voltage
2nd Mosfet Gate Voltage
With dead Time 100ns

## Slide 15
3rd Mosfet Gate Voltage
4th Mosfet Gate Voltage
With dead Time 100ns

## Slide 16
Gate Driver with Full Bridge Inverter

## Slide 17
Inverter Output Voltage (-400V to 400V)

## Slide 18
Results of using Closed Loop Current Controller
Grid Current in Phase with Grid Voltage
Exporting Real Power with High Efficiency
System is Stable

## Slide 19
Results of using Closed Loop Current Controller
Dynamic loads
Grid Voltage
Grid Current in Phase with Grid Voltage
Exporting the maximum possible active power
Stable system operation

## Slide 20
PCB Layout

## Slide 21
PCB Architecture and Component Selection

## Slide 22
PCB Architecture and Component Selection

## Slide 23
Low-Voltage Regulation

## Slide 24
PCB Architecture and Component Selection

## Slide 25
Isolated Auxiliary Power Supply Design

## Slide 26
PCB Architecture and Component Selection

## Slide 27
VBUS

## Slide 28
PCB Architecture and Component Selection

## Slide 29
Grid Interface

## Slide 30
PCB Architecture and Component Selection

## Slide 31
Feed Back

## Slide 32
PCB Architecture and Component Selection

## Slide 33
Control Unit based on STM32L475 MCU

## Slide 34
PCB Architecture and Component Selection

## Slide 35
Gate Driver and Full-Bridge Power Stage

## Slide 36
PCB Architecture and Component Selection

## Slide 37
LCL Filter

## Slide 38
PCB Architecture and Component Selection

## Slide 39
Relay Driver

## Slide 40
PCB Architecture and Component Selection

## Slide 41
Dual-Relay

## Slide 42
Hardware

## Slide 43
PCB Bill of Materials (BOM)

## Slide 44
Assembling and soldering electronic components onto a PCB board

## Slide 45
PCB board before assembling

## Slide 46
PCB board after assembling

## Slide 48
Zoom in PCB board after assembling

## Slide 49
Other Component
Inverter
AC-to-DC rectifier
Buck converter
Power Supply

## Slide 51
ST-Link Connection

## Slide 52
STM32 Development Toolchain

## Slide 53
STM32CubeMX: Graphical Configuration Tool

## Slide 54
STM32CubeMX: Graphical Configuration Tool

## Slide 55
STM32CubeMX: Graphical Configuration Tool

## Slide 56
STM32CubeIDE: Integrated Development Environment

## Slide 57
STM32CubeProgrammer: Flashing Tool

## Slide 58
Installing the code STM32 main processor

## Slide 60
Hardware Results
The practical part, which involved assembling the electronic circuit PCB and its necessary components for proper and complete operation, has been completed.
The circuit's processor, responsible for processing network signals, has been programmed for use in controlling the inverter, enabling it to connect the electrical grid to the solar power system.
The waves generated by the main processor have been verified and measured.

## Slide 61
Challenges

## Slide 62
Hardware Challenges
Difficulty in procuring the necessary electronic components and requirements for the project from the local market, necessitating their importation.
High prices for electronic components, shipping costs, and customs duties.
Customs clearance issues for some components, resulting in significant delays in their arrival, particularly for the PCB (Printed Circuit Board).
The small size of the electronic components and the difficulty of assembling them, requiring specialized equipment such as magnifying lenses and soldering tools.

## Slide 63
Simulation Challenges
Lack of prior knowledge of simulation software.
Insufficient resources to resolve problems encountered during simulation and data acquisition.
Software limitations, such as the unavailability of all electronic components in its library, necessitating the use of different software or the creation of these components from scratch within the software.

## Slide 64
Future Work

## Slide 65
Future Work for Software
Grid Tied Inverter using Volt Var Controller