## Slide 1: An-Najah National University Engineering Faculty Civil Engineering Department
Graduation Project II Presentation
Kinetic Analysis and Design for High Strength Municipal Wastewater
Prepared By: Ahmad Bitar
Ahmad Domaidi
Osama Khader
Under the Supervision of:
Abdel Fattah Hasan, Ph.D.
23/5/2012

## Slide 2
Part A

## Slide 3: Outline
Objectives
Background
Methodology
Experiment Setup
Running the Experiment
Experiment Results
Data Analysis and Design

## Slide 4: Objectives
Ultimate Goal:
A healthy environment for people and ecology.
The main objectives for this project are:
To determine the BOD, COD and SS contents of Nablus’ WW.
To determine the Kinetic Parameters of high strength Municipal WW (here for Nablus–West).
To optimize the Aeration Tank of Nablus-West WWTP.
To determine the effect of industrial WW on the strength and quality of the influent WW.

## Slide 5: Background
Nablus is one of
the major cities in
North of the West
Bank.
Our main concern
will be the west of
Nablus area.

## Slide 6: Background
Nablus’ produced wastewater used to be discharged into Wadi Zimar to the West & Wadi Badan to the East.
Nablus-West will be the first WWTP to directly serve the western area of Nablus.
Nablus WWTP is under construction.
Original design was done by Lahmeyer, Dr. Beitelsmann and Hijjawi.

## Slide 7: Background
For the design, two methods stand out: 1) Mass Loads Design. 2) Kinetic Constants Design. These are used for the design of the secondary treatment process.

## Slide 8: Background
Preliminary treatment
Typically biological
treatment
Thickening

## Slide 9: Background
For the Mass Loads design, the following table was developed through experience which is used for the design process:
= F/M * MLSS
AS-Process | BOD Loading (g BOD/m3.d) | MLSS (mg/L) | F/M Ratio (g BOD/g MLSS.d) | Sludge Age (d) | Aeration Period (hr) | Return Sludge Rate (%) | BOD Removal Efficiency (%)
Conventional | 320-640 | 1,000-3,000 | 0.2-0.5 | 5-15 | 4-7.5 | 2-40 | 80-90
Step Aeration | 640-960 | 1,500-3,500 | 0.2-0.5 | 5-15 | 4-7 | 30-50 | 80-90
Extended Aeration | 160-320 | 2,000-8,000 | 0.05-0.2 | >20 | 20-30 | 50-100 | 85-95

## Slide 10: Background

## Slide 11: Background
As for the Kinetic Constants design, it was developed since it more closely represents the actual kinetic behavior of the microorganisms.
Kinetic Constants give a more conservative design for the aeration tank in the activated sludge treatment system design.

## Slide 12: Background
In short, Kinetic Constants depend on the type of bacteria as well as the concentration of BOD in the wastewater.
The effect of industry (main producer of COD), which has a significant presence in Nablus, should be considered as well.

## Slide 13: Background
The four Kinetic Parameters that need to be determined for the design are:
Y= growth yield, in mg VSS/mg BOD (or mg COD).
kd= microbial decay coefficient, in d-1.
Ks= saturation constant, in mg/L of BOD (or COD).
k= maximum rate of substrate utilization per unit mass of biomass, in d-1.

## Slide 14: Background
The following table shows the range of these constants for the USA.
Notice that that WW in the USA has a BOD value of about 150 mg/L while this value in Nablus might reach up to 1000 mg/L, so the kinetic constants for Nablus should be completely different.
Constant | Units | Range
Y | mg VSS/mg BOD | 0.4 – 0.8
Y | mg VSS/mg COD | 0.3 – 0.4
kd | d-1 | 0.04 – 0.08
Ks | mg/L of BOD | 25 – 100
Ks | mg/L of COD | 25 – 100
k | d-1 | 4 - 8

## Slide 15: Background
We are caught between two minds, should we design based on the Kinetic Constants or the Mass Loads?

## Slide 16: Methodology
Design Period was set for 30 years.
The Population and Hydraulic Loads were determined through two approaches:

## Slide 17: Methodology
Approach (I): Population, assuming a 2.22% growth rate, will be 449,722 in 2042.
Design Population will be: 450,000.
Assuming a 100 L/c.d water consumption rate, the following values will be used for design:
Water Consumption Per Day (m3) | 45,000
Equivalent Flow from Industry Per Day (m3) | 10,000
Estimated Infiltration Per Day (m3) | 5,000
Total Design Flow Per Day (m3) | 60,000

## Slide 18: Methodology
Approach (II): Taking the values for the population and hydraulic loads from the estimations of the original design team (Lahmeyer, Dr. Beitelsmann and Hijjawi) the following table was created:
 | Stage 1 (2020) | First Extension | Final Extension (2035)
Population Equivalents | 150,000 | 225,000 | 300,000
Average Flow (m3/d) | 14,860 | 19,707 | 27,377
Peak Flow (m3/d) | 19,037 | 24,607 | 34,239

## Slide 19: Methodology
The four Kinetic Parameters that need to be determined for the design are:
Y= growth yield, in mg VSS/mg BOD (or mg COD).
kd= microbial decay coefficient, in d-1.
Ks= saturation constant, in mg/L of BOD (or COD).
k= maximum rate of substrate utilization per unit mass of biomass, in d-1.

## Slide 20: Methodology
Using the Kinetic Parameters we found, the following equation will be used to determine the volume of the Aeration tank:
where:
θc: mean cell residence time, in time.
Q: rate of influent flow.
S0: concentration of substrate in influent flow ( soluble BOD or COD ).
Se: concentration of substrate in effluent flow, recirculating sludge, and aeration tank ( soluble BOD or COD ).
X: concentration of biomass in aeration tank (MLVSS).
U: specific substrate utilization rate, in time -1.

## Slide 21: Methodology
And those two equations will be used to find the remaining terms:

## Slide 22: Methodology
From the two following curves, the Kinetic Constants can be determined:
Chart: U (1/day)
| 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20
Y | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8

## Slide 23: Methodology
Chart: 1/Se (1/ {mg/L of BOD})
| 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20
Y | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1/k (day)

## Slide 24: Experimental Setup
Primary Sedimentation Tank
Buffer Tank
Aerators
Aeration Tank

## Slide 25: Experimental Setup
Air Diffusers
Aeration Tank
Magnetic Stirrers
Inflow
Outflow
Sludge Removal

## Slide 26: Experimental Setup
Dimensions of the Aeration Tank:

## Slide 27: Experimental Setup

## Slide 28: Experimental Setup
The system was checked to make sure it provides complete mixing and it has no “dead zones”, and provides complete drainage for the whole system.

## Slide 29: Experimental Setup

## Slide 30: Experimental Setup

## Slide 31: Experimental Setup

## Slide 32: Experimental Setup

## Slide 33: Experimental Setup

## Slide 34: Experimental Setup

## Slide 35: Running the Experiment
Samples were taken on a daily basis, during the period from Mar, 19th to April, 12th.
Those samples were used to feed the previously illustrated system to make sure that a continuous flow of 3-8 L/h was maintained.

## Slide 36: Sampling Location
About 500 m to the west of Shaghoor Swimming Resort.

## Slide 37: Collecting the Samples
About 100 L were collected daily.

## Slide 38: Collecting the Samples

## Slide 39: Packing

## Slide 40: Collecting Samples from the System
Samples were poured into the PST. After settling, they were discharged into the rest of the system.
The following day, samples from the inflow and outflow were taken to determine their COD content.
Samples from three places in the AT were taken the following day as well to find the Avg. SS content

## Slide 41: Experiment Results
DO values: Measurements for the DO were carried out daily. The following graph shows the obtained values:
Chart: DO Concentration (ppm)
| 40992 | 40993 | 40994 | 40995 | 40996 | 40997 | 40998 | 40999 | 41000 | 41001 | 41002 | 41003 | 41004 | 41005 | 41006 | 41007 | 41008 | 41009 | 41010 | 41011 | 41012 | 41013 | 41014 | 41015 | 41016 | 41017 | 41018 | 41019 | 41020 | 41021
Concentration (ppm) | 7.77 | 8.84 | 7.37 | 7.93 | 8.59 | 9.97 | 6.44 | 8.13 | 7.56 | 7.11 | 7.51 | 7.43 | 7.55 | 6.81 | 7.54 | 7.82 | 7.11 | 7.53 | 7.8 | 7.53 | 7.62 | 7.73 | 7.48 | 7.88 | 7.95 | 7.83 | 7.92 | 8.11 | 8.15 | 8.03

## Slide 42: Experiment Results
Chart: Suspended Solids Concentration (after Primary Sedimentation) (ppm)
| 40987 | 40988 | 40994 | 40995 | 40996 | 40997 | 40998 | 40999 | 41000 | 41001 | 41002 | 41003 | 41004 | 41005 | 41006 | 41007 | 41008 | 41009 | 41010 | 41011 | 41012 | 41013 | 41014 | 41015 | 41016 | 41017 | 41018 | 41019 | 41020 | 41021
Concentration (ppm) | 2000 | 2500 | 5400 | 2800 | 6700 | 3400 | 6000 | 6500 | 3350 | 3700 | 3800 | 3200 | 4700 | 3800 | 3100 | 5400 | 4800 | 3900 | 4100 | 3600 | 3700 | 3700 | 3800 | 3500 | 3400 | 3200 | 3500 | 3300 | 3200 | 3200
Avg. Value for Design: 4000 ppm

## Slide 43: Experiment Results
Chart: COD Influent & Effluent Concentration (ppm)
| 40987 | 40988 | 40989 | 40990 | 40991 | 40992 | 40993 | 40994 | 40995 | 40996 | 40997 | 40998 | 40999 | 41000 | 41001 | 41002 | 41003 | 41004 | 41005 | 41006 | 41007 | 41008 | 41009 | 41010 | 41011
Influent | 230 | 282 | 217 | 188 | 695 | 273 | 1732 | 2166 | 1708 | 531 | 2116 | 244 | 469 | 468 | 627 | 370 | 321 | 489 | 501 | 397 | 521 | 350 | 1032 | 422 | 723
Effluent | 145 | 130 | 180 | 27 | 114 | 67 | 177 | 948 | 1196 | 220 | 301 | 172 | 210 | 152 | 152 | 153 | 100 | 233 | 161 | 161 | 183 | 136 | 134 | 133 | 114
Avg. Inflow COD concentration: 682 ppm

## Slide 44: Experiment Results
Chart: Efficiency
| 40987 | 40988 | 40989 | 40990 | 40991 | 40992 | 40993 | 40994 | 40995 | 40996 | 40997 | 40998 | 40999 | 41000 | 41001 | 41002 | 41003 | 41004 | 41005 | 41006 | 41007 | 41008 | 41009 | 41010 | 41011
Efficincy | 36.9565 | 53.9007 | 17.0507 | 85.6383 | 83.5971 | 75.4579 | 89.7806 | 56.2327 | 29.9766 | 58.5687 | 85.775 | 29.5082 | 55.2239 | 67.5214 | 75.7576 | 58.6486 | 68.8474 | 52.3517 | 67.8643 | 59.4458 | 64.8752 | 61.1429 | 87.0155 | 68.4834 | 84.2324

## Slide 45: Experiment Results
BOD:
Using a conversion factor of 0.7 the value used for design for the inflow BOD will be equal to:
0.7*680= 480 ppm

## Slide 46: Experiment Results
Final Results for Design
Parameter | Concentration (ppm)
Suspended Solids | 4000
Inflow BOD | 480
Outflow BOD | 20
Outflow SS | 30

## Slide 47: Finding the Kinetic Constants
After Properly organizing and interpreting the results, the following two graphs were obtained:
Chart: U (per day)
| 0.16627311205168188 | 0.14273249138920782 | 0.5192386690401205 | 0.31434089811685173 | 0.2998243216865118 | 0.49251569290197972 | 0.41905889316365785 | 0.34454638124362896
 | 0.16786 | 0.16516 | 0.23195 | 0.20583 | 0.25342 | 0.21659 | 0.26549

## Slide 48: Experiment Results
From the graphs, the following results were obtained:
* COD: *BOD(using a conversion factor of 0.7):
Y | 0.26 mg VSS/mg BOD
Ks | 660 mg BOD/L
k | 2.56 d-1
kd | 0 d-1
Y | 0.18 mg VSS/mg COD
Ks | 940 mg COD/L
k | 2.56 d-1
kd | 0 d-1

## Slide 49: Design Based on Mass Loads
The following table shows the limitations for this type of design:
Process |  | BOD Load (g/m3.d) | Aeration Period (h) | Maximum Inflow BOD (ppm)
Conventional | Lower Limit | 320 | 4 | 53
 | Upper Limit | 640 | 7.5 | 200
Step Aeration | Lower Limit | 640 | 4 | 107
 | Upper Limit | 960 | 7 | 280
Extended | Lower Limit | 160 | 20 | 133
 | Upper Limit | 320 | 30 | 400

## Slide 50: Design Based on Mass Loads
Using the following two equations, the volumes for the Aeration Tank will be obtained:

## Slide 51: Design Based on Mass Loads
Approach (I):
Process |  | BOD Load (g/m3.d) | Volume (m3) | HRT (h)
Conventional | Lower Limit | 320 | 90,000 | 36
 | Upper Limit | 640 | 45,000 | 18
 | Average | 480 | 60,000 | 24
Step Aeration | Lower Limit | 640 | 45,000 | 18
 | Upper Limit | 960 | 30,000 | 12
 | Average | 800 | 36,000 | 14.4
Extended | Lower Limit | 160 | 180,000 | 72
 | Upper Limit | 320 | 90,000 | 36
 | Average | 240 | 120,000 | 48
HRT values don’t apply

## Slide 52: Design Based on Mass Loads
Approach (II):
Stage I |  |  |  | 
Process |  | BOD Load (g/m3.d) | Volume (m3) | HRT (h)
Conventional | Lower Limit | 320 | 28,555.5 | 11
 | Upper Limit | 640 | 14,277.8 | 6
 | Average | 480 | 19,037 | 8
Step Aeration | Lower Limit | 640 | 14,277.8 | 6
 | Upper Limit | 960 | 9,518.5 | 4
 | Average | 800 | 11,422.2 | 5
Extended | Lower Limit | 160 | 57,111 | 23
 | Upper Limit | 320 | 28,555.5 | 11
 | Average | 240 | 38,074 | 15

## Slide 53: Design Based on Mass Loads
Approach (II):
Extension I |  |  |  | 
Process |  | BOD Load (g/m3.d) | Volume (m3) | HRT (h)
Conventional | Lower Limit | 320 | 36,910.5 | 15
 | Upper Limit | 640 | 18,455.3 | 7
 | Average | 480 | 24,607 | 10
Step Aeration | Lower Limit | 640 | 18,455.3 | 7
 | Upper Limit | 960 | 12,303.5 | 5
 | Average | 800 | 14,764.2 | 6
Extended | Lower Limit | 160 | 73,821 | 30
 | Upper Limit | 320 | 36,910.5 | 15
 | Average | 240 | 49,214 | 20

## Slide 54: Design Based on Mass Loads
Approach (II):
Extension II |  |  |  | 
Process |  | BOD Load (g/m3.d) | Volume (m3) | HRT (h)
Conventional | Lower Limit | 320 | 51,358.5 | 21
 | Upper Limit | 640 | 25,679.3 | 10
 | Average | 480 | 34,239 | 14
Step Aeration | Lower Limit | 640 | 25,679.3 | 10
 | Upper Limit | 960 | 17,119.5 | 7
 | Average | 800 | 20,543.4 | 8
Extended | Lower Limit | 160 | 102,717 | 41
 | Upper Limit | 320 | 51,358.5 | 21
 | Average | 240 | 68,478 | 27

## Slide 55: Design Based on Kinetic Constants
Approach (I): Using the following equations, the volume for the Aeration Tank will be obtained:
Y | 0.26 mg VSS/mg BOD
Ks | 660 mg BOD/L
k | 2.56 d-1
kd | 0 d-1

## Slide 56: Design Based on Kinetic Constants
Using published values with Approach (I): Using the previous equations with the average of the following Kinetic Constants values, the volume for the Aeration Tank will be obtained:
Constant | Units | Range
Y | mg VSS/mg BOD | 0.4 – 0.8
kd | d-1 | 0.04 – 0.08
Ks | mg/L of BOD | 25 – 100
k | d-1 | 4 - 8

## Slide 57: Design Based on Kinetic Constants
Approach (II):
Stage 1:
Extension I:
Extension II:

## Slide 58: Steady Modeling Program
Several runs were carried out using Steady Modeling Program.
Steady is a program for WWTP modeling.
It was created by Professors Luis Aburto-Garnica and Gerald E. Speitel Jr. of the Civil Engineering Department at the University of Texas (Austin).

## Slide 59: Steady Modeling Program

## Slide 60: Steady Modeling Program
We inserted the Kinetic Parameters which we have gotten from our work to the steady program.
We compared the variations of the volume for aeration tank with two parameters ( X, MCRT).

## Slide 61: Steady Modeling Program
Chart: 
| 49008 | 98016 | 147024 | 196032 | 245040
2000 | 10 | 20 | 30 | 40 | 50
3000 | 10 | 20 | 30 | 40 | 50
4000 | 10 | 20 | 30 | 40 | 50
5000 | 10 | 20 | 30 | 40 | 50
6000 | 10 | 20 | 30 | 40 | 50
Chart: 
| 49008 | 32672 | 24504 | 19603 | 16336 | 14002 | 12252
10 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000
15 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000
20 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000
25 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000
50 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000
60 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000

## Slide 62
DESIGN CHART FOR AT OF NABLUS WEST
Q= 2500 m3/h

## Slide 63
GENERAL DESIGN CHART FOR AT OF HIGH STRENGHT MUNICIPAL WW
Q= 1 m3/h

## Slide 64
Part B

## Slide 65
Industrial Wastewater in Nablus City

## Slide 66: sub objective:
Determine the amounts of industrial wastewater for a sample of factories .
WHY?
Industrial wastewater usually is low flow compare to domestic wastewater flow but contains high contamination(BOD,COD,SS).

## Slide 67
Water resources in Nablus:

## Slide 68: Traditional Industries
Soap Industry:

## Slide 69
Vegetable oil:

## Slide 70
Stone Crushing:

## Slide 71
Furniture Industry:

## Slide 72
The Tuhineh:

## Slide 73
sweet industries:

## Slide 74
Methodology

## Slide 75
Methodology
Collecting data

## Slide 76: Data collection
From municipality of Nablus and chamber of commerce and industry we get:
Main industries
Water consumption for each one

## Slide 83
Methodology
Collecting data
Analyzing data

## Slide 84: Data analysis
By assuming the consumed water = wastewater
Classify the industries into sub categories
Summing up all water consumption for each category

## Slide 85: Results of data analysis
From this results we can see that the largest amount of waste water comes from the ( food industries ) high BOD and
( stone crushing ) high SS.
Industry | Quantity (m3/month)
Constructions, Queries | 2500
Tahenah, Halawah | 1100
Sweets | 1100
Food | 4000
Chemicals | 550
Leather, Glass, Plastic, Textile | 370
Service Industries | 580
Other | 650

## Slide 86
Methodology
Collecting data
Analyzing data
Final
results

## Slide 87: BOD, COD, SS, P, N in Wastewater :
Industry | Quantity (m3/month) | BOD | COD | SS | N | P
Constructions, Queries | 2500 |  |  |  |  | 
Tahenah, Halawah | 1100 |  |  |  |  | 
Sweets | 1100 |  |  |  |  | 
Food | 4000 |  |  |  |  | 
Chemicals | 550 |  |  |  |  | 
Leather, Glass, Plastic, Textile | 370 |  |  |  |  | 
Service Industries | 580 |  |  |  |  | 
Other | 650 |  |  |  |  | 

## Slide 88
Nablus city
west
east
domestic
industrial
domestic
industrial
BOD: 55 g/c.d
COD: 75 g/c.d
SS: 80 g/c.d
N: 50 g/c.d
P: 2 g/c.d
TO WWTP
Work for another group

## Slide 89: Benefits
Political: treating wastewater using Nablus-West WWTP will deprive the Israelis of the revenues they generate through treating Palestinian WW.
Economical: building and running the WWTP will provide job opportunities on the medium and long term for local workforce.

## Slide 90: Benefits
Social: through building the sewer line that reaches the plant to the west of the city, the unsavory sight of flowing WW would be eliminated. It will be replaced by the view of treated WW flowing in the wadi after the WWTP instead.
Health: many pathogens that originate from WW would not be exposed anymore, resulting in better health for residents of the nearby area.

## Slide 91: Benefits
Environmental: 1) Providing water for irrigation purposes in the nearby agricultural areas. 2) Using excess water for groundwater recharge. 3) Dried sludge can be used for fertilizing.