## Slide 1
HALAWA
BUILDING

## Slide 2
NAME OF
MEMPARS
Ahmad Ramadan
Majd Mubaslat
Mahde Abdo
Hani Juma
Eng. Alaa Shaheen

## Slide 3
CONTENT
INTRODUCTION
ARCH ASPECT
ENV ASPECT
STRC ASPECT
ECONEMICAL
ELC & MECH

## Slide 4
INTRODUCTION
Halawa building is located in the city of Nablus (bet iba).
It consists of 4 floors including one basement .
Total area of floors above ground = 1454 SM.
Basements total area = 418 SM
Before:
After:
The building was converted into an commercial building consisting of (stores, warehouse, refrigeration and air conditioning showroom, and offices of various types)
It consists of 10 floors, including two basement floors.
Total area of ​​floors above ground = 3544 m2.
Total area of ​​the basement = 1453 m2

## Slide 5
Site location

## Slide 6
3D before modification

## Slide 7
3D video after modification

## Slide 8
ARCHITECTURAL
ASPECT

## Slide 9
PROBLEMS IN THE BUILDING
1- there is no emergency exit or escape root
2- there’s no enough parking space
3- the circulation of the car parking had many problems
4- the staircase had many problems one of them that the elevator is in the middle of the staircase

## Slide 10
PARKING BEFORE MODIFACTION

## Slide 11
PARKING AFTER MODIFACTION
Basement 1
Basement 2

## Slide 12
ground-floor MODIFICATION
BEFOR
AFTER

## Slide 13
First floor MODIFICATION
BEFOR
AFTER

## Slide 14
SECOND FLOOR AFTER MODIFIACTION

## Slide 15
THERID AFTER MODIFIACTION

## Slide 16
4&5TH FLOORS AFTER MODIFIACTION

## Slide 17
6&7TH FLOORS AFTER MODIFIACTION

## Slide 18
ELEVATION AFTER MODIFIACTION

## Slide 19
ELEVATION AFTER MODIFIACTION

## Slide 20
SECTION1&2 AFTER MODIFIACTION

## Slide 21
ENVIRONMENTAL
ASPECT
ENVIRONMENTAL ANYLYSIS CATEGORIES
  OVERSHADING
  DAYLIGHT FACTOR

## Slide 22
OVER SHADING IN SUMMER
8:00AM
12:00PM

## Slide 23
OVER SHADING IN SUMMER
5:00PM

## Slide 24
OVER SHADING IN WINTER
8:00AM
12:00PM

## Slide 25
OVER SHADING IN WINTER
4:00PM

## Slide 26
DAYLIGHT FACTRO(DF)
THE DAYLIGHT FACTOR VALUE IN A OFFICE BUILDING IS WITHIN 2.5% AND 4%, AND IT EQUALS TO INTERNAL ILLUMINANCE OVER EXTERNAL ILLUMINANCE.
DF=(EI/E EXT) *100

## Slide 27
GROUND FLOOR BEFORE MODIFICATION
First FLOOR BEFORE MODIFICATION

## Slide 28
Second FLOOR BEFORE MODIFICATION

## Slide 29
First FLOOR AFTER MODIFICATION
SECOND FLOOR AFTER MODIFICATION

## Slide 30
THIRD FLOOR AFTER MODIFICATION
4th & 5th FLOOR AFTER MODIFICATION

## Slide 31
6&7TH FLOOR AFTER MODIFICATION

## Slide 32
CUNTELIVER AND LOVERS

## Slide 33
ELC & MECH
ASPECT
CATEGORIES:
  Artificial Lighting
  Electric design
  Solar design
  Water supply
  Drainage design
  Fire alarm and firefighting system

## Slide 34
  Artificial Lighting
DIAlux evo
  Meeting room

## Slide 35
  Artificial Lighting
  office

## Slide 36
  Artificial Lighting
  store

## Slide 37
  Artificial Lighting
  Corridor

## Slide 38
  Artificial Lighting
  Floor lighting

## Slide 39
  Artificial Lighting
  Floor lighting

## Slide 40
  Artificial Lighting
  Floor lighting

## Slide 41
  Electric design
  Floor distribution

## Slide 42
  Electric design
  Distribution of board

## Slide 43
  Solar design
  PVsys

## Slide 44
  Solar design
  RET Screen

## Slide 45
  Water supply
  Floors distribution

## Slide 46
HEATING AND COOLING
HEATING AND COOLING LOAD
  BEFORE TREATMENT
  AFTER TREATMENT
COOLING LOAD PER SQUARE METER AFTER = 60.9 W/SM.
COOLING LOAD PER SQUARE METER BEFOR = 103.27 W/SM.

## Slide 47
HVAC DESIGN
COOLING LOAD
  According to the Design-Builder program, the cooling load required for the building = 142.38 kw In our design, we used the VRF system with the cassette unit and the fan coil unit
  Outdoor unit used:
  3 units Hisense VRF
  50 kw each unit
  indoor unit used:
  Diffusers
  Slot linear diffusers
  Cassette unit

## Slide 48
HVAC Planes

## Slide 49
HVAC Planes

## Slide 50
HVAC planes

## Slide 51
Exhaust in the parking

## Slide 52: Drainage system
1- rain water
2- dark and gray water

## Slide 53: Building’s roof

## Slide 54: 2nd Basement

## Slide 55: GF
1st floor

## Slide 56: 2nd
3rd

## Slide 57: 4th and 5th
6th and 7th

## Slide 58: 2nd basement

## Slide 59: First basement

## Slide 60: Fire safety system
1- automatic system
( water sprinkler and clean agent )

## Slide 61: 1st basement
2nd basement

## Slide 62: Gf
2nd floor

## Slide 63: 1st floor

## Slide 64: 3rd floor
4th floor and 5th floors

## Slide 65: 6th and 7th floors
Fire safety system
Manual system
Dry chemical Fire extinguisher class A
Fire hose

## Slide 66
STRUCTUREL
ASPECT
STRUCTUREL
ANYLYSIS CATEGORIES:
  GENERAL NOTE
  ETABS CHECKS
  STRUCTURAL ELEMENT details
  Slabs
  Beams
  Columns
  Shear walls
  Retaining Wall
  Water Tank
  Footing

## Slide 69
ETABS CHECKS
  Compatibility check
  Equilibrium check
  Stress strain check
This stress was Ok
All checks was ok

## Slide 70
ETABS CHECKS
  Seismic Design checks
Manual V=7606 KN
Drift In X direction:
Base shear check:
Model participation mass ratio:
Design check

## Slide 71
  STRUCTURAL ELEMENTS
  Slabs
Two way ribbed slabs
2.Two way Solid slabs (for stair case roof,side setback slab&Elevator shaft slab)
3.One way solid slabs (for ramps&stair case)
Basement2 slab

## Slide 72
  STRUCTURAL ELEMENTS
  Slabs -Two way ribbed slabs
Basement1 slab

## Slide 73
  STRUCTURAL ELEMENTS
  Slabs -Two way ribbed slabs
GF Slab

## Slide 74
  STRUCTURAL ELEMENTS
  Slabs -Two way ribbed slabs
F1 Slab

## Slide 75
  STRUCTURAL ELEMENTS
  Slabs -Two way ribbed slabs
2nd-7th Slab

## Slide 76
  STRUCTURAL ELEMENTS
  Slabs -Two way ribbed slabs sections

## Slide 77
  STRUCTURAL ELEMENTS
  beams
1st -7th floor Beams Table
GF floor Beams Table
Basement1 Beams Table
Basement2 Beams Table

## Slide 78
  STRUCTURAL ELEMENTS
  beams

## Slide 79
  STRUCTURAL ELEMENTS
  columns

## Slide 80
  STRUCTURAL ELEMENTS
  columns

## Slide 81
  STRUCTURAL ELEMENTS
  columns

## Slide 82
  STRUCTURAL ELEMENTS
  Shear wall

## Slide 83
  STRUCTURAL ELEMENTS
  Shear wall

## Slide 84
  STRUCTURAL ELEMENTS
  Retaining wall:
North&south Basement Wall Details
East Basement Wall Details
West Basement Wall Details

## Slide 85
  STRUCTURAL ELEMENTS
  Water tank:

## Slide 86
  STRUCTURAL ELEMENTS
  Mat foundation:
Y direction Reinforcement
X direction Reinforcement

## Slide 87
ECONIMICAL
ASPECT
ECONIMICAL
ANYLYSIS CATEGORIES
  SUMMARY COST TABLE

## Slide 88: Price calculation

## Slide 90
Cost of the building is = 8,960,867.32 ILS , 1813.9
The price of the building = 10,542,196.85 ILS , 2134
This price includes the contractor’s Profit 15 %, overhead , tax

## Slide 91: Columns price sample of calculation

## Slide 92
THANK YOU