## Slide 1
Integrated Redesign of Al-Quds Open University-Salfeet
Prepared by:
Mohammad H. Al-Jawhary
Mo’men S. Qutqut
Razan A. Tobasi
Wa’ed A. Seirafy
Supervisor:
Dr. Monther B.M. Dwaikat

## Slide 2
Outline
Introduction
Architectural Design
Environmental Design
Electrical Design
Quantity Surveying
Mechanical Design
Structural Design

## Slide 3
Introduction

## Slide 4
Introduction
Al Quds Open University:
Established in 1991, Jerusalem
22 branches in West Bank
Offers 5 specializations
In Salfeet, an unqualified building is already utilized as an open university
This building will be replaced as per a ministerial decree

## Slide 5
Architectural Design

## Slide 6
Architectural Design
Original
Design
Site Plan
Our
Design

## Slide 7
Architectural Design
Ground Floor
Original
Design
Our
Design

## Slide 8
Architectural Design
First Floor
Original
Design
Our
Design

## Slide 9
Architectural Design
West Elevation
North Elevation

## Slide 10
Architectural Design
Sections
Section
A-A
Section
B-B

## Slide 11
Architectural Design
3D model

## Slide 12
Architectural Design
Egress Routs in F1

## Slide 13
Environmental Design

## Slide 14
Environmental Design
Shading
Daylight
Thermal Design
Acoustics

## Slide 15
Environmental Design
East and West windows (vertical louvers)
South windows (horizontal shading)
Shading

## Slide 16
Environmental Design
Shading
Summer
Winter
South windows

## Slide 17
Environmental Design
Daylight
Classroom
DF =
4.5%
Uniformity
=0.87
DF =
4.85%
Uniformity
=0.74
Meeting Room

## Slide 18
Environmental Design
Thermal Design
Start
Materials
PMV, PPD
Passive Gains Breakdown Analysis
OK?
No
Yes
Solutions
New PMV, PPD
OK?
No
Internal Temperatures
End
Yes

## Slide 19
Environmental Design
PMV and PPD (Classroom)
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
PMV | -1.75 | -0.77 | -1.52 | -4.20 | 0.49 | 0.48 | -0.89 | 0.49 | -0.79 | 2.82 | 0.13 | -2.08
PPD (%) | 64.42 | 17.56 | 51.88 | 100 | 10.11 | 9.81 | 21.84 | 9.98 | 18.09 | 97.69 | 5.60 | 80.05
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
PMV | -0.53 | 0.05 | -0.08 | -0.48 | -0.03 | -0.68 | -0.27 | 0.40 | 0.43 | 0.63 | 0.20 | -0.44
PPD (%) | 10.9 | 5.0 | 5.1 | 9.8 | 5.0 | 14.7 | 6.5 | 8.3 | 8.9 | 13.5 | 5.8 | 9.1
Before
After

## Slide 20
Environmental Design
New and Original Designs Comparison
118 KW/m²
Original
Design

## Slide 21
Environmental Design
New and Original Designs Comparison
New
Design
35 KW/m²

## Slide 22
Environmental Design
Acoustics
Classroom
(0.6-1.4 s)
Reverberation Time ()

## Slide 23
Environmental Design
Acoustics
Articulation Loss of Consonants ()
Room |  | Assessment
Multipurpose Hall | 6.9 | Good
Classroom | 6.4 | Good
Meeting Room | 4.2 | Good
Room |  | Assessment
Multipurpose Hall | 6.9 | Good
Classroom | 6.4 | Good
Meeting Room | 4.2 | Good

## Slide 24
Environmental Design
Acoustics
Creep and Focus
Creep
Focus

## Slide 25
Environmental Design
Acoustics
Creep and Focus
Acoustical Foam Panels
Section in a Shell

## Slide 26
Structural Design

## Slide 27
Structural Design
Codes
(ACI 318) for RC Structures Design
(ACI 350.3-06) for Water Tanks Loads
(UBC 97) for Earthquake Loads
(ASCE 7 2010) for loads computations

## Slide 28
Structural Design
Loads
Live Load = 5 KN/m2
SID= 4 KN/m2
EQ Loads:
I= 1 Cv=0.4
R= 4.5 Ca=0.28
Z= 0.2 Ct= 0.0488

## Slide 29
Structural Design
Material
Concrete B250 , B300 , B350, B500
Primary Design Assumptions
Columns 0.6*0.3
Main Beam 0.4*0.6
Secondary Beam 0.4*0.4

## Slide 30
Structural Design
Blocks of the Building

## Slide 31
Structural Design
B2
B3
Blocks of the Building
B5
B4
B3

## Slide 32
Structural Design
Compatibility Check

## Slide 33
Structural Design
Equilibrium Check
Load | Manual calculations (KN) | Calculations from SAP (KN) | Difference (%)
Dead load | 63000 | 62000 | 1.44
Live load | 17000 | 16600 | 1.82
Superimposed dead load | 13600 | 13700 | 0.59
Element | Hand calculations | Calculations from SAP | Difference (%)
Slab 1 | 110 KN.m | 110 KN.m | 0.54
Beam 5 | 670 KN.m | 620 KN.m | 8.7
Column 2 | 4600 KN | 4800 KN | 3.9
Internal Forces Check

## Slide 34
Structural Design
Deflection

## Slide 35
Structural Design
Slab:
One-Way Ribbed Slab

## Slide 36
Structural Design
Beam Design
Section 1-1
Section 2-2

## Slide 37
Structural Design
Column Design
Column | Dimension (m)
C1,C2,C3 | 0.8*0.4
C4,C5,C6 | 0.6*0.3

## Slide 38
Structural Design
Footing Design

## Slide 39
Structural Design
Footing Design
Footing | Dimension (m)
F1 | 3.5*3.1
F2 | 3.9*3.5
F3 | 3.5*3.1
F4 | 5.6*2.3

## Slide 40
Structural Design
Conations footing Design

## Slide 41
Structural Design
Water Tank Design

## Slide 42
Structural Design
Shear Wall Design

## Slide 43
Structural Design
Stair

## Slide 44
Electrical Design

## Slide 45
Uniformity =0.76
E (avg.) =605 LUX
Electrical Design
Computer
Laboratory

## Slide 46
Mechanical Design

## Slide 47
Mechanical Design
Water Supply System

## Slide 48
Mechanical Design
Drainage System

## Slide 49
Mechanical Design
Rain Water Drainage

## Slide 50
Mechanical Design
Radiators System

## Slide 51
Mechanical Design
Emergency System

## Slide 52
Quantity Surveying

## Slide 53
Quantity Surveying
Concrete :
B250= 754 m^3
B300= 1847 m^3
B350= 697 m^3
B500= 715 m^3
Steel: 1001 ton
Blocks: 26384
stone: 2861m^2
Masonry blocks 10 cm: 3038
Masonry blocks 15 cm: 2520

## Slide 54
Quantity Surveying
Total Cost for Architectural Design = 1134000$
Total Cost for Structural Design = 1200000$
Total Cost for Mechanical Design = 400000$
Total Cost for Electrical Design = 333000$
Total Cost for Project =3067000$ (460$/m2)

## Slide 55
Thank You