## Slide 1: redesign of Good Shepherd Youth Center
Supervisor: Dr.Muhannad Haj Hussein
Prepared by: Fayez Maali. Heba Abualrob. Rana Neirat. Nisreen Salman.
An–Najah National University
Faculty of Engineering Building Engineering Department
Graduation project )2(

## Slide 2: Outline
Introduction.
Site description.
Architectural aspect.
Environmental aspect.
Structural design.
Electro-Mechanical design.
Quantity surveying.

## Slide 3: Introduction

## Slide 4: Site description
This project is located in Jericho city, Mary Rose St., near to Terra Santa school.
project location:

## Slide 5: Site description
Site climate:
Avg. humidity ratio
40%
Avg. rainfall amount
150 mm/year
Avg. Temperature in winter 15⁰C
Avg. wind speed 12Km/hr
Avg. Temperature in summer 38̊C

## Slide 6: Site description
Sun bath
Wind direction

## Slide 7: Overshadowing
January.21 at 9:00 AM.
January.21 at 3.00 PM.
July.21 at 9:00 AM.
July.21 at 3:00 PM.

## Slide 8: Noise analysis
Source | Street | Nursery | House | Church | school
Noise level (dB) | 77 | 65 | 40 | 50 | 65
The average noise levels from the surrounding sources:

## Slide 9: Architectural program

## Slide 10: actual building ground floor
Before
After

## Slide 11
Bubble diagram of ground floor
Ground floor plan
designed building

## Slide 12
actual building
first floor
Before
After

## Slide 13
Bubble diagram of First floor
First floor plan
designed building

## Slide 14: Architectural program

## Slide 15: Architectural program

## Slide 16: Architectural program

## Slide 17: ENVIRONMENTAL Analyses

## Slide 18: ENVIRONMENTAL ANALYZES

## Slide 19
ORIENTATION

## Slide 20
Material used and properties:
External Walls
U value = 0.32 w/m2.k.
Internal partition
U value = 1.13 w/m2.k.
U value = 1.21 w/m2.k.
Roof
U value = 1.0
w/m2.k.
Internal floor

## Slide 21
Material used and properties:
Windows
6mm Double glass
with 13mm air gab
U value = 1.77w/m2.k.
U value
= 1.72w/m2.k.
U value
= 0.359w/m2.k.
Internal partition
Internal partition

## Slide 22: Acoustics Analysis
ENVIRONMENTAL aspect
Adjacent to corridor
Acoustical finishes for wall and ceiling.
Background level | Adjacent to corridor | Adjacent to practice room
Quite | 45 | 50
Normal | 42 | 45
STC for music room
Adjacent to practice room

## Slide 23: Acoustics Analysis
Frequency | SABINE RT60 (sec)
125Hz | 1.38
250Hz | 1.5
500Hz | 1.75
1KHz | 1.94
2KHz | 1.76
4KHz | 1.11
RT60 for multipurpose room:
ENVIRONMENTAL aspect
Finish
Tiles (porcelain)
Ceiling (plaster board ceiling)
Walls (plaster decorative wall panels)
Windows (double glass lowE aluminum frame)
Doors (hollow plywood)

## Slide 24: Day lighting performance
ENVIRONMENTAL aspect
Ground floor result:
for Multipurpose
DF% = 4 %
Uniformity ratio = 15 %

## Slide 25: Ventilation Analysis
ENVIRONMENTAL aspecpt

## Slide 26: Design builder simulation
ENVIRONMENTAL aspect
Design builder parameters

## Slide 27: Design builder simulation
ENVIRONMENTAL aspect
 | Energy per total building area (kWh/m2)
Total site energy | 51.63
Total heating (KWh) | Total cooling (KWh)
7681.5 | 81730.8
Simulation results: using VRV HVAC system

## Slide 28
Passive Heating and Cooling
LOUVERS
CNC SHADING
ENVIRONMENTAL aspect

## Slide 29
Double skin façade
Vertical louvers

## Slide 30: Structural design

## Slide 31: Structural Analysis
Codes and Standards:
ACI 318 – 05.
UBC – 97.
Materials:
Concrete strength, f’c = 28 & 24 MPa.
Steel yielding fy = 420 MPa.
Soil Bearing capacity = 2 kg/cm2.
Design loads:
Live load = 5 KN/m2 .
Super imposed dead load = 3.5 KN/m2 .

## Slide 32: Structural Analysis
Seismic analysis:
Seismic zone : 3.
Importance factor = 1.
Soil profile : SD.
Ca = 0.36
Cv = 0.54
R = 5.5 (IMRF)

## Slide 33: Structural Analysis
ETABS model checks:
1- Compatibility check

## Slide 34: Structural Analysis
2- Equilibrium check
Error% | Manual(KN) | ETABS(KN) | load
0.20 | 15100 | 15130 | live
0.87 | 18547 | 18710 | SID
1.10 | 33394 | 33764 | dead

## Slide 35: Structural Analysis
3- Internal force check
Error (%) | ETABS reading (kN) | total load manual (kN) | # of stories | wu load (kN/m2) | Area | Column Label | Floor
3.6 | 4197 | 4350 | 4 | 19.7 | 43 | C18 | First
2.1 | 4854 | 4958 | 4 | 19.7 | 52 | C 9 | First
0.4 | 1213 | 1220 | 4 | 19.7 | 10 | C 13 | First
Error (%) | Mu ETABS (kN.m) | length(m) | Mu (kn.m) | width(m) | Total Wu | Wu load (kN/m2) | Beam
1.1 | 915 | 8.16 | 925 | 7.55 | 160.7 | 19.7 | Beam 11
3.4 | 1217.7 | 9.14 | 1259 | 8.27 | 175 | 19.7 | Beam 34
-6.7 | 1140.4 | 8.34 | 1063 | 8.4 | 177.5 | 19.7 | Beam 19
Columns
Beams

## Slide 36: Structural Analysis
1- Modal mass participation ratio
Seismic design checks:

## Slide 37: Structural Analysis
2- Time period check.
Time period for part one = 0.54 second < 0.59
Time period for part two = 0.57 second < 0.59
T method "A" = Ct*(hn)3/4 ,where Ct =0.0488
  T= 0.0488*(17.9)3/4 = 0.424 second.
T method "B" =1.4* T method "A"= 0.594 second .

## Slide 38: Structural Analysis
3- Base shear check
Building weight = 56014 KN.
Manual base shear= 9166 KN.
Scale factor for X= 2286.
Scale factor for Y= 3175.

## Slide 39: Structural Analysis
4- Drift check
Drift limitation=0.025*H, if T< 0.7
ΔM=0.7*R*ΔS .
ΔS= Ux2-Ux1.

## Slide 40: Structural Analysis
Slab system:
Two way solid slab with 25 cm thickness.

## Slide 41: Structural Analysis
Beams system:
Drop and hidden beams.
Hidden

## Slide 42: Structural Analysis
Beams dimensions used in building.
Beam | Width (cm) | Depth (cm)
B1 | 50 | 80
B2 | 50 | 40
B3 | 50 | 25
B4 | 25 | 60
B5 | 20 | 60
B6 | 50 | 80
B7 | 50 | 80

## Slide 43: Structural Analysis
Beam Reinforcement

## Slide 44: Structural Analysis
Columns system:

## Slide 45: Structural Analysis
Footing system:
The foundation system used is hollow mat with 800 mm depth.

## Slide 46: Structural Analysis
Shear walls:
Shear walls distribution
is as follow:

## Slide 47: Structural Analysis
Shear wall Reinforcement

## Slide 48: Structural Analysis
Stair case

## Slide 49: Structural Analysis
Section A-A reinforcement

## Slide 50: Structural Analysis
Section B-B reinforcement

## Slide 51: Structural Analysis
Seismic joint:

## Slide 52: Structural Analysis
Openings reinforcement:
Beam – column joints.
Non-structural elements
(stone fixing(.

## Slide 53: Electrical design

## Slide 54: Electrical design
Room | No. of sockets required | Sockets for HVAC system
Music room | 18 | 1
socket design

## Slide 55: Electrical design
Painting room DIALux evo result:
Thorn Beta Office LED
Thorn Cetus LED

## Slide 56: Electrical design
Lighting and Switches distribution

## Slide 57
Multi purpose room SPEAKERS
Electrical design
LS1 corned speaker
Movable partition

## Slide 58
Multi purpose room SPEAKERS
Electrical design
Extron CS 1226t Ceiling speaker
Movable partition
Speaker

## Slide 59: mechanical design
DRAINAGE SYSTEM

## Slide 60: mechanical design
WATER SYSTEM

## Slide 61: mechanical design
Elevator:
675 Kg | Capacity
1.5 m/s | Speed
9 person | Number of passengers allowed
Otis elevator with dimension off (1.4*1.7m)

## Slide 62: mechanical design
Heating ventilation and air conditioning systems (HVAC )
VRV SYSTEM
Ground floor
First floor
And Split unit

## Slide 63: mechanical design
Heating ventilation and air conditioning systems (HVAC )
VRV SYSTEM
floor | Fan coil Number. | Fan coil Design capacity (KW) | Design flow rate (Lps) | Number of cassette units | zones
Ground floor | 1 | 11 | 840 | 6 | Exhibition
 | 2 | 7 | 600 | 6 | Reception and lobby
 | 3 | 4 | 240 | 2 | Corridor
 | 4 | 9 | 600 | 5 | Corridor
 | 5 | 11 | 600 | 8 | Jem
 | 6 | 4 | 300 | 6 | Music room
 | 7 | 5 | 300 | 6 | Painting room
 | 8 | 4 | 300 | 6 | Multipurpose
 | 9 | 4 | 300 | 6 | Multipurpose
 | 10 | 7 | 560 | 8 | cafeteria
First floor | 11 | 12 | 800 | 6 | Library
 | 12 | 6 | 400 | 4 | Corridor
 | 13 | 11 | 600 | 6 | Corridor
 | 14 | 6 | 450 | 6 | Office Corridor & office2 & kitchen
 | 15 | 14 | 840 | 8 | Administration & office4 & conference
 | 16 | 10 | 780 | 6 | Computer room
 | 17 | 9 | 600 | 6 | Learning room2
 | 18 | 7 | 500 | 6 | Student lobby
 | 19 | 9 | 600 | 6 | Learning room3
 | 20 | 9 | 600 | 6 | Learning room1

## Slide 64: mechanical design
Fire protection
1.Hose station
3. Fire sprinkler
2.FM 200
4. Fire extinguisher

## Slide 65: mechanical design
Smoke sensor system.

## Slide 66: Emergency exits

## Slide 67: mechanical Analysis
Solar PV system:

## Slide 68: mechanical design
Solar PV system:
System productivity
System productivity=
75% of building needs

## Slide 69: Quantity surveying.
Total building area = 2654 m2.
Total coast of the project = 4,660,410 NIS.
Cost / area = 4,660,410 / 2654 = 1760 NIS/ m2.
Total coast without solar system = 3,935,410 NIS.
Cost / area =3,935,410 / 2654 = 1480 NIS/ m2.
Final BOQ |  | 
Number | Descriptions | Total (NIS)
1 | Earth work | 30,810
2 | Concrete and steel | 1,127,050
4 | Finishing work | 1,887,974
5 | Mechanical | 851,146
6 | Electrical | 763,431
Total Cost (NIS) |  | 4,660,410

## Slide 70
Thank you for listening