## Slide 1
An-Najah National University
Engineering Faculty
Building Engineering Department
An Integrated Redesign For Tulkarm commercial complex
Prepared by: Anas Sami Ahmad
Mohammad Allam Herzallah
Mohannad Ali Qwareeq
Supervised by: Dr. Ahmad Al - Haj Saleh

## Slide 2: Contents
Architectural Design
Environmental Analysis
Structural Design
Electro-Mechanical Design
Quantity Surveying

## Slide 3
Introduction
This project is an integrated design for Tulkarm commercial complex it located in the city of Tulkarm, 1 km from the city center, next to Thabet Thabet Square.
The mall consists of 14 floors
The area of each floor (2200-2800) square meters

## Slide 4
Architectural design

## Slide 5
Site plan:

## Slide 6: Architectural Plans before and after modification

## Slide 7
Basement 3 ,2
Before Modifying
After Modifying
Area = 2631 m².
Floor height = 3.3 m.
`
Ramp slope =13%

## Slide 8
Basement 1
Before Modifying
After Modifying
Area = 2631 m².
Floor height = 3.3 m.
Ramp slope =13%
Ramp slope =12%

## Slide 9
Ground and 1st Floor
Before Modifying
After Modifying
Area = 2631 m².
Floor height = 5.3 m.

## Slide 10
2nd - 4th Floor
Before Modifying
After Modifying
Area = 2631 m².
Floor height = 3.3 m.

## Slide 11
Fifth Floor
Before Modifying
After Modifying
Area = 2631 m².
Floor height = 3.8 m.

## Slide 12
6th - 10th floor
Before Modifying
After Modifying
Area = 2228 m².
Floor height = 3.5 m.

## Slide 13: Elevations before and after modification

## Slide 14
South elevation
Before
South elevation
After

## Slide 15
West elevation
Before
West elevation
After

## Slide 16
East elevation
Before
East elevation
After

## Slide 17
North elevation
Before
North elevation
After

## Slide 19
environmental analysis

## Slide 20
Environmental analysis
Shading Analysis
1
Daylight Factor
2
Thermal Analysis
3

## Slide 21
Shading and over shadowing
In Winter:
At 8:00 AM
At 4:00 PM
At 12:00 PM

## Slide 22
Shading and over shadowing
In Summer:
At 8:00 AM
At 4:00 PM
At 12:00 PM

## Slide 23: Daylight factor
Before treatments

## Slide 24: Treatments used

## Slide 25: Daylight factor
after treatments

## Slide 26: Construction layers and U-value
For External wall
U-value = 0.337 W/m2.K
U-value = 0.929 W/m2.K
For internal wall

## Slide 27: Heating load
Total design heating capacity = 290.31 KW

## Slide 28: cooling load
Total design cooling capacity = 479.96KW

## Slide 29: Simulation output
energy portfolio manager standard for mixed use property is 295.2 KWh/m2
PMV – Set

## Slide 30
Structural analysis and design

## Slide 31
Structural analysis and design
Codes
Material Properties
Checks
Seismic Checks
Design and Detailing
Section

## Slide 32
ANALYSIS AND DATA COLLECTION
Codes
ACI 318M-14
UBC 1997
ASCE-16
Material Properties
Reinforced Concrete
28 MPa (used for slabs and beams)
32 MPa (used for columns, shear walls and foundation)
Reinforcing Steel with yielding strength = 420 MPa
Section
  Beam (1m × 0.5m).
  Special beam (0.5m × 1 m).
  External beam (0.8m × 0.5m).
column (0.5m * 0.5m)
column (0.5m * 0.8m).
column (0.7m * 1m).
column (0.25m * 2 m).
column (1 * 1.3m).
  wall1 (0.25m).
  wall2 (0.2m).
slab thickness =0.45m

## Slide 33
Structural building

## Slide 34
checks
Compatibility Check
Deflection Check
Equilibrium Check
Stress – Strain Check

## Slide 35
checks
Compatibility Check
Deflection Check
Equilibrium Check
Stress – Strain Check
the permissible deflection slab =
the permissible deflection Cantilever =

## Slide 36
checks
Compatibility Check
Deflection Check
Equilibrium Check
Stress – Strain Check
Building | SID Load | Live Load
Manual | 175589 | 120243
ETABS | 173009 | 114388
%Error | 2% | 5%
%Error should be less than 5%

## Slide 37
checks
Compatibility Check
Deflection Check
Equilibrium Check
Stress – Strain Check
 | Hand calculation | Etab | Error%
Corner column | 43.93 | 40.02 | 9%
Internal column | 7159 | 6241 | 14%
Edge columns | 252 | 230 | 9%
beam | 105 | 112 | 6%

## Slide 38
Seismic inputs
Seismic Zone Factor (Z) (Peak Horizontal Ground Acceleration in study site as a percentage of gravity) | 0.15
Soil Profile Type (Site Class) | C
Mapped Maximum Considered Earthquake MCE spectral response accelerations for Short period (0.2 sec.) SS | 0.32
Mapped Maximum Considered Earthquake MCE spectral response accelerations for long period (1.0 sec.) SL | 0.09
Site Class Coefficient (Fa) | 1.2
Site Class Coefficient (Fv) | 1.7
Design Short Period Acceleration SmS | 0.38
Design Long Period Acceleration Sm1 | 0.15

## Slide 39
Seismic checks
Period and modal participation ratio check
Case | Mode | Period sec | UX | UY | Sum UX | Sum UY
Modal | 1 | 1.596 | 0.1977 | 0.0296 | 0.1977 | 0.0296
Modal | 2 | 1.521 | 0.0474 | 0.2056 | 0.2451 | 0.2352
Modal | 3 | 1.411 | 0.0134 | 0.2338 | 0.2585 | 0.469
Modal | 4 | 1.341 | 0.2017 | 0.0457 | 0.4602 | 0.5147
Modal | 5 | 0.979 | 0.0063 | 0.0151 | 0.4664 | 0.5299
Modal | 6 | 0.704 | 0.0006 | 0 | 0.467 | 0.5299
Modal | 7 | 0.625 | 0.0364 | 0.0154 | 0.5034 | 0.5453
Modal | 8 | 0.598 | 5.54E-06 | 0.0015 | 0.5034 | 0.5468
Modal | 9 | 0.416 | 2.33E-05 | 9.48E-06 | 0.5034 | 0.5468
Modal | 10 | 0.4 | 0.0253 | 0.0031 | 0.5287 | 0.5499
Modal | 11 | 0.394 | 0.0433 | 0.0056 | 0.572 | 0.5555
Modal | 12 | 0.357 | 0.0093 | 0.1023 | 0.5812 | 0.6578
Modal | 39 | 0.101 | 0.0002 | 0.0194 | 0.9431 | 0.9186

## Slide 40
Seismic checks
Base – Shear check
AXIS | T ETAPS | Cu * Ta | T used (small) | Cs1 | Cs2 | Cs3 | Cs final | V | V ETABS
x | 1.596 | 2.7115 | 1.596 | 0.057 | 0.036 | 0.011 | 0.036 | 23661.62 | 23662.65(SF=5839)
y | 1.411 | 2.7115 | 1.411 | 0.057 | 0.040 | 0.011 | 0.040 | 26763.96 | 26765.19(SF=6529)

## Slide 41
Seismic checks
Drift check
We noticed that the results from the ETAP analysis for the value of Drift (δM) are very suitable, as it does not exceed the value of the code ASCE 7-10 (0.20), and the highest value was (0.009) in floor 3.
Story | Load Case/Combo | Direction | Drift | Label | X | Y | Z | Drift * R
F3 | ENV ALL Max | X | 0.002178 | 226 | -35.5 | -4.1 | 18 | 0.009801
F3 | ENV ALL Max | Y | 0.000784 | 248 | 7.5131 | 9.4031 | 18 | 0.003528
F3 | ENV ALL Min | X | 0.002081 | 226 | -35.5 | -4.1 | 18 | 0.009365
F3 | ENV ALL Min | Y | 0.001501 | 242 | 8.8326 | -8.2109 | 18 | 0.006755

## Slide 42
Slabs system AND detailing
Voided slab H=45 cm.

## Slide 43
Beams
Beam |  | Section Width | Section Depth | Reinforcement area | Bar diameter | Top | Bottom
ex beam 800*500 | 800 |  | 500 | 2201 | 25 | 5 | 5
beam 1000*500 | 1000 |  | 500 | 3204 | 25 | 7 | 7
beam 500*1000 | 500 |  | 1000 | 1200 | 25 | 3 | 3

## Slide 44
Beams

## Slide 45
Columns design

## Slide 46
Columns design
Column | length | width | reinforcement | stirps
CR1 | 0.5 | 0.5 | 12Ф16 | 1Ф10/100mm at End
CR2 | 0.8 | 0.5 | 16Ф18 | 
CR3 | 1 | 0.7 | 24Ф20 | 1Ф10/150mm at Middle
CR4 | 1.3 | 1 | 42Ф20 | 

## Slide 47
Shear walls design
Shear wall | thickness (m) | Total length (m) | L boundary | Reinforcement / 1 m each direction (web) | Reinforcement / 1 m each direction (web) | reinforcement boundary | reinforcement boundary
 |  |  |  | each layer | each layer | strips | S5Ф10 /m
SW1 | 0.2 | 2.9 | 0.3 | 500 | 6Ф12 | 580 | 4Ф14
SW2 | 0.2 | 5.6 | 0.6 | 500 | 6Ф12 | 1120 | 8Ф14
SW3 | 0.2 | 6.6 | 0.7 | 500 | 6Ф12 | 1320 | 8Ф14
SW4 | 0.2 | 4.2 | 0.4 | 500 | 6Ф12 | 840 | 6Ф14
SW5 | 0.2 | 7.3 | 0.7 | 500 | 6Ф12 | 1460 | 8Ф16
SW6 | 0.25 | 2 | 0.2 | 625 | 6Ф12 | 500 | 4Ф14
SW7 | 0.25 | 6.6 | 0.7 | 625 | 6Ф12 | 1650 | 8Ф16
SW8 | 0.25 | 14.6 | 1.0 | 625 | 6Ф12 | 2500 | 10Ф18

## Slide 48
foundation design
GENERAL INFORMATION
  Material :- F'c =32 Mpa
  Soil profile:- 220 KN/m2
CHECKS
Wide beam shear check
Punching shear check

## Slide 49
foundation design

## Slide 50
Sheet pile

## Slide 51
Stair section

## Slide 52
Electro-Mechanical Design

## Slide 53
Mechanical systems
Water System
Drainage System
HVAC System

## Slide 54
Water System
 | Vertical Feeder | Water Meter | Horizontal Feeder | Critical Branch
Diameter (ft) | 2" | 1" | 1" | 3/4"
Pressure Loss (Psi) | 5.02 | 1.3 | 0.035 | 0.105
 | Vertical Feeder | Water Meter | Horizontal Feeder | Critical Branch
Diameter (ft) | 3" | 3" | 3" | 3/4"
Pressure Loss (Psi) | 4.98 | 1.3 | 0.0043 | 0.97

## Slide 55
Drainage System

## Slide 56
Drainage System

## Slide 57
Drainage System

## Slide 58
HVAC System
Indoor unit
Outdoor unit
Fan coil unit from FUJITSU Company
Outdoor unit from Mitsubishi
Total Heating | Total Cooling
290.31 | 479.96
Split unit from Daikin

## Slide 59
HVAC System
Diffuser unit
Diffuser unit from Air TROX TECHNIK Company
Square diffuser

## Slide 60
Split unit distribution

## Slide 61
Diffuser and duct distribution

## Slide 62
Diffuser and duct distribution

## Slide 63
Electrical systems
Sockets distribution
Artificial lighting design
Acoustical design

## Slide 64
Artificial lighting design
Office:

## Slide 65
Artificial lighting design
Reception room:

## Slide 66
Artificial lighting design
Shop:

## Slide 67
Lighting distribution

## Slide 68
Sockets distribution

## Slide 69
Distribution board

## Slide 70
Lighting distribution

## Slide 71
Sockets distribution

## Slide 72
Distribution board

## Slide 73
Acoustical design
Cafeteria design

## Slide 74
Acoustical design
TOT SPL
Cafeteria design
RT60

## Slide 75
Acoustical design
Cafeteria design
Articulation Loss
STI

## Slide 76
Acoustical design
Office design

## Slide 77
Acoustical design
Office design
TOT SPL
RT60

## Slide 78
Acoustical design
Shop design
Articulation Loss
STI

## Slide 79
Acoustical design
STC
STC for internal wall | ≥ 50
STC for internal glass wall | ≥ 40
IIC for internal floor | ≥ 60

## Slide 80
Acoustical design
IIC

## Slide 81
Quantity surveying and cost analysis

## Slide 82
Quantity Surveying and cost analysis
The budgeted cost of the project is 104208000 ILS.
The unit cost of the project is 2200 ILS.
The budgeted cost of structural system is 61573600 ILS.
The budgeted cost of mechanical system is 3900700 ILS.
The budgeted cost of electrical system is 11636100 ILS.