## Slide 1
An-Najah National University
Faculty of Engineering & Information Technology
Building Engineering Department
Graduation Project (ⅠⅠ)
An Integrated Design For Nablus Municipality Building
Prepared by:
Anhar Kanaan
Marah Abdat
Raghad Mwafy
Supervisor:
Dr. Ahmad Haj Saleh.

## Slide 2: Content :
Environmental Architectural Aspects
quantity surveying & Cost Estimate
Electro-Mechanical aspects
Structural aspects
Site Location

## Slide 3
Site Location

## Slide 4
Project location and adjacent building

## Slide 5
Environmental Architectural Aspect

## Slide 6
The Architectural plans before and After Modification:
Basement 1
Before Modification
After Modification

## Slide 7
Basement 2
After Modification

## Slide 8
Ground floor
Before Modification
Before modification

## Slide 9
After Modification
Ground floor
After modification

## Slide 10
First floor
Before Modification
After Modification

## Slide 11
second floor
Before Modification
After Modification

## Slide 12
Third floor
Before Modification
After Modification

## Slide 13
Fourth floor
Before Modification
After Modification

## Slide 14
Fifth floor
Before Modification
After Modification

## Slide 15
Sixth floor
Before Modification
After Modification

## Slide 16
Seventh floor
Before Modification
After Modification

## Slide 17
Eighth floor
Before Modification
After Modification

## Slide 18
West
Elevations:

## Slide 19
East
Elevations:

## Slide 20
North
Elevations:

## Slide 21
South
Elevations:

## Slide 22
Sections
Section A-A
Section B-B

## Slide 23
Sun path , wind and Noise

## Slide 24
Shading
In Winter :
8:00 AM
12:00 PM
In Summer:
8:00 AM
12:00 PM

## Slide 25
Material and properties
♦ U-value for the Internal wall  2.186 w/m2 .k
♦ U-value for the external wall  0.307 w/m2 .k .

## Slide 26
Material and properties
U-value for the Internal floor  2.186 w/m2 .k
U-value for north glass  1.06 w/m2 .k
U-value for Roof  0.295 w/m2 .k.
U-value for the Ground floor 2.78 w/m2 .k.
U-value for east, west and south glass 1.493 w/m2 .k

## Slide 27
Thermal Comfort

## Slide 28
Modification to improve daylight for south elevation

## Slide 29
Modification to improve daylight for east and west elevation

## Slide 30
Daylight for first floor
After modification
Before modification

## Slide 31
3D model
The 3D model for the municipality from Design Builder after modification:

## Slide 32
Structural design

## Slide 33
Material
Load
Structural system
Overview
U-boot flat slab with thickness (41,45)cm
L.L=5 KN/m2 SID is 4.5 KN/m2.
The material used in this project is concrete with compressive strength 28 MPa(B350).

## Slide 34
Seismic design criteria
1
Seismic zone: The Municipality is Located in Nablus City Therefor, the seismic zone is 2B and the Z value is equal to 0.2 .
2
6
The soil profile is SD according to geotechnical report.
Importance factor I=1.25
Acceleration seismic load coefficient Ca=0.28
Velocity seismic coefficient Cv=0.4
7
Response spectrum scale factor = g*=9810*=2229.
Response spectrum scale factor = g*𝐼/(𝑅 )=9810*1.25/5.5=2229.
5
4
3
Force Reduction factor R =5.5 (Building Frame System-Shear wall)
1
Seismic zone: The Municipality is Located in Nablus City Therefor, the seismic zone is 2B and the Z value is equal to 0.2 .
2
6
The soil profile is SD according to geotechnical report.
Importance factor I=1.25
Acceleration seismic load coefficient Ca=0.28
Velocity seismic coefficient Cv=0.4
7
5
4
3
Force Reduction factor R =5.5 (Building Frame System-Shear wall)

## Slide 35
U-Boot distribution

## Slide 36
Columns center

## Slide 37
Block1
Block3
Block2
Compatibility check

## Slide 38
Equilibrium check
Block1
Block2
Block3

## Slide 39
For column
For Slab
Internal Force Check

## Slide 40
Block 1
Block 2
Block 3
Base shear
Block 1
Block 2
Block 3
Drift check
Time period
Seismic check

## Slide 41
Footing design
cross section in F1C1
longitudinal section in F1C1.
Footing layout

## Slide 42
Slab design for b2
Section in slab
Slab detailing

## Slide 43
Column design
C4
C3
C1
C2
C5

## Slide 44
Stair design

## Slide 45
Retaining wall and shear wall
Retaining wall
Shear wall

## Slide 46
Electro-Mechanical
Design

## Slide 47
Artificial lighting

## Slide 48
Luminaire selection types

## Slide 49
Lighting distribution for ground floor

## Slide 50
3D Views
Mayor
Meeting
Tourism Box

## Slide 51
Office
Office
Public service hall
Office

## Slide 52
3D view for building
3D view for first floor block 1

## Slide 53
HVAC design

## Slide 54
HVAC system (VRF):
The maximum load cooling capacity for the building  322.6 KW
1- out door unit
4-Cassette unit
3-Diffusere
2- Fan coil units

## Slide 55
The number of indoor units and fan coil in first floor:
Block 1 
Block 2
Block 3 

## Slide 56
HVAC distribution and drainage for first floor:

## Slide 57
Power design

## Slide 58
The electrical load of power and lighting system in the main distribution board.
The main distribution board with sub boards
The electrical load of power and lighting in the ground floor.

## Slide 59
power system plan for first floor.

## Slide 60
Acoustical design

## Slide 61
    Reverberation time RT60
Office
Cafeteria
Meeting room
Mayor

## Slide 62
Sound Transmission class (STC) and Impact Insulation Class (IIC).
IIC for internal floor
IIC for roof
STC for internal wall.
STC for external wall.

## Slide 63
    Loud speakers
The direct SPL in the multipurpose hall
AL in the multipurpose hall
3D view for multipurpose from EASE
LCT 81C/T speaker.

## Slide 64
Mechanical design

## Slide 65
The average daily water consumption per person in offices is 57 liters.
Water supply system
pipes diameter in block 1.
pipes diameter in block 2.

## Slide 66
Water supply system for first floor

## Slide 67
    Drainage system
Third floor
Manholes plan
Diameter and slop of pipe

## Slide 68
Fire alarm and firefighting system

## Slide 69
Safety design
symbols of supervision system.

## Slide 70
Safety design
Manual fire alarm.
Symbol of Detection & notification system.
Smoke detector
Heat detector.
Flame detector.

## Slide 71
the distribution of sprinklers, extinguishers, fire hose station and dry standpipe in third floor.
The distribution of sprinkler in multipurpose hall.
Inside dry standpipe
Dry Powder extinguisher
Dry Powder
Sprinkler
Fire hose
station
Water
sprinkler
Dry Powder
extinguisher

## Slide 72
Reflected ceiling plan
First floor

## Slide 73
Quantity serving and cost

## Slide 74
The total cost for project= 15424500 NIS.
Total unit cost =1800 NIS/m2.
The total cost for earthwork = 1558400 NIS.
The total cost of sub structural work = 5256210 NIS.
The total cost of finishing = 5442854 NIS
The total cost of mechanical= 2028643 NIS.
The total cost of electrical and environmental= 991350NIS.
Cost summary

## Slide 75
3D Views