## Slide 1
Al-Najah National University
Mechanical engineering department
Mechanical systems
Prepared by: Ahmad Isteteh
Ali Qadoos
Mohammed Abu-hatab
Mahmoud Hasiba

## Slide 2
Optical and nursing room

## Slide 3
Floors | Use
Third basement | Mechanical rooms, class rooms and labs
second basement | Class rooms, labs and stores
First basement, Ground floor First floor | Class room and labs
Second floor | Teachers offices
Third floor | Management offices
Building floors applications

## Slide 4
HVAC system
Mechanical systems
1- Heating
2- Cooling
1- Cold water
2- Hot water
3- Medical gases
4- drainage ,vent
5- fire system

## Slide 5
Parameters | Winter | Summer
Tin | 22 | 24
Tout | 4.7 | 33
Φin | 50% | 50%
Φout | 72% | 44%
Win | 8.4 | 9.4
Wout | 4 | 12.5
Tun | 13.35 | 28
Tground | 12 | 13
Inside and Outside Design condition

## Slide 6
Heating
Qs= U*A*ΔT……………….inside walls, outside walls, windows and doors
Qs,vent,infilt= 1.2*Vvent*(Ti – To)….ventilation and infiltration for sensible
Ql,vent,infilt= 3*Vvent,infilt*(Wi – Wo)….ventilation and infiltration for latent
Qtotal= Qheating + Qdomestic
Qboiler= 1.1*Qtotal
Sample of calculation for class room1 in ground floor
HVAC system

## Slide 7
Cooling
Qs= U*A*ΔT……………….inside walls
Qs= U*A*CLTDcorr ….…….outside wall, convection for windows
Qs= A*(SHG)*(Sc)*(CLF)….transmitted windows
Qs,vent,infilt= 1.2*Vvent*(To – Ti)….ventilation and infiltration for sensible
Ql,vent,infilt= 3*Vvent,infilt*(Wo – Wi)….ventilation and infiltration for latent
Qs= qs*n*CLF……………people sensible
Ql= ql*n………………...people latent
Qs= W*CLF…………… .lighting

## Slide 8
Qs= qs*CLF…………………..Equipment
Qtotal=∑Qs…………………..total sensible
Qtotal=∑Ql…………………...total latent
Duct design
Vcirculation= Qtotal/1.2(Tcirc – Ti)
Number of diffusers= Vcirc(cfm)/400

## Slide 9: Cooling and Heating

## Slide 10: Coling &Heating Riser

## Slide 11
Mechanical systems
Cold water

## Slide 12: Cold water

## Slide 13: Cold water Riser

## Slide 14
Hot water

## Slide 15: Hot water

## Slide 16: Hot Water Riser

## Slide 17: Return Hot Water
¾”

## Slide 18: Return Hot Water Riser

## Slide 19: Make Up Water

## Slide 20: Flush Water

## Slide 21: Flush Water

## Slide 22: Flush Water Riser

## Slide 23
Medical Gases

## Slide 24
Drainage System

## Slide 25: Drainage System

## Slide 26: Drainage Stack

## Slide 27: Vent Stack

## Slide 28
Fire system

## Slide 29
Fire System

## Slide 30: Riser Fire System

## Slide 31
Thank you