Cover page

Project Name: Enhanced of Single Phase PV Inverter      Academic Year: 2024 _2025

Group Members:                                                                                    Department Name: Electrical Engineering
Malak Amer 
Osama Nofal                                                                                        Supervisor Name: Dr. Kamel Saleh
Mahmoud Tartir

Format:

- Single space, Times New Roman.

- 12 pt.,

- Maximum 1 page.

Abstract Body:

Items must be provided in the Abstract:

- Why do you think this project is important?  Please explain the significance of this

Project in brief.

- In your point of view what are the important aspects that should be covered in the project?

- Objective(s): In your view, please explain the main objectives of the project.

- Methodology:  Give a brief outline of the application development process.

- Had this project been done before? Are there any similar applications available today?

- Note: Please deliver this abstract early to ensure that your Project has been approved by the department’s projects committee. Registration will not be done without this approval.

1

Project’s Abstract:

As the global demand for electricity continues to rise, Photovoltaic (PV) power integrated into the utility grid is becoming increasingly prominent. Solid-state inverters have proven to be a key technology in enabling the connection of PV systems to the grid. Typically, 2-level inverters are used to convert the DC output from the PV system into AC power for the utility. These inverters are commonly managed using Hysteresis control to regulate the flow of real and reactive power from the PV to the grid.

In this project, new control techniques will be tested to control the real and reactive power generated by the inverter. One of these techniques is using the Repetitive Controller besides the PI controller to minimize any error in tracking the sinusoidal reference input. The other technique is the using of a resonant controller to achieve the same objective, as demonstrated in Figure 1.

The system will first be modeled in MATLAB Simulink, followed by hardware implementation. The hardware setup will include using a microcontroller, current sensor, voltage sensors, a transformer, and building H-Bridge using IGBTs and its associated gate driver’s circuits.  Additionally, all the controllers in addition of the generation of the PWM signals will be implemented in the microcontroller to regulate the injection of real and reactive power into the grid.

This project distinguishes itself from previous ones through its novel control approach, the design of the H-Bridge, and the practical implementation, which was not achieved in earlier projects with previous students.

Figure 1:- PV inverter schematic

2