## Slide 2: Biet Qad Village

## Slide 3: Climate
Chart: Time (year)
| 1998 | 1999 | 2000 | 2001 | 2003 | 2004 | 2005 | 2007 | 2008 | 2009 | 2010
average air temperature ( c°) | 26.3 | 26.5 | 25.5 | 25.6 | 26.6 | 25.8 | 25.6 | 27.1 | 26.3 | 26.2 | 28

## Slide 4: Relative Humidity
Chart: Time (year)
| 1997 | 1998 | 1999 | 2000 | 2001 | 2003 | 2004 | 2005 | 2007 | 2008 | 2009 | 2010
average relative humidity | 57 | 63 | 63 | 67 | 64 | 65 | 65 | 65 | 69 | 63 | 66 | 64

## Slide 5: Evaporation
Chart: 
| 1997 | 1998 | 1999 | 2000 | 2003 | 2004 | 2005 | 2008 | 2009 | 2010
evaporation quantities | 1987 | 2006.4 | 2049 | 1983.8 | 1737 | 1943.9 | 1932.2 | 1844.8 | 1950 | 2102.7

## Slide 6: Water Distribution Network
Importance of the system:
Save People Time & Effort.
Grantee Water Quality.

## Slide 7: Design inputs :
Watercad is the programme used in design.
population is Predicted depending on the available space for that village after 30 years and found to be 7000 capita
Water consumption rate is 100 l/c .day but if we take into consideration annual increase of about 1.5 l/c.day then it is common sense to use 120 l/c.d
for design process.
Load is distributed on junctions using Thissen polygon method.

## Slide 8: Procedure
Building model procedure
1. Determining the area that we want to serve which can be obtained from the master plan.
2. Importing AutoCAD files as a separate layers in Water Cad which includes (Buildings, Roads, Contours and Service area) layers.
.

## Slide 9: Importing layers

## Slide 10
3. Start drawing pipes and junctions on the network.
4. Estimating water consumption and population for that village after 30 years. This is found to be 120 and 7000 respectively.
5.Calculating the area of the service area and defining the total daily demand for that area using GIS.
6.Using load builder to assign water demand to the network

## Slide 11
7. Using one of watercad features which is called Theissen polygon to distribute this demand on junctions proportionally with area served by each junction.

## Slide 12
8. Entering the load pattern values as Palestinian Water Authority (PAW) standards.

## Slide 13
9. Defining the EPS to be the default base calculation option in order to perform dynamic analysis for the network.
10. Run the model and obtaining pressure and velocity values for junctions and pipes respectively .and starts iterations to find the most suitable pipe diameters to get the values of pressure within ranges of (PAW).
11. Start another cycle of iterations to fit pressure values between maximum and minimum day hours using pressure reducing valves.

## Slide 14: Four (PRV) were used :

## Slide 15: Snapshot For (PRV):

## Slide 16: Results

## Slide 17: Pipe Diameters:(only 2,3,4and 6)inches

## Slide 24: Sewer Collection System

## Slide 25: Building the hydraulic model
Draw the network in the street of the village taken into considerations the slops.

## Slide 27
Inter the elevations of the manholes by using TREX
Determine the water generations per person, using this formula unit load = average daily per capita wastewater flow*return flow percentage*max. hourly factor+ infiltrations = 120*0.8*3+ (120*0.8)*.2 =307.2 and take it as 320 L.c/d

## Slide 28: Inter the flow using loadBuilder

## Slide 30: Select the type of pipes which is PVC.

## Slide 31
Inter the Default Design Constraints which is velocity, cover and slope.

## Slide 32: The standard cover of pipes between (1.2 - 4)m, and it is used to protect pips. In other side it is not economic to use more than 4m.

## Slide 34: Results
Slope% | cover (m) | Velocity (m/sec) | 
1 | 1.2 | 0.48 | Minimum
8 | 5.8 | 1.99 | Maximum
About 5.75% of the pipes velocity and found in the beginning of the network less than the minimum constraints.
About 15.1 % not meet the max. cover constraints.

## Slide 35: Outfall
Label | Elevation (m) | Flow (m
OF 1 | 165 | 545.6
OF 2 | 160 | 899.22

## Slide 36: Profile
From Autocad

## Slide 37: Storm drainage system

## Slide 38: Storm Drainage System
Importance of the system.

## Slide 39: CIA
The Rational Method equation used to calculate peak storm water runoff rate
Q= CIA
Where: Q = design discharge (L3 /T)
C = runoff coefficient (dimensionless)
I = design rainfall intensity (L/T), and
A = watershed drainage area (L2)

## Slide 40: Procedure
Building model procedure
Use the GIS program to specify the borders of the total Catchment area.
Import DXF extension of the AutoCAD maps to the StormCAD program, and specify the units and the scale.

## Slide 42
Set the maps as background layers, and enter the default design constrains

## Slide 43: 4. Produce the Intensity-duration-frequency (IDF) curves depending on the information from the Palestinian water authority.

## Slide 44
Define the inlets and conduits that will be used in the design processes by entering the
available sizes in the market.
Define the catch basins by entering the dimensions of each type.

## Slide 45
Use (civil 3D) program to obtain slope arrows, and then enter the arrows as a layer into the StormCAD using GIS.

## Slide 46
Start drawing the conduits, catch basins, and manholes in the appropriate location.
Obtain the elevation of manholes and catch basins from the contour map by using (Trex).

## Slide 47
Use the tables of rational coefficient C to identify the value that represents each catchment area depending on land use and land cover, then use it to calculate the time of concentration.
Run the model and analyze the results.
Detect errors from the given results and correct them.

## Slide 48: Results
 | Velocity (m/s) | Cover (m) | Slope (%)
Minimum | 0.6 | 0.8 | 1
Maximum | 6.5 | 4.8 | 15
Velocity : the percent of conduits have more than 4.5m/s is equal to 3%

## Slide 49
Profiles
(on Autocad)

## Slide 50: Conclusion and Recommendation

## Slide 51: Water Distribution Network
According to our calculation and WDN designing .few of nodes have a pressure below 20 m in the maximum hour demand but these nodes have higher pressure values in other day times so the situation could be accepted since we considering fluctuation in demand through the day.
Network leakage not considered in designing the network. But it should be taken into consideration. Since it has a high value in agricultural areas and it might be reach 50 % of water in the network.

## Slide 53
Head loss in pipes and fittings were neglected. And this is not accurate because it can change values of pressure in different nodes. So we recommend take these values into consideration in the future design.

## Slide 54: Sewer Collection System
We face some problems in expected the number and the distributions of people in the future, thus we recommend to build a master plan because it is very useful and helpful.

## Slide 55: Storm Drainage
The (IDF) curve we use is the curve of Nablus City; since there is no one for Jenin City and its villages. So we should modify this curve to reflect the reality of the villa