## Slide 1
An-Najah National University Faculty of Engineering Building Engineering Department
Graduation Project – 2
Hotel Redesign
Prepared By: Ramzi Osama Demyati
Angham Essam Abd-Aldaim
Alaa Ibrahim turkman
Project supervisor: Eng. Fadi Fatayer
2015-2016

## Slide 2
CONTENTS
Introduction
Site of the project
Architectural Design
Structural Design
Environmental Design
Electrical Design
Mechanical Design
Safety Design
Cost Estimation

## Slide 3: INTRODUCTION
The main concept of this project was to redesign an architecture students graduation project, and focus was been on structure, environmental, electrical, mechanical and safety design to make a comfortable hotel and easy use for disabled people .

## Slide 4: SITE OF THE PROJECT
An Najah University
Site of the poject

## Slide 5: ARCHITECTURAL DESIGN

## Slide 6: Site Plan and Master Plan
Master Plan
Site Plan

## Slide 7: Modifications
Original
Redesigned
Original
Redesigned

## Slide 8: Modifications
Original
Redesigned

## Slide 9: Modifications
Original
Redesigned
Original
Redesigned

## Slide 10: Modifications
Original
Redesigned
Original
Redesigned

## Slide 11: Modifications
In the original design plans, there is no elevator transports food from the kitchen to the bedroom.
In the redesign plans, we made the elevator that serves the restaurant and serves the bedrooms also.
In the original design plans, there is no suites in the hotel.
In the redesign plans, four suites became in the plans; two suites in the third floor, one suite in the fourth floor and one suite in the fifth floor.

## Slide 12: Modifications
Original
Redesigned
Original
Redesigned

## Slide 13: Elevations
Southwest
Northeast

## Slide 14: Elevations
Northwest
Southeast

## Slide 15: Sections
Section A-A
Section B-B

## Slide 16: STRUCTURAL DESIGN

## Slide 17
ACI -318-08 for reinforced concrete structural design.
UBC -97 for earthquake load computations.
ASCE for load computations.
Design Codes

## Slide 18
Compressive strength of Concrete “f′c”.
    For columns f′c = 28 MPa
    For slabs f′c = 24 MPa
    For all other elements in structure such as blinding and bracing f′c = 16 MPa
Yielding strength of steel fy = 420 MPa.
Material Property
Soil Property
Soil bearing capacity = 350 KN/m2
Soil profile = SB

## Slide 19
Dead loads (D.L): 5 KN/m2
Super Imposed dead load (SI): 3.5 KN/m2
Live Load (L.L): 5 KN/m2 (for first floor) 3KN/m2 ( for other floors)
Lateral loads consider earthquake load.
Loads

## Slide 20
Column Center Lines Grid

## Slide 21
Hotel 3D Model - SAP

## Slide 22: DESIGN and REINFORCEMENT of STRUCTURAL ELEMENTS
Slab (one way with drop beam)
Beams
Columns
Shear wall
Basement wall
Stair
Footings

## Slide 23
Model Checks
Compatibility

## Slide 24
Model Checks
Equilibrium
Load | Manual calc. | SAP results | Error %
LIVE | 2751.5 | 2709.5 | 1.54
DEAD | 8745 | 8704 | 0.47

## Slide 25
Model Checks
Internal Forces
Element | Ultimate Force SAP | Ultimate Force manual | % of error
Column | 5317 KN | 5150.3 KN | 3.1
Beam | 1191.8 KN.m | 1265 KN.m | 6
Slab | 68 KN.m/m | 69.2 KN.m/m | 1.7

## Slide 26
Cv = 0.2
Ca = 0.2
Seismic design
I = 1
R = 5
Checks on SAP model
Base shear ( V ) = 4181 KN
Soil profile SB
Z = 0.2
From SAP
Mass participation ratio is larger than 90% in X, Y .
 | From SAP | From manual | % of error
Period (sec) | 0.615 | 0.52 | 18

## Slide 27
Footing Reinforcement Details
Single Footing

## Slide 28
Footing Reinforcement Details
Mat Footing

## Slide 29
Footing Reinforcement Details
Wall Footing

## Slide 30
Column Reinforcement Details

## Slide 31
Beam Reinforcement Details

## Slide 32
Slab Reinforcement Details

## Slide 33
Shear Wall Details

## Slide 34
Basement Retaining Wall Details

## Slide 35
Stair Reinforcement Details

## Slide 36: Environmental DESIGN

## Slide 37
External Wall Prosperities
Thermal Insulation
External Wall Section

## Slide 38
Thermal Insulation
U-Value Of The Other Elements
Elements | U-Value
Ground Floor | 0.54
Ceiling | 0.49
Partition | 2.3
Roof | 0.37
Window | 2.7

## Slide 39
Thermal Insulation
Cooling load

## Slide 40
Thermal Insulation
Heating load

## Slide 41
Natural Daylight Analysis
Heating load

## Slide 42
We used one way ribbed slab with thickness = 300 mm
IIC = 70
Acoustical Design
Sound Transmission Class (STC)
STC-Values Between Different Spaces |  | Recommendation
Bedroom to Bedroom | 52 | > 52
Bedroom to bathroom | 58 | > 56
Corridor To Bedroom | 58 | > 52
Impact Insulation Class (IIC)

## Slide 43
    Acoustical Design
    Reverberation Time (RT)
    Meeting Room
    RT = 0.88
    RT = 0.77

## Slide 44
    Acoustical Design
    Transmission loss (TL)
    Meeting Room
    LT = 48.4 > 42
    LT = 40.6 > 40

## Slide 45: Electrical DESIGN

## Slide 46
    Sockets Arrangement
    Switches Used

## Slide 47
    Artificial Lighting
Lounge

## Slide 48
    Artificial Lighting
Restaurant

## Slide 49
    Artificial Lighting
Meeting Room

## Slide 50
    Artificial Lighting
Bedroom

## Slide 51: Mechanical DESIGN

## Slide 52
    Water Supply System
    The consumption of water in hotels = 500 liter /day/ person

## Slide 53
    Drainage System

## Slide 54
    Drainage System
    Grey Water
    Black Water

## Slide 55
    H-VAC System
    VRF

## Slide 56
    H-VAC System
    VAV

## Slide 57: Safety DESIGN

## Slide 58
    Safety System

## Slide 59
    Safety Signs

## Slide 60
    Evacuation

## Slide 61: Cost Estimation

## Slide 62
The total cost of the HOTEL is about 11.15 million shekel.
The total cost per meter square for the HOTEL is about 2028 shekel.