Contents:

Title                                                           Page

Ch.1                                      

1.1 Introduction                                                               3
1.2 Objectives                                                                   3 
1.3 Features                                                                      4
1.4 Advantages and Disadvantages:                              5
Ch.2 Photovoltaic Module                                     6
2.1 introduction                                                                 6
2.2 Types of Photovoltaic panels                                    6       2.3 How the System Affects Panel Efficiency                8       2.4 Describing Photovoltaic Module Performance       9
2.5 Number of cells                                                         12
2.6 Photovoltaic Arrays                                                  13
2.7 The Fill factor and the Conversion efficiency        15
Ch.3 Charge Regulator (Battery Control Unit)   16
3.1 Introduction                                                               16
3.2 Types of charge regulators                                       17
Ch.4 Lead acid Batteries                                            19
4.1 Battery charging                                                        19
4.2 Battery efficiency                                                       19
4.3 The minimum voltage                                                20
 Ch.5 Block diagram and circuitry                                 22
5.1 The main parts in this project                                   22
5.2 Circuitry                                                                      25
5.2.1 Charging circuit                                                      25
5.2.2 PIC circuit                                                                27
5.2.3 DAC circuit                                                              28
5.3 Flow chart                                                                   29
5.4 Procedure of work                                                   32
5.5 Features of The Locally developed Battery Control Unit (BCU)                                                                     33
Ch.6 Results                                                          35                                                                                                                           
Ch.7 Problems and applications                            37                                                                                
7.1 problems we faced                                                   37                                                              

7.2 applications                                                              37   7.3 conclusion and recommendation                           38
Chapter One
1.1 Introduction:

Since the beginning of the oil crises, which remarkably influenced power development programs all over the world, massive technological and research efforts are being concentrated in the field of renewable energy resources. In the solar sector for electricity generation, greater attention is being given to photovoltaic conversion.

Photovoltaic energy, solar generators are the only systems which directly convert sunlight into electric power.
And we intend in this project to:

·  Get introduced to some of the current applications on the solar system.

·  Make a practical project and describe it.

·  Determine the solar cell parameters.

·  Make a conclusion and recommendations gathered from our practical project and the problems we faced.

1.2 Objectives:

1-Solar Energy and Rechargeable battery usage has dramatically increased over the last few years. 

2-We mean to design a solar powered system that would enable the consumer to charge up virtually all of his electronic equipment via solar power. 

3-This project has advantages for both the consumer and the environment. 

4-Also, this project will incorporate both of our specialties in Electrical Engineering: power and circuitry.

1.3Features:

1- Charge any rechargeable battery 12V, 24V.
 It depends upon the lead acid battery we use. For example we can use lead acid batteries with a nominal voltage of 12 V and 30-100 AH capacities for cars, motors, and 24V and up to 600 Ah for delivery, construction and military vehicles.
 Typical batteries have energy densities of 30 Wh/kg but units with more than 40 Wh/kg maybe obtained. 

2-Supply any low dc load.
We can supply any small load with this system. For example we use the mobile charger and supply it with 5 volts output from the PIC and the current was about 300 mA, so the charger works. Another example we put this system in my car and we supply the lights and the glass with the needed voltage and current.
3- Solar-powered. 

As we know the energy resources solar energy is for free and we can use it by make some installations. That depends upon the size of the work, and saves us money and no pollution and no emission.

4- Displays charging status. 

In our project we have 2 leds to give us indications about the status of charging. So when the green led is emitting light that means the battery is fully charged, and when the red one is emitting that means the buttery is empty (V batt.<=10.5 v)
5- Polarity checking. 

Here in our project the circuit we built will not let the current pass from the PV module to the battery if the polarity isn't correct.
 6- Current Limiting.
In our project we built battery charge regulator in order to save the battery from overcharging and from deep discharge. The life cycle of a battery will decrease when overcharge or discharge occurred.
1.4 Advantages and Disadvantages:

The advantages are:

1-Solar energy is a renewable resource.

2-Solar cells are totally silent.

3-Solar energy is non-polluting.

4-Require very little maintenance.

5-Solar powered products are very easy to install.

6- Reliability.

And the disadvantages are:

1- Solar cells/panels, etc. can be very expensive.

2- Solar power cannot be created at night.          

Chapter Two 
Photovoltaic Module:
2.1 INTRODUCTION:

Solar Panels are a form of active solar power, a term that describes how solar panels make use of the sun's energy: solar panels harvest sunlight and actively convert it to electricity. Solar Cells, or photovoltaic cells, are arranged in a grid-like pattern on the surface of the solar panel. These solar voltaic cells collect sunlight during the daylight hours and covert it into electricity.
2.2 Types of Photovoltaic Panels

There are 3 basic types of construction of PV panels though all use silicon. 

1- Monocrystalline 

Cells are cut from a single crystal of silicon- they are effectively a slice from a crystal. 
In appearance, it will have a smooth texture and you will be able to see the thickness of the slice. 
These are the most efficient and the most expensive to produce. They are  rigid and must be mounted in a rigid frame top protect them. 
                               
[image: image43.jpg]



2- Polycrystalline (or Multicrystalline) 

Cells are effectively a slice cut from a block of silicon, consisting of a large number of crystals. 
They have a speckled reflective appearance and again you can see the thickness of the slice. 
These cells are slightly less efficient and slightly less expensive than monocrystalline cells and again need to be mounted in a rigid frame.

                                    
[image: image2]


3- Amorphous 

Cells are manufactured by placing a thin film of amorphous (non crystalline) silicon onto a wide choice of surfaces. These are the least efficient and least expensive to produce of the three types. Due to the amorphous nature of the thin layer, it is flexible, and if manufactured on a flexible surface, the whole solar panel can be flexible. 
One characteristic of amorphous solar cells is that their power output reduces over time, particularly during the first few months, after which time they are basically stable. The quoted output of an amorphous panel should be that produced after this stability.

 
[image: image3]
In our project we use amorphous type 25 cells connected in series which has an open circuit voltage equal to 19.4 Volt and maximum short circuit current equal to 0.4 Amp.

Most cells produce a voltage of about one-half volt, regardless of the surface area of the cell. However, the larger the cell, the more current it will produce.

Current and voltage are affected by the resistance of the circuit the cell is in. The amount of available light affects current production. The temperature of the cell affects its voltage. Knowing the electrical performance characteristics of a photovoltaic power supply is important. 

2.3 How the System Affects Panel Efficiency


[image: image4]
Apart from positioning and angling your panels in order to capture as much light energy as possible, there is more. 
The inherent characteristics of solar cells results in current produced by a particular light level being virtually constant up to a voltage of 0.4 volts. A solar panel with a nominal voltage of 24 volts would normally have 72 cells, resulting a constant current up to 28.8 volts. Above this voltage, current drops off rapidly, resulting in maximum power output being produced at around 28.8 volts. 
When the panel is connected to the battery via a simple charge regulator, the voltage will be pulled down to near that of the battery. The result is that the panel will only be able to produce it's maximum power when the battery is near to being fully charged.

The efficiency of amorphous silicon photovoltaic modules is less than half that of the other three technologies. This technology has the potential of being much less expensive to manufacture than crystalline silicon technology. For this reason, research is currently under way to improve amorphous silicon performance and manufacturing processes.

The following table shows the efficiency of each type:

[image: image5.png]Level of efficiency in %

Level of efficiency in %

L) Lab Production
Monosﬁﬁ:?:"i"e approx. 24 14 to17
Polycrystalline Silicon approx. 18 13t015
Amorphous Silicon approx. 13 5to7





2.4 Describing Photovoltaic Module Performance:

To insure compatibility with storage batteries or loads, it is necessary to know the electrical characteristics of photovoltaic modules.

As a reminder, "I" is the abbreviation for current, expressed in amps. "V" is used for voltage in volts, and "R" is used for resistance in ohms.

A photovoltaic module will produce its maximum current when there is essentially no resistance in the circuit. This would be a short circuit between its positive and negative terminals.

This maximum current is called the short circuit current, abbreviated I(sc). When the module is shorted, the voltage in the circuit is zero.

Conversely, the maximum voltage is produced when there is a break in the circuit. This is called the open circuit voltage, abbreviated V(oc). Under this condition the resistance is infinitely high and there is no current, since the circuit is incomplete.

These two extremes in load resistance, and the whole range of conditions in between them, are depicted on a graph called a I-V (current-voltage) curve. Current, expressed in amps, is on the vertical Y-axis. Voltage, in volts, is on the horizontal X-axis.

[image: image6.png]Amps.
20

MAKMUM POVER
VOUTAGE ~ ConenT]

P ——— Vg i )

SHORT GIRCUIT CURRENT (1 ¢ )




                                                                       Fig 2.1                         

a typical current voltage curve

As you can see in Figure 2-1, the short circuit current occurs on a point on the curve where the voltage is zero. The open circuit voltage occurs where the current is zero.

The power available from a photovoltaic module at any point along the curve is expressed in watts. Watts are calculated by multiplying the voltage times the current (watts = volts x amps, or W = VA).

At the short circuit current point, the power output is zero, since the voltage is zero.

At the open circuit voltage point, the power output is also zero, but this time it is because the current is zero.

There is a point on the "knee" of the curve where the maximum power output is located. This point on our curve is where the voltage is 17 volts, and the current is 2.5 amps. Therefore the maximum power in watts is 17 volts times 2.5 amps, equaling 42 watts.

The power, expressed in watts, at the maximum power point is described as peak, maximum, or ideal, among other terms. Maximum power is generally abbreviated as "I (mp)." Various manufacturers call it maximum output power, output, peak power, rated power, or other terms.

The current-voltage (I-V) curve is based on the module being under standard conditions of sunlight and module temperature. It assumes there is no shading on the module.

Standard sunlight conditions on a clear day are assumed to be 1000 watts of solar energy per meter square (1000 W/m2or lkW/m2). This is sometimes called "one sun," or a "peak sun." Less than one sun will reduce the current output of the module by a proportional amount. For example, if only one-half sun (500 W/m2) is available, the amount of output current is roughly cut in half (Figure 2-2).

[image: image7.png]600 Wi #

SoWm?

(OE SUNT

(ONEHALF SUN]

Volts





 figure 2.2  A typical current voltage curve at one sun and at one half sun

Module temperature affects the output voltage inversely. Higher module temperatures will reduce the voltage by 0.04 to 0.1 volts for every one Celsius degree rise in temperature (0.04V/0C to 0.1V/0C). In Fahrenheit degrees, the voltage loss is from 0.022 to 0.056 volts per degree of temperature rise (Figure 2-3).

[image: image8.png]Amps.

25°¢C





Fig 2.3 a typical current voltage curve at 25 C and 85 C.
The last significant factor which determines the power output of a module is the resistance of the system to which it is connected. If the module is charging a battery, it must supply a higher voltage than that of the battery.

If the battery is deeply discharged, the battery voltage is fairly low. The photovoltaic module can charge the battery with a low voltage, shown as point #1 in Figure 2-4. As the battery reaches a full charge, the module is forced to deliver a higher voltage, shown as point #2. The battery voltage drives module voltage.

[image: image9.png]Amps.
20

+ opERATING POINT
LRy

wonTey

o0t





Fig 2.4 A typical Current Voltage curve at different points.
2.5 Number of cells:-

The output voltage of a module depends on the number of cells connected in series. Typical modules use either 30, 32, 33, 36, or 44 cells wired in series.

The modules with 30-32 cells are considered self regulating modules. 36 cell modules are the most common in the photovoltaic industry. Their slightly higher voltage rating, 16.7 volts, allows the modules to overcome the reduction in output voltage when the modules are operating at high temperatures.

Modules with 33 - 36 cells also have enough surplus voltage to effectively charge high antimony content deep cycle batteries. However, since these modules can overcharge batteries, they usually require a charge controller.

Finally, 44 cell modules are available with a rated output voltage of 20.3
                     [image: image10.png]



2.6 Photovoltaic Arrays:
In many applications the power available from one module is inadequate for the load. Individual modules can be connected in series, parallel, or both to increase either output voltage or current. This also increases the output power.

When modules are connected in parallel, the current increases. For example, three modules which produce 15 volts and 3 amps each, connected in parallel, will produce 15 volts and 9 amps

[image: image11.png]



                           Fig 2.6.1  Parallel Connection
[image: image12.png]celvoiage viny



 
                         Fig 2.6.2 Series Connection
The relations between the radiation "G" and the maximum power "Pmax" and the short circuited current "Is.c" and the open circuit voltage "Vo.c":

[image: image13.jpg]


 
2.7 The Fill Factor and the conversion efficiency:

In this section, we present some definitions of certain properties of cells which are

Commonly used in industry and in the study of photovoltaic systems.

Peak Power

Peak power refers to the optimal power delivered by the cell for an insulation of

1KWm2 and a junction temperature of 25oC.

Conversion Efficiency

The conversion efficiency is the ratio of the optimal electric power, Popt , delivered by the pv module to the solar insulation , Ee, received at a given cell temperature, T,

Popt. / AEe
where the optimal power, Popt , is in Watts, the insulation , Ee, is in Watts per square meter and

the cell area, A, is in square meters. Typical values for are 12 to 14 % for a single-crystal

silicon cell and 9 % for a polycrystalline silicon solar cell.

Fill Factor (FF)
The fill factor, FF, is the ratio of the peak power to the product I V sc oc .

FF=( I max*V max) / (Isc* V oc)
The fill factor determines the shape of the solar cell I-V characteristics. Its value is higher than 0.7 for good cells. The series and shunt resistances account for a decrease in the fill factor. The fill factor is a useful parameter for quality control tests.

Chapter Three 
Charge regulator (Battery control Unit):

3.1 Introduction:

The solar charge regulator main task is to charge the battery and to protect it from deep discharging. Due to overcharging electrolyte boiling could occur causing damage to the battery or even its destruction. Deep discharging could also damage the battery. Charge regulator electronics is most sensitive and crucial to assuring stable photovoltaic system operation. Charge regulator malfunctioning result in high maintenance cost including battery replacement. An important parameter to consider is charge regulator efficiency percentage. For small photovoltaic systems charge regulators from 5 A to 30 A are available. Some of them could be used in both 12 V and 24 V DC systems.
There are many different types of charge regulators available on the market:

1) The simplest switch on/off regulators.

2) PWM charge regulators which charge the battery with constant voltage or constant current (they are the most often used regulators in PV systems)

3) The most complex MPPT (Maximum Power Point Tracking) charge regulators. MPPT charge regulators are more expensive and suit large systems better, where the investment in an expensive MPPT regulator returns quickly. In most cases, including inexpensive charge regulators for small systems, regulator set includes all necessary electronics for battery protection, such as protection against deep discharging and against overcharging. Charge regulator functioning is characterised by two different voltage thresholds, battery and module voltage, upon which the battery is charged. At higher voltage, usually 12.4 V for 12 V batteries, charge regulator switches the load to the battery, at lower voltage, typically 11.5 V, regulator switches the load off. On the market you can find charge regulators which allow manual settings of these thresholds, or you could merely adjust the battery type to Pb acid or Gel type, and the regulator will adjust the two voltage thresholds automatically according to the battery type without losing the performance. If excessive ambient temperature swings of more than 5°C are expected, temperature compensated charge regulator electronics should be used.
[image: image14.png]I





  

Lifetime depends on charge/discharge cycle rates numbers. The deeper the battery is discharged the shorter the lifetime. The most important battery parameter is battery capacity, which is measured in Ah. Battery capacity depends on discharging current; the higher the discharging current the lower the capacity, and vice versa. Batteries can be charged in many different ways, for example with constant current, with constant voltage etc., which depends on the battery type used. The charging characteristics are recommended and prescribed by different standards. The solar batteries prices are higher than the prices of classic car batteries, yet their advantages are longer lifetime and lower discharging rates. Consequently, the maintenance costs of the photovoltaic system are lower. 

In our project we built the PWM regulator and we got the results we need. And in the circuitry chapter we will show the way we connected and the work procedure.
3.2 Types of the regulator:

1-The simplest switch on/off regulators:
Simple 1 or 2 stage controls which rely on relays or shunt transistors to control the voltage in one or two steps. These essentially just short or disconnect the solar panel when a certain voltage is reached. For all practical purposes these are dinosaurs, but you still see a few on old systems. Their only real claim to fame is their reliability - they have so few components, there is not much to break.

2-Pulse Width Modulation (PWM):

Quite a few charge controls have a "PWM" mode. PWM stands for Pulse Width Modulation. PWM is often used as one method of float charging. Instead of a steady output from the controller, it sends out a series of short charging pulses to the battery - a very rapid "on-off" switch. The controller constantly checks the state of the battery to determine how fast to send pulses, and how long (wide) the pulses will be. In a fully charged battery with no load, it may just "tick" every few seconds and send a short pulse to the battery. In a discharged battery, the pulses would be very long and almost continuous, or the controller may go into "full on" mode. The controller checks the state of charge on the battery between pulses and adjusts itself each time.
3-Maximum Power Point Tracker Solar Charge Controllers
A basic charge controller simply performs the necessary function of ensuring that your batteries cannot be damaged by over-charging, effectively cutting off the current from the PV panels (or reducing it to a pulse) when the battery voltage reaches a certain level. 

A Maximum Power Point Tracker controller performs an extra function to improve your system efficiency. 

The efficiency loss in a basic system is due to a miss-match between voltage produced by the PV panels and that required to charge the batteries under certain conditions. 
A 12 volt battery will require up to about 14.4 volts to fully charging it. When the battery being charged is in a fairly low state, its voltage (under charge) may only 12 volts. 
Our PV panels, which we refer to as 12 volt panels, need to be able to charge the batteries on a bright day (not only in full sunshine) so are designed to produce at least 12 volts in those conditions. In bright sunshine hover, these panels may be cable of producing 19.5 volts. In-fact, they are likely to produce their rated output power (volts x amps) at 18 - 19 volts. 
When the battery is at 12volts, it will be pulling the panel voltage down to 12 (assuming no voltage drop in your cables). This results in the panels producing significantly less than their rated output and therefore there is a loss in efficiency.
Chapter Four

 Lead Acid Batteries
The Charging and Discharging Characteristics of Lead Acid Batteries

The voltage of a lead acid battery when at rest (not supplying current or being charged) will vary according to how fully charged the battery is.
4.1 Battery Charging

If a voltage is applied to the battery which is greater than the battery's voltage, a current will flow through the battery in the reverse direction to when it is supplying current, and the battery will charge. 
The rate of charge or current that will flow will depend on the difference between the battery voltage and the voltage that is applied to it (from solar panels etc).

Battery Discharge Characteristics

A full charged battery will have a voltage of around 14.4 volts. As current is drawn off and the level of charge is reduced, the voltage will fall quite quickly at first (again it would be necessary to stop drawing current for a couple of hours to be able to measure the true voltage of the battery). 
With further drawing of current, the rate of voltage drop slows down and will reach around 12.0 volts when the battery is at half capacity. 

As the battery approaches the fully discharged state, the voltage starts to fall more quickly again.

4.2 Battery Efficiency

The Lead Acid battery is not 100% efficient at storing electricity - you will never get out as much as you put in when charging. Overall, an efficiency level of 85% is often assumed. 
The efficiency will depend on a number of factors including the rate of charging or discharging. The higher the rate of charge or discharge, the lower the efficiency. 
The state of charge of the battery will also affect charge efficiency. With the battery at half charge or less, the charge efficiency may be over 90%, dropping to nearer 60% when the battery is above 80% charged. 

12 Volt 7 Ah Sealed Lead Acid Battery - F2 Terminal

[image: image15.png]



Specifications:

· 12V 7.2 Ah at 20HR Rate

· Length 5.95 in.

· Width 2.56 in.

· Height 3.71 in.

· F2 Terminals (1/4" wide)

· 1 Year Warranty

4.3 Minimum voltage
 
Anything above 2.15 volts per cell will charge a lead acid battery, this is the voltage of the basic chemistry. However, most of the time a higher voltage is used because it forces the charging reaction at a higher rate. The voltage to avoid is the gassing voltage, which limits how high the voltage can go before undesireable chemical reactions take place.

The basic lead acid battery is ancient and a lot of different charge methods have been used. The lead acid chemistry is fairly tolerant of overcharging, which allows marketing organizations to get to extremely cheap chargers. We offer a range of chargers from inexpensive to very sophisticated, depending on the requirements of the customer.
These are general voltage ranges for six-cell lead-acid batteries:

· Open-circuit (quiescent) at full charge: 12.6 V to 12.8 V (2.10-2.13V per cell)

· Open-circuit at full discharge: 11.8 V to 12.0 V

· Loaded at full discharge: 10.5 V.

· Continuous-preservation (float) charging: 13.4 V for gelled electrolyte; 13.5 V for AGM (absorbed glass mat) and 13.8 V for flooded cells

1. All voltages are at 20 °C, and must be adjusted -0.022V/°C for temperature changes.

2. Float voltage recommendations vary, according to the manufacturer's recommendation.

3. Precise (±0.05 V) float voltage is critical to longevity; too low (sulphation) is almost as bad as too high (corrosion and electrolyte loss)

· Typical (daily) charging: 14.2 V to 14.5 V (depending on manufacturer's recommendation)

· Equalisation charging (for flooded lead acids): 15 V for no more than 2 hours. Battery temperature must be monitored.

· Gassing threshold: 14.4 V

· After full charge the terminal voltage will rise quickly to 13.2 V and then slowly to 12.6 V.

[image: image16.png]State of 12 Volt Volts per
Charge battery cell
— wos | w7 | e
e | s | 20
e | e | 200
% | wa | 205
e | wa | 2m;
s | e | ;1
— e» | ue | i
I T T T
\ \

20%

11.58

1.03





In our project, the circuit we built has two leds; red one and green one.
The Green when it emits light that means that the voltage is 14.4 V (fully charged battery). And when the red one emits light that means V<10.5 v (discharged battery).
Ch.5 Block Diagram and Circuitry:

[image: image17]
 5.1 The main parts in this project are:
1-The solar panel: we used an amorphous panel manufactured by ARCO.  
2-The Regulator: we built a PWM regulator.

3-PIC "Programmable Integrated Circuit": 16f877a
4-Lead acid battery: 12volts, 7Ah.

5-Low DC load.

[image: image18.jpg]


         [image: image19.jpg]



[image: image20.jpg]oz %





[image: image21.jpg]



[image: image22.jpg]T4 & T8 WIS}

SKIDT( TIVTAN
Tt g R
Cromm me

—— CRTIN ————
f

= e S Co—

-
=

By www 1D 590 FNIET
. e (owm Tl TR

f




[image: image1][image: image23.jpg]




[image: image24.jpg]- N ~ SNEN = ~;M— SOOI N M ey s

SK L SK12-7( 12V7AH)
Constant Volta?:aglnafge
NON-SPILLABLE RECHARGEABLE (/0 o0 :17.2-1 5.0V(25°C)

SEALED LEAD ACID BATTERY Standby use :13.5-1 3.8V(25°C)
Initial current : Lgss than2.10A

CAUTION
Do not charge in a gas tight container
@ ﬁ Do not short the battery teminals
Do not incinerate

NON SPILL ABLE pb. RECHARGE AFTER USE



                     

5.2 Circuitry
5.2.1 Charging Circuit:

[image: image33.emf][image: image34.png]N - H
oy wonvg MOMFS ss
wonz
— wonz )
= oo
uaaio
wonzy
=
Py
oy
0 EEE%
sa0si w04 *
S wons
we
ezi0 e 1me08
wor S w [
MoAZL Mo 10z wonziS  wonL
b . ] S





[image: image25]
 +S   -S                                                                                                                
[image: image35.png]Relsy

s

T,
?v

it
1204 ohm

!

"
il
TR 1 o 27k 0
220 Ohm

(25 O 505




[image: image36.emf]
[image: image26]
  5.2.2 PIC Circuit

[image: image27]
                5.2.3 DAC Circuit:

     Here we used the DAC to convert the digital output from the PIC to Analog. And then to an amplifier that return the voltage to its value but here we entered it to a PIC in an acceptable voltage for the PIC "5V".

[image: image28.jpg]Al H

42 g
a1 5

A5 9
A 10]
>

A7 |

A8 ¥

DACDS08

14

resistor
5.0k

15

50K

10V=Vref

16

Vout



                                          
                            5.3     Flow Chart:

[image: image29]
The program of the PIC is:

#include "E:\raed\ff.h"

float x,y,y1,x1;

void main()

{
   setup_adc_ports(AN0_AN1_VREF_VREF);

   setup_adc(ADC_CLOCK_INTERNAL);

   setup_psp(PSP_DISABLED);

   setup_spi(FALSE);

   setup_timer_0(RTCC_INTERNAL);setup_wdt(WDT_2304MS);

   setup_timer_1(T1_DISABLED);

   setup_timer_2(T2_DISABLED,0,1);

   setup_comparator(NC_NC_NC_NC);

   setup_vref(FALSE);

   set_adc_channel(0);

   delay_ms(.01);

   x=read_adc();

   x1=x*5/255;

   set_adc_channel(1);

   delay_ms(.01);

   y=read_adc();

   y1=y*5/255;

   if(x1>4.340277 && y1>3.645833 && y1<4.166666)

   {
   output_low(pin_b0);

   output_d(x);

   }
   if(x1>4.340277 && y1>4.166666 && y1<5.000000)

   {
   output_low(pin_b1);

   output_d(x);

   }
}
5.4 Procedure of work:

In the electronic circuit when the voltage is lower that the predetermined voltage ( 14.4V in our case) the comparator (IC3) allows a high negative output signal to switch on the PNP transistor (Q1), so a current will flaw from the emitter to the collector which in turn switches on the BUZ15 transistors. This means that the battery is directly connected to the solar generator.

During charging, the battery voltage increase until it reaches the 14.4 V value. At this voltage, the transistor (Q1) will be switched off, thus no current will flow between the emitter and the collector of this transistor, and as a result the solar generator will be disconnected from the battery since the two MOSFET transistors will be switched off. When the battery voltage reaches 14.4V, the green light emitting diode (LED1) will switch on to give an indication that the battery has been fully charged.

N1 and N2 from the IC4001 are utilized as pulse oscillators for the purpose of testing. They send a short voltage pulse with a wavelength of 15 m sec every 14 seconds (1:933 from the normal operating period). In this short period, transistor Q2 will be switched on, and a current will flow from the emitter to the collector of Q2, so, the voltage difference between the base of Q1 and the main voltage source (+S) will be zero, which means that Q1 and the two MOSFET transistors will be switched off, then the comparator (IC2) compares the battery voltage with the open-circuit voltage of the solar generator; if the voltage of the solar generator is higher than the voltage of the battery, the output voltage of the comparator will be applied to (N4), (N3) and the base of (Q2). As a result the current flow from the emitter to the collector of (Q2) will be interrupted. This means that the charging process will continue.

The main objective of using the pulse generator is to control the voltage of both the solar generator and the battery continuously. So, at night and at no-sun period, this pulse oscillator will switch off the two MOSFET transistors since the battery voltage is higher than that of the solar generation. In this case, there is no need for utilization of the schottky diode to prevent the battery discharging via the solar generator at night, which means that no energy will be lost in this diode during the charging process. However, the energy consumed during the testing period is neglicable.

In the circuit shown in fig 1 there is two MOSFET transistors were utilized instead of one for the following tasks:

· To make the prevention of the battery discharging via the solar generator as strong as possible (in this controller, the battery discharging current via the solar generator at night equals 50 micro ampere).

· The temperature of the two transistors, due to the voltage drop across them, is divided equally between them.

· Increasing the reliability of the controller since one transistor can perform the task of the other in case of its failure.

· This arrangement protects the controller from failure whether it is connected to the solar generator first or to battery.

The objective of the comparator (IC5) is to control the battery voltage during the discharging mode. Using the potentiometers (VR3, VR4, VR5), it is easy to adjust the voltage at which the load is disconnected from the battery, and the voltage at which the load is reconnected to the battery. In this controller the load is switched off when the voltage of the battery drops to 10.5 V, and then switched on again when the battery recharged to 11.7 V. However, this present values can be adjusted according to the specifications given by the batteries manufactures.

 5.5 Features of The Locally developed Battery Control Unit (BCU): 
- Protects battery against overcharging: the unit controls the charging current via a regulated impulse, thus preventing harmful overcharging.

-Protect the battery against deep discharging: the unit controls battery discharge by means of bistable load relay.
If the battery charge drops bellow a predetermined voltage threshold, the relay automatically disconnects the load, this is indicated by a red light –emitting diode (LED).

-The controller is equipped with a built-in voltage regulator ,which means that the system can also be used to power smaller load appliance with varying operating voltages ranging from 3-12V.

-The power consumption of this unit is very small: the circuit consumes only 12mA increases to about 20 mA when one of the LEDs is switch on. Also the relay consumes 50mA during load disconnection.

-The two MOSFET transistors are situated on a heat –sink to reduce the temperature of these transistors.

-The controller is protected against high voltages of the solar generator ,this means it doesn’t matter whether solar generator or the battery is connected first to the controller.

-The unit is protected against battery reverse polarity via a diode (D4).

-The input of the unit is protected against the high abrupt via two zener diodes (ZD5, ZD6).

-The unit is protected against noise via two capacitors (C2, C3) which prevent low and high frequencies from entering the circuit of the controller.

-Load is protected against short circuit by a fuse.

Chapter six
 Results:
In order to test the constructed charge regulator , a PV has only 25 PV cells connected  in series , hence the open circuit voltage of it was limited to only 19.4 volt .unfortunately a PV module of 36 monocrystalline cells could not be obtained .This type would be more appropriate for testing the charge regulator since it has an open circuit voltage of 20.88 volt .

The IV characteristics of utilized 25 cells module was measured and is illustrated in the following figure:

The panel is manufactured by ARCO 

	Resistance "R"
	Current "I"
	Voltage "V"

	0
	401.7
	0

	10
	384
	1.92

	20
	379
	3.85

	30
	370
	5.12

	40
	365
	6.02

	50
	360
	6.9

	60
	353.5
	7.5

	70
	350.2
	8.61

	80
	350
	10.4

	90
	349.8
	11.3

	100
	305
	15.4

	>>
	0
	19.1


I-V characteristic

[image: image30.png]Current(mA)

450
400

Series1

5 10 15 20 25

Voltage (V)





In our project we found some factors like the FF and efficiency 
The  Imp = 350 m A and the Vmp =15 volt

So the max power point = 15*.350= 5.25 watt.

The Fill Factor:

FF= (Imp*Vmp)/ (Is.c*Vo.c)
     = (15*.350)/ (19*.4) = 70%

The efficiency:
[image: image31.png]


= P.opt/ A.Ee

    =5.25/ 0.3*0.3*950 =6.1%
The project was tested in a radiation with 950 W/m2 and the results were as the following:
	Vpv (V)
	Ipv (mA)
	Vbatt. (V)
	Ibatt.(mA)

	17.1
	328
	12.6
	323

	14.9
	302
	12.9
	296

	14.1
	298
	13.01
	289.6

	13
	275
	13.27
	270


Chapter Seven  

 7.1 Problems we have faced:
1- The output voltage was about 15 volts, and when we added the PIC we noticed that its input is 5 volts maximum so we solve ths problem by using a voltage divider.
2- The radiation from sun was different from day to another. So we tried to get the best angel and the best time to make our tests.

3- The output from the PIC was digital signal so we used a DAC to convert the digital signal to analog again.

4- The output from the DAC was just about 5 volts maximum so we used Op-amp IC741 to amplify both the current and the voltage.

5- The wires we used first were the thin wires so when the current passed these wires got hotter. so we used wires with cross sectional area of 2.5 mm2.
7.2 The applications for our project:

1- Our project is suitable with larger batteries or set of batteries for huge companies to use the batteries as Stand by source.

2- Use this project in cars and plans and ships to supply these vehicles with the needed electricity.

3- Use this project in supplying the Wind turbine with initial electricity.
4- We can also use this project in water pumping.

5- Telecommunications systems and companies will use this project for the equipments as load by using the same project but with larger PV Panels. 

6- Also we can use it in Ocean Navigation and in lighting systems. 

7.3 Conclusion and recommendation:
a) From the technical and economical viewpoints, it can be said that the PV technology has attained an acceptable degree of operational efficiency and reliability, especially in water pumping and electrification of remote areas.
b) Module degradation seemed to be a problem in amorphous PV technology.

The tested amorphous PV module showed power degradation between 16.4% and 39% at the end of the first year testing period.

c) if we have more time we could program the PIC with a program that can drive a stepper motor and rotate as the max radiation from sun and that by using photo sensors.

d) It is advisable to use minimum possible lengths of wires/cables in order to minimize the line voltage drop.

e) Block batteries (2v/cell) are advisable to be used for storage capacities of about 12 Kwh and more.
   THE END

[image: image32.png]



Solar Panel








Regulator








   PIC








Load





Battery


12V





Out to the load from the Regulator





Out to the battery from the regulator





Read the voltage fro the regulator





Read the battery Voltage





� EMBED MSGraph.Chart.8 \s ���











PAGE  
35

[image: image37.jpg]) —




[image: image38.jpg]


[image: image39.jpg]


[image: image40.png]


[image: image41.jpg]


[image: image42.png]


_1303742062

