## Slide 1: Masjed design
Presented by:
Supervised by :
Dr. Muhanad haj hussein
7/6/2020
An-Najah National University
Dawoud al faris
Sami tayyah
Muhammad abu eishe
Muhammad takrouri

## Slide 2
Presentation outline :
1. Introduction
2. Site analysis
3. Architectural design
4. Structural design
5. Electrical design
8. Safety design
7. Mechanical design
6. Environmental design
9. Quantity suvey

## Slide 3: Introduction
Old design
Final design
No. of prayers | Old design | Final design
Men prayers | 235 | 620
Women prayers | 126 | 210

## Slide 4: Site Analysis
Land area = 1700 m2
Building area = 895m2

## Slide 5
-0.15
Architectural design
Site plan

## Slide 6: Mosque components
Main praying block
Men ablution block
Library block
Women ablution block

## Slide 7: Basement floor

## Slide 8: Ground floor

## Slide 9: First floor

## Slide 10: Men praying hall

## Slide 11: Women praying hall

## Slide 12: Men ablution

## Slide 13: Multi-purpose room

## Slide 14: Women ablution

## Slide 15: Library

## Slide 16: Imam’s residence

## Slide 17: Northern elevation

## Slide 18: Southern elevation

## Slide 19: Eastern elevation

## Slide 20: Western elevation

## Slide 21: Sections
Section 2-2
Section 2-2
Section 1-1
Section 1-1
Section 4-4
Section 3-3

## Slide 22: Section 1-1

## Slide 23: Section 2-2

## Slide 24: Section 3-3

## Slide 25: Section 4-4

## Slide 26: 3D views

## Slide 33: Structural design

## Slide 34: Mosque blocks

## Slide 35
Floors
Walls
Underground walls
Beam (concrete)
Steel Members
Prying Block 3D View by objects types

## Slide 36: View by sections
Walls b=25cm
Walls b=40cm
Ribbed slab h=50cm
Solid Slab h=25cm
Solid Slab h=12cm
Concrete beam (0.65*1.8)m
Steel member SHS (250*250*10)mm
Steel member SHS (120*120*10)mm

## Slide 37: Praying block Dimensions plan

## Slide 38: Women`s praying floor dimensions plan

## Slide 39: Checks
compatibility
Equilibrium
Stress Strain
Model verification Checks
Design checks
Shear
Defilation
Structural time Period
Model Mass Participation ratio
Base Shear
Drift

## Slide 40: Roof shear check
Horizontal roof
shear capacity = 141KN/m
Maximum Vu = 132KN/m < 141KN/m
Inclined roof
shear capacity
Maximum Vu = 43.7KN/m < 55.6KN/m
Code: ACI 318-14

## Slide 41: Checks
compatibility
Equilibrium
Stress Strain
Model verification Checks
Shear
Defilation
Structural time Period
Model Mass Participation ratio
Base Shear
Drift
Design checks

## Slide 42: Deflection check
Roof deflection
Max. deflection = 67mm
First floor deflection
Max. deflection = 108mm
Deflection scale
Deflection Limit = 113mm
Code: ACI 318-14

## Slide 43: Checks
compatibility
Equilibrium
Stress Strain
Model verification Checks
Shear
Defilation
Structural time Period
Model Mass Participation ratio
Base Shear
Drift
Design checks

## Slide 44: Structural time Period
limit for structure time period = 0.2535 second
Period from etabs = 0.201 < 1.4 * 0.2535  0.20 < 0.35
According to UBC 97 the structure time period shall be =< 1.4*time period limit
Code: UBC-97

## Slide 45: Checks
compatibility
Equilibrium
Stress Strain
Model verification Checks
Shear
Defilation
Structural time Period
Model Mass Participation ratio
Base Shear
Drift
Design checks

## Slide 46: Model Mass Participation ratio

## Slide 47: Checks
compatibility
Equilibrium
Stress Strain
Model verification Checks
Shear
Defilation
Structural time Period
Model Mass Participation ratio
Base Shear
Drift
Design checks

## Slide 48: Base Shear
According to UBC 97 to accept the response spectrum method its base shear have to be equal or larger than the base shear calculated form equivalent static method
While the base shear is depending on the scale factor used to define the response spectrum function.
(Response spectrum must be larger than equivalent static method in order to insure the accuracy and safety of the design)
The scale factor when defining the response spectrum load case = IG/R
Code: UBC-97

## Slide 49: Checks
compatibility
Equilibrium
Stress Strain
Model verification Checks
Shear
Defilation
Structural time Period
Model Mass Participation ratio
Base Shear
Drift
Design checks

## Slide 50: Drift
When the building period is less than 0.7S then the allowable story drift delta M shall not exceed 0.025 of the story height. –UBC-97 page 16-
Code: UBC-97

## Slide 51: Checks
compatibility
Equilibrium
Stress Strain
Model verification Checks
Shear
Defilation
Structural time Period
Model Mass Participation ratio
Base Shear
Drift
Design checks

## Slide 52: Design outputs

## Slide 53
Roof reinforcement Plan
5ɸ12/m
Bottom reinforcement grid 5ɸ12/m
5ɸ12/m
Bottom reinforcement grid 5ɸ12/m

## Slide 54: Design outputs
Roof reinforcement

## Slide 55
D1

## Slide 56: Design outputs
Roof reinforcement

## Slide 57
D2

## Slide 58: Design outputs
Roof reinforcement
D3

## Slide 59
D3

## Slide 60
D4

## Slide 61
First floor reinforcement
First floor beam
2ɸ16

## Slide 62
First floor beam reinforcement

## Slide 65
Rebar bending Machine

## Slide 66: Shear Walls
First floor beam

## Slide 67
Shear walls 2-3
4

## Slide 68: Shear Walls

## Slide 70: Footings

## Slide 71
Reinforcement Plan

## Slide 74
First floor beam
Horizontal roof
F2
Ground floor
Sh2

## Slide 75: Side Blocks

## Slide 76: Men`s Ablution block
Library Block
Women`s Ablution Block

## Slide 77: Women`s block first floor center lines

## Slide 78: Women`s block first floor Beams

## Slide 79: Women`s block first floor slab reinforcement

## Slide 80: Beams reinforcement
Top bars
Bottom bars

## Slide 82: Electrical design
Lighting design

## Slide 83: Electrical design
Main praying block
Men ablution block
Library block
Women ablution block
The mosque consists of:

## Slide 84: Main praying hall
Challenges:
1-Height more than 9 meters
2-Distribution of light

## Slide 85: Electrical design

## Slide 86: Electrical design

## Slide 87: Electrical design

## Slide 88: Electrical design

## Slide 89: Men ablution block
Men ablution block consists of two floors:
Men ablution room
Multi- purpose room

## Slide 90: Men ablution room

## Slide 91: Lux distribution
Imam’s room: sleeping area
Library room: reading area

## Slide 92: Electrical connections
Main praying hall

## Slide 93: Electrical connections
Wires dimensions

## Slide 94: Emergency lights

## Slide 95: Emergency lights
Main praying hall

## Slide 96: Daylight
Main praying hall

## Slide 97: Site lighting

## Slide 98: Thermal design
      Shading system:

## Slide 99: Thermal design
      Wall layer for prayer hall :
Wall layer for side block

## Slide 100: Thermal design
Roof layer:
      floor layer:

## Slide 101: Thermal design
      U-Values:

## Slide 102: Thermal design
      Total site energy:
 | Total Energy [kWh] | Energy Per Total Building Area [kWh/m2] | Energy Per Conditioned Building Area [kWh/m2]
Total Site Energy | 45663.4 | 40.09 | 40.09
Net Site Energy | 45663.4 | 40.09 | 40.09
Total Source Energy | 121753.7 | 106.89 | 106.89
Net Source Energy | 121753.7 | 106.89 | 106.89

## Slide 103: Thermal design
Design builder results:

## Slide 104: Thermal design
Design builder results:

## Slide 105: HVAC Design
VRF system used.

## Slide 106: HVAC Design
Reading from design builder program .
Zone | Design Capacity (kW) | Design Flow Rate (m3/s) | Design Cooling Load Per Floor Area(W/m2)
Men Ablution Area | 5 | 0.3334 | 53.4
Library | 4.43 | 0.2953 | 78.4
MultiPurposeHall | 6.93 | 0.462 | 63.7
Imam Room | 1.9 | 0.1267 | 43.6
Prayer Hall | 46.47 | 3.098 | 92
WomenAblutionArea | 1.22 | 0.0813 | 37.7
Second Floor Looby | 4.04 | 0.2693 | 60.2

## Slide 107: HVAC Design
Indoor unit for prayer hall:
we use split unit from Toshiba

## Slide 108: HVAC Design
Indoor unit for side block:

## Slide 109: HVAC Design
Indoor unit for side block:

## Slide 110: outdoor unit for prayer hall
:

## Slide 111: outdoor unit for side block

## Slide 112: Women prayer area level
:

## Slide 113: men prayer area level

## Slide 114: Basement level
:

## Slide 115: Acoustical design

## Slide 116: Acoustical materials used :

## Slide 117: RT60
According to the standards,
RT60 should be (1.2-2.0).

## Slide 118: STC & IIC
Ceiling
External walls

## Slide 119: Loud speakers
TOA F-1300BT/Wt
Specifications

## Slide 120: Loud speakers distribution

## Slide 121: Total SPL

## Slide 122: AL %
AL% between (7-12)
Good intelligibility

## Slide 123
Fire extinguisher.
Hose station.
Heat detector.
Smoke detector.
Warning signs.
Manual alarm
Safety design

## Slide 124
Safety Plans

## Slide 125
Safety Plans

## Slide 126
Emergency Egress System

## Slide 127: Mechanical design

## Slide 128
Water supply system
HVAC System
Drainage System
Mechanical design

## Slide 129
Water consumption:
Pray time | No. of prayers | Consumed in ablution | Total consumed water in ablution | No. of prayers | Consumed in W.C | Total consumed water in W.C.
Fajr | 20 | 10 | 200 | 10 | 15 | 150
Douhr | 50 | 10 | 500 | 25 | 15 | 375
Asr | 50 | 10 | 500 | 25 | 15 | 375
Maghreb | 35 | 10 | 350 | 18 | 15 | 270
Isha | 35 | 10 | 350 | 18 | 15 | 270
total consumed water in ablution /day |  |  | 1900 |  |  | 1440
 | Total consumed water in the mosque equals to 3340 liter per day |  |  |  |  | 
Water supply system

## Slide 130
Number of tank used :
1- For cold water 8 tank (6 for men and 2 for women).
2-for hot water 3 tank (2 for men and 1 for women).
Water supply system

## Slide 131
 | Diameter
Vertical pipe | 3 inches
Horizontal pipe | 2.5 inches
Branch pipe | inch
 | Diameter
Vertical pipe | 3 inches
Horizontal pipe | 2.5 inches
Branch pipe | 
Water supply system
Auxiliary pump = 6psi. For Men Ablution floor.
Auxiliary pump = 3 psi. For this floor WomenAblution floor

## Slide 132
Water supply system

## Slide 133
Drainage System

## Slide 134
Drainage System

## Slide 135
Drainage System

## Slide 136
Drainage System

## Slide 137: Quantity survey
Item | Toatal cost(NIS)
Earthwork | 6373
Structural work | 732195
finishes | 956091
Mechanical work | 286844
project total cost (NIS) | Project unit cost(NIS/SM)
1981498 | 2211.5