## Slide 1: An Integration Design for An-Najah Hostel
Prepared By:
Farah Shaar
Mohammed Al Sakhil
Mueen Abu Odeh
Supervisor: Dr. Ahmed Al Haj Saleh

## Slide 2: Contents
Site Analysis
Architectural Design
Structural Design
Environmental Design
Acoustical Design
Mechanical Design
Electrical Design
Fire And Safety Design
Cost Estimation

## Slide 3: Architectural design

## Slide 4: Site analysis
The site is located in Al Junid Area, West of Nablus City, on the road behind An-Najah National University, the total area for land is 5815 m2, with 5m end slope parallel with main street direction, and 5 kilometers away from city center.

## Slide 5: Site analysis

## Slide 6: Site analysis

## Slide 7: 3d models from lumion

## Slide 10: Basement floor
Basement Floor area = 1195 m2
Basement Floor area for cafeteria = 204 m2

## Slide 11: Ground floor
Ground Floor area = 1195 m2
Ground Floor area for cafeteria = 204 m2

## Slide 12: First floor
First Floor area = 1195 m2

## Slide 13: Second floor
Second Floor area = 1195 m2

## Slide 14: Third floor
Third Floor area = 285 m2

## Slide 15: Enlarge plan “Bed room”
Department for one person=26m2
Department for two person=30.5m2

## Slide 16: Enlarge plan “Bed room”
Department for four person=44m2
Department for three person=65m2

## Slide 17: Southern Elevation

## Slide 18: Northern Elevation

## Slide 19: Eastern Elevation

## Slide 20: Western Elevation

## Slide 21: Section A-A

## Slide 22: Section B-B

## Slide 23
Structural Design

## Slide 24
Codes and Loads and Materials
Codes
ACI 318-14 for reinforced concrete design
UBC 97 for seismic design and its load combinations
Loads
Dead Load
Superimposed Load = 3.5 kN/m2
Live Load = 3 kN/m2
Materials
Concrete B300 and B350
Yield Strength of Steel= 420 MPa
Soil Bearing Capacity = 250 kN/m2

## Slide 25
Seismic analysis:
Seismic zone : 2B.
Soil profile : SC.
Acceleration-dependent seismic coefficients Ca=0.24.
Velocity-dependent seismic coefficients Cv= 0.32.
Importance factor I=1.
Force reduction factor R=5.5 (Building Frame System- Shear Walls).

## Slide 26
Slab system:
There is two type of slab have been used which is one way and two way ribbed slab with 300mm thickness.
Beams system:
Drop and hidden beams.

## Slide 27
Structural separation

## Slide 28
3D-Modeling

## Slide 29
Compatibility check
Model Checks

## Slide 30
Model Checks
Done for Dead, SID and Live load within difference less than 5 %.
Stress –strain relation (local equilibrium) checks
Equilibrium checks
Check beams and column from live load within difference less than 10 %.

## Slide 31
Model Checks
Deflection Check
Limit = L/240
= 8800/ 240
= 36.66 mm

## Slide 32
Model Checks
period checks
Period from ETABS = 0.23 sec.
Period from hand calculation= 0.41sec
T from ETABS < 1.4 from hand calc.
0.23 sec.< 0.57 sec.

## Slide 33
Slab Reinforcement

## Slide 34
Slab Reinforcement
detailing of one-way slab.
detailing of two-way slab.

## Slide 35
Beam Reinforcement

## Slide 36
Column Reinforcement

## Slide 37
Shear wall Reinforcement

## Slide 38
Footing Reinforcement

## Slide 39
Retaining wall Reinforcement

## Slide 40
Stair Reinforcement

## Slide 41
Environmental Design

## Slide 42
1. Thermal Design
External Wall layers
U-value =0.523 w/m2-k

## Slide 43
1. Thermal Design
Internal Wall layers
U-value =1.716 w/m2-k

## Slide 44
1. Thermal Design
Floor layers
U-value =0.461 w/m2-k

## Slide 45
1. Thermal Design
Roof layers
U-value =0.458 w/m2-k

## Slide 46
1. Thermal Design
Thermal properties for windows (Double glass, low e, 6mm)

## Slide 47
2. Shading
3-D model (design builder) & Sun path

## Slide 48
2. Shading
Shading and sun path in Summer
Shading and sun path in Winter

## Slide 49
2. Shading
Summer day (sun path 21/7 at 8:00 am )
Summer day (sun path 21/7 at 3:00 pm )

## Slide 50
2. Shading
Winter day (sun path 21/1 at 8:00 am )
Winter day (sun path 21/1 at 3:00 pm )

## Slide 51
3. Design builder results
Heating and cooling load
Hostel Cooling load = 129 KW
Hostel Heating load = 117 KW
Cafeteria Cooling load = 25 KW
Cafeteria Heating load = 20 KW

## Slide 52
3. Design builder results
Comfort PMV ( Predict mean vote)

## Slide 53
4. Daylight analysis
D.F% | Space
2.90 | Bedrooms
3.50 | Reception
5.85 | cafeteria

## Slide 54
4. Daylight analysis

## Slide 55
Acoustical Design

## Slide 56
component | Finish layer | Absorption coefficient(α) |  |  |  |  | 
 |  | 125Hz | 250Hz | 500Hz | 1000Hz | 2000Hz | 4000Hz
Ceiling | Acoustic Tile Suspended | 0.76 | 0.93 | 0.83 | 0.99 | 0.99 | 0.94
wall | Plaster | 0.12 | 0.09 | 0.07 | 0.05 | 0.05 | 0.04
Floor | Tile on concrete | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.02
window | Double Glazed | 0.41 | 0.35 | 0.25 | 0.2 | 0.15 | 0.14
Door | Hollow Core Plywood | 0.41 | 0.35 | 0.25 | 0.2 | 0.15 | 0.14
RT60 (Reverberation Time)

## Slide 57
At 50 % Occupancy | 
FREQ. | RT(60)
63Hz: | 0.87
125Hz: | 0.91
250Hz: | 0.93
500Hz: | 0.99
1kHz: | 0.76
2kHz: | 0.52
4kHz: | 0.39
8kHz: | 0.36
16kHz: | 0.38
RT60 (Reverberation Time)
RT60 for multipurpose hall
The Recommended Range (1-1.7 second)
The reverberation time at 500Hz is 0.99 second, which is lower than require range, it's acceptable.

## Slide 58
RT60 (Reverberation Time)
RT60 for Conference and studying room
At 50 % Occupancy | 
FREQ. | RT(60)
63Hz: | 0.76
125Hz: | 0.88
250Hz: | 0.85
500Hz: | 0.55
1kHz: | 0.2
2kHz: | 0.16
4kHz: | 0.21
8kHz: | 0.15
16kHz: | 0.15
The Recommended Range (0.4-0.6 second)
The reverberation time at 500Hz 0.55 second, which is within require range, it's acceptable.

## Slide 59
Sound transmission class (STC)
STC for External wall of conference and studying room
STC value is 55 more than 52, which is acceptable.

## Slide 60
Sound transmission class (STC)
For conference and studying room adjacent to
conference and studying room.
STC value is 51 more than 50, which is acceptable..

## Slide 61
Impact insulation class(IIC)
IIC for conference and studying room
IIC value is 70 more than 52, which is acceptable.
IIC = 70 dB

## Slide 62
Loud Speaker Distribution
The LC1 Modular Ceiling Loudspeaker used
Distribution of load speaker for cafeteria

## Slide 63
Loud Speaker Distribution
Wall moment speaker (F160G) used
Distribution of load speaker for multipurpose hall

## Slide 64
Mechanical Design

## Slide 65
    Water drainage system

## Slide 66
    Water drainage system

## Slide 67
    Water drainage system

## Slide 68
    Water drainage system

## Slide 69
    Rainwater drainage system

## Slide 70
    Rainwater drainage system

## Slide 71
    Water supply system

## Slide 72
    Water supply system

## Slide 73
    Water supply system

## Slide 74
    Water supply system

## Slide 75
    Water supply system

## Slide 76
    Water supply system
pipes | Diameters
Vertical pipes | 2 in
Horizontal pipes | 1.5 in
Branch pipes | 3/4 in

## Slide 77
    Water supply system

## Slide 78
    Water supply system

## Slide 79
    Water supply system

## Slide 80
    HVAC system
From Design Builder
Hostel Cooling load = 129 KW
Hostel Heating load = 117 KW
Cafeteria Cooling load = 25 KW
Cafeteria Heating load = 20 KW
VRF system used

## Slide 81
    HVAC system
LG selected company
Cooling capacity = 77 KW
Heating capacity = 85 KW
2 Outdoor units for hostel
1 Outdoor units for cafeteria
VRF system (Outdoor Unit)
LG (MULTI V 5) MODEL NO: ARUM264BTE5

## Slide 82
    HVAC system
LG selected company
Cooling capacity = 2.20 KW
Heating capacity = 2.50 KW
VRF system (Fan coil)

## Slide 83
    HVAC system
Ground floor HVAC system layout

## Slide 84
    HVAC system
Reflective Ceiling plans

## Slide 85
    HVAC system
Reflective Ceiling plans

## Slide 86
Elevators design
Number of elevators should be used in building is 2+1 capacity 1143 kg with speed 2 m/s.

## Slide 87
Electrical Design

## Slide 88
Power (Sockets) plan for bedrooms

## Slide 89
Low voltage plan for bedrooms

## Slide 90
Hostel Ground floor lighting plan

## Slide 91
Hostel Bedrooms lighting plan

## Slide 92
Cafeteria First floor lighting plan

## Slide 93
Luminaires used

## Slide 94
3D Rendering from Dialux Evo 8

## Slide 95
3D Rendering from Dialux Evo 8

## Slide 96
3D Rendering from Dialux Evo 8

## Slide 97
3D Rendering from Dialux Evo 8
UGR = 13 < 19
Illuminance avg. = 210 Lux
Illuminance avg. = 206 Lux

## Slide 98
Fire & Safety Design

## Slide 99
Fire system
1. Fire extinguishers

## Slide 100
Fire system
2. Sprinklers system
Pendant sprinklers
Side wall sprinklers

## Slide 101
Fire system
3. Hose Station

## Slide 102
Fire system
4. Emergency Exit

## Slide 103
Hostel and Cafeteria | Total Direct Cost (NIS)
Structural work | 6,174,752
Finishing Work | 3,898,847
Mechanical Work | 1,541,642
Electrical Work | 334,463
Total direct project cost | 11,949,704
Unit Direct Cost = 11949704/5026 = 2377 Nis /m2
Cost Estimation
Unit Direct Cost = 465 JD /m2

## Slide 104: References
ACI. (2008). Building code requirements for structural concrete (ACI 318M-08) and Commentary. American Concrete.
ASCE Code (for load combination).
Adler, D. (2007). METRIC HANDBOOK Planning and Design Data.
E. Neufert and P. Neufert, “Architects’ Data.” p. 648, 2000.
Benjamin Stein and John S. Reynolds, “Mechanical and Electrical Equipment for Buildings”, 11th Edition, 2010, John Wiley & Sons.
“Arriyadh Housing - Birzeit University” Drawing and Specifications

## Slide 105
THANK YOU