## Slide 1: INTEGRATED DESIGN OF A DIRECTORATE OF EDUCATION IN NABLUS
Prepared by: - Manar Awad
Shatha Ghassan
Haya Bustami
Supervised by: Dr. Monther Dwaikat
Najah National University
Building Engineering department
Graduation project Ⅱ
Second semester 2019/2020

## Slide 2
ARCHITECTURAL-ENVIRONMETNAL ASPECTS
STRUCTURAL ASPECTS
ELECTRO-MECHANICAL ASPECTS
QUANTITY SURVYING, COST ESTIMATION AND LIFECYCLE ANALYSIS
TOPICS

## Slide 3: INTRODUCTION
Location : Nablus – Near Ministry of health
Case : Redesign of a directorate of education (Architectural) (Not existing)
Design of structural, mechanical and electrical systems.

## Slide 4: ARCHITECTURAL ASPECTS
Topography and contours
Surroundings and nearby buildings
Roads and circulation
Setbacks and footprints
Landscaping
Sun path and wind direction
FIRSTLY: SITE ANALYSIS
SITE ANALYSIS
BUILDING
CIRCULATION
ENVIRONMENT
SURROUNDINGS

## Slide 10: ARCHITECTURAL ASPECTS
Interior spaces including: Offices, storage rooms, multipurpose halls, conference hall, undercroft car parking and outdoor car parking, interior court.
Entrances, exits, circulation organization
Vertical transportation
Emergency and evacuation plans
SECONDLY: SPACIAL REDESIGN
SPACES
EMERGENCY EXITS
MOVEMENT AND CONNCECTIVITY

## Slide 12
BASEMENT PARKING

## Slide 13
GROUND FLOOR
REDESIGNED: 1- inclined partitions
2- Emergency exits
3- Stairs
4- Optimizing area in a conference hall
5- Rearranging seats in multipurpose hall
BEFORE
AFTER

## Slide 14
FIRST FLOOR
REDESIGNED: 1- inclined partitions
2- Emergency exits
3- Stairs
4- Providing prayer rooms and ablutions
5- Adding supervision offices as required
BEFORE
AFTER

## Slide 15
SECOND FLOOR

## Slide 16
THIRD FLOOR

## Slide 17: ENVIRONMENTAL ASPECTS
DAYLIGHT ANALYSIS
SOLAR ANALYSIS
OVERSHADOWING ANALYSIS
ACOUSTICAL ANALYSIS
THERMAL ANALYSIS
FIRSTLY: ENVIRONMENTAL ANALYSIS
ENVRIONEMTNAL ASPECTS
VISUAL COMFROT
ACOUSTICAL COMFORT
THERMAL COMFORT
SOCIAL COMFORT

## Slide 18: ENVIRONMENTAL SOLUTIONS

## Slide 19: ENVIRONMENTAL SOLUTIONS
-Perforated panels with 10% voids
Horizontal and vertical adjustable louvers depending on the elevation
Cantilevers within the building roof with a length of 1.26 m
Low u value double glass

## Slide 20: DAYLIGHT ANALYSIS
BEFORE
AFTER
-Rapid decrease in daylight factor

## Slide 21: SOLAR ANALYSIS
SUMMER CASE
WINTER CASE

## Slide 22: ROOF SOLAR ANALYSIS

## Slide 23: OVERSHADOWING ANALYSIS

## Slide 24: COURT SOLUTIONS

## Slide 25: COURT SOLUTIONS

## Slide 26: ELEVATIONS AND SECTIONS

## Slide 27: ELEVATIONS AND SECTIONS

## Slide 28: ELEVATIONS AND SECTIONS

## Slide 29: INTERIORS
-WIDE
-BRIGHT SCHEME OF COLOURS
-TRANSPARENT
-PRACTICIAL
-ENHANCES PRODUCTIVITY
AND CONNECTIVITY

## Slide 30: CONSTRCUTION DETALS

## Slide 31: ACOUSTICAL ANALYSIS AND DESIGN
Classroom
Conference Hall
Multipurpose Hall

## Slide 32
Offices
FREQ | TOTAL ABSPT
63Hz | 0.45
125Hz | 0.48
250Hz | 0.63
500Hz | 0.79
1kHz | 0.74
2kHz | 0.42
4kHz | 0.30
8kHz | 0.16
16kHz | 0.18

## Slide 33: Conference Hall

## Slide 34
Freq[Hz] Noise[dB] RT[s]
250 30.00 1.16
315 30.00 1.19
400 30.00 1.22
500 30.00 1.26
630 30.00 1.22
800 30.00 1.19
1000 30.00 1.16
1250 30.00 1.22
1600 30.00 1.29
2000 30.00 1.36
2500 30.00 1.36
3150 30.00 1.34
4000 30.00 1.30
Frequency | Direct SPL
250 Hz | 85.33
315 Hz | 86.10
400 Hz | 86.40
500 Hz | 85.79
630 Hz | 84.88
800 Hz | 84.47
1000 Hz | 85.59
1250 Hz | 85.87
1600 Hz | 86.15
2000 Hz | 86.08
2500 Hz | 86.22
3150 Hz | 86.17
4000 Hz | 85.44
Frequency | STI
250 Hz | 0.70
315 Hz | 0.70
400 Hz | 0.70
500 Hz | 0.70
630 Hz | 0.70
800 Hz | 0.70
1000 Hz | 0.70
1250 Hz | 0.70
1600 Hz | 0.70
2000 Hz | 0.70
2500 Hz | 0.70
3150 Hz | 0.70
4000 Hz | 0.70
Frequency | Articulation Loss
250 Hz | 3.86
315 Hz | 3.86
400 Hz | 3.86
500 Hz | 3.86
630 Hz | 3.86
800 Hz | 9.00
1000 Hz | 10.00
1250 Hz | 11.00
1600 Hz | 12.00
2000 Hz | 13.00
2500 Hz | 14.00
3150 Hz | 15.00
4000 Hz | 16.00

## Slide 35: Multipurpose Hall

## Slide 36
Freq[Hz] Noise[dB] RT[s]
250 30.00 1.06
315 30.00 1.05
400 30.00 1.03
500 30.00 1.01
630 30.00 1.02
800 30.00 1.03
1000 30.00 1.04
1250 30.00 0.95
1600 30.00 0.88
2000 30.00 0.81
2500 30.0 0.82
3150 30.0 0.81
4000 30.00 0.80
Frequency | Direct SPL
250 Hz | 78.56
315 Hz | 78.60
400 Hz | 78.26
500 Hz | 77.89
630 Hz | 77.01
800 Hz | 75.92
1000 Hz | 74.28
1250 Hz | 73.63
1600 Hz | 73.72
2000 Hz | 74.65
2500 Hz | 74.61
3150 Hz | 73.81
4000 Hz | 73.08
Frequency | STI
250 Hz | 0.67
315 Hz | 0.67
400 Hz | 0.67
500 Hz | 0.67
630 Hz | 0.67
800 Hz | 0.67
1000 Hz | 0.67
1250 Hz | 0.67
1600 Hz | 0.67
2000 Hz | 0.67
2500 Hz | 0.67
3150 Hz | 0.67
4000 Hz | 0.67
Frequency | Articulation Loss
250 Hz | 6.87
315 Hz | 6.87
400 Hz | 6.87
500 Hz | 6.87
630 Hz | 6.87
800 Hz | 9.00
1000 Hz | 10.00
1250 Hz | 11.00
1600 Hz | 12.00
2000 Hz | 13.00
2500 Hz | 14.00
3150 Hz | 15.00
4000 Hz | 16.00

## Slide 37
STI | 0.65-0.7
RT(60) | 1-1.2
SPL | >70dB
AL | <15%
Multipurpose Hall
STI | 0.65-0.7
RT(60) | 1.2-1.4
SPL | >70dB
AL | <15%
Conference Hall

## Slide 38
ELECTRO-MECHANICAL ASPECTS
HVAC SYSTEM
DRAINAGE AND PLUMBING
ELECTRICAL SYSTEMS
FIREFIGHTING SYSTEMS

## Slide 45
4
1
2
3
Block Number | Heating Capacity(kW)
Block 1 | 16.44
Block 2 | 27.5
Block 3 | 43.44
Block 4 | 63.7
Block Number | Cooling Capacity(kW)
Block 1 | 26
Block 2 | 44.11
Block 3 | 38.9
Block 4 | 51.62
HVAC SYSTEM

## Slide 46
HVAC system-Outdoor units
Cooling load is greater than heating load so we designed the system based on cooling load.
Figure below shows outdoor units which are (REYQ72TTJU , REYQ96TTJU) from Daikin Company, with (19.64 , 26.38)kW in cooling capacity .
Block Number | Cooling Capacity(kW) | Number of outdoor units | Type of units
Block 1 | 26 | 1 | REYQ96TTJU
Block 2 | 44.11 | 2 | REYQ72TTJU REYQ96TTJU
Block 3 | 38.9 | 2 | REYQ72TTJU REYQ96TTJU
Block 4 | 51.62 | 2 | REYQ96TTJU

## Slide 47
HVAC system-Indoor units
 | Design Size Maximum Total Cooling Capacity [kW] | Capacity of indoor unit (KW) | Number of indoor units | Type of indoor units
General & occupational education | 2.29 | 2.8 | 1 | FXMQ9PBVJU
Multipurpose hall | 2.92 | 3.52 | 1 | FXMQ12PBVJU
Department of building & project | 3.07 | 3.52 | 1 | FXMQ12PBVJU
AUDITORIUM | 35.86 | 14.1 | 3 | FXMQ48PBVJU

## Slide 48
HVAC system-Diffusers
The diffusers were selected from Air-master Emirates Company, the figures below shows the technical specification of the selected diffusers.
 | Design Size Maximum Cooling Air Flow Rate [m3/s] | Diffuser Flow Rate [m3/s] | Number of diffusers
General & occupational education | 0.18 | 0.035 | 6
Multipurpose hall | 0.16 | 0.047 | 4
Department of building & project | 0.21 |  | 6
AUDITORIUM | 1.88 | 0.135 | 14

## Slide 49
HVAC SYSTEM- GROUND FLOOR PLAN

## Slide 51: Drainage system
Drainage system in the building had been separated into two lines for the gray water and black water.
Two types of pipes were used 2” pipe and 4” pipes

## Slide 52
For the manholes 6” pipes with 1% slope were used

## Slide 53: Firefighting system

## Slide 54
GROUND FLOOR
EVACUATION PLAN

## Slide 55: Lighting design

## Slide 56: Lighting design
Lighting design

## Slide 57: Electrical system
Socket distribution

## Slide 58: Wire design and drop voltage

## Slide 59: Control panels

## Slide 60
STRUCTURAL ASPECTS
Reinforced concrete
Steel structure

## Slide 61
Reinforced concrete analysis and design codes and standards
ACI318-11
ACI350
UBC

## Slide 62
The building was divided into 3 blocks with expansion joints each 31 meters. Loads were assigned to the structure including 5 kN/sqm live load, superimposed dead load=5.09 kN/sqm Exteior glazing load= 1.08 kN/m

## Slide 63
Compatibility check
Deflection check
Equilibrium checks
Analysis checks

## Slide 64: Seismic design
According to UBC97, and considering the parameters mentioned earlier the building was designed seismically as a Building frame system.
Using the adequate load combinations.
Sway-special.

## Slide 65
Seismic design parameters
Seismic zone
Soil profile
Occupancy category
Seismic coefficients

## Slide 66
Seismic design parameters
Zone 2B, z=0.2
Soft clay, SE
I=1
R=5.5 , Cv=0.64, Ca=0.34

## Slide 67
Period check and mass participating ratios
Base shear check
Drift check
P-delta check
Seismic design checks

## Slide 68
Seismic design checks
DRIFT CHECK
BASE SHEAR CHECK
PERIOD AND MASS PARTICIPATING RATIO

## Slide 69
Seismic design checks
DRIFT CHECK
BASE SHEAR CHECK
PERIOD AND MASS PARTICIPATING RATIO

## Slide 70
Seismic design checks
DRIFT CHECK
BASE SHEAR CHECK
PERIOD AND MASS PARTICIPATING RATIO

## Slide 71
Seismic design
Building skeleton
Columns
Shear walls
Special structures
Retaining walls
Building skeleton
Special structures
Water tank
Slabs and beams
Mat foundation

## Slide 72
Building skeleton

## Slide 73
Special columns design and detailing
Designed according to ACI318-11 21.6 Special moment frame members considering both design and detailing requirements

## Slide 74
Special columns design
Longitudinal reinforcement tables

## Slide 75
Special columns design
Transverse reinforcement tables

## Slide 76
Special columns detailing

## Slide 77
Special columns detailing

## Slide 78
Special beams design
Designed according to ACI318-11 21.6 Special moment frame members considering both design and detailing requirements

## Slide 79
Special beams design
Reinforcement tables

## Slide 80
Special beams detailing

## Slide 81
Special beams detailing

## Slide 82
Diaphragm design

## Slide 83
Diaphragm design

## Slide 84
Diaphragm detailing

## Slide 85
Diaphragm detailing

## Slide 86
Diaphragm detailing

## Slide 87: Shear walls design and detailing

## Slide 89: Mat foundation design
Designed using SAFE2016

## Slide 90: Mat foundation design checks
Checks
Deflection
Punching shear
Shear
Bearing capacity

## Slide 91: Mat foundation design

## Slide 92: Mat foundation design

## Slide 93
Special structures

## Slide 94: Water tank design

## Slide 95: Water tank design checks
Checks
Shear check on walls, base and roof
Tension check on walls
Bearing capacity check

## Slide 96: Water tank detailing

## Slide 98: Basement wall design and detailing

## Slide 99: Retaining wall design and detailing

## Slide 100: Stairs, car ramp and expansion joint
According to UBC97:
Designed as a solid slab

## Slide 101
STRUCTURAL ASPECTS
Reinforced concrete
Steel structure

## Slide 103
Steel structure design codes, standards and sections
ASCE7-10 WIND LOAD PROVISIONS
AISC360-10
EUROPEAN SECTIONS

## Slide 104
Modeled on SAP with distributed loads of
the Alucobond cladding,
snow and maintenance live loads, 0.06 KN/sqm,
2.1 KN/sqm,
0.96 KN/sqm according to ACI-16 Sections adopted from
Euro code I sections for columns,
and c channels for truss members

## Slide 107
Steel connections design

## Slide 116
PROJECT BUDGETED COST
QUANTITY SURVYING
LIFE-CYCLE ANALYSIS
COST ESTIMATION

## Slide 117
TOTAL BUDGETED COST = 12,884,222 NIS.
BILL OF QUANTITES

## Slide 118
Inverters need to be replaced periodically every 8 years so they’ll be added as negative cash flows over 20 years, since they will be replaced in year 8 and year 16.
Aftermath, the payback period will be after 4 years and after that the savings will be considered as pure revenues to the project, and will insure 100% energy consumption savings at the first years and 82% energy savings after 20 years.
To maintain and improve the efficiency of cells over the years, O&M procedures will be taken and added as a periodic cost to the year it is needed. 81,800 which is equal to 61,000 American dollar.
LIFE-CYCLE COST ANALYSIS OVER 20 yrs.

## Slide 119
Renderings shots of the project

## Slide 138: END OF PRESENTATION
Thank you all for your support and guidance through the way.