## Slide 1: UPPER Exoskeletons
Ismaeel Sbeih
Yazan Jawwabreh
SUPERVISOR :
Dr. Salameh Abdelfattah

## Slide 2: What is Exoskeletons?

## Slide 4
Classifications of Exoskeletons
according to body part
according to use of actuators
according to How it controlled

## Slide 5
Classifications of Exoskeletons
according to body part
according to use of actuators
according to How it controlled

## Slide 6
Classification according to body part
Upper exoskeletons

## Slide 7
Classification according to body part
Lower exoskeletons

## Slide 8
Classification according to body part
Full body exoskeletons

## Slide 9
according to body part
according to use of actuators
according to How it controlled
Classifications of Exoskeletons

## Slide 10
Classification according to use of actuators
Active Exoskeleton

## Slide 11
Classification according to use of actuators
Passive Exoskeleton

## Slide 12
Classifications of Exoskeletons
according to body part
according to use of actuators
according to How it controlled

## Slide 13
Classification according to How it controlled
joystick
control panels
sensors
no control

## Slide 14: Applications of Exoskeleton
Medical
Emergencies
industrial

## Slide 15: material of the Exoskeleton

## Slide 16: When selecting a material an exoskeleton , there are several factors to consider
Strength
Weight
Environmental factors
Safety

## Slide 17: Material Selection
Aluminum
carbon fiber

## Slide 18
Design

## Slide 19
Segment Dimensions

## Slide 21
DEGREE OF FREEDOM

## Slide 24: Overview of the project

## Slide 25
sensor
SEMG SENSOR
FORCE SENSOR
FLEX SENSOR

## Slide 26
motor
Servo motor
position
tourqe
Stepper motor
position

## Slide 27
motor
Servo motor
position
tourqe
Stepper motor
position

## Slide 29
PID
MOTOR
FEEDBACK
∑
Set point
(position)
Motor
Position error
MOTOR POSITION
MEASURED POSITION

## Slide 30
Pulse Width Modulation

## Slide 35
Voltage Divider