## Slide 1
An-Najah National University.
Faculty of Engineering.
Department of Building Engineering.
Graduation project 2
Redesign of School Of Physical Education at
An-Najah National University
Prepared by:
Duha Qamhia
Mays Bani Odeh
Raghad Sharaf
Supervisor:
Dr.Mutasim Baba.

## Slide 2: Contents:
Introduction.
Site analysis.
Architectural design.
Environmental design.
Structural design.
Electro- Mechanical design.
Quantity survey and cost.

## Slide 3: Introduction
In this project, the main aim was to redesign the building in all aspects , architectural, environmental, structural and electro-mechanical and according to the recommended standards.
The redesign process was performed based on our analysis and study that was held in the previous semester .

## Slide 4: Site analysis

## Slide 5: Architectural design
Site plan

## Slide 6: Architectural design
Basement floor plan

## Slide 7: Architectural design
Ground floor plan

## Slide 8: Architectural design
First floor plan

## Slide 9: Architectural design
Elevations
Western elevation

## Slide 10: Architectural design
Elevations
Southern elevation

## Slide 11: Architectural design
Elevations
Northern elevation

## Slide 12: Architectural design
Elevations
Eastern elevation

## Slide 13: Architectural design
Sections
Section A-A

## Slide 14: Architectural design
Sections
Section B-B

## Slide 15: Environmental design
3D model using design builder software

## Slide 16: Environmental design
Thermal insulation and properties
External wall layers External wall U-value < 0.5 W/m2.K

## Slide 17: Environmental design
Thermal insulation and properties
Internal wall layers Internal wall U-value

## Slide 18: Environmental design
Thermal insulation and properties
Internal floor layers Internal floor U-value < 1.15 W/m2.K

## Slide 19: Environmental design
Thermal insulation and properties
Ground floor layers Ground floor U-value < 0.46 W/m2.K

## Slide 20: Environmental design
Thermal insulation and properties
Flat roof layers Flat roof U-value < 0.39 W/m2.K

## Slide 21: Environmental design
Thermal insulation and properties
Pitched roof layers Pitched roof U-value < 0.39 W/m2.K

## Slide 22: Environmental design
Thermal insulation and properties
Pitched roof layers Pitched roof U-value < 0.39 W/m2.K

## Slide 23: Environmental design
Heating design
The total building heating capacity = 109.130 (kW)
Cooling design
The total building cooling capacity = zero, because no cooling system in the building is used.
Site and source energy
 | Total Energy [kWh] | Energy Per Total Building Area [kWh/m2] | Energy Per Conditioned Building Area [kWh/m2]
Total Site Energy | 285238.36 | 63.82 | 65.73
Net Site Energy | 285238.36 | 63.82 | 65.73
Total Source Energy | 941566.90 | 210.67 | 216.97
Net Source Energy | 941566.90 | 210.67 | 216.97

## Slide 24: Environmental design
Building end uses
 | Electricity [kWh] | Natural Gas [kWh] | Additional Fuel [kWh] | District Cooling [kWh] | District Heating [kWh] | Water [m3]
Heating | 0.00 | 0.00 | 0.00 | 0.00 | 14260.40 | 0.00
Cooling | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Interior Lighting | 94544.89 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Exterior Lighting | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Interior Equipment | 105069.11 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Exterior Equipment | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Fans | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Pumps | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Heat Rejection | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Humidification | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Heat Recovery | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Water Systems | 0.00 | 0.00 | 0.00 | 0.00 | 71363.96 | 1117.49
Refrigeration | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
Generators | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00

## Slide 25: Environmental design
Shadows on building
on 21st of July at 12:00pm
on 21st of January at 12:00pm

## Slide 26: Environmental design
Daylighting
Zone | Average D.F (%) | Minimum D.F (%) | Standard Average D.F (%) | Standard Minimum D.F(%)
GF:Classroom1 | 5.71 | 2.18 | 5 | 2
GF:Classroom1 | 4.62 | 2.16 | 5 | 2
GF:Classroom3 | 5.43 | 2.26 | 5 | 2
GF:Office1 | 5.76 | 2.41 | 5 | 2
GF:Office2 | 4.53 | 2.53 | 5 | 2
GF:Office3 | 4.86 | 2.27 | 5 | 2
GF:Office4 | 5.45 | 2.04 | 5 | 2
GF:Office5 | 5.39 | 2.11 | 5 | 2
GF:Office6 | 4.66 | 2.55 | 5 | 2
GF:Office7 | 5.05 | 2.09 | 5 | 2
GF:Office8 | 5.29 | 2.20 | 5 | 2

## Slide 27: Environmental design
Using of sun tunnels for interior rooms to supply with daylight.
Sun tunnels specifications

## Slide 28: Environmental design
HVAC system
Space heating was achieved using cast iron radiators of 3 water columns per section and heating emission of 113Watt.
And using cast iron boiler of medium heating capacity of 128 kW since the needed boiler’s heating capacity = 122.92 kW
Radiator model | Type | Heating emission | Dimensions
MA 2 | 3/558 | 113W | H=558mm L=65mm

## Slide 29: Environmental design
Comparison between the previous design and the new design proves that the new design has enhanced building’s performance
Issue of comparison | The previous design | The new design
Net site energy (KWh/m2) | 102.47 | 65.73
District heating (KWh) | 163788.79 | 14260.40
energy per conditioned area (W/m2) | 86.35 | 25.15

## Slide 30: Acoustical design
Sound transmission class (STC)
Insul software has been used to achieve the desired STC values.
1. For external wall : the obtained value from insul = 53 dB
Space | Adjacent space | Recommended STC value (dB)
Classroom | outside | 50
Office | outside | 40

## Slide 31: Acoustical design
Sound transmission class (STC)
2. For internal wall : the obtained value from insul = 42 dB
Space | Adjacent space | Recommended STC value (dB)
Classroom | Classroom | 42
Classroom | Corridor | 40
Office | Office | 40
Office | Corridor | 40

## Slide 32: Acoustical design
Impact insulation class (IIC)
Insul software has been used to achieve the desired IIC value.
For design, a classroom above classroom was considered to be the most critical zone. The recommended IIC value is 50 dB and the obtained value from insul = 52 dB.

## Slide 33: Acoustical design
Reverberation time ( RT60)
Ecotect Analysis software has been used to achieve the recommended RT60 values.
Indoor court : it needs a reverberation time of less than 2 seconds (< 2 seconds)
Space | Treatment
Indoor court | perforated ceiling panels acoustical planks on walls

## Slide 34: Acoustical design
Perforated ceiling panels

## Slide 35: Acoustical design
Acoustical planks on walls

## Slide 36: Acoustical design
Reverberation time curve after treatment
Reverberation time curve before treatment
FREQ. | TOTAL ABSPT. | SABINE RT(60) | NOR-ER RT(60) | MIL-SE RT(60)
63Hz | 1137.561 | 1.55 | 2.95 | 0.89
125Hz | 1137.162 | 1.55 | 3.23 | 0.89
250Hz | 860.957 | 1.98 | 4.03 | 1.44
500Hz | 848.335 | 2.00 | 4.18 | 1.62
1kHz | 1210.857 | 1.42 | 2.70 | 0.89
2kHz | 861.809 | 1.93 | 3.21 | 1.41
4kHz | 856.599 | 1.92 | 3.09 | 1.24
8kHz | 854.958 | 1.84 | 2.77 | 1.20
16kHz | 854.919 | 1.83 | 2.77 | 1.20
FREQ. | TOTAL ABSPT. | SABINE RT(60) | NOR-ER RT(60) | MIL-SE RT(60)
63Hz: | 673.210 | 3.29 | 1.51 | 2.88
125Hz: | 661.700 | 3.35 | 1.76 | 2.85
250Hz: | 731.044 | 2.93 | 2.18 | 2.30
500Hz: | 1310.981 | 1.68 | 2.12 | 0.80
1kHz: | 1499.136 | 1.47 | 2.45 | 0.41
2kHz: | 1598.565 | 1.37 | 2.66 | 7.22
4kHz: | 1690.505 | 1.30 | 3.10 | 6.06
8kHz: | 1690.030 | 1.28 | 3.07 | 5.66
16kHz: | 1689.872 | 1.28 | 3.09 | 5.65

## Slide 37: Structural Design

## Slide 38
Structural Design

## Slide 39: Structural Design
Concrete System
One way ribbed slab with drop beams.
Slab thickness = 35 cm
Site And geology
The soil profile is rock and soil , with 392KN/m2 Bearing Capacity.

## Slide 40: Structural Design
Structural elements
Structural elements | Dimensions
Main beams | 80*40 cm 110*40 cm 100*40 cm
Secondary beams | 60*40 cm
Columns | 30*30 cm 35*40 cm 50*30 cm

## Slide 41: Structural Design
Loads :
Super imposed dead & live loads values
Materials
The material that used for beams, slabs, columns and shear walls is concrete B350 (28 MPa).
Reinforcing steel yield strength (𝐹𝑦) = 420 MPa
Design codes:
1. ACI -318-08 for reinforced concrete structural design.
2. UBC -97 for earthquake load computations.
Type of load | Live Load (L.L) | Super imposed dead load ( SID )
Load (KN/m2 ) | 5 | 5.6

## Slide 42: Structural Design
ETABs 3D model

## Slide 43: Structural Design
Checks Compatibility Check :
The following figures explain the compatibility check from ETABS:

## Slide 44: Structural Design
Equilibrium check :
Results of error %
Loads | Manual | ETABS | %Error
live load | 6853.95 KN | 6810.69KN | 0.631%
Dead load | 11012.85KN | 11542.7178 KN | 4.8%
Super Imposed Dead | 10381.82 KN | 10269.0129 KN | 1.08 %

## Slide 45: Structural Design
Internal forces check (Stress – Strain Check):
Results of error %
Structural elements | Manual moment(KN.m) | ETABS moment(KN.m) | Error %
Main beam | 142.5 | 142.25 | 1.98%
Slab | 19.67 | 21.58 | 9.7%
Columns | 2650.941 | 2774.53 | 4.45%

## Slide 46: Structural Design
Deflection Check:
Item | L (m) | Manual Deflection (L/240) (mm) | Deflection from ETABs (mm)
Slab 1 at first Floor | 5.61 | 23.37 | 22.125
Slab 1 at Second Floor | 5.61 | 23.37 | 21.7
Slab 1 at Third Floor | 5.61 | 23.37 | 22.68

## Slide 47: Structural Design
Dynamic Analysis (Response spectrum analysis):
To perform the dynamic analysis and design for building we need this parameters using UBC97 design code:
I = 1.25
Cv = 0. 2
Ca = 0. 2
R = 5.5
Ct = 0.02

## Slide 48: Structural Design
Checks :
Period
T = 0.534 sec.
The period from ETABS found to be:
T = 0.518 sec.
2. Modal participation mass ratio
Mass participation ratio is larger
than 90% in X, Y.
Case | Mode | Period | UX | UY | UZ | Sum UX | Sum UY | Sum UZ
 |  | sec |  |  |  |  |  | 
Modal | 1 | 0.518 | 0.7715 | 0.0003 | 0 | 0.7715 | 0.0003 | 0
Modal | 2 | 0.322 | 0.0011 | 0.5394 | 0 | 0.7726 | 0.5397 | 0
Modal | 3 | 0.229 | 0.0005 | 0.226 | 0 | 0.7732 | 0.7657 | 0
Modal | 4 | 0.13 | 0.1759 | 0.00004692 | 0 | 0.949 | 0.7657 | 0
Modal | 5 | 0.104 | 0.0105 | 0.0027 | 0 | 0.9596 | 0.7685 | 0
Modal | 6 | 0.095 | 0.0065 | 0.0015 | 0 | 0.9661 | 0.7699 | 0
Modal | 7 | 0.086 | 0.0008 | 0.1771 | 0 | 0.9669 | 0.9471 | 0
Modal | 8 | 0.075 | 0.0001 | 0.0004 | 0 | 0.967 | 0.9475 | 0
Modal | 9 | 0.072 | 0.0243 | 0.0002 | 0 | 0.9913 | 0.9477 | 0
Modal | 10 | 0.065 | 0.0004 | 0.0161 | 0 | 0.9917 | 0.9638 | 0
Modal | 11 | 0.059 | 0.0001 | 0.0001 | 0 | 0.9918 | 0.9638 | 0
Modal | 12 | 0.056 | 0.00000508 | 0 | 0 | 0.9918 | 0.9638 | 0

## Slide 49: Structural Design
3. Drift :
For X-direction : ∆m = 15.16 mm.
Maximum deflection ∆m = (L/400) for ( T < 0.7 sec) 15.16mm < 0 .025*3500 = 87.5mm

## Slide 50
Structural Design

## Slide 51
Structural Design
Slab Reinforcement

## Slide 52: Structural Design
Design for flexure moment
Slab Reinforcement

## Slide 53
Structural Design
Beams Layout of F1 and GF Ceiling

## Slide 54
Structural Design
Beams Layout of B1 Ceiling

## Slide 55: Structural Design
Beams reinforcement

## Slide 56: Structural Design
Beams reinforcement

## Slide 57: Structural Design
Beams reinforcement

## Slide 58: Structural Design
Column | Section Dimension |  | As Etabs (mm2) | Reinforcement |  | Stirrups | 
 | B (mm) | D (mm) |  | φ (mm) | Number | Zone A | Zone B
C19, C6 , C5 , C2 , C8 | 300 | 300 | 900 | 12 | 8 | 1φ10/150mm | 1φ10/300mm
C4 , C7 , C12 , C13, C14 , C15 , C16 , C18 | 350 | 400 | 1400 | 14 | 10 | 2φ10/150mm | 2φ10/300mm
C1 | 350 | 400 | 2012 | 18 | 8 | 1φ10/200mm | 1φ10/350mm
C9 , C10 , C11 , C21 , C22 , C23 | 300 | 500 | 1500 | 14 | 10 | 2φ10/150mm | 2φ10/300mm
Column reinforcement

## Slide 59: Structural Design
Column reinforcement

## Slide 60
Structural Design
Column reinforcement

## Slide 61
Shear wall ID | wall Length (m) | Flange Length (m) | H wall (mm) | flange Reinforcement | Horizontal Reinforcement /m | Vertical Reinforcement /m
1 , 2 | 5.25 | 0.525 | 250 | 10 φ 14 | 6 φ 12 | 8 φ 12
3 , 4 | 5.4 | 0.54 | 250 | 10 φ 14 | 6 φ 12 | 8 φ 12
5 | 2.2 | 0.22 | 250 | 6 φ 12 | 6 φ 12 | 8 φ 12
6 | 4.5 | 0.45 | 250 | 10 φ 12 | 6 φ 12 | 8 φ 12
9 | 3.5 | 0.35 | 250 | 8 φ 12 | 6 φ 12 | 8 φ 12
Structural Design
Shear wall Reinforcement

## Slide 62: Structural Design
Shear wall Reinforcement

## Slide 63: Structural Design
Stair Reinforcement

## Slide 64: Structural Design
Footing ID | Column ID | B (m) | L (m) | H (mm) | Longitudinal Reinforcement /m | Transfers Reinforcement /m | TOP Reinforcement (Shrinkage)/m
A | C5 | 1.00 | 1.20 | 400 | 7 Ø 12 | 7 Ø 12 | 4 Ø 14
 | C6 |  |  |  |  |  | 
 | C8 |  |  |  |  |  | 
 | C9 |  |  |  |  |  | 
 | C19 |  |  |  |  |  | 
B | C1 | 1.50 | 1.50 | 400 | 7 Ø 12 | 7 Ø 12 | 4 Ø 14
 | C7 |  |  |  |  |  | 
C1 | C4 | 2.00 | 1.20 | 400 | 9 Ø 14 | 7 Ø 12 | 4 Ø 14
 | C18 |  |  |  |  |  | 
C2 | C10 | 2.00 | 2.00 | 550 | 8 Ø 14 | 9 Ø 12 | 6 Ø 14
D | C12 | 2.00 | 2.00 | 450 | 8 Ø 14 | 8 Ø 12 | 5Ø 14
 | C15 |  |  |  |  |  | 
 | C11 |  |  |  |  |  | 
 | C14 |  |  |  |  |  | 
 | C16 |  |  |  |  |  | 
E1 | C13 | 2.00 | 2.00 | 500 | 7 Ø 14 | 8 Ø 12 | 5Ø 14
 | C21 |  |  |  |  |  | 
E2 | C23 | 2.20 | 2.00 | 520 | 9 Ø 14 | 9 Ø 12 | 6 Ø 14
F | C22 | 2.50 | 2.00 | 560 | 8 Ø 16 | 9 Ø 12 | 6 Ø 14
Single Footing Reinforcement

## Slide 65: Structural Design
Footing (A) Reinforcement

## Slide 66: Structural Design
shear wall ID | wall thickness h (m) | Wall Length L (m) | B (m) | h (mm) | Longitudinal Reinforcement /m | Transfers Reinforcement /m
1 | 0.25 | 5.25 | 1 | 500 | 7 φ 20 | 6 φ 14
2 , 3 | 0.25 | 5.25 | 1 | 550 | 10 φ 25 | 6 φ 14
4 | 0.25 | 5.4 | 1 | 500 | 7 φ 25 | 6 φ 14
5 | 0.25 | 2.2 | 1 | 800 | 14 φ 25 | 9 φ 14
6 | 0.25 | 4.5 | 1 | 800 | 13 φ 25 | 9 φ 14
9 | 0.25 | 3.5 | 1 | 600 | 8 φ 25 | 7 φ 14
Wall Footing Reinforcement

## Slide 67: Structural Design
Wall Footing (1) Reinforcement

## Slide 68: Structural Design
Wall Footing (1) Reinforcement

## Slide 69: Structural Design
Tie Beams Reinforcement

## Slide 70
Structural Design
Retaining wall Design

## Slide 71
Structural Design
Item | value | Item | value | Item | value
H1 (m) | 5 | C (m) | 0.3 | ρ Soil ( KN/m3) | 18
H2 (m | 1.2 | At (m) | 0.3 | f /c (MPa) | 28
H3 (m) | 0.5 | Ab (m) | 0.3 | Fy (MPa) | 420
Hw (m | 2.5 | W ( KN/m2) | 20 | Ϭ allowablel (KN/m2) | 392
Hr (m) | 0.5 | Soil friction ɸ (o) | 30 | μ ( friction coefficient) | 0.58
B (m) | 0.5 | R (KN) | 25.51 |  | 
D (m) | 1.2 | ρ Concrete ( KN/m3) | 25 |  | 
Prokon software used to design the retaining wall
Retaining wall Design

## Slide 72: Structural Design
Retaining wall Reinforcement

## Slide 73: Structural Design
SAP program was used to design the steel truss over the closed court.

## Slide 74: Structural Design
Loads | live load | Dead load | Snow Load
Value | 1 KN/m2 | -731 KN/m2 | 3.6 KN/m
Loads
Checks
1. Equilibrium check
Loads | Manual | ETABS | %Error
live load | 2184 KN | 2246.4 KN | 2.7%
Super Imposed Dead | 6345 KN | 6739.2 KN | 4 %

## Slide 75: Structural Design
2. Compatibility check

## Slide 76: Structural Design
2. Deflection check
the maximum deflection at cantilevers steel structures = L/360 = 116mm
Maximum deflection from SAP2000 = 5 cm
5 cm < 11 Cm

## Slide 77: Structural Design

## Slide 78: Structural Design
Truss joint of the secondary truss

## Slide 79: Structural Design
For the inclined member of the truss

## Slide 80: Structural Design
Between column, brace and the earth (column are made of concrete).

## Slide 81: Structural Design
Between Truss and purlins.

## Slide 82: Structural Design
Main truss connection

## Slide 83: Structural Design
General Notes
Several shapes of sections have been iterated and tried out (such as pipe, hollow .. etc.), but the wide flange section was the most practical one , since it offers perfect distribution and transfer of stresses in the members. This property can be exploited ideally when we choose a variable section along the truss.
2. The capacity of each member can be utilized if the groups are chosen carefully, but the practical execution have to be considered.
3. If you change the type of section, you may have less total weight, but not less deflection! Especially for the structures that considers the deflection.
4. In this project, we have depended on “unifying policy", due to the lack of practical knowledge in the field of steel structures that is needed for executing such these projects in our country.

## Slide 84
Electro-Mechanical design:
Electric and lighting design
Mechanical design
Safety design

## Slide 85: Electrical Design:
Type of lamps used:
1- Florescent lamps:

## Slide 86
2- Compact florescent lamps:

## Slide 87
3- Halogen lamps:

## Slide 88
4- Metal halide lamps:

## Slide 89
Illuminance recommendation of general lighting.
Type of space | Min. maintenance illumination(lux)
Classroom | 300
Office | 500
Security/Control room | 300
Main entrance | 200
Corridor | 100-150
Toilet | 100-150
Changing room | 100-150
Electrical/ Mechanical room | 200
Locker room | 200
Indoor court | 500
Training area | 300
Lab. | 500

## Slide 90
Reflection factors
Surface | R.F
walls | 65%
ceiling | 75%
floor | 30%

## Slide 91
We used DIALux evo program to design artificial lighting for each room.
For Lecture room:
Luminaires arrangement of lecture room.

## Slide 92
Luminaires used:

## Slide 93
Lecture room false color:

## Slide 94
Illuminance value chart in lecture room

## Slide 95
3D Models for lecture room :

## Slide 97
Min. Maintenance illumination, illumination values before redesign Vs. illumination values after redesign.
Type of space | Min. maintenance illumination(lux) | Illumination before (lux) | Illumination after (lux)
Classroom | 300 | 564 | 303
Office | 500 | 428 | 503
Toilet | 100-150 | 152 | 137
Corridor | 100-150 | 194 | 120
Entrance hall | 200 | 339 | 236
Tennis room | 300 | - | 305
Indoor court | 500 | 410 | 515
Computer Lab. | 300 | - | 317
Physiotherapy Lab. | 500 | - | 517
Lockers room | 200 | 177 | 251
Changing room | 100-150 | 102 | 107
Store | 100 | 225 | 116

## Slide 98
Recommended uniformity, uniformity value before redesign Vs. uniformity value after redesign.
Type of space | Recommended uniformity (minimum value). | Uniformity value before redesign. | Uniformity value after redesign.
Classroom | 0.6 | 0.43 | 0.65
Office | 0.6 | 0.72 | 0.63
Toilet | 0.6 | 0.13 | 0.75
Corridor | 0.6 | 0.27 | 0.66
Entrance hall | 0.6 | 0 | 0.6
Tennis room | 0.6 | - | 0.78
Indoor court | 0.7 | 0.24 | 0.82
Computer Lab. | 0.6 | - | 0.66
Physiotherapy Lab. | 0.6 | - | 0.62
Lockers room | 0.6 | 0.42 | 0.61
Changing room | 0.6 | 0.97 | 0.84
Store | 0.6 | 0.69 | 0.72

## Slide 99
Maximum UGR value,UGR value before redesign Vs. UGR value after redesign.
Type of space | Maximum UGR value | UGR value before redesign | UGR value after redesign
Classroom | 19 | 20.9 | 16.1
Office | 19 | 14.4 | 12.1
Toilet | 25 | 10 | 12
Corridor | 25 | 20.7 | 17.2
Entrance hall | 25 | 21 | 11.3
Tennis room | 22 | - | 19.2
Indoor court | 25 | 18.7 | 22.7
Computer Lab. | 19 | - | 18.2
Physiotherapy Lab. | 19 | - | 18.9
Lockers room | 21 | 20.4 | 17.4
Changing room | 25 | 10 | 12.3
Store | 25 | 19.1 | 12.7

## Slide 100: Electrical wiring:
1.5 mm diameter electrical wires used for lighting system.
2.5mm diameter for sockets and special loads from circuit breakers to the lighting system in the college.

## Slide 101
Number of sockets in Basement:
Basement floor spaces | Number of sockets
Computer lab. | 22
Physiotherapy lab. | 10
Toilets | 6
Mechanical and electrical rooms | 8
Squash courts | 6
Table tennis room | 3
Fitness room | 10
Weight lifting room | 4
Store | 1
Stair cases | 2
Corridors | 9
Total number of sockets | 81

## Slide 102
Number of sockets in Ground floor:
Ground floor spaces | Number of sockets
Classrooms | 31
Offices | 49
toilets | 11
Stairs cases | 4
Corridors | 15
Pantries | 2
Reception | 4
Stores | 3
Mechanical and electrical rooms | 4
First aid room | 3
Lockers rooms | 6
Total number of sockets | 132

## Slide 103
Number of sockets in First floor:
First floor spaces | Number of sockets
Toilets | 8
Classroom | 17
Indoor court | 8
Corridors | 10
Stair cases | 2
Store | 1
Mechanical room | 1
Total number of sockets | 47

## Slide 104
Cable cross sectional area for each distribution board.
 | Cable cross sectional area (mm2)
D.B.1 (Basement) | 25
D.B.2 ( Ground floor) | 10
D.B.3 ( First floor) | 2.5
D.B.4 ( Indoor court) | 6

## Slide 105
Basement lighting plan

## Slide 106
Ground floor lighting plan.

## Slide 107
First floor lighting plan

## Slide 108
Ground floor Socket’s distribution.

## Slide 109
Ground floor Circuit breaker.

## Slide 110
Mechanical design:
Drainage system.
Water supply system.
Hot water.
Water consumption.
Rainfall water.
HVAC system

## Slide 111
Drainage system
Stack diameter is 4 ˝
Slope for pipe 4 ˝ (horizontal pipe) = 1 %
Slope for pipe 2 ˝ = 2 %

## Slide 112
Drainage pipes distribution (Basement)

## Slide 113
Drainage pipes distribution ( Ground floor)

## Slide 114
Drainage pipes distribution(First floor)

## Slide 115
Water drainage in roof

## Slide 116
Water supply system
Fixtures unit in each floor
Total number of FUs = 313 FU.
Floor | FUs
Basement | 70
Ground floor | 164
First floor | 79

## Slide 117
Total FUs for feeders and there demand in G.P.M.
 | Main feeder | Flat feeder | Branch W.C LAV
FU | 186 | 38 | 5 2
gpm | 61 | 24 | 5 2

## Slide 118
Water lines

## Slide 119
Main feeder pipe: Main feeder pipe loss
Equivalent length=201.42ft.
Flat feeder pipe loss
Flat feeder pipe:
Equivalent length=34.3ft.
Branch feeder pipe loss
Branch feeder pipe:
Equivalent length=16.536ft.
Diameter | 4” | 3.5” | 3” | 2.5” | 2”
Loss/100 | 0.17 | 0.36 | 0.70 | 1.6 | 5
Loss/201.42 | 0.342 | 0.725 | 1.409 | 3.222 | 10.071
Diameter | 3” | 2.5” | 2” | 1.5” | 1.25”
Loss/100 | 0.15 | 0.35 | 1.2 | 4.5 | 10
Loss/34.30 | 0.051 | 0.12 | 0.41 | 1.54 | 3.43
Diameter | 1” | 3/4” | 0.5” | 3/8"
Loss/100 | 0.2 | 1 | 7 | 28
Loss/16.536 | 0.033 | 0.165 | 1.157 | 4.63

## Slide 120
Pressure =16.66 Psi, Critical pressure = 10 Psi (W.C) from table above. (We don’t have showers in left part) Maximum loss = 16.66-10 = 6.66 Psi.
In main feeder, loss = 3.222 at 2.5 in. In flat feeder, loss = 1.54 at 1.5 in. In branch, loss = 0.165 at 3/4 in.
Total loss = 3.222 + 1.54 + 0.165
= 4.927 Psi < 6.66 Psi (Accepted).

## Slide 121
Water layout:
Water layout for basement

## Slide 122
Water supply pipes distribution inside bathrooms (Basement).

## Slide 123
Water supply pipes distribution inside bathrooms and showers ( Ground floor).

## Slide 124
Water supply pipes distribution inside bathrooms (First floor).

## Slide 125
Hot Water.
      Water Consumption:
Consumption of water for staff=20 gallon/person/day.
Consumption of water for students =20 gallon/person/day.
Add 5 gallon/person/day for shower.
Water consumption= (375*40+80*5) =15400 gallon/day=58295.34 L/day= 58.29m3/day.
Rainfall water:
Rainfall water rate in Nablus = 675 mm/year
Area of roof =635+238+1680= 2553 m2.
Collected Rainfall water = 2553* 0.675=1723.27 m3 =1723270 liter.

## Slide 126
Safety design:
Emergency exit:
Internal emergency exit

## Slide 127
Fire Detection and Alarm System.
Voice evacuation system.
Firefighting system
Hose reel System:

## Slide 128
        Portable Fire Extinguishers:
        Sprinklers system:

## Slide 129
Quantity survey and cost:
After designing the building taking into considerations all needed data, quantity surveying and cost calculations for the whole building has been performed. The following tables summarized calculations for each work done.
The Total cost of the project = 1.6 M $
Total cost per meter square = 1600000 /7600 = 211 $/m2

## Slide 130
Thanks for listening 