## Slide 1: Wedding hall with restaurant
Prepared by:
Razan Omar
Aseel Suliman
Maysa Barham
Graduation Project II
2016 / 2017
Supervised by:
Dr. Ameer Al-Akeer
An-Najah National University
Faculty Of Engineering
Building Engineering Department

## Slide 2
Outline :
Introduction
Objectives
Methodology
Project Design
Quantity take off.
Conclusion
Site Analysis
Architectural design.
Structural design
Electromechanical.
Environmental.

## Slide 3
Introduction :
Location:
-Burqa village in Nablus
Objective:
to design a qualified
wedding hall with restaurant
that satisfies the standard
requirements

## Slide 4
Methodology
Aspect | code | Software prog.
Architectural | Neufurt Time saver | AutoCAD Revit
Structural | * ACI -318-08 for reinforced concrete structural design. * UBC -97 for earthquake load computations. * ASCE for load computations | ETABS
Elctro-Mechanical |  | DIAlux
environmental |  | Ecotic

## Slide 5: Project Design
Site analysis
Architectural design
Environmental design
Structural design
Electro –mechanical design

## Slide 6
Site Analysis
The area of the site is 3000 m2

## Slide 7: Project design Architectural Design:
1-Site plan
2-The plans
3-Sections
4-Elevations

## Slide 8
Project design (Architectural Design):

## Slide 9
Basement floor(750 m^2)
Project design(Architectural Design):

## Slide 10
Project design(Architectural Design):
Ground floor(1070m^2)

## Slide 11: Project design (Architectural Design):
Elevations
North elevation

## Slide 12: Project design (Architectural Design):
Sections

## Slide 13: Project design (Architectural Design):
Sections

## Slide 14
Project design (Environmental Design):
1- The layers for the elements
2-Thermal analysis
3- Daylight factor
4- Shading design
6-Acostical design

## Slide 15
Project design(Environmental Design):
Sample calculation (External Wall Material)

## Slide 16: Project design(Environmental Design):
Element | u-value (w/m2.k)
Internal wall | .48
Roof | .39
Ceiling | .43
Floor | .14
Floor exposed to soil | .11
window | 2.41
U-values for each element

## Slide 17
Project design(Environmental Design):
Thermal analysis

## Slide 18: Project design(Environmental Design):
Day light factors(sample calculations):
Day light map for administration room with original Area of glass with windows has SHGC =.75 and τ=.611
D.F=1.79 not suitable
Day light map after changing area of glass
D.F=3.75 OK

## Slide 19: Project design(Environmental Design):
Day light factors:
space | D.F (with original area of glass) | (D.F) after changing area of glass
restaurant | 2.65 | 
Meeting hall | 4.75 | 3.44
Kitchen for restaurant | 1.22 | 1.47

## Slide 20: Project design(Environmental Design):
Window shading:

## Slide 21: Project design(Environmental Design):
STC and IIC
STC for the external wall =56 db which achieve the standerd
STC for the internal wall =46 db which achieve the standerd
IIC for the ceiling=56db which achieve the standerd

## Slide 22
Project design(Environmental Design):
Statistical reverberation time for women hall
Acoustics Design:
For wedding hall shouid be between(1.4-2)sec

## Slide 23
The use of Decorative drapery
Project design(Environmental Design):
Acoustics Design:

## Slide 24
Structure Design:
Design data and Load
3D model and checks
Design stage :
Slab design
Beam design
Column design
Shear wall design
Stair design
Footing design

## Slide 25
Structure Design:

## Slide 26
Design Data:
Concrete F`c = 28 Mpa
Steel yielding strength Fy = 420 Mpa
Bearing Capacity For Soil 350 KN/m2
Structure Design:
Load:
Super imposed dead load = 4 KN/m2
Live load = 3 KN/m2

## Slide 27: Soil Type Sb Location: Nablus → Zone: 2B → Z = 0.2 Cv = 0.2 Ca =0.2 I (importance factor) =1
Seismic Design Data:
Structure Design:

## Slide 28: 3D – Model :
Structure Design:

## Slide 29: 3D Model – Compatibility Check:
Structure Design:

## Slide 30: Equilibrium Check:
Loads | ETABS- Results | Manual Results | Error
Dead Load | 21874.4 KN | 0.11312 KN | 0.1% < 5 %
Live load | 2018.58 KN | 4724.65 KN | 1.3 % < 5 %
SID load | 17156.01 KN | 17856.57 KN | 0.04 % < 5%
Error < 5% …… ok
Structure Design:

## Slide 31: Design Stage:
Typical Solid Slab Reinforcements in
Structure Design:

## Slide 32: Design Stage:
Beams and columns Reinforcements:
Structure Design:

## Slide 33
Shear walls Reinforcements:
Structure Design:

## Slide 34
Stair Design:
Structure Design:

## Slide 35
Footing Plan :
Structure Design:

## Slide 36
Footing Plan :
Structure Design:

## Slide 37
Isolated Footing Detailing :
Structure Design:

## Slide 38
Electro-Mechanical Design :
Mechanical Design
Eelectrical Design
Electrical design of a building involves many aspects Including
Distribution of sockets
Distribution of lighting
1- water supply system
2- Drainage system
3- (VRF) system
Mechanical design of a building involves many aspects Including :

## Slide 39
Electrical Design :
Distribution of sockets for ground floor :

## Slide 40
Electrical Design :
Distribution of sockets for bassment floor :

## Slide 41
Electrical Design :
Number the Outlets in the building for each space :

## Slide 42
Electrical Design :
Distribution of lighting for main hall:

## Slide 43
Electrical Design :
There are the types of lamps have been used in

## Slide 44
Electrical Design :
Artificial lighting using “Dialux” for main hall

## Slide 45
Electrical Design :
Artificial lighting using “Dialux” for main hall
Elluminance isolines
UGR Isolines

## Slide 46
Mechanical Design :
Ground floor water supply

## Slide 47
Bassment floor water supply
Mechanical Design :

## Slide 48
Mechanical Design :
Water drainge system :

## Slide 49
Mechanical Design :
Water draing system :
The vertical stack pipe diameter = 4 inch.
The diameter of vent = 4 inch
The main drain pipes (underground pipes) diameter = 6 inch @ 1% slope.

## Slide 50
VRF system :
In Main hall :

## Slide 51
VRF system :

## Slide 52
VRF system :
The unit out door and unit door will use in main hall

## Slide 53
Fire system ::

## Slide 54
Total Cost = 1,228,198 ₪
Cost per meter square = 896.49 ₪/m^2
Cost Estimation