## Slide 1: An-Najah National university Building Engineering Department
Children Creativity Center
Prepared by :
Abdullah Hamdan
Ahmad Illaiwi Sarah Shaheen
Supervisor :
Dr.Ahmad haj –Saleh

## Slide 2: The Outlines
Architectural design
Structural Design
Environmental Design
Cost and Quantity
End

## Slide 3
This section will show the modifications were done on the architectural design.
Architectural Design

## Slide 4: Architectural Design

## Slide 6
Location and Site Plan
Architectural Plans
Elevations and Sections

## Slide 7: Location and Site Plan
Children creative center is located in Nablus city of distance 2Km from the center of the city. The area of the land 3090 and the contour lines is between 520-510 m above sea level in the northern mountain in Nablus city above Al-aen refugee camp.

## Slide 8
After
Before

## Slide 9
First floor before
First floor after
Plans

## Slide 10
Ground Floor

## Slide 11
Basement Floor

## Slide 12: Elevations
Before
After

## Slide 14: Elevations

## Slide 15: Sections

## Slide 16
This section will show the whole structural design for the building in addition to water tank and retaining wall.
Structural Design

## Slide 17: Seismic Factors
Cs | 0.2
Z→(peak ground acceleration for the rock ) | 0.2
Ca→(peak ground acceleration for the soil ) | 0.28
T,Tetabs(period) | (0.43),(0.62) sec
Hn(hight) | 10.5
Ct | (0.03ft)(0.0731m)
R,Response factor | 5.5
I,(importance factor) | 1
Cv | 0.4

## Slide 18: Seismic checks
Check period
The period was calculated to be less then Etabs which equal 0.602
Mass model ratio
The mass participation ratio has to achieve 90% of the building moving in x and y direction. For the table below shows that 17 modal needed to achieve more 90%.

## Slide 19: Seismic checks
Check Drift
The displacement of each floor in both direction X and Y has to be less than delta limit. The delta limit from the table below is less than 97.5.
Check base shear
The base shear check is to make sure that the difference manual calculation and Etabs is less than 5% error in both direction and the table below shows that it is less than 5% percent.

## Slide 20
Footing design
Single footing
Combined footing
Mat foundation

## Slide 21: Footing layout
Ground floor
Basement floor

## Slide 22: Detailing

## Slide 23: Retaining wall design

## Slide 24: Column
Steel area have been taken from ETABS and converted to bars in each column:

## Slide 25: Tables

## Slide 26: Detailing

## Slide 27: Beams and Slabs

## Slide 28: Basement floor layout
First floor layout
Transfers from ETBS each beam have been designed according to the loads they can carry

## Slide 29: Ground floor layout

## Slide 30
CSI details is used for the detailing of beams
Beam 2CB9 elevation
Beam 2CB9 section

## Slide 31: Slabs Detailing

## Slide 32: Water Tank

## Slide 33: Water tank
Cylindrical Water tank will be designed with the following dimensions as 2.7 meter radius and 2.5 meter height.
SAP 2000 program used for the design.

## Slide 34: Loads
The water tank effected of two types of load soil and water
After inserting the loads equations on SAP2000, it was concluded From the results that water effect is the bigger which used in the design of the water tank.
Water F11: horizontal forces on the wall
Water F22: Axial forces on the wall

## Slide 35: Detailing
After calculation have been made according to ACI350 code the reinforcement of the retaining wall haven been calculated and drawn:
Tu design =406.33KN
Two layers of reinforcement is used.
As = 4ø16. In each face for hoop
As= 4ø12. On each face for meridian.

## Slide 36
Steel staircase: (Done by Rivet)
The design of the exterior which will discuss the use of the Revit and AutoCAD program to the SAP2000, where all matters related to dimensions and construction elements will be included.
Dimensions:

## Slide 37
Sections used
W-shape column
W-shape main beam
W-shape secondary beam

## Slide 38
Connections
Base plate
Moment flange T (double)
Purlin connection with plate
Knee of frame bolted with haunch

## Slide 39
Parts of the structure

## Slide 40
The whole structure
Parts of the structure

## Slide 41
This section includes the design for Mechanical ,Electrical ,Lighting ,Acoustic designs and thermal comfort.
Environmental Aspects

## Slide 42
Sun path in winter
Sun path in Summer

## Slide 43: Ventilation
It is important to study the wind on building for the case of ventilation since it provides fresh air and get rid of odors and humidification.
For this purpose
Analysis on Wind direction effecting the building .
Wind model simulation .
Editions on the building opening to get the benefit of the fresh air .
Evaluation of spaces .
Create solution for transversal and a sort turbulence wind flow .

## Slide 44: Wind simulation

## Slide 45: Wind simulation

## Slide 46: Wind simulation

## Slide 47: Ingrid cloud simulation

## Slide 48: Internal circulation

## Slide 49: Design builder
After inserting the building elements layer on design builder heating loads compared with the efficient range in KW/m.
Design capacity(W/m2) | Evaluation
20-25 | High efficient
26-40 | Good efficient
41-60 | Efficient
61-80 | accepted
Above 80 | Fail( consumes energy)
Design capacity evaluation

## Slide 50: Temperature and Heat Loss

## Slide 51
HVAC Design

## Slide 52: HVAC
VRF system contains three types of HAVC systems:
Split unit
Cassette unit
Fan coil unit.
Comfort and cost are the main reasons to design which one of these systems to be used .

## Slide 53: Heating and Cooling loads summary of the building
.
Building peak design load occurs in cooling phase which is 116.5 Kw.
LG company products will be used in the design.

## Slide 54: HVAC Systems Types Catalogues
List of catalogues from LG company used in the three designs (Indoor Units):
Split units
Cassette units

## Slide 55: HVAC systems types catalogues
List of catalogues from LG company used in the three designs:
Fan coil → Indoor Units
Fan coil →Outdoor Units

## Slide 56: 1) Split Unit Design
Ground Floor

## Slide 57: Basement

## Slide 58: First floor

## Slide 59: 2)Cassette Unit Design
Ground Floor

## Slide 60: Basement

## Slide 61: First floor

## Slide 62: 3) Fan coil-split unit system
Ground Floor

## Slide 63: Basement

## Slide 64: First floor

## Slide 65: Comparison
Split Unit Design
Cost → 261836$
Air and refrigerant distribution → Lowest
Evaluation → Average
Cassette Unit Design
Cost → 365606$
Air and refrigerant distribution → Middle
Evaluation → Worst system
Fan coil-split unit system
Cost → 265127.5$
Air and refrigerant distribution → Best
Evaluation →Best system

## Slide 66
Power Design

## Slide 67
Ground plan power distribution
First floor plan power distribution

## Slide 68
H-VAC & lift DP | power | current |  |  |  |  | thickness
unit | watt |  |  |  |  |  | 
one lift | 14600 | I load | I C.B | I Cable | C.B | Cable IEC | Cable
H-VAC unit | 116535 | Ampere | Ampere | Ampere | Ampere | Ampere | -
total power- 3 phases | 131135 | 210.31 | 241.85 | 278.13 | 310 | (115 A ) | 35 mm^2
Each phase | 43711.667 | 70.10 | 80.62 | 92.71 |  |  | 
THE BUILDING | total power | I load | I C.B | I cable | C.B | Cable
 | Watt | Ampere | Ampere | Ampere | Ampere | -
M.D.B -3 phases | 22616.2 | 36.27 | 43.52 | 52.23 | 50 | (65A)16mm^2
The electrical load of elevators and HVAC system
The electrical load of the whole building
First floor power distribution

## Slide 69
Ground Floor |  |  |  |  |  |  |  |  |  |  |  |  | 
DB # | Number of sockets | Normal load (sockets) |  | Lighting load | Total power | I load | I C.B | I Cable | C.B | Cable IEC | Cable | Number of power branches | Number of lighting branches
 | - | Watt | Watt | Watt | Watt | Ampere | Ampere | Ampere | Ampere | Ampere | - | - | -
DB1 | 38 | 250 | 9500 | 1450 | 4010 | 20.25 | 23.29 | 26.78 | 25 | 28 | 4mm^2 | 10 | 11
DB1-UPS | 14 | 250 | 3500 | 867.2 | 1743.76 | 8.81 | 10.13 | 11.65 | 16 | 28 | 4mm^2 | 3 | 7
DB2 | 26 | 250 | 6500 | 2240.6 | 3742.48 | 18.90 | 21.74 | 25.00 | 25 | 28 | 4mm^2 | 5 | 13
DB2-UPS | 6 | 250 | 1500 | 580.4 | 914.32 | 4.62 | 5.31 | 6.11 | 16 | 28 | 4mm^2 | 3 | 4
DB3 | - | - | 0 | 2602.3 | 2081.84 | 10.51 | 12.09 | 13.91 | 16 | 28 | 4mm^2 | 0 | 15
M.D.B G-F /3 phases |  | TOTAL POWER= |  |  | 12492.4 | 20.03 | 23.04 | 26.50 | 25 | 36 | 6mm^2 | 5 | -
Location of main DB, lift and H-VAC and G-F DB
Main distribution board of circuit breaker in the ground floor.
The electrical load of power, lighting and loud speaker system in the ground floor.

## Slide 70
Lighting Design
Dialux Simulation (Artificial lighting):
Ground floor lighting
Artificial lighting simulation was done and all requirements were fulfilled.
Luminaire list |  |  |  |  | 
Index | Manufacturer | Article name | Luminous flux | Connected load | Quantity
 | - | - | lm | Watt | #
1 | PHILIPS | DN570B PSE-E C | 1350 lm | 11.8 | 36
2 | ARTEMIDE | TAGORA 570 SOSPENSIONE LED EMISSIONE DIRETTA DIMMERABIL | 3820 lm | 60 | 27
3 | PHILIPS | SM480C W24L134 ACC-MLO LED40S/- NO | 4000 lm | 34.5 | 6
4 | PHILIPS | SM480C W24L134 ACC-MLO LED35S/- NO | 3500 lm | 29.5 | 11
5 | Thorn | CETUS LED 1000 HF 830 [STD] | 1000 lm | 9.4 | 32
6 | PHILIPS | SM505S XA DA25W LED66S/830 NO | 6600 lm | 41 | 7
7 | PROLED | Flex Strip 1200-80 Mono - NW | 1900 lm | 19.2 | 18
8 | FLOS | 2097/30 | 3000 lm | 450 | 3
9 | BRIGHTSPECIALLIGHTING | UP DOWN 3 | 3100 lm | 30 | 15

## Slide 71
First floor lighting
Base floor lighting

## Slide 72
Generator:
- Generator is connected to some of the lighting system of the building, power outlets and the elevator.
- This generator is with a capacity of 25000 Watt.
THE GENERATOR |  |  | 
total power |  | Reserve capacity = Full load kW x 0.25 | generator size = Full load kW + reserve capacity
Watt |  | Watt | Watt
19248.1 | 20000 | 5000 | 25000

## Slide 73
Lighting Design
An artificial and day lighting simulations were done using DIALux software, all lighting requirements achieved.
These photos shows the artificial lighting simulation in the cafeteria zone.
Space information: this cafeteria is a 12.6*5.65 m room.

## Slide 74
These green panels were used for an acoustical purpose, and they play an atheistic role as well.
The selected Luminaires

## Slide 75
Lighting design in the Entertaining zone
Louvers were used as a decorative elements.

## Slide 76
The selected Luminaires
Results of lighting in entertaining room

## Slide 77
Lighting design in the Multimedia zone
Spots and cove lighting were using in this room

## Slide 78
These tables shows the results of the artificial lighting simulation of all functional areas in the building.
All lighting and glare requirements were achieved.

## Slide 79
DIALux Simulation (Natural lighting):
Daylighting simulation was done using DIALux and many functional areas have enough daylight, it was determined that these area can totally depend on daylight from 12:00 till 3:00 PM.

## Slide 80
Computer laboratory
Art room

## Slide 81
Corridor (GF)
Reception Area

## Slide 82
Staff room
Library

## Slide 83
What do these simulations add to the scientific value and analytical output of the building?
How can we take advantage of these simulations in energy saving concept?

## Slide 84
Through further calculations, it was determined that up to nearly 150 ILS can be saved depending on natural lighting from 12:00 to 3:00 PM.
Electricity tariff rate= 0.747 ILS/KW |  |  |  | 
Area | Quantity | Power | Duration of operation (hours) | Operation cost
Computer lab | 5 | 29.5 | 3 | 7.27
Art Room | 6 | 41 | 3 | 12.13
Reception | 2 | 450 | 3 | 44.37
Reception | 12 | 11.5 | 3 | 6.80
Lobby GF | 4 | 60 | 3 | 11.83
Lobby GF | 8 | 9.4 | 3 | 3.71
Lobby FF | 1 | 450 | 3 | 22.19
Lobby FF | 10 | 11.8 | 3 | 5.82
Library | 6 | 41 | 3 | 12.13
Staff room | 6 | 60 | 3 | 17.75
Corridor | 3 | 60 | 3 | 8.87
savings |  |  | Savings per month | 152.87
 |  |  | savings per year | 1834.45

## Slide 85
Outdoor Lighting
Lighting units were used in an elegant, simple way to show the architectural cuts of the building.

## Slide 89
Fire fighting system

## Slide 90
The symbols of the fire fighting and evacuation systems in the building.
firefighting plan of the ground floor

## Slide 91
Functional area | Type of extinguisher
Corridors | Water extinguisher
Library | Dry powder extinguisher
Class rooms | Dry powder extinguisher
kitchen | Dry powder extinguisher
Computer lab | Dry powder extinguisher
Art room | Dry powder extinguisher
Manager room | Dry powder extinguisher
Cafeteria | Water extinguisher
Entertaining room | Dry powder extinguisher
Extinguishers according to the space:
Functional area | Type of sprinkler
Corridors | Water sprinkler
Library | Dry sprinkler
Multimedia room | Dry sprinkler
Cafeteria | Water sprinkler
sprinklers according to the space:

## Slide 92
Evacuation plans:

## Slide 93
Acoustic Design

## Slide 94: Acoustic Design
Material used
Material added
Miniperf laine
perforated wooden panels
Fabric acoustic material

## Slide 95: Acoustic Design Reverberation time (RT60)
Office RT(60) according to Sabine
Classroom RT(60) according to Sabine

## Slide 96: Acoustic Design Reverberation time (RT60)
Cafeteria RT(60) according to Sabine
Entertainment room RT(60) according to Sabine

## Slide 97: Acoustic Design STC and IIC
External walls
Ceiling
Floor

## Slide 98: Acoustic Design STC and IIC
Roof
External glazing walls
Internal walls

## Slide 99: Acoustic Design Loud Speakers

## Slide 100
Water Supply System

## Slide 101: Water supply system
Water Tanks Used

## Slide 102: Water consumption
Drinking consumption
Firefighting consumption
Domestic use consumption
Irrigation consumption
All cube needed is 58 cubes and 3 cube for hot water use

## Slide 104
Drainage System

## Slide 105: Pipes used
The total number of fixture units is 99 fu the main diameter for the main stack is
The diameters for the pipes as follows
Horizontal pipe for the water closet is with slope 1%
Horizontal pipe for the lavatory is with slope 2%
Horizontal pipe for the kitchen sink is with slope 2%
Vent pipe is
The pipe between the manholes is with slope1%
The rain water main vertical stack

## Slide 108
Integration in designing all systems in the building (H-VAC, Fire fighting system, lighting)
Ground floor
First floor
Base floor

## Slide 109
This section contains quantity for each element and its cost .
Quantity Surveying and Cost Estimation

## Slide 110: The total cost of the building is 3599387 NIS and the total area of the building is 1366m2 which means that the total unit cost per m2 is 2635 NIS/m2, nearly 750 $/m2.
Chart: 
| Earth work | Foundation | Building (construction) | Finishing | Electrical | Mechanical | Site Plane work
Sales | 1.1733 | 4.929 | 7.7045 | 41.2572 | 12.8904 | 9.1304 | 22.9151
Earth work = 42230 NIS
Foundation = 177415 NIS
Building (construction) = 277316 NIS
Finishing = 1485007 NIS
Site Plane work = 824803 NIS
Electrical = 463975 NIS
Mechanical = 328640 NIS

## Slide 111: Team
Ahmad Ilaiwi
Sarah Shaheen
Abdullah Hamdan
The end
Thank You