## Slide 1: بســـــــــــم الله الرحمن الرحيم
Graduation Project 2 Presentation
New Design of a Multipurpose Building
Prepared By :
Amjad Zidan
Osama Rashad
Ashraf Moshref
Supervised by : Eng. Mo’ayad Salhab

## Slide 2: Project Main Idea

## Slide 3: Summary :
1- Architectural Design
2- Environmental Design
3-Structural design
4-Mechanical design
5-Electrical design
6-Safety & Fire Design
7-Quantity Surveying & Specifications

## Slide 8: ARCHITECTURAL DESIGN
Basic Elements :
1- The Main Entrance
2- The Main Hall
3- Stairs

## Slide 9: Site Plan

## Slide 11: Main Hall

## Slide 12: Stairs

## Slide 13: Stairs

## Slide 14: Ground Floor

## Slide 15: Ground Floor

## Slide 16: Second Floor Offices

## Slide 17: Offices

## Slide 18: 3rd & 4th Floors Residential

## Slide 19: Residential

## Slide 20: Ramps

## Slide 21: Ramps Location

## Slide 22: Environmental Design
1- Acoustical and Thermal Insulation
2-Natural Day Lighting
3-Shading

## Slide 23: Acoustical and Thermal Insulation
Type of material | Thickness | K ( w/m.k) | R ( m2.k/w) | STC (db)
Outside | …………. | …………. | 0.04 | …………
Stone | 0.07 | 2600 | 0.027 | 50
Rei. Concrete | 0.2 | 2100 | 0.095 | 50
Polyurethane foam | 0.03 | 0.03 | 1.000 | 3
Gypsum Board | 0.1 | 0.21 | 0.048 | 2
Cement Plaster with lime | 0.02 | 0.87 | 0.023 | 2
Rock wool | 0.02 | 0.044 | 0.455 | 3
Inside | ………… | ………….. | 0.13 | ………..
 |  | Total R | 1.817 | Total STC
 |  | U(w/m2) | 0.55 | 63

## Slide 24: Acoustical and Thermal Insulation
Type of material | Thickness | K ( w/m.k) | R ( m2.k/w) | STC (db)
Outside | …………. | …………. | 0.04 | …………
Cement Plaster with lime | 0.015 | 0.87 | 0.017 | 2
Hollow Block | 0.1 | 0.12 | 0.833 | 38
Polyurethane foam | 0.01 | 0.03 | 0.333 | 11
Gypsum Board | 0.01 | 0.179 | 0.056 | 2
Cement Plaster with lime | 0.015 | 0.87 | 0.017 | 2
Inside | ………… | ………….. | 0.13 | ………..
 |  | Total R | 1.427 | Total STC
 |  | U(w/m2) | 0.701 | 57

## Slide 25: Acoustical and Thermal Insulation
Type of material | Thickness | K ( w/m.k) | R ( m2.k/w) | STC (db)
Outside | …………. | …………. | 0.04 | …………
Cement Plaster with lime | 0.015 | 0.87 | 0.017 | 2
Hollow Block | 0.1 | 0.12 | 0.833 | 38
Gypsum Board | 0.02 | 0.179 | 0.112 | 2
Cement Plaster with lime | 0.015 | 0.87 | 0.017 | 2
Inside | ………… | ………….. | 0.13 | ………..
 |  | Total R | 1.15 | Total STC
 |  | U(w/m2) | 0.87 | 45

## Slide 26: Natural Day Lighting
Shape of building on Ecotect

## Slide 27: The Shadow of the Building in summer
Building shadow at 8am 15th of May

## Slide 28: The Shadow of the Building in Winter
Building shadow at 8AM 21st of January

## Slide 29: The Sun Path in Summer in May

## Slide 30: The Sun Path in Winter in January

## Slide 31: Daylight levels samples of selected areas in the building
Hall in Ground Floor Daylight levels

## Slide 32: Shop 9(cafeteria) Daylight levels

## Slide 33: Staff Room office 6 daylight levels

## Slide 34: Shading
For south elevation
Cantilever
For East/West elevation
Vertical shutter

## Slide 35: Structural Design
The design codes used in the design process in our project :
American Concrete Institute ACI318-09
The seismic design code UBC97

## Slide 36: Loads and Specifications
Live Load :
In Mall 0.5ton/m2 (500kg/m2)
In Residential and Offices 0.3ton/m2 (300kg/m2)
Super Imposed Dead Load :
0.35ton/m2 (350kg/m2)
ƒ`c :
B350 for slabs, beams and footings (ƒ`c = 280 kg/cm²)
B400 for columns (ƒ`c = 300 kg/cm²)
fy :
4200kg\ cm²
Bearing Capacity (BC) : 35ton/m2

## Slide 37: Center of Columns

## Slide 38: Columns and Reinforcement Details
Col | b | h | As
G1 | 20 | 40 | 8Ф14
G2 | 30 | 40 | 8Ф14
G3 | 30 | 50 | 8Ф16
G4 | 25 | 40 | 8Ф14
G5 | 20 | 30 | 8Ф14
G6 | 40 | 40 | 8Ф16
G7 | 20 | 30 | 8Ф14
Steel bars for each group :

## Slide 39: Slabs and Beams
Basement Slab

## Slide 40: Slabs and Beams
Ground and First Floor Slab

## Slide 41: Slabs and Beams
Second Floor Slab

## Slide 42: Slabs and Beams
Third and Forth Floor Slab

## Slide 43: Section Through Ribs

## Slide 44: Slabs
Reinforcement Details for Basement Slab

## Slide 45: Slabs
Reinforcement Details for Ground and First Floor Slab

## Slide 46: Slabs
Reinforcement Details for Second, Third and forth floor Slab

## Slide 47: Beams
Long Section in Beam 1 in Basement Slab
Beam | Top reinforcement | Bottom reinforcement
b1 | 6Ø14 | 6Ø14
b2 | 6Ø14 | 6Ø14
b3 | 6Ø14 | 6Ø14
b4 | 6Ø14 | 6Ø14
b5 | 6Ø14 | 6Ø14
b6 | 6Ø14 | 6Ø14
b7 | 6Ø14 | 6Ø14
b8 | 6Ø14 | 6Ø14

## Slide 48: Beams
Cross Section 1 in Beam 1
Cross Section 2 in Beam 1

## Slide 49: Footings and Tie Beams

## Slide 50: Footings
Single Footing
Footing | length(m) | width(m) | height(m) | As L | As W
F1 | 1.7 | 1.7 | 0.4 | 9Ф16 | 7Ф16
F2 | 2 | 2 | 0.5 | 11Ф16 | 10Ф16
F3 | 2 | 2.5 | 0.55 | 12Ф18 | 10Ф18
F4 | 1.4 | 1.4 | 0.4 | 7Ф14 | 7Ф14
F5 | 3 | 2 | 0.5 | 15Ф18 | 14Ф18

## Slide 51: Footings
Combined Footing

## Slide 52: Stairs
Reinforcement Details for Stairs

## Slide 53: Joints Reinforcement Details

## Slide 54: Seismic Design
Seismic Separation

## Slide 55: Seismic Design
The Seismic Checks using Sap2000 :
1- Compatibility Check
2- Equilibrium Check
3- Check for Internal Forces

## Slide 56: Mechanical Design
The Mechanical Design Consists of four stages
1-Drainage
2-Water Supply
3-HVAC
4-Elevators

## Slide 57: Drainage
The Drainage system for third floor

## Slide 58: Drainage
Floors | Number of Drainage Fixture units
Ground floor | 40
First floor | 40
Second floor | 63
Third floor | 98
Fourth floor | 98

## Slide 59: Water Supply
2'' for Water meter for each Apartment
2.5forMain Vertical Pipe
2'' for Horizontal Pipe
3/4'' for Horizontal(Branch) inside Pipe

## Slide 60: HVAC System
1- Heating
2- Cooling

## Slide 61: Heating Loss
WE USE | # COLUMS(3C) | M' | # radiators | TOTAL LOSS | ROOM
10 | 9.8 | 0.0408 | 1 | 1999.74 | Zone 1
8 | 7.2 | 0.0257 | 1 | 1249.36 | Zone 2
9 | 8.4 | 0.0258 | 1 | 1289.7 | Zone 3
14 | 13.1 | 0.0500 | 1 | 2632.36 | Zone 4
9 | 8.7 | 0.0262 | 1 | 1294.64 | Zone 5
9 | 8.9 | 0.0367 | 1 | 1437.27 | Zone 6

## Slide 62: Heating System

## Slide 63: Heating Gain
Q total | QL |  |  | Qs |  |  |  |  | ROOM
 | equipment | occupants | ventilation | equipment | lighting | occupants | ventilation | Q WIN+ WALL | 
2818.85 | 120 | 88 | 576 | 139 | 130.05 | 119 | 232.8 | 1553.0 | MASTER BEDROOM
2180.3 | 0 | 88 | 576 | 170 | 134.3 | 119 | 232.8 | 860.2 | BEDROOM A
2566.15 | 120 | 88 | 576 | 224 | 123.25 | 119 | 232.8 | 1083.1 | BEDROOM B
6005.8 | 750 | 132 | 1036.8 | 2363 | 139.4 | 178.5 | 419.04 | 987.9 | KITCHIN
2502.4 | 0 | 352 | 1304 | 85 | 374 | 476 | 931.2 | 1213.4 | GUEST RROM
12229.2 | 990 | 748 | 5068.8 | 2981 | 901 | 1011.5 | 2048.64 | 5697.6 | TOTAL

## Slide 64: Cooling System

## Slide 65: Elevator Design
Average Population : 1300 person
%HC : 14% (Center City type)
After Calculations
N = 5 , 3500/lb 400fpm
But because there's many stairs in the building and to satisfy symmetry to the building for seismic code requirements and for Architectural considerations, it was more practical to use 4 elevators.

## Slide 66: Electrical Design
Dialux Sample
Sockets Calculations and samples
Lighting Calculations
Main Distribution Board “MDB”
Branch Calculations

## Slide 67: Dialux
Surface |  [%] | E avg [lx] | E min [lx] | E max [lx] | u0
Work plane | / | 480 | 58 | 846 | 0.122
Floor | 30 | 334 | 22 | 686 | 0.067
Ceiling | 73 | 137 | 38 | 298 | 0.277
Walls (7) | 75 | 170 | 29 | 527 | /
Cafeteria Luminaire and Lighting Calculations using Dialux

## Slide 68: Socket Calculations
Total current | total number of sockets | number of sockets | Place | No. of floor
500 Amp | 100(5A) | 100 | General(all shops) | Ground Floor
240 Amp | 16(15A) | 16 | Special Loads | 
20 Amp | 4(5A) | 4 | WC’s | 
20 Amp | 4(5A) | 4 | Lobby | 
780 Amp | Total Current in Ground Floor |  |  | 
500 Amp | 100(5A) | 100 | General(all shops) | First Floor
20 Amp | 4(5A) | 4 | WC’s | 
520 Amp | Total Current in First Floor |  |  | 
65 Amp | 13(5A) | 13 | Office 1 | Second Floor
70 Amp | 14(5A) | 14 | Office 2 | 
70 Amp | 14(5A) | 14 | Office 3 | 
95 Amp | 19(5A) | 19 | Office 4 | 
100 Amp | 20(5A) | 20 | Office 5 | 
105 Amp | 21(5A) | 21 | Office 6 | 
85 Amp | 17(5A) | 17 | Office 7 | 
20 Amp | 4(5A) | 4 | Lobby | 
610 Amp | Total Current in Second Floor |  |  | 
160 Amp | 32(5A) | 32 | Apartment 1 -West | Third Floor
160 Amp | 32(5A) | 32 | Apartment 2 -West | 
170 Amp | 34(5A) | 34 | Apartment 3 -East | 
165 Amp | 33(5A) | 33 | Apartment 4 -East | 
655 Amp | Total Current in Third Floor |  |  | 
160 Amp | 32(5A) | 32 | Apartment 1 -West | Fourth Floor
160 Amp | 32(5A) | 32 | Apartment 2 -West | 
170 Amp | 34(5A) | 34 | Apartment 3 -East | 
165 Amp | 33(5A) | 33 | Apartment 4 –East | 
655 Amp | Total Current in Fourth Floor |  |  | 
3220 Amp | Total Current in the Building |  |  | 
Sockets Calculations in the entire Commercial Center

## Slide 69: Socket Calculations
Socket Calculations Sample and Sockets Distribution for (Apartment 2 F3)
Total current | total number of sockets | number of sockets | Place | No. of floor
160 Amp | 32(5A) | 32 | Apartment 2 -West | Third Floor

## Slide 70: Lighting Calculations
Total watt | N | n | Watt | Type of lamp | place
288 | 4 | 2 | 36 | Fluorescent | Shop 1
288 | 4 | 2 | 36 | Fluorescent | Security
576 | 8 | 2 | 36 | Fluorescent | Shop 3
360 | 5 | 2 | 36 | Fluorescent | Shop 4
36 | - | 2 | 18 | PL | 
144 | 2 | 2 | 36 | Fluorescent | Shop 5
432 | 6 | 2 | 36 | Fluorescent | Shop 6
288 | 4 | 2 | 36 | Fluorescent | Shop 7
576 | 8 | 2 | 36 | Fluorescent | Shop 8
72 | - | 4 | 18 | PL | 
1296 | 18 | 2 | 36 | Fluorescent | Shop 9
A sample of the Ground Floor Calculations for Lighting
13100 Watt | Total Watt in Ground Floor
45160 Watt | Total Watt in the Building

## Slide 71: Lighting Calculations
2016 | 28 | 2 | 36 | Fluorescent | Office 7
36 | - | 2 | 18 | PL | 
28 | 1 | 2 | 14 | BEGA T16 | 
Lighting Calculations Sample and Distribution of Luminaires for Office 6

## Slide 72: MDB(Main Distribution Board)
MDB Details

## Slide 73: MDB(Main Distribution Board)

## Slide 74: Branch Circuit Calculations
- Diversity Factor for lighting = 0.8
- Diversity Factor for sockets = 0.2
- Safety Factor =1.5
- Power Factor = 0.8
- Current for lighting = 10 Amp
- Current for sockets = 16 Amp

## Slide 75: Branch Circuit Calculations
Circuit breaker sample for Apartment 2 F3 :
Lighting load for Apartment 2 F3 = 930Watt
Sockets load for Apartment 2 F3= 160 Amp
N for lighting branches= 5 Circuit breaker for lighting
N for sockets branches= 32/2 = 16 Circuit breaker for sockets.

## Slide 76: Safety and Fire Design
Fire System and Details
Fire Exits

## Slide 77: Fire System Details
Fire System details in Offices (1)

## Slide 78: Fire System Details
Fire System details in Offices (2)

## Slide 79: Fire Exits
Fire Exits in the Ground and First Floor

## Slide 80: Fire Exits
Fire Exits in the Second Floor

## Slide 81: Fire Exits
Fire Exits in the Second Floor

## Slide 82: Fire Exits
The Western Fire Exit in the Eastern part of the Third and Forth Floor

## Slide 83: Quantity Surveying & Specifications
 | Volume of concrete | Cost
Walls | 271.1 (m3) | 94885 NIS
Floor and roof | 4925.46 (m3) | 1723911 NIS
Columns | 145.64 (m3) | 50974 NIS
Footing | 99.12 (m3) | 34692 NIS
Total | 5441.32 (m3) | 1904462 NIS
Total Concrete

## Slide 84: Total Steel
 | Volume of concrete | Cost
Walls | 271.1 (m3) | 94885 NIS
Floor and roof | 4925.46 (m3) | 1723911 NIS
Columns | 145.64 (m3) | 50974 NIS
Footing | 99.12 (m3) | 34692 NIS
Total | 5441.32 (m3) | 1904462 NIS

## Slide 85: Total Cost
Earth work | 158960
Concrete | 1904462
steel | 889657.6
block | 96476.1
Stone | 52602.42
Labor | 450000
Total | 3604760.54 NIS

## Slide 86: Thank You For Listing
Any Questions ?