## Slide 1
An-Najah National University
Faculty of Engineering and Information Technology
Building Engineering Department
Graduation Project - II
Integrated Design of Basic School
Supervisor:
Dr. Ahmad Saleh
Students’ Names:
1. Saleh Elyyan
2. Fareed Taha
3. Omar Ibraheem
4. Said Al-alawneh
Date: 20. May. 2019

## Slide 2: Contents:
Introduction
Site Analysis
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Safety Design
Cost Estimation

## Slide 3: Introduction
In this project, An integrated design has been created for a school that keeps up with the development of the age and meets the basic educational needs as well as extracurricular activities and functions.

## Slide 4
Location
The land on which the school will be built locates in Al-Ma’ajeen Neighborhood in Nablus city.
Figure 1: location of land
Site Analysis

## Slide 5
Elevations and slope
Figure 2: vertical section of land
Site Analysis

## Slide 6
Sun path
Figure 3: sun path of the land
Site Analysis

## Slide 7
Noise
Figure 4:noise sources on building
Site Analysis

## Slide 8: Site Analysis
Areas and slope
Area of land which school is built on equals to 5000 m² with slope 17 % approximately
The school building is built on 1100 m², which is 22% of total area of land.
Figure 5: Site plan od school

## Slide 9: Architectural Design
General Information
Zones and Areas
Floors
Elevations
Sections

## Slide 10: Architectural Design
General Information
The school includes four floors.
Total area of school building = 4420 m².
School has seven entrances and exit which distributed on floors.
School contains three staircases.

## Slide 11: Architectural Design
Table 1: Table of Areas and Zones in school building design
Zones and Areas

## Slide 12: Architectural Design

## Slide 13: Architectural Design

## Slide 14: Architectural Design

## Slide 15: Architectural Design

## Slide 16: Architectural Design
Basement floor
Area = 1000 m²
Floor height = 5 m
Figure 6: Basement floor plan

## Slide 17: Architectural Design
Ground floor
Area = 1080 m²
Floor height = 4.50 m
Figure 7: Ground floor plan

## Slide 18: Architectural Design
First floor
Area = 1120 m²
Floor height = 4.50 m
Figure 8: First floor plan

## Slide 19: Architectural Design
Second floor
Area = 1120 m²
Floor height = 4.50 m
Figure 9: Second floor plan

## Slide 20: Architectural Design
South Elevation
Figure 10: South Elevation

## Slide 21
North Elevation
Figure 11: North Elevation

## Slide 22
East Elevation
Figure 12: East Elevation

## Slide 23
West Elevation
Figure 13: West Elevation

## Slide 24
Section A-A
Figure 14: Section A-A

## Slide 25
Section B-B
Figure 15: Section B-B

## Slide 26: Structural Design
General Information
Design code
American Concrete Institute ACI 2014 for design.
Uniform Building Code (UBC 97) is adopted the code in Earthquake Analysis.
Materials
Concrete.
f´c = 32 Mpa for columns, walls and footings
f´c = 24 Mpa for slabs and beams
Reinforcement steel (Fy = 420 Mpa)

## Slide 27: Structural Design
General Information
Loads
Live Load= 5 KN/m²
Superimposed dead load = 4 KN/m²
Properties of Materials
specific weight of Reinforced concrete = 25 KN/m³
Weight of Masonry wall = 21 KN/m
Weight of glass wall = 0.6 KN/m
Specific weight of block = 12 KN/ m³

## Slide 28: Structural Design
Slab Structural System
two way ribbed slab with 400 mm thickness
One way ribbed slab with 400 mm thickness
Two types were designed with drop beams

## Slide 29: Structural Design
Structural Models
Since the school building is too long and have nonuniformity of shape; we divide building to three parts by using joints.
Expansion joint
This joint was created because the length of school building is more than 40m, and its 2cm width

## Slide 30: Structural Design
Structural Models
Seismic joint
This joint was created because the shape of school building is non uniform.
Its calculated using displacement from drift for each part
Δm2: displacement for second part
Δm3: displacement for third part
ΔMTotal = Δm2+ Δm3+2cm ~ 5cm

## Slide 31: Structural Design
Structural Models
Figure 16: Seismic and Expansion joint layout

## Slide 32: Structural Design
Structural Models
ETABS Model
Figure 18:3D model for the second part
Figure 17:3D model for the first part
Figure 19:3D model for the three part

## Slide 33: Structural Design
compatibility check
Equilibrium check
internal force check
period check
deflection check
drift check
Modal mass participate ratio check (MPMR)
All checks were done for the three parts and all were acceptable.
Structural Models
ETABS Checks
To ensure that the calculation is done correctly and to adopt the design results from ETABS; some checks are required:

## Slide 34: Structural Design
Structural Models
Compatibility check
Figure 20:compatibility check for the first part
Figure 21:compatibility check for second part
Figure 22:compatibility
check for third part

## Slide 35: Structural Design
Structural Models
Equilibrium check
Table 2:Equilibrium check for the first part
Table 3:Equilibrium check for the second part
Table 4:Equilibrium check for the third part

## Slide 36: Structural Design
Design of structural elements
Slabs
Figure 23:section of two way slab
Figure 24:section of one way slab

## Slide 37: Structural Design
Design of structural elements
Beams
We have five different sections of Beams in building:
Table 6: Forces and capacities for Beam B1
Figure 25: beams layout
Table 5: beams section

## Slide 38: Structural Design
Table 7: Reinforcement for B1
Design of structural elements
Beams
Reinforcement for Beam B1

## Slide 39: Structural Design
Figure 26: Detailing for B1
Figure 27: Section B-B
Design of structural elements
Beams

## Slide 40: Structural Design
Design of structural elements
Columns
We have four different sections of columns in building
Figure 28:Column C1 section
Figure 29:Column C2 section
Figure 30:Column C3 section
Figure 31:Column C4 section
Table 8:Columns detailing

## Slide 41
Structural Design
Design of structural elements
Columns
Figure 32:Columns distribution

## Slide 42: Structural Design
Design of structural elements
Walls
Figure 33:walls layout
Table 9: walls section

## Slide 43: Structural Design
Design of structural elements
Shear walls 1and2
Figure 34: wall 1 section
Figure 35: wall 2 section

## Slide 44: Structural Design
Design of structural elements
Cantilever retaining wall
Figure 36: Cantilever retaining wall dimensions and checks

## Slide 45: Structural Design
Design of structural elements
Cantilever retaining wall
Figure 37: Cantilever retaining wall detailing
Table 10: Cantilever retaining wall reinforcement

## Slide 46: Structural Design
Design of structural elements
Footings
Figure 38: isolated footing detailing

## Slide 47: Structural Design
Design of structural elements
Wall footing
Figure 39: wall footing detailing

## Slide 48: Structural Design
Design of structural elements
Stairs
Figure 40: internal stairs

## Slide 49: Structural Design
Design of structural elements
Stairs
Figure 41: external stairs
Figure 42: stairs detailing

## Slide 50: Environmental Design
As any aspect , environmental design is very important and it should be taken into consideration
Acoustical systems design
Photovoltaic system design
Overshadowing
Energy consumption, Heating and Cooling load
Daylighting

## Slide 51: Environmental Design
Average absorption (ἀ) = 0.171
Reverberation Time (RT60) = 1.008 sec
That within standard range (0.7-1.10) [M. David Egan, 1997. Architectural Acoustics]
sound transmission class (STC) = 45 dB
According to standard the sound insulation requirement background level in meeting room being considered quiet is exactly 45 dB [Walter T. Grondzik.et al, 2010. MEEB Book]
Acoustical system
Acoustical system design and calculations were applied on Meeting hall and Classroom and corridors
Meeting hall

## Slide 52: Environmental Design
Acoustical system
Loudspeakers design
Figure 43: Loudspeaker design for ground floor

## Slide 53: Environmental Design
Photovoltaic system design
We will design solar cells by the PV syst program as described
The number of modules = 154 panel
The maximum KWP generated = 36 KWP.
Number of invertors = 3 invertors.
Area of system = 300 m2.
Figure 44: PV system distribution

## Slide 54: Environmental Design
Overshadowing
Figure 45: Sun path diagram

## Slide 55: Environmental Design
Energy per Conditioned Building Area [kWh/m²] = 171 kWh/m².
Cooling Load =136.10 KWh.
Heating Load = 55.18 KWh.
Energy consumption, Heating and Cooling load
Design builder program was used to calculate:

## Slide 56: Environmental Design
Daylighting
Natural light is essential for buildings
Figure 46: Basement daylight simulation

## Slide 57: Environmental Design
Daylighting
Figure 47: Ground floor daylight simulation

## Slide 58: Mechanical Design
Storage Capacity
Water Supply System
Water Drainage System
Ventilation System
Swimming pool design

## Slide 59: Mechanical Design
Storage capacity
The capacity of underground storage tank = 67.5 m3 / per week.
For the roof tank capacity = 67.5 / 5 = 13.5 m3 / per day.
The amount of rain water collection = 330 m³ / per year (underground flush tank)

## Slide 60: Mechanical Design
Water Supply System
We have two type systems
For flush tank from storm tank
For other functions from fresh tank

## Slide 61: Mechanical Design
Water Supply System
Pipes Diameters
Types of pipes:
Stainless Steel for Vertical pipes
PVC for horizontal and branch pipes

## Slide 62: Mechanical Design
Water Supply System
Basement Floor
Table 11: Pipes diameters for basement floor

## Slide 63: Mechanical Design
Water Supply System
Basement Floor
Figure 48: Pipes distribution for basement floor-East Side
Figure 49: Pipes distribution for basement floor-West Side

## Slide 64: Mechanical Design
Water Supply System
Ground Floor
Table 12: Pipes diameters for ground floor

## Slide 65: Mechanical Design
Water Supply System
Ground Floor
Figure 50: Pipes distribution for Ground floor

## Slide 66: Mechanical Design
Water Supply System
First Floor
Table 13: Pipes diameters for first floor

## Slide 67: Mechanical Design
Figure 51: Pipes distribution for first floor-West side
Figure 52: Pipes distribution for first floor-East side
Water Supply System
First Floor

## Slide 68: Mechanical Design
Water Supply System
Second Floor
Table 14: Pipes diameters for first floor

## Slide 69: Mechanical Design
Water Supply System
Second Floor
Figure 53: Pipes distribution for second floor-West side
Figure 54: Pipes distribution for second floor-East side

## Slide 70: Mechanical Design
Water Drainage System
Three types of drainage water systems:
Black water
We use 4 inch stakes with slope 1% for all WC's.
Grey water
We use 2 inch with slope 2% for lavatories.
Rain water
We use 4 inch with slope 1%
We use 6 inch with slope 1% between manholes.

## Slide 71: Mechanical Design
Figure 55: drainage system for ground floor
Water Drainage System
Ground floor

## Slide 72: Mechanical Design
Water Drainage System
First floor
Figure 56: drainage system for first floor-West side
Figure 57: drainage system for first floor-East side

## Slide 73: Mechanical Design
Water Drainage System
Second floor
Figure 58: drainage system for second floor-West side
Figure 59: drainage system for second floor-East side

## Slide 74: Mechanical Design
Water Drainage System
Rain Water drainage
Figure 60: Rain Water drainage system

## Slide 75: Mechanical Design
Ventilation System
Figure 61 Ventilation System for basement

## Slide 76: Mechanical Design
Swimming pool design
The water used to fill the swimming pool will be from the storm tank after being purified and sterilized.
We use four holes on the side of pond to enter the water.
We use two holes on the bottom of pond to drainage the water.
We use sand pressure filter (rapid sand filter), which works at a filtration rate of 120-150 liters / minute.
Volume of compensation tank = 4.5 m³
We use chlorine to sterilization with flow rate = 3.44 Kg/hr.

## Slide 77: Mechanical Design
Swimming pool design
Filter specification
Figure 62: Filter specification

## Slide 78: Mechanical Design
Swimming pool design
Pump specification
Figure 63: Pump specification

## Slide 79: Mechanical Design
Swimming pool design
Pipes diameters
Table 15: feeding pipes diameter
Table 16: drainage pipes diameter

## Slide 80: Mechanical Design
Swimming pool design
Heaters specification
We choose GEO3-160.
Time needed to heat the pool 41 hour
Figure 64: Heater specification

## Slide 81: Electrical Design
The Electrical systems is one of the significant systems in the building
Lighting System
Outlets Socket
Power Calculations

## Slide 82: Electrical Design
Lighting System
DIALux program was used to design lighting system in school
Figure 65: School model in DIALux

## Slide 83: Electrical Design
Lighting System
Some of spaces in school
Figure 66: Classroom
Figure 67: Meeting hall

## Slide 84: Electrical Design
Lighting System
Eight types of luminaire was used in lighting system design
Table 17: Number of lamps that were used in the school

## Slide 85: Electrical Design
Lighting System
Figure 68: Lighting design for basement floor

## Slide 86: Electrical Design
Lighting System
Figure 69: Lighting design for ground floor

## Slide 87: Electrical Design
Lighting System
Figure 70: Lighting design for first floor

## Slide 88: Electrical Design
Lighting System
Figure 71: Lighting design for second floor

## Slide 89: Electrical Design
Lighting System
Table 18 : Summary of results of lighting design

## Slide 90: Electrical Design
Outlet Socket
Figure 72: Outlet socket design for basement floor

## Slide 91: Electrical Design
Outlet Socket
Figure 73: Outlet socket design for Ground floor

## Slide 92: Electrical Design
Outlet Socket
Figure 74: Outlet socket design for First floor

## Slide 93: Electrical Design
Outlet Socket
Figure 75: Outlet socket design for Second floor

## Slide 94: Electrical Design
Power Calculations
Basement Floor
Table 19: Summary of power calculation for basement floor

## Slide 95: Electrical Design
Power Calculations
Ground Floor
Table 20: Summary of power calculation for ground floor

## Slide 96: Electrical Design
Power Calculations
First and Second Floors
Table 21: Summary of power calculation for First and Second floors

## Slide 97: Electrical Design
Power Calculations
Table 22: Summary of Power Calculations

## Slide 98
Electrical Design
Main Circuit Breaker
Figure 76: Main Circuit Breaker

## Slide 99: Safety Design
Fire protection system
The most common systems used in schools is:

## Slide 100: Safety Design
Fire Protection System
Figure 77: Fire Protection System for basement

## Slide 101: Safety Design
Fire Protection System
Figure 78: Fire Protection System for ground floor

## Slide 102: Safety Design
Fire Protection System
Figure 79: Fire Protection System for first floor

## Slide 103: Safety Design
Fire Protection System
Figure 80: Fire Protection System for second floor

## Slide 104: Safety Design
Egress Route
Figure 81: Egress Route for basement floor

## Slide 105: Safety Design
Egress Route
Figure 84: Egress Route for ground floor

## Slide 106: Safety Design
Egress Route
Figure 83: Egress Route for first floor

## Slide 107: Safety Design
Egress Route
Figure 84: Egress Route for second floor

## Slide 108: Cost Estimation
Total cost = 5794029 NIS
Total cost for each squared meter = 1317 NIS/m2
Table 23: Summary of cost estimation

## Slide 109: Thank You