## Slide 1: An-Najah National University Faculty of engineering and information technology Building engineering department Graduation project II Rest Stop Station
Prepared by:
1- Ahmad Abed.
2- Ala’a Qadah.
3- Ala’ Sawalmeh.
4- Aseel Hbeashe.
Supervisor to:
Dr. Mo’ayad Salhab

## Slide 2: Presentation Contents:
Introduction.
Architectural design.
Environmental design.
Structural design.
Mechanical design.
Electrical design.
Safety and fire design.
Quantity survey.
Site analysis.

## Slide 3: Site Analysis:
Area9100
1
Building Area 2015m2

## Slide 4: Architectural Design:
Conceptual plan:
2

## Slide 5: Architectural Design:
Site plan:
2

## Slide 6: Architectural Design:
2
Master plan:

## Slide 7: Architectural Design:
+6.90
+5.90
+5.90
+5.90
+5.90
F.F.L:+5.90
2
F.F.L:+0.70 G.F
F.F.L:+6.90
F.F.L:+5.90
F.F.L:-2.66 B.F
F.F.L:+0.70 G.F
F.F.L:+4.66 F.F
F.F.L:+8.62

## Slide 8: Architectural Design:
Basement Floor in Block 1:
Total Area=320m2
Block1: Basement floor
2

## Slide 9: Architectural Design:
Ground Floor in Block1:
Total Area=658m2
Block1: Ground floor.
2

## Slide 10: Architectural Design:
Block 2:
Total Area=477.5 m2
Block2:
2

## Slide 11: Architectural Design:
Block 3:
Total Area=280m2
Block3:
2

## Slide 12: Architectural Design:
Block 4:
Total Area=140m2
Block4:
2

## Slide 13: Architectural Design:
North Elevation
2

## Slide 14: Architectural Design:
South Elevation
2

## Slide 15: Architectural Design:
East Elevation
2

## Slide 16: Architectural Design:
West Elevation
2

## Slide 17: Architectural Design:
Section A-A and section B-B in Block 4.
Section A-A
in Block 1
Sections:
2

## Slide 18: Architectural Design:
3D View
2

## Slide 19: Architectural Design:
3D View
2

## Slide 20: Architectural Design:
3D View
2

## Slide 21: Architectural Design:
3D View
2

## Slide 22: Environmental Design:
Building Orientation
3

## Slide 23: Environmental Design:
Ecotect Program:
3

## Slide 24: Environmental Design:
Daylight factor:
3

## Slide 25: Environmental Design:
Daylight factor:
3

## Slide 26: Environmental Design:
@ 9:00 AM
@ 12:00 AM
Shading in winter
21St/January
3

## Slide 27: Environmental Design:
@ 9:00 AM
@ 12:00 AM
Shading in Summer
21St/July
3

## Slide 28: Environmental Design:
Design Builder program:
3

## Slide 29: Environmental Design:
External wall | Internal wall
Aluminum =3mm | Plaster = 10mm
Concrete =100mm | Block =100mm
Polystyrene = 50mm | polystyrene = 40mm
Block =100mm | Plaster = 10mm
Plaster = 15mm | -------
U- value = 0.533 W/m2.K | U- value = 0.690 W/m2.K
Materials:
3

## Slide 30: Environmental Design:
Ceiling | Ground floor
Asphalt =4.0mm | Concrete = 300mm
Concrete = 40mm | Polystyrene = 30mm
Block =17mm | Sand =30mm
Foam-polyurethane =40mm | Mortar =30mm
Plaster = 20mm | Ceramic =10mm
U- value = 0.528 W/m2.K | U- value = 0.701 W/m2.K
Materials:
3

## Slide 31: Environmental Design:
A Prefabricated Sandwich Panel with a Mineral Wool Core.
U- value = 0.640 W/m2.K
Materials:
3

## Slide 32: Thermal analysis:
Cooling Design
Environmental Design:
3

## Slide 33: Environmental Design:
Thermal analysis:
3

## Slide 34: Environmental Design:
Reverberation time (RT60) results:
Acoustical material (Concrete Block Coarse) in wall.
Freq. | Total Absorption. | Sabine RT(60) | NOR-ER RT(60) | MIL-SE RT(60)
63Hz | 327.210 | 0.78 | 0.67 | 0.52
125Hz | 327.118 | 0.78 | 0.65 | 0.54
250Hz | 399.314 | 0.64 | 0.50 | 0.35
500Hz | 308.22 | 0.83 | 0.77 | 0.53
1kHz | 321.810 | 0.79 | 0.82 | 0.29
2kHz | 381.914 | 0.66 | 0.57 | 0.26
4kHz | 296.875 | 0.82 | 0.93 | 0.42
8kHz | 304.225 | 0.76 | 0.83 | 0.38
16kHz | 314.552 | 0.73 | 0.80 | 0.36
Acoustical Design:
3

## Slide 35: Environmental Design:
STC:
The required value of STC for wall
equals 42dB.
Acoustical Design:
3

## Slide 36: Environmental Design:
    Speaker Distribution:
BOSCH LBD 0606/10
Angle of sound distribution for the selected type = 70˚
Acoustical Design:
3

## Slide 37: Environmental Design:
Speakers distribution for Bank branch.
Acoustical Design:
3

## Slide 38: Structural Design:
Codes and Standards:
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations
4

## Slide 39: Structural Design:
Design data:
  Concrete strength for slabs , beams, columns and shear walls, f’c = 28 Mpa.
  Steel yield strength fy=420 Mpa.
  Bearing capacity for soil = 150 kN/m2
4

## Slide 40: Structural Design:
Lateral loads:
Jericho city.
The seismic zone factor Z=0.3.
The soil profile is type SE.
The Acceleration seismic coefficient Ca=0.36
The Velocity seismic coefficient Cv=0.84.
The Seismic importance factor is 1.25.
The structural design type is intermediate, R=5.5
4

## Slide 41: Structural Design:
Loads:
Type of load | Block 1 | Block 2 | Block 3 | Block 4
Live | 4.79 (KN/m2) | 12.0(KN/m2) | 4.79 (KN/m2) | 4.79 (KN/m2)
S.I.D | 4.50 (KN/m2) | 2.5 (KN/m2) | 4.50 (KN/m2) | 4.50 (KN/m2)
Type of load | Truss
Live load | 1.7 (KN/m2)
S.I.D | 0.6 (KN/m2)
Snow | 0.50 (KN/m2)
Wind | 0.55 (KN/m2)
4

## Slide 42: Structural Design:
Two way solid slab with35cm thicknes.
U-boot slab with 36cm thickness.
Slabs:
4

## Slide 43: Structural Design:
Block1
Block2
Model in ETABS Program:
4

## Slide 44: Structural Design:
Block3
Block4
Model in ETABS Program:
4

## Slide 45: Structural Design:
Beams Distribution in Block 1:
4

## Slide 46: Structural Design:
Beams Distribution in Block 2:
4

## Slide 47: Structural Design:
Beams Distribution in Block 3:
4

## Slide 48: Structural Design:
Columns and Footings Distribution in Block 1:
4

## Slide 49: Structural Design:
Columns and Footings Distribution in Block 2:
4

## Slide 50: Structural Design:
Columns and Footings Distribution in Block 3:
4

## Slide 51: Structural Design:
Checks:
Compatibility check.
Equilibrium check.
Internal force check.
Deflection check.
Drift check.
Period check.
Model participating mass ratio check.
4

## Slide 52: Structural Design:
Slab Reinforcement Distribution In Slabs:
4

## Slide 53: Structural Design:
Beams Reinforcement in Block 1:
4

## Slide 54: Structural Design:
Beams Reinforcement in Block 1:
4

## Slide 55: Structural Design:
Columns Reinforcement in Block 1:
4

## Slide 56: Structural Design:
Columns Reinforcement in Block 1:
4

## Slide 57: Structural Design:
Footing Reinforcement:
4

## Slide 58: Structural Design:
Water Tank Reinforcement:
4

## Slide 59: Structural Design:
Water Tank Reinforcement:
4

## Slide 60: Structural Design:
Basement Wall Reinforcement:
4

## Slide 61: Structural Design:
Detailing on the wall and the base of Fuel Tank:
4

## Slide 62: Structural Design:
  Canopy Design:
Red color: Secondary truss.
Blue color: Main truss.
Green color: Bracing.
Cyan color: Purlins.
4

## Slide 63: Structural Design:
    Truss Usable Section:
4

## Slide 64: Structural Design:
Checks:
Compatibility check.
Equilibrium check.
Internal force check.
Deflection check.
Period check.
4

## Slide 65: Structural Design:
Columns and Footings:
4

## Slide 66: Structural Design:
Canopy Details:
Weld section between members.
Bolts and Gusset plate connection and section A-A
Gutter Details
4

## Slide 67: Structural Design:
Purlin Section.
Anchor Bolt Detail.
Canopy Details:
4

## Slide 68: Mechanical Design:
Water Supply System.
Drainage System.
HVAC System.
5

## Slide 69: Water supply Design:
Water Consumption in Cafeteria zone:
Total consumption Liter. | Water consumption /person. | Number of expected people. | Zone.
4200 | 15gallon/person | 70 | kitchen-Cafeteria
300 | 5gallon/person | 15 | Bathroom
Total Consumption =14850L |  |  | 
Mechanical Design:
5

## Slide 70: Mechanical Design:
Water supply distribution in block 1 :
5

## Slide 71: Pipe Diameter in cafeteria–kitchen:
Vertical diameter 2 inch.
Horizontal diameter 2 inch.
Branch diameter 0.5 inch.
Total FUs | Collector
16 | 1
46 | 2
56 | 3
Mechanical Design:
5

## Slide 72: Drainage System:
Each W.C represents 4Dfu…………. pipe 4".
Each Lavatory represent 1Dfu……… pipe 2".
Each kitchen sink Represent 2Dfu… pipe 2".
Main stack… 4'',Ventilation stack… 4''.
Mechanical Design:
5

## Slide 73: Drainage System in all buildings:
5
Mechanical Design:

## Slide 74: HVAC Design:
VAV system, which allows for cooling process in the large spaces.
Split unit system used in small spaces like Block number 4.
5
Mechanical Design:

## Slide 75: HVAC System Design
H*W(m) | D(m) | P/EL∆ | Volume flow rate(L/S) | Duct
0.3*0.325 | 0.34 | 0.895 | 468 | A-H
0.3*0.45 | 0.39 | 0.757 | 614 | H-B
0.3*0.225 | 0.279 | 1.160 | 307 | H-C
0.3*0.425 | 0.384 | 0.785 | 579 | DEFG
For Block 1:
5
Mechanical Design:

## Slide 76: Diffuser Selection :
Ceiling Diffuser size (375*300) mm.
Louver Face Diffuser (supply).
Number of diffuser | room
4 | Bank branch
8 | cafeteria
7 | corridor
12 | minimarket
7 | Pray room for men
Number of diffuser | room
4 | Pray room for women
2 | Ticket
2 | pharmacy
3 | clinic
1 | security
5
Mechanical Design:

## Slide 77
Type of space | Illumination level (LUX)
Store room | 200
Supermarket | 500
W.C | 200
Cafeteria | 500
Kitchen | 500
Pray room | 200
General service office | 500
Pharmacy | 500
Clinic | 100
Entrance | 100
Car wash | 300
Car maintenance | 300
Illumination Level:
6
Electrical Design:

## Slide 78
Type of space | No. of socket | Type of space | No. of socket
Store room | 2 | Pray room women | 3
Electrical room | 2 | Pray room men | 3
Mechanical room | 1 | Pharmacy | 3
HVAC room | 1 | Car accessories | 3
Super market | 2 | Security | 6
Store | 2 | Clinic | 3
Cafeteria | 7 | Entrance | 1
Bank branch | 6 | Car wash | 4
Stair | 2 | Car maintenance | 4
Bed room | 4 | Staff room | 3
Kitchen | 3 | Secretary room | 5
Manger room | 4 | General service office | 3
Sockets Number Level:
6
Electrical Design:

## Slide 79
6
Electrical Design:
Sockets Distribution in Block 2:

## Slide 80
Level of Lux in General Service Office = 500 Lux
Reflection factor of walls= 35%
Reflection factor of ceiling = 70 %
Reflection factor of floor = 69%
6
Electrical Design:

## Slide 81
6
Electrical Design:

## Slide 82
Uniformity = Emin/ Eav = 0.62
Maximum.UGR=19.6
Eav for visual task plane = 584 Lux
Uniformity = Emin/ Eav = 0.84
E av for workplane = 538 Lux
6
Electrical Design:

## Slide 83
        Sprinkler System.
        Fire alarm System.
Fire Extinguisher.
Fire Hose.
Camera Monitoring System.
Warning Sings.
Fire system:
7
Safety Design:

## Slide 84
.
:.
Sprinklers system
Sprinklers Distribution in Cafeteria.
7
Fire and Safety Design:

## Slide 85
Multi-Purpose -Dry Chemical Extinguisher
Photoelectric smoke detector
Fire Extinguishers Distribution in Block number 2:
7
Fire and Safety Design:

## Slide 86
Dry and Wet Chemical Extinguishers
Photoelectric smoke detector
Multi-Purpose -Dry Chemical Extinguisher
Fire Extinguishers Distribution in Block number 1:
7
Fire and Safety Design:

## Slide 87
M11280
Camera Monitoring System:
7
Fire and Safety Design:

## Slide 88
Description | Total cost ($)
Backfilling and site work | 11925
Concrete and block works | 602038
Plastering | 221613
Tiling | 12651
Painting | 18648.18
Carpentry and aluminum works | 32566.3
External works | 257145
Electrical works | 50000
Mechanical works | 142336.7
Truss | 280400
False ceiling | 66500
Total cost | 1809824 $
8
Quantity survey

## Slide 89
Thank you