## Slide 1: Controlled Temperature and Pressure Extraction of Vegetal Oil Using Supercritical CO2 Fluid
Supervisor: Prof. Hamdallah Bearat
Sham Al Hindi
Walaa Bzour
Alaa Tabanjah
Prepared by:

## Slide 2: Headlines
Introduction
Seeds understudy
Methodology
Results and Discussion
Alternative apparatus
Recommendations
Challenges

## Slide 3: Introduction

## Slide 4: Why CO2?
Safe
Non-Polar (O=C=O)
Nontoxic
Low Cost
available

## Slide 5: Supercritical CO2
Temperature: More than 32°C
Pressure:
More than 1100 psi

## Slide 6: Importance of the Project
Extract oil with high quality
Low cost comparing with other SFE methods
Reducing energy
Eliminate the organic waste
Easy to use
More safe

## Slide 7: Seeds Understudy

## Slide 8
Grape Seeds
Pomegranates Seeds
Olives Fruit

## Slide 9: Why did we use these seeds?
Use of useful waste
The uses of these oils is not common among people here
Health

## Slide 10: Pomegranate Seeds
The seeds had been collected as waste residue of pomegranate juice

## Slide 11: Grape Seeds

## Slide 12: Olives

## Slide 13: Methodology

## Slide 14: Reactor’s Size
Reactor of 7-inch long and 1.25-inch diameter

## Slide 15: Description of the Apparatus

## Slide 16: Formation of Dry Ice

## Slide 17: Heating System

## Slide 18: Description of the Apparatus

## Slide 20: Olives Extraction

## Slide 22: Results and Discussion

## Slide 23: Expected Results
Extracting droplets of clear oil at:
Temperature between 32-50 °C
Pressure between 1100-5000 psi

## Slide 24: Olive Oil
Chart: Oil Extracted Related to Pressure
| 3000 | 3100 | 3800
Pressure | 0.33 | 0.14 | 0.1

## Slide 25: Olive Oil Extracted
Pressure (psi) | Oil Extracted (g) | %weight
3000 | 0.33 | 1.26 %
3100 | 0.14 | 0.602 %
3800 | 0.1 | 0.417 %

## Slide 26: Olives Shape Before Extraction

## Slide 27: Olives Shape After Extraction

## Slide 28: Grape Seed Oil
Chart: Oil Extracted Related to Pressure
| 1900 | 3000 | 4000
Pressure | 0.06 | 0.12 | 0.18

## Slide 29: Grape Seed Oil
Chart: Oil Extracted Related to Particle Size
| Milled | Milled | Seeds
Pressure | 0.06 | 0.12 | 0.18

## Slide 30: Grape Seeds Oil Extracted
 | Pressure (psi) | Oil Extracted (g) | %weight
milled | 1900 | 0.06 | 0.216 %
 | 3800 | 0.1 | 0.417 %
 | 4000 | 0.18 | 1.193 %
unmilled | 3000 | 0.12 | 0.452 %

## Slide 31: Pomegranate Oil
Chart: Oil Extracted Related to Pressure
| 3500 | 3100 | 3500 | 3500
Pressure | 0.09 | 0.09 | 0.09 | 0.09

## Slide 32: Pomegranate Oil
Chart: Oil Extracted Related to Particle Size
| Milled | Seeds | Seeds | Seeds
Particle Size | 0.09 | 0.09 | 0.09 | 0.09

## Slide 33: Pomegranate Seeds Oil Extracted
 | Pressure (psi) | Oil Extracted (g) | %weight
milled | 3500 | 0.09 | 0.44 %
unmilled | 3100 | 0.09 | 0.609 %
 | 3500 | 0.09 | 0.617%

## Slide 35: Alternative Apparatus (Extraction in closed loop system)

## Slide 36: Features Specifications:
It can be extracted at near normal temperature without destroying biological active substances
The extract has no residual solvent, so it is 100% natural
Extraction process parameters are easy to adjust and control
Simple process, high efficiency and low energy consumption.

## Slide 39: Automatic Supercritical Fluid CO2 Machine Equipment for Oil Extraction
From Deyang Strong Tech Co., LTD.
Max. Extraction pressure: 32-50 MPa
Extraction Temperature: 0-80°C
Cost: 28,000 – 3,000,000 $

## Slide 40: Challenges

## Slide 41: Liquid waste from olives

## Slide 42: Seeds Collecting

## Slide 43: Spare parts

## Slide 44: Controlling Temperature

## Slide 45: Leakage

## Slide 46: CO2 cylinder with pressure less than 850 psi

## Slide 47: Recommendations

## Slide 48: Switch from 1/16’’ to 1/8’’

## Slide 49: Changing Reactor Design

## Slide 50: Combination between sciences

## Slide 51: Using a Compressor pump

## Slide 52: Thank you