## Slide 1: Design of residential building
Prepared By:
Ahmad mousa
Supervisor: Dr. Alaa’ shaheen

## Slide 2: Contents
Architectural Aspects and passive analysis
Site analysis
Acoustical analysis
Passive Analysis
Structural Aspects
Electro mechanical system analysis
HVAC system
mechanical system
Electrical system
Safety analysis

## Slide 3: Architectural Aspects & Passive Analysis

## Slide 4: Site Analysis
The residential building of this project is located on Beit Wazan to the west of Nablus in the West Bank of Palestine with 534 meters above sea level
The total area of the site in the project is about 605.6 m^2.

## Slide 5
Floor plan

## Slide 6
EASTEREN ELEVATION

## Slide 7
western ELEVATION

## Slide 8
Northern elevation

## Slide 9
Southern elevation

## Slide 10
Section a-a

## Slide 11
Section b-b

## Slide 12
Comparison table of the actual area with standards
As it is clear in the table above all the spaces of the building are satisfied within the standards .

## Slide 13
    Acoustical analysis

## Slide 14
Reverberation time (RT60)
Guests room
bedroom

## Slide 15
Recommended values of RT60

## Slide 16
Reverberation time (RT60)
At 50 % occupancy | 
FREQ. | RT60
63Hz: | 0.54
125Hz: | 0.6
250Hz: | 0.62
500Hz: | 0.73
1kHz: | 0.59
2kHz: | 0.45
4kHz: | 0.31
8kHz: | 0.19
16kHz: | 0.54
Bedroom
(0.4-1)
At 50 % occupancy | 
FREQ. | RT(60)
63Hz: | 0.93
125Hz: | 1.02
250Hz: | 0.82
500Hz: | 0.55
1kHz: | 0.66
2kHz: | 0.46
4kHz: | 0.36
8kHz: | 0.24
16kHz: | 0.93
Guests
room
(0.4-1)

## Slide 17
STC for internal walls
So as its clear that without any openings in the internal partitions the STC value is acceptable(more than 40 db)

## Slide 18
STC for external walls

## Slide 19
  Passive Analysis

## Slide 20
  Passive Analysis
Shading
Thermal analysis
Daylight

## Slide 21
The shadow in the 15th of December at 10:00 A.M for the building itself and
with its surrounding

## Slide 22
The shadow in the 15th of June at 17:00 for the building itself and with its surrounding

## Slide 23
    construction details for the building
External Wall layers

## Slide 24
Internal Wall

## Slide 25
Thermal analysis
Comfort graph

## Slide 26
      Daylight
Second floor

## Slide 27
Structural design

## Slide 28
DESIGN CODES
ACI 318-14
UBC 97

## Slide 29
    MATERIALS
fʹc= (24 MPa)
Fy = 420 MPa

## Slide 30: 3D model for the building

## Slide 31: Check of deflection
12mm which is less than 15.4mm, so it’s ok.

## Slide 32: Compatibility check

## Slide 33: Seismic Analysis
Main factors that used according to UBC 97 code
Z= 0.2
I= 1
R=5.5
Ca= 0.24
Cv= 0.32
ρ =1

## Slide 34: Period Check
T=Ct (hn)3/4
T of the building from Etabs = 0.491 0.494 so check of period is Ok.

## Slide 35
Columns layout

## Slide 36
Tie beams and ground slap plan

## Slide 37
Tie beams and ground slap section

## Slide 38
Slab layout

## Slide 39
Section in slab

## Slide 40
Beams layout

## Slide 41: Beams table of dimensions and reinforcement

## Slide 42
Beams Detailing

## Slide 43
Footing layout

## Slide 44
Shear wall detailing

## Slide 45
Electro mechanical system analysis

## Slide 46
    HVAC system
The HVAC system used is VRF
The cooling design from design builder program 13.5KW and total heating design 8.55KW.
Internal temperature =22°C in summer and 24°C on winter

## Slide 47
The outdoor unit capacity 14KW which equal 4.5TR. The we need one outdoor units with capacity 5 TR in roof of the villa.

## Slide 49
    Water drainage system

## Slide 50
    Water drainage system

## Slide 51
Rainwater drainage plan

## Slide 52
    Water drainage system

## Slide 53
    Water supply system

## Slide 54
Water storage
The required daily usage is 45.5Liter/day per person.
Number of tanks needed are 3 tanks .
Required number of tanks Are needed is 3 tanks 2 for cold water and firefighting and 1for hot water.

## Slide 55
Electrical system

## Slide 56
Electrical plan

## Slide 57
  3D – rendering view

## Slide 58
  Luminaires used

## Slide 59
Lighting Results
Guests room layout

## Slide 60
Guests room results

## Slide 61
Firefighting system

## Slide 62
Hose station & portable extinguisher system

## Slide 64
Evacuation plan

## Slide 65
Bill of quantities (BOQ)

## Slide 67
Total cost=286,074(NIS)
Cost per meter= 286,074/162m=1765 NIS
=350 JD

## Slide 68
THANK YOU