## Slide 1: An-Najah National University Faculty of Engineering Civil Engineering Department Graduation Project II Structural Analysis and Design of Technical collage- Technical University of Palestine.

## Slide 2: Structural Analysis and Design of Technical collage- Technical University of Palestine – Al-Khudoury
Prepared by:
Haneen Abu Madi
Nareman Rabaya’
Rawan Abu Safiya
Fatima Atrash
Supervisor:
Dr. Mohammed Samaaneh
Date:
26-12-2019

## Slide 3: Outline
General Description
1
2
Three-Dimensional Modeling and Analysis
3
4
Design Results
Preliminary Design

## Slide 4: General Description
● Location.
Location from Geomolg.
Location on google map.

## Slide 5: General Description
● Architectural Plans.
First , second and third Floor.

## Slide 6: General Description
● Architectural Plans.
Forth Floor.

## Slide 7: General Description
● Architectural Plans.
South Elevation.

## Slide 8: General Description
● Architectural Plans.
North Elevation.

## Slide 9: General Description
● Architectural Plans.
East and West Elevation.

## Slide 10: General Description
● Height and Area for each block.
Block number | Height (m) | Area for each story (m2) | Number of floor
Block one | 14 | 483.3 | 4
Block two | 17.75 | 740.4 | 4
Block three | 3.5 | 237.0 | 1
 | Total Area | 5131.8 | 

## Slide 11: General Description
1) American Concrete Institute Code (ACI 318-14).
2) American Society Of Civil Engineers (ASCE 7-10).
3) International Building Code (IBC-2014).
● Codes and Standards.

## Slide 12: General Description
● Construction Materials.
1- Strctural Elements.

## Slide 13: General Description
2- Non-Strctural Elements.
Material | Density ( KN/ m3)
Blocks | 12
Plastering | 20
Mortar | 23
Aggregate | 18
Insulation | 0.4
Stone | 27
Tiles | 26
Marble | 26

## Slide 14: General Description
Loads
Gravity
Dead
Live
Lateral
Earth quick
Snow
Super Dead

## Slide 15: General Description
● Gravity Loads.
1- Superimposed dead load:
The floor layers:
Element | Thickness ( cm ) | Unit weight ( KN/m3)
Filling | 10 | 20
Mortar | 3 | 23
Tiles | 3 | 26
Plaster | 1.5 | 20
Finishing materials weight = Σ (thickness of layer * unit weight for each layer
W tiles = 3.77 kN/m2

## Slide 16: General Description
The internal partitions (hollow blocks):
Weight of block = 0.1×6=0.6 KNm2
Wight of plastering =0.02×20×2=0.8 KNm2
Total weight =0.8 + 0.6=1.5 KN\m2.
Weight of internal partition = 1.5 KN/m2.

## Slide 17: General Description
False Ceiling:
Suspended ceiling load=0.6 KNm2 (This value includes the weight of mechanical ducts and other service equipment).
The overall superimposed dead load = 3.77 + 0.8 + 1.5 = 5.9 kN/m2.

## Slide 18: General Description
External Wall Weight:
Element | Thickness ( cm ) | Unit weight ( KN/ m3)
block | 10 | 12
Stone | 5 | 27
Concrete | 12 | 23
W.S.D = (0.1*12) + (0.05*27) + (0.12*23) = 5.31 kN/m2.
Height of floor = 3.5 m.
Load on parameter = 5.31 x 3.5 = 18.585 kN/m.

## Slide 19: General Description
● Gravity Loads.
2- Live load: 5 kN/m² is used for both blocks.
Occupancy (Intended Function) | Live Load (KN/m2)
Classroom | 1.92
Offices | 2
Corridors above first floor | 3.83
First floor corridor | 4.79
Stairs and exit ways | 4.79

## Slide 20: General Description
● Gravity Loads.
3- Snow load: 0.785 kN/m² is used for both blocks.

## Slide 21: General Description
● Lateral Loads.
According to ASCE 7-10 code to seismic analysis for this structure:
1- Risk category:
Risk category of building and other structures for flood, wind, snow, earthquake and ice loads (ASCE 7-10 Table 1.5-1)

## Slide 22: General Description
2- Importance factor (Z):
Seismic zone factor, Z (Earthquake Center at An-Najah National University)

## Slide 23: General Description
3- Site class:

## Slide 24: General Description
4- Importance Factor ( Ie):
Importance Factors by Risk Category of Buildings and Other Structures for Earthquake Loads (ASCE 7-10 Table 1.5-2)

## Slide 25: General Description
5- Design Spectral Acceleration Parameter ( and )

## Slide 26: General Description
6- Siesmic Design Category ( SDC):
Seismic design category (SDC): D

## Slide 27: General Description
There are two systems to resist seismic load on X & Y-direction:
1- In X-direction  Moment Resisting Frame System ( special reinforced concrete frame).
2- In Y-direction  Building Frame System ( special shear wall system ).
Structural system |  |  |  | 
Moment-Resisting Frame Systems | Special reinforced concrete moment frames | 8 | 3 | 5.5
Building Frame Systems | Special reinforced concrete shear walls | 6 | 2.5 | 5
Structural system |  |  |  | 
Moment-Resisting Frame Systems | Special reinforced concrete moment frames | 8 | 3 | 5.5
Building Frame Systems | Special reinforced concrete shear walls | 6 | 2.5 | 5

## Slide 28: Computer Program

## Slide 29: Preliminary Design

## Slide 30: Preliminary Design
Structural system to analysis and design: 1. Slab system. 2. Beam system. 3. Column system.

## Slide 31: Preliminary Design
Slab system:
Using Two-way solid slab system for both blocks.
L/B < 2.
By referring to table (8.3.1.2) page 95 from ACI318-14 code.
h min. = 15cm.

## Slide 32: Preliminary Design
Beam system:
Preliminary Dimensions of Beams …
Width
Depth (h)

## Slide 33: Preliminary Design
Beam system:
Width (mm) | Depth (mm) | Beam name | Beam
300 | 550 | L-section | 1
300 | 550 | T-section | 2
300 | 500 | Tie beam | 3

## Slide 34: Preliminary Design
Beam layout for block one:

## Slide 35: Preliminary Design
Beam layout for block two:

## Slide 36: Preliminary Design
Column System:
Types for all columns on block one & two:
Column Size (cm) | Column Group
30 x 40 | C1
30 x 55 | C2
30 x 75 | C3
20 x 40 | C4
50 x 50 | C5

## Slide 37: Preliminary Design
Column layout on block one:

## Slide 38: Preliminary Design
Column layout on block two:

## Slide 39: 3D-Modeling and Analysis

## Slide 40: 3D-Modeling and Analysis
Block One
Block Two

## Slide 41: 3D-Modeling and Analysis
Modifier for structural elements:

## Slide 43: 3D-Modeling and Analysis
Load combinations:
Service load combination | Ultimate load combination
D + L | 1.4D
D + ( or S or R) | 1.2D + 1.6L + 0.5( or S or R)
D + 0.75L + 0.75( or S or R) | 1.2D + 1.6(or S or R) + (L or 0.5W)
D + (0.6W or 0.7E) | 1.2D + 1.0W + L + 0.5( or S or R)
D + 0.75L + 0.75(0.6W) + 0.75( or S or R) | 1.2D + 1.0E + L + 0.2S
D + 0.75L + 0.75(0.7E) + 0.75S | 0.9D + 1.0E
Service load combination | Ultimate load combination
D + L | 1.4D
D + (0.6W or 0.7E) | 
 | 1.2D + 1.0E + L + 0.2S
D + 0.75L + 0.75(0.7E) + 0.75S | 0.9D + 1.0E

## Slide 44: 3D-Modeling and Analysis
 Seismic Analysis Methods:
  1- Equivalent lateral force method (ELF).
Definition of ELF in ETABS for both blocks :
Seismic loading (ESM) in X-direction

## Slide 45: 3D-Modeling and Analysis
Seismic loading (ESM) in Y-direction

## Slide 46: 3D-Modeling and Analysis
  2- Modal response spectrum method (MRS).
 Definition of RS function in ETABS:

## Slide 47: 3D-Modeling and Analysis
 Mass case for block one & two:
In X-direction  Scale factor =
In Y-direction  Scale factor = 2436.15

## Slide 48: 3D-Modeling and Analysis
Checks
Analysis check
Compatibility
Equilibrium
Design check
Deflection
Internal forces
Wide beam shear
Punching

## Slide 49: 3D-Modeling and Analysis
Analysis Checks:
- Compatibility check:
Compatibility for block-2
Compatibility for block-1

## Slide 50: 3D-Modeling and Analysis
- Equilibrium Check for gravity load:
Block one:
%error | ETABS Result (KN) | Manual Result (KN) | Load type
0.56% |  |  | Dead
0.0% |  |  | Superimposed
0.0% | 9666 | 9666 | Live
0.0% | 379.39 | 379.39 | snow
%error | ETABS Result (KN) | Manual Result (KN) | Load type
0.56% |  |  | Dead
0.0% |  |  | Superimposed
0.0% | 9666 | 9666 | Live
0.0% | 379.39 | 379.39 | snow
%error | ETABS Result (KN) | Manual Result (KN) | Load type
1.089% |  |  | Dead
0.644% |  |  | Superimposed
0.069% |  |  | Live
0.077% |  |  | snow
%error | ETABS Result (KN) | Manual Result (KN) | Load type
1.089% |  |  | Dead
0.644% |  |  | Superimposed
0.069% |  |  | Live
0.077% |  |  | snow
Block two:

## Slide 51: 3D-Modeling and Analysis
- Internal forces check:
  To ensure that the load will be distributed in an expected way to structural elements such as slabs, beams and columns.
  1- Slab check.
  2- Beam check.
  3- Column check.

## Slide 52: 3D-Modeling and Analysis
1- Slab ckeck:
For block one and frame in Y-direction:
Manual result:

## Slide 53: 3D-Modeling and Analysis
ETABS result:

## Slide 54: 3D-Modeling and Analysis
2- Beam check:
  The beam in y-direction is selected for check:
= KN/m.
(manual)=
(ETABS)=
%diff. = 9.9% < 10%.

## Slide 55: 3D-Modeling and Analysis
3- Column check:

## Slide 56: 3D-Modeling and Analysis
Design checks:
- Deflection check:
From ACI 318 Table 9.5(b) maximum permissible deflections.

## Slide 57: 3D-Modeling and Analysis
- Deflection check:
1- Immediate deflection:
Allowable deflection in X-direction 
Allowable deflection in Y-direction 
Avg = mm
0.86025 – 7.934 = 7.07375 mm < allowable in both direction.

## Slide 58: 3D-Modeling and Analysis
2- Long-term deflection:
Allowable deflection in X-direction 
Allowable deflection in Y-direction 
Avg =
45.122 – 26.85 = 18.3 mm < allowable in both direction.

## Slide 59: 3D-Modeling and Analysis
- Wide beam shear for slab:
- Punching Check:
There is no punching shear because there is slab with beams.

## Slide 60: 3D-Modeling and Analysis
    Verification of seismic analysis:
1- Equivalent Static Method:
- Mass participation ratio for modal analysis
Block one

## Slide 61: 3D-Modeling and Analysis
    - Mass participation ratio for modal analysis
Block two

## Slide 62: 3D-Modeling and Analysis
- Period:
By comparing the vale of period from ETABS with manual calculation for block one and two:

## Slide 63: 3D-Modeling and Analysis
- Check equilibrium for base shear

## Slide 64: 3D-Modeling and Analysis

## Slide 65: 3D-Modeling and Analysis

## Slide 66: 3D-Modeling and Analysis

## Slide 67: 3D-Modeling and Analysis
2- Response Spectrum Method:
- Base shear:
For block-1:
=
=
Ratio in X-direction =
 need to multiple the scale factor in X-direction by value of 1.011 .
=
=
Ratio in Y-direction =
 need to multiple the scale factor in Y-direction by value of 1.19.

## Slide 68: 3D-Modeling and Analysis
For block-2:
=
=
Ratio in X-direction =
 need to multiple the scale factor in X-direction by value of 1.05
=
=
Ratio in Y-direction =
 need to multiple the scale factor in Y-direction by value of 1.23.

## Slide 69: 3D-Modeling and Analysis
- Drift check:

## Slide 70: 3D-Modeling and Analysis

## Slide 71: 3D-Modeling and Analysis
- P-Delta check:
 Block-1:

## Slide 72: 3D-Modeling and Analysis

## Slide 73: 3D-Modeling and Analysis
 Block-2 :

## Slide 74: 3D-Modeling and Analysis

## Slide 75: Design Results

## Slide 76
  The structural system: Building frame with special reinforced concrete shear walls and special frames.
  The structural members that were designed are:
      Slab.
      Beams.
      Columns.
      Stairs.
      Foundations.
      Shear walls.
Design Results

## Slide 77
Slab design:
Check slab thickness for shear:
∅ Vc = 61.24 KN.
Design of Slab

## Slide 78
  ETABS results for V13 & V23:
      All values of Vu < ØVc = 61.24 KN  OK
Design of Slab

## Slide 79
Design for flexure: (based on envelope u)
For load transfer in X-direction:
There are two zones:
For M=16.953 kN.m  Use 3Ø12
  For M=23.24 kN.m  Use 4Ø12
  For load transfer in Y-direction:
  There are two zones:
  For M=12.254 kN.m  Use 3Ø12
  For M=23.426 kN.m  Use 4Ø12
Design of Slab

## Slide 80
Design of Beam
Design for flexure:
Maximum values of negative and positive moments from ETABS:

## Slide 81
Design of Beam
  Hand calculations:

## Slide 82
Design of Beam
  ETABS results:

## Slide 83
Design of Beam
Design for shear in y-direction:

## Slide 84
Design of Beam
Design for shear in X-direction:

## Slide 85
S1 = 100mm
S2=255mm

## Slide 86
Longitudinal steel:
Design of columns

## Slide 87
Design of columns

## Slide 88
Pier labels in ETABS:
W1 in fourth floor is selected for sample design:
Design of shear wall
W1

## Slide 89
Design of shear wall
The dimensions of shear wall are:
ℓw = 6.8 m.
hw = 3.5 m.
bw = 0.2 m.
Aspect ratios:
hw / ℓw = 0.515 < 2
ℓw / bw = 17.5 > 6
So the pier is considered to be designed as a wall and there is no
need to satisfy specified column design requirements.

## Slide 90
Design of shear wall
Design for shear:
Check for shear in X-direction:
Vux = 37.987 KN
Vc = > Vux  OK
Design for shear in Y direction:
Ø𝐕𝐜= 𝟎.𝟕𝟓×(𝟎.𝟐𝟕√𝟐𝟖×𝟐𝟎𝟎×𝟓𝟒𝟒𝟎+𝟖𝟑𝟓.𝟓𝟐×𝟏𝟎𝟑×𝟓𝟒𝟒𝟎𝟒×𝟔𝟖𝟎𝟎)=𝟏𝟐𝟗𝟏.𝟏𝟓𝟐 𝑲𝑵

## Slide 92
Using the interaction diagram, the following values for steel ratio and area of steel are obtained:
0.0033
 1155 mm2 on each side

## Slide 93: Design of shear wall
The total area of steel required 2310 + 2x579.81 = 3469.62 mm2
Vertical rebar area (AL) = 3469.62 mm2
Horizontal rebar area (AT) = 500 mm2

## Slide 94
Design of shear wall
Shear walls reinforcement:

## Slide 95
Design of stairs
Design of stairs:
  Dimensions of stairs:
  Landing width = 2.5m
  Landing length = 1.50m
  Step width = 2.5m
  Going = 0.3m
  Assume rise = 0.175m
  Span length = 4.6m

## Slide 96: Design of stairs

## Slide 97
Design of stairs
  Check for shear:

## Slide 98
Design of stairs
Design for flexure:
For main reinforcement use 1Ф16\250mm
For shrinkage steel, use 1 Ф14\400 mm

## Slide 99
Design of Footing
  Check type of footing:
    Total service load = 51608.7 kN
     206.4 < 0.5*Area of building = 0.5*483.4 = 241.7
     The type of footing is single footing
Area of footing=total service load /allowable bearing capacity
= 51608.7/250= 206.4 m2

## Slide 100
Design of Footing
Footing Dimention:
Pu = 1892.2 KN
Ps = 1470.4 KN
Area:
Assume where the columns are.
Determine the footing effective depth, depending on wide beam shear in critical dimension.

## Slide 101
Design of Footing
Wide beam shear:
h= d + cover = 0.37+ 0.08 = 0.45 m

## Slide 102
Design of Footing
Punching shear check:
All the ratios of punching shear Vu<ΦVcp, so it is ok

## Slide 103
Design of Footing
Design For Flexure:
Check Ldt = * 16 = 660 mm
1150 – 80 = 1070 > 660 no need to have hook.

## Slide 104: Design of Footing

## Slide 105
THANK YOU 