## Slide 1
Supervised By
Eng. Fadi A.Fatayer
Integrated Design of
Public Library
By Murad H.Al-jawhary Anas M.Qaddara
Maha N.Jadallah Hala M.Salameh
1
An-Najah National University
Faculty of Engineering
Building Engineering Department

## Slide 2
Outline
Introduction
Architectural Design
Environmental Design
Electrical Design
Quantity Surveying and Cost Estimation
Mechanical Design
Structural Design
2

## Slide 3
Introduction
3

## Slide 4
Public library building:
located in Nablus, Wadee Al Toffah
Nablus city does not have a public library with a complete design that satisfies all requirements of public library building
The goal was to provide an integrated design of a public library building that takes into account all design aspects
4

## Slide 5
Architectural Design
5

## Slide 6
Site map
Site Plan
6
Main entrance

## Slide 7
7
Architectural Design
Basement floor

## Slide 8
8
Architectural Design
Ground
floor

## Slide 9
9
Architectural Design
First
floor

## Slide 10
Second
floor
Architectural Design
10

## Slide 11
11
East Elevation
Architectural Design

## Slide 12
South Elevation
Architectural Design
12

## Slide 13
West Elevation
Architectural Design
13

## Slide 14
14
North Elevation
Architectural Design

## Slide 15
Section A – A
Architectural Design
15

## Slide 16
Architectural Design
Section B – B
16

## Slide 17
3D model
Architectural Design
17

## Slide 18
Environmental Design
18

## Slide 19
Environmental Design
Shading
Daylight
Thermal Design
Acoustics
Natural Ventilation
19

## Slide 20
Environmental Design
West windows (vertical shutters)
South windows (horizontal shutters and cantilever)
Shading
20

## Slide 21
Environmental Design
Shading
South windows
21
Summer
Winter

## Slide 22
Environmental Design
Daylight
South reading area
Compute room
22
D.F = 3.04 %
D.F = 2.26 %

## Slide 23
23
Environmental Design
Thermal Design
Internal wall (U value)
Component | U value ()
Floor | 0.456
Roof | 0.604
Window (double glass, low e) | 1.761
Component | 
Floor | 0.456
Roof | 0.604
Window (double glass, low e) | 1.761
U value of other components
External wall (U value)

## Slide 24
Environmental Design
Thermal Design
Cooling loads
Total cooling load=162.41 kW
Cooling load diagram
24

## Slide 25
Environmental Design
Thermal Design
Heating loads
Total heating load=124.49 kW
Heating load diagram
Energy consumption
25

## Slide 26
Environmental Design
PPD and PMV
26

## Slide 27
Environmental Design
Acoustics
Reverberation Time ()
Reading area
< 1.00
Frequency (Hz) | 
63 | 2.40
125 | 1.10
250 | 0.82
500 | 0.73
1000 | 0.71
2000 | 0.83
4000 | 0.83
8000 | 0.92
16000 | 1.13
Frequency (Hz) | 
63 | 2.40
125 | 1.10
250 | 0.82
500 | 0.73
1000 | 0.71
2000 | 0.83
4000 | 0.83
8000 | 0.92
16000 | 1.13
Frequency (Hz) | 
63 | 1.57
125 | 0.51
250 | 0.44
500 | 0.34
1000 | 0.32
2000 | 0.36
4000 | 0.33
8000 | 0.34
16000 | 0.40
Frequency (Hz) | 
63 | 1.57
125 | 0.51
250 | 0.44
500 | 0.34
1000 | 0.32
2000 | 0.36
4000 | 0.33
8000 | 0.34
16000 | 0.40
Librarian office
< 0.60
Used absorptive material
Acoustical ceiling tiles
27

## Slide 28
Environmental Design
Acoustics
STC and IIC
External wall
TL composite =53 dB
Floor
IIC = 84 dB
Internal wall
STC = 48 dB
28

## Slide 29
Environmental Design
Acoustics
Articulation Loss of Consonants ()
For classroom = 14.30 %
29

## Slide 30
Environmental Design
Acoustics
Sound reinforcing system
31

## Slide 31
Sola-Boost windcatchers
Environmental Design
Natural Ventilation
32

## Slide 32
Structural Design
33

## Slide 33
Codes
(ACI 318-14) for RC Structures Design
(ACI 350.3-06) for Water Tank Seismic Loads
(UBC 97) for Earthquake Loads
(ASCE 7 2010) for loads computations
Structural Design
34

## Slide 34
Loads
Live Load =
SID=
EQ Loads (UBC97):
I= 1.25 Cv=0.4
R= 5.5 Ca=0.28
Z= 0.2 (2B) Ct= 0.0488
Structural Design
35

## Slide 35
Material
Concrete B350
Steel Fy = 420MPa
Structural Design
Final Design Sections
Slabs thickness 0.4 m
Columns(rectangular) (0.80.4),(0.80.8 m)
Column(circular) 0.30 m (radius)
Beams (0.450.35),(0.500.35 ),(0.600.50)m
Walls thicknesses 0.2 & 0.3 m
Structural system
Two way ribbed slab
36

## Slide 36
Structural Design
Selected
Block
3D model
37

## Slide 37
Structural Design
Compatibility Check
38

## Slide 38
Structural Design
Element | Hand calculations | Calculations from ETABS | Difference (%)
Column 1 | 1273 KN.m | 1370 KN.m | 7.08
Beam 3 | 172 KN.m | 129 KN.m | 25.00
Slab 2 | 250 KN | 218 KN | 12.80
Load | Manual calculations (KN) | Calculations from ETABS (KN) | Difference (%)
Dead load | 20785 | 20474 | 1.50
Live load | 7423 | 7423 | 0.00
Superimposed dead load | 13268 | 13551 | 2.00
Equilibrium Check
Internal Forces Check
C1
39

## Slide 39
Structural Design
Deflection
Limit = 11300/240
= 47 mm
(According to
ACI 318-11)
40

## Slide 40
Structural Design
Slab:
Two-Way Ribbed Slab
41

## Slide 41
Structural Design
Beam Design
42

## Slide 42
Structural Design
Column Design
Column | Section (mm) | reinforcement |  | STIRRUPS
 |  |  | Zone A | Zone B
C (1,4,6,14,15,2,7,5,17,16) | 800*400 | 1418 | 2 | 2
C (3,8) | 800*400 | 118 | 2 | 
C(9) | 800*400 | 1420 | 3 | 
C(10,11,12,13) | 800*800 | 2018 |  | 
 | D600 | 1416 |  | 
C(18) | 400*800 | 1820 | 2 | 
Column | Section (mm) | reinforcement |  | STIRRUPS
 |  |  | Zone A | Zone B
C (1,4,6,14,15,2,7,5,17,16) | 800*400 |  |  | 
C (3,8) | 800*400 |  |  | 
C(9) | 800*400 |  |  | 
C(10,11,12,13) | 800*800 |  |  | 
 | D600 |  |  | 
C(18) | 400*800 |  |  | 
43

## Slide 43
Footing Design
Structural Design
44

## Slide 44
Footing Design
Structural Design
Section in footing (F1)
Plan of footing (F1)
45

## Slide 45
Structural Design
Shear wall Design
46

## Slide 46
Structural Design
Water Tank Design
47

## Slide 47
Structural Design
Stair Design
48

## Slide 48
Electrical Design
49

## Slide 49
In reading room: ceiling lamps are on and table lamps are off.
In the other spaces: all lamps are on
Electrical Design
Artificial lighting:
Light scenes
Calculation results
Max 15.6 at 330̊
50
Required illuminance
(300-500 lx)
Required uniformity
(>0.60)
Required uniformity
(>0.60)
(>0.60)
(>0.40)
c
c

## Slide 50
Electrical Design
Light scenes
2. Artificial lighting:
In reading room: ceiling lamps are on and table lamps are dimmed by 50% )
51

## Slide 51
Electrical Design
Light scenes
3. Artificial and daylighting:
52

## Slide 52
Electrical Design
Summary
Total load from light scene (1) = 5401.2 W
Total load from light scene (2) = 5744.6 W
Total load from light scene (3) = 4848.0 W
52

## Slide 53
Mechanical Design
53

## Slide 54
Mechanical Design
Water Supply System
Library water demand = 65
54

## Slide 55
Drainage System
Mechanical Design
55

## Slide 56
Mechanical Design
Rain Water Drainage
56

## Slide 57
Fan coil unit
(42 NH)
(3.7– 12.6 kW) cooling
(5.1– 17.5 kW) heating
Carrier company
Mechanical Design
HVAC system
VAV (Variable Air Volume) system
Chiller
(16LJ 01-82)
(80 – 4000 kW)
Carrier company
Ceiling Diffuser
(525525 mm)
Air flow 689 L/s
Noise level 37 dBA
57

## Slide 58
Mechanical Design
HVAC system (GF floor)
58

## Slide 59
Mechanical Design
HVAC system (1st floor)
59

## Slide 60
Mechanical Design
Emergency
Fire Protection System
`
Emergency Egress System
60

## Slide 61
Quantity Surveying & Cost Estimation
61

## Slide 62
Total Cost for finishings and Structural Design
= 12,401,045 NIS
Total Cost for Mechanical Design = 1,656,315 NIS
Total Cost for Electrical Design including elevators
= 595,725 NIS
Total Cost for Project =14,653,085 NIS (1,519 NIS/)
Quantity Surveying and Cost Estimation
62

## Slide 63
Thank You
63